## BoQ1
Government eProcurement System Created By: rakesh kumar yadav Created Date/Time: 17-Jun-2020 01:01 PM Tender Title: Replacement and rerouting of AGL cable i/c associated works at Jaipur International Airport (2020-21) Tender ID: 2020_AAI_48736_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: Replacement and rerouting of AGL cable i/c associated works at Jaipur International Airport (2020-21).
Contract No: 2020_AAI_48736_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | Techno Electricals |  | V-ADD INFRA PRIVATE LIMITED
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 8000.00 | Cum | 100.00 | 290.00 | 2320000.00 | 389.00 | 3112000.00 | 150.00 | 1200000.00 | 1200000.00 | V-ADD INFRA PRIVATE LIMITED
2.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 meters in width and lift upto 1.5 meters, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 500.00 | Cum | 100.00 | 550.00 | 275000.00 | 629.00 | 314500.00 | 250.00 | 125000.00 | 125000.00 | V-ADD INFRA PRIVATE LIMITED
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 5 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. Upto 6 sq. mm | 200.00 | Mtr. | 100.00 | 280.00 | 56000.00 | 244.00 | 48800.00 | 400.00 | 80000.00 | 48800.00 | Techno Electricals
4.00 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 5 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. Upto 6 sq. mm | 200.00 | Mtr. | 100.00 | 200.00 | 40000.00 | 215.00 | 43000.00 | 300.00 | 60000.00 | 40000.00 | Manish Electricals
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 5 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 6 sq. mm | 10000.00 | Mtr. | 100.00 | 20.00 | 200000.00 | 23.00 | 230000.00 | 45.00 | 450000.00 | 200000.00 | Manish Electricals
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 5 KV grade of following size in the existing masonry open duct as required. Upto 6 sq. mm | 1000.00 | Mtr. | 100.00 | 20.00 | 20000.00 | 23.00 | 23000.00 | 50.00 | 50000.00 | 20000.00 | Manish Electricals
7.00 | Supply and Mechanized laying of 200 mm dia HDPE pipe through horizontal direct drilling(HDD) upto 3.5 mtr depth including coupling / jointing of pipe complete as per specification as required. | 200.00 | Mtr. | 100.00 | 600.00 | 120000.00 | 3650.00 | 730000.00 | 1950.00 | 390000.00 | 120000.00 | Manish Electricals
8.00 | Supply and Mechanized laying of 90 mm dia HDPE pipe through horizontal direct drilling(HDD) upto 3.5 mtr depth including coupling / jointing of pipe complete as per specification as required. | 2000.00 | Mtr. | 100.00 | 350.00 | 700000.00 | 717.00 | 1434000.00 | 1150.00 | 2300000.00 | 700000.00 | Manish Electricals
9.00 | Supply and Mechanized laying of 40 mm dia HDPE pipe through horizontal direct drilling(HDD) upto 3.5 mtr depth including coupling / jointing of pipe complete as per specification as required. | 1000.00 | Mtr. | 100.00 | 210.00 | 210000.00 | 415.00 | 415000.00 | 425.00 | 425000.00 | 210000.00 | Manish Electricals
10.00 | Supply & laying of 90mm HDPE pipe complete with accessories like couplers, bends, tee etc in the soil for GLF work upto 500 mm deep, back filling & making good the same as per the site requirement. | 500.00 | Mtr. | 100.00 | 90.00 | 45000.00 | 367.00 | 183500.00 | 395.00 | 197500.00 | 45000.00 | Manish Electricals
11.00 | Supply & laying of 40mm HDPE pipe complete with accessories like couplers, bends, tee etc in the soil for GLF work upto 500 mm deep, back filling & making good the same as per the site requirement. | 500.00 | Mtr. | 100.00 | 140.00 | 70000.00 | 169.00 | 84500.00 | 200.00 | 100000.00 | 70000.00 | Manish Electricals
12.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3 X 50 sq. mm | 1.00 | Set | 100.00 | 1200.00 | 1200.00 | 1887.00 | 1887.00 | 2000.00 | 2000.00 | 1200.00 | Manish Electricals
13.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3 X 70 sq. mm | 1.00 | Set | 100.00 | 2000.00 | 2000.00 | 1887.00 | 1887.00 | 2000.00 | 2000.00 | 1887.00 | Techno Electricals
14.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3 X 95 sq. mm | 1.00 | Set | 100.00 | 2500.00 | 2500.00 | 2450.00 | 2450.00 | 2500.00 | 2500.00 | 2450.00 | Techno Electricals
15.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3 X 120 sq. mm | 1.00 | Set | 100.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 2500.00 | V-ADD INFRA PRIVATE LIMITED
16.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3 X 150 sq. mm | 1.00 | Set | 100.00 | 3000.00 | 3000.00 | 3200.00 | 3200.00 | 2500.00 | 2500.00 | 2500.00 | V-ADD INFRA PRIVATE LIMITED
17.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3 X 185 sq. mm | 1.00 | Set | 100.00 | 3400.00 | 3400.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 2500.00 | V-ADD INFRA PRIVATE LIMITED
18.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3 X 240 sq. mm | 1.00 | Set | 100.00 | 3500.00 | 3500.00 | 3785.00 | 3785.00 | 3000.00 | 3000.00 | 3000.00 | V-ADD INFRA PRIVATE LIMITED
19.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3 X 300 sq. mm | 1.00 | Set | 100.00 | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 2000.00 | Techno Electricals
20.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Set | 100.00 | 14500.00 | 29000.00 | 12540.00 | 25080.00 | 20000.00 | 40000.00 | 25080.00 | Techno Electricals
21.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 25.00 | Mtr. | 100.00 | 900.00 | 22500.00 | 1325.00 | 33125.00 | 1500.00 | 37500.00 | 22500.00 | Manish Electricals
22.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc as required. | 25.00 | Mtr. | 100.00 | 600.00 | 15000.00 | 956.00 | 23900.00 | 1500.00 | 37500.00 | 15000.00 | Manish Electricals
23.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. | 50.00 | Set | 100.00 | 7000.00 | 350000.00 | 6565.00 | 328250.00 | 10000.00 | 500000.00 | 328250.00 | Techno Electricals
24.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Set | 100.00 | 8500.00 | 17000.00 | 8656.00 | 17312.00 | 15000.00 | 30000.00 | 17000.00 | Manish Electricals
25.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 25.00 | Mtr. | 100.00 | 460.00 | 11500.00 | 550.00 | 13750.00 | 425.00 | 10625.00 | 10625.00 | V-ADD INFRA PRIVATE LIMITED
26.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 25.00 | Mtr. | 100.00 | 350.00 | 8750.00 | 200.00 | 5000.00 | 425.00 | 10625.00 | 5000.00 | Techno Electricals
27.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 1x6 sqmm, 5 KV grade copper conducter XLPE insulated, polythene sheathed single core, copper tape screend AFL primary cable as required | 50.00 | Each | 100.00 | 1000.00 | 50000.00 | 850.00 | 42500.00 | 500.00 | 25000.00 | 25000.00 | V-ADD INFRA PRIVATE LIMITED
| Total in Figures |  |  |  |  | 4581850.00 |  | 7128926.00 |  | 6089750.00
Lowest Amount Quoted BY: Manish Electricals(4581850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement and rerouting of AGL cable i/c associated works at Jaipur International Airport (2020-21) Tender ID: 2020_AAI_48736_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 4581850.00 | L1
| 2 | V-ADD INFRA PRIVATE LIMITED | 6089750.00 | L2
| 3 | Techno Electricals | 7128926.00 | L3