## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 19-Jun-2020 01:44 PM Tender Title: Job contract for Operation and Maintenance of E and M Installations and Various Capacity of DG Sets at Katihar ACS for the year 2020-21 Tender ID: 2020_AAI_48971_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Job contract for Operation & Maintenance of E&M Installations, Various Capacity of DG Sets at Katihar ACS for the year 2020-21
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | SAURABH ENTERPRISES |  | Sterling And Wilson Pvt. Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Maintenance Services of Electrical & Mechanical Installations viz 11 KV power supply system of Substation/power house, transformers ,11 KV VCBs, AVRs & LT panels , fire alarm system , DG sets. covering the scope of operation, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/monthly/ quarterly/ halfyearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis , each shift of 8 hours) on all days including Sundays & Holidays at MSSR and DVOR site at katihar & as per direction of EIC. | 12.00 | Month |  | 195777.00 | 2349324.00 | 202505.00 | 2430060.00 | 176109.00 | 2113308.00 | 2113308.00 | Sterling And Wilson Pvt. Ltd
2.00 | Annual maintenance contract of following make DG sets ( Engine+Panel) including AMF panel with other accessories from OEM/authorised service agencies. Job includes monthly visit for carrying out preventive maintenance & attending any number of breakdown calls as & when required , minor repairs etc. as per manufacturer"s recomondations/standard practice and as per the scope of work, complete as required.
2.10 | 25 KVA soundproof Kirloskar Green DG set- 03 nos. ( one at MSSR & Two nos. at DVOR). | 12.00 | Month |  | 1500.00 | 18000.00 | 200.00 | 2400.00 | 7500.00 | 90000.00 | 2400.00 | SAURABH ENTERPRISES
2.20 | 160KVA DG set { Engine- Cummins model no 6BTA5.9 G5, Alternator -stampford } at MSSR Katihar.-01 no. | 12.00 | Month |  | 1900.00 | 22800.00 | 300.00 | 3600.00 | 7000.00 | 84000.00 | 3600.00 | SAURABH ENTERPRISES
2.30 | 250 KVA DG set { Engine-Cummins model no 6CTA8.3 G4, Alternator - Crompton } at MSSR Katihar .- 01 no. | 12.00 | Month |  | 2100.00 | 25200.00 | 200.00 | 2400.00 | 8653.00 | 103836.00 | 2400.00 | SAURABH ENTERPRISES
3.00 | Supply of B-Checks kit & carried out of B-Check of following DG sets as given specification & terms & condition etc as required.
3.10 | 25 KVA soundproof Kirloskar Green DG set- 03 nos. ( one at MSSR & Two nos. at DVOR). B check kit consist of following materials as per under given below. (i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 7.5 ltr (v) coolent-01. | 6.00 | job |  | 4000.00 | 24000.00 | 200.00 | 1200.00 | 8433.00 | 50598.00 | 1200.00 | SAURABH ENTERPRISES
3.20 | 160KVA DG set { Engine- Cummins model no 6BTA 5.9G5, Alternator -stampford } at MSSR Katihar.(i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 40.0 ltr (v) coolent-01. | 2.00 | job |  | 14000.00 | 28000.00 | 192.00 | 384.00 | 5000.00 | 10000.00 | 384.00 | SAURABH ENTERPRISES
3.30 | 250 KVA DG set { Engine-Cummins model no 6CTA8.3G4, Alternator - Crompton } at MSSR Katihar .(i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 40.0 ltr (v) coolent-01. | 2.00 | job |  | 18000.00 | 36000.00 | 400.00 | 800.00 | 8000.00 | 16000.00 | 800.00 | SAURABH ENTERPRISES
4.00 | Supply of 12volts 150 AH Lead maintenance free Battery make - Exide EP150 or equivalent. | 3.00 | Each |  | 10800.00 | 32400.00 | 400.00 | 1200.00 | 7500.00 | 22500.00 | 1200.00 | SAURABH ENTERPRISES
5.00 | Providing Maintenance Services of fire alarm systems installed at MSSR & auto dialer at DVOR, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance as per OEM, maintenance of records/documentation etc. as per scope of work given in special conditions of contract as per direction of EIC. ( Note:- Materials shall be provided by AAI). | 12.00 | Month |  | 4000.00 | 48000.00 | 200.00 | 2400.00 | 3339.00 | 40068.00 | 2400.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 2583724.00 |  | 2444444.00 |  | 2530310.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(2444444.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job contract for Operation and Maintenance of E and M Installations and Various Capacity of DG Sets at Katihar ACS for the year 2020-21 Tender ID: 2020_AAI_48971_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 2444444.00 | L1
| 2 | Sterling And Wilson Pvt. Ltd | 2530310.00 | L2
| 3 | ABHISHEK ASSOCIATES | 2583724.00 | L3