## BoQ1
Government eProcurement System Created By: MANTRIMAYUM CHINGLENSANA SINGH Created Date/Time: 09-Jul-2020 04:21 PM Tender Title: Job contract for maintenance of E and M installations for Airport Services AS Ops and Non Ops areas at Imphal Airport for the year 2020 21 and 2021 22 Tender ID: 2020_AAI_49111_1
Tender Inviting Authority: Asst GM Engg.(Electrical)-II, AAI,Imphal
Name of work:- Job contract for maintenance of E&M installations for Airport Services (AS) Ops/ Non-Ops areas at Imphal Airport for the year 2020-21 and 2021-22.
Contract No: 2020_AAI_49111_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Techno Electricals |  | M/s North East Electricals |  | PAN POLAR ENGINEERS PVT. LTD. |  | Sterling And Wilson Pvt. Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub-Head-I(Operation and Maintenance of E&M installation for Airport Services) Operation, periodical preventive and breakdown maintenance services of Electrical and Mechanical installations for Airport Services (AS) at Airport Power House, Technical block cum ATC tower, Pump Houses, CISF Barrack, Terminal Building, City side car parking area, MT Pool, Residential Colony, Community Hall of Imphal Airport, day to day maintenance of E&M installations and conventional & addressable fire alarm system on round the clock basis / as per need basis including sundays & holidays involving attending to complaints/faults/breakdown and taking immediate rectification action for ensuring serviceability/ satisfactory working condition of the system, performing preventive maintenance checks, maintenance of records/ documentations, providing the services for collecting spares from AAI stores etc. complete as required. For providing the above services adequate man power is required as per special conditions and Tecnical specification etc. The item excludes the repair maintenance of LT ACB, supply of required spares. ( Refer clause no. 14,16 & 46 of SCC also for quoting the rate). i. 1st year | 12.00 | Month | 0.00 | 375666.00 | 4507992.00 | 410698.00 | 4928376.00 | 364000.00 | 4368000.00 | 417000.00 | 5004000.00 | 389000.00 | 4668000.00 | 4368000.00 | M/s North East Electricals
2.00 | ii. 2nd year | 12.00 | Month | 0.00 | 375666.00 | 4507992.00 | 411163.00 | 4933956.00 | 364000.00 | 4368000.00 | 417000.00 | 5004000.00 | 389000.00 | 4668000.00 | 4368000.00 | M/s North East Electricals
3.00 | Sub-Head-II (Painting, Rewinding, Testing etc.) Re-painting of street light poles of following heights with aluminium paint of approved brand including scrapping and cleaning of surface as directed by E-I-C to give an even shade. (Two or more coats on old work etc. as required). i. Upto 3 Mtr | 30.00 | Each | 0.00 | 250.00 | 7500.00 | 150.00 | 4500.00 | 300.00 | 9000.00 | 350.00 | 10500.00 | 600.00 | 18000.00 | 4500.00 | Techno Electricals
4.00 | ii. Upto 6 Mtr | 70.00 | Each | 0.00 | 300.00 | 21000.00 | 325.00 | 22750.00 | 800.00 | 56000.00 | 700.00 | 49000.00 | 700.00 | 49000.00 | 21000.00 | ABHISHEK ASSOCIATES
5.00 | iii. Upto 9 Mtr/12 Mtr. | 200.00 | Each | 0.00 | 700.00 | 140000.00 | 375.00 | 75000.00 | 925.00 | 185000.00 | 900.00 | 180000.00 | 800.00 | 160000.00 | 75000.00 | Techno Electricals
6.00 | Re-painting of L.T. panels, chequered plate, electrical installations etc. with approved quality enamel paint of required colour in one or more coat with spray gun i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C. | 200.00 | Sqm | 0.00 | 80.00 | 16000.00 | 150.00 | 30000.00 | 150.00 | 30000.00 | 130.00 | 26000.00 | 90.00 | 18000.00 | 16000.00 | ABHISHEK ASSOCIATES
7.00 | Rewinding of exhaust fan/ceiling fan/ kit fan/ wall mounted fan as per original characteristics with super enameled copper wire and `E' class insulation material, replacement of the worn out bearing etc. as required i/c dismantling, making arrangment for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required). (The dismantled material will be taken by the contractor). | 50.00 | Each | 0.00 | 350.00 | 17500.00 | 250.00 | 12500.00 | 700.00 | 35000.00 | 650.00 | 32500.00 | 500.00 | 25000.00 | 12500.00 | Techno Electricals
8.00 | Testing of dielectric strength of oil of 800kVA oil type 11kV/433V transformer of 605 Ltr oil capacity, oil filtration, heating and dehumidifying of oil to achieve recommended BDV and submitting the test report . | 2420.00 | Ltr | 0.00 | 18.00 | 43560.00 | 10.00 | 24200.00 | 30.00 | 72600.00 | 15.00 | 36300.00 | 10.00 | 24200.00 | 24200.00 | Techno Electricals, Sterling And Wilson Pvt. Ltd
9.00 | 800kVA oil type 11kV/433V transformer maintenance i/c IR checking of LV/HV windings inbetween and w.r.t. earth, Winding resistance measurement, maintenace of Buchholtz device, cleaning and painting of transformer body, tightness of terminals, simulation of Buchholtz alarm & trip, winding temperature alarm & trip, Oil temperature alarm trip etc. as applicable and as directed by E-I-C and submision of report. i. 1st year | 2.00 | Job | 0.00 | 20000.00 | 40000.00 | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 16000.00 | 32000.00 | 7000.00 | 14000.00 | 10000.00 | Techno Electricals
10.00 | ii. 2nd year | 2.00 | Job | 0.00 | 20000.00 | 40000.00 | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 16000.00 | 32000.00 | 7000.00 | 14000.00 | 10000.00 | Techno Electricals
11.00 | AMC of 415V 630A/800A/1000A/1250A/2000A L&T make Air Circuit Breaker i/c repair, attending breakdown as when required and maintenace, servicing i/c testing of protection system if applicable and as required, tripping test, cleaning, contact resistance measurement etc. as required and submission of test report. (Servicing of ACB will be done once in a year through OEM/ Authorised Dealer) i. 1st year | 12.00 | Each | 0.00 | 7500.00 | 90000.00 | 4500.00 | 54000.00 | 7000.00 | 84000.00 | 5000.00 | 60000.00 | 5000.00 | 60000.00 | 54000.00 | Techno Electricals
12.00 | ii. 2nd year | 12.00 | Each | 0.00 | 7500.00 | 90000.00 | 4500.00 | 54000.00 | 8000.00 | 96000.00 | 5000.00 | 60000.00 | 5000.00 | 60000.00 | 54000.00 | Techno Electricals
13.00 | Sub-Head-III (Supply of materials) Supply of following materials i. 3-phase, Range 0-500A AC, aux voltage 50 Hz 230V/415V AC, Input Current 5A flush mounting digital Ammeter with inbuilt selector switch. | 5.00 | Each | 0.00 | 750.00 | 3750.00 | 1500.00 | 7500.00 | 1200.00 | 6000.00 | 850.00 | 4250.00 | 2000.00 | 10000.00 | 3750.00 | ABHISHEK ASSOCIATES
14.00 | ii. 3-phase, 415V AC, 50 Hz, self powered flush mounting digital Voltmeter with inbuilt selector switch. | 5.00 | Each | 0.00 | 750.00 | 3750.00 | 1500.00 | 7500.00 | 1300.00 | 6500.00 | 850.00 | 4250.00 | 2000.00 | 10000.00 | 3750.00 | ABHISHEK ASSOCIATES
15.00 | iii. 1-phase, 2-wire, 230V, 5-60A, class: 1.0, Electronic, BIS certified Energy Meter | 10.00 | Each | 0.00 | 1368.00 | 13680.00 | 1850.00 | 18500.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 1300.00 | 13000.00 | 10000.00 | PAN POLAR ENGINEERS PVT. LTD.
16.00 | iv. 3-phase, 4-wire, 415V, 10-60A, class: 1.0, Electronic, BIS certified Energy Meter | 3.00 | Each | 0.00 | 3408.00 | 10224.00 | 3500.00 | 10500.00 | 3500.00 | 10500.00 | 2500.00 | 7500.00 | 3400.00 | 10200.00 | 7500.00 | PAN POLAR ENGINEERS PVT. LTD.
17.00 | v. 100A/5A 10VA class: 1.0 LT ring type Current Transformer | 12.00 | Each | 0.00 | 550.00 | 6600.00 | 2250.00 | 27000.00 | 450.00 | 5400.00 | 800.00 | 9600.00 | 500.00 | 6000.00 | 5400.00 | M/s North East Electricals
18.00 | vi. 630A FP 36kA MCCB ( Thermal Magnetic release with O/L and S/C protection) Ics= 100% Icu | 1.00 | Each | 0.00 | 29600.00 | 29600.00 | 20323.00 | 20323.00 | 28000.00 | 28000.00 | 20000.00 | 20000.00 | 24323.00 | 24323.00 | 20000.00 | PAN POLAR ENGINEERS PVT. LTD.
19.00 | vii. 400A FP 36kA MCCB ( Thermal Magnetic release with O/L and S/C protection) Ics= 100% Icu | 1.00 | Each | 0.00 | 28400.00 | 28400.00 | 15985.00 | 15985.00 | 25000.00 | 25000.00 | 19500.00 | 19500.00 | 18000.00 | 18000.00 | 15985.00 | Techno Electricals
20.00 | viii. Blue colored 230V ac 50Hz LED indication lamp | 12.00 | Each | 0.00 | 200.00 | 2400.00 | 325.00 | 3900.00 | 400.00 | 4800.00 | 160.00 | 1920.00 | 350.00 | 4200.00 | 1920.00 | PAN POLAR ENGINEERS PVT. LTD.
21.00 | ix. DP 40A, residual current 100mA RCCB | 12.00 | Each | 0.00 | 2325.00 | 27900.00 | 2000.00 | 24000.00 | 2450.00 | 29400.00 | 4000.00 | 48000.00 | 2255.00 | 27060.00 | 24000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 9647848.00 |  | 10294490.00 |  | 9519200.00 |  | 10651320.00 |  | 9900983.00
Lowest Amount Quoted BY: M/s North East Electricals(9519200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job contract for maintenance of E and M installations for Airport Services AS Ops and Non Ops areas at Imphal Airport for the year 2020 21 and 2021 22 Tender ID: 2020_AAI_49111_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s North East Electricals | 9519200.00 | L1
| 2 | ABHISHEK ASSOCIATES | 9647848.00 | L2
| 3 | Sterling And Wilson Pvt. Ltd | 9900983.00 | L3
| 4 | Techno Electricals | 10294490.00 | L4
| 5 | PAN POLAR ENGINEERS PVT. LTD. | 10651320.00 | L5