## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 17-Jun-2020 12:49 PM Tender Title: ARMO of Jalgaon Airport for Year 2020-22. SH- Operation and Maintenance of E and M Installations. Tender ID: 2020_AAI_49189_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect), AAI, Nagpur
Name of Work :- ARMO of Jalgaon Airport for Year 2020-22. SH :- Operation & Maintenance of E&M Installations.
Contract No: AAI/NGP/Engg-E/JAL/2020-21/NIT-01 Date: 01.06.2020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING |  | M/s LEESHA ELECTRICALS
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I - Operation and Maintenance
1.10 | Annual Operation and Maintenance of E&M Installations & Fire Alarm System in shifts on all working days i/c Sundays and holidays involving operation, preventive / routine / breakdown maintenance, attending complaints, repairs with proper tools & plants, documentation etc. as per the contract terms and conditions and directions of Engineer-in-charge. Total manpower to be provided: (a) 03 No. DG Operator - Semi-Skilled (b) 03 Nos. Wireman - Skilled (c) 01 No. Computer Operator -Highly Skilled (Please refer SCC Cl. No. 44 on page 153 of tender documents before quoting the rates) | 24.00 | Month | 126992.00 | 127968.00 | 3071232.00 | 125000.00 | 3000000.00 | 3000000.00 | M/s LEESHA ELECTRICALS
1.20 | Deployment of following manpower at site for carrying out various operation and maintenance works to meet the actual site requirements as and when required.
1.21 | Electrician (Skilled) | 20.00 | Day | 689.00 | 1000.00 | 20000.00 | 700.00 | 14000.00 | 14000.00 | M/s LEESHA ELECTRICALS
1.22 | Helper (Un-Skilled) | 20.00 | Day | 597.00 | 900.00 | 18000.00 | 650.00 | 13000.00 | 13000.00 | M/s LEESHA ELECTRICALS
2.00 | SH: II - Minor Repairs & Maintenance Works
2.10 | Dehydration and filtration of transformer oil at site including BDV testing before and after oil filtration and submission of test report etc. as required for transformer of capacity 630 KVA, 11KV, Oil Capacity : 417 Litre (Kirloskar make). | 2.00 | Job | 8363.00 | 20000.00 | 40000.00 | 7000.00 | 14000.00 | 14000.00 | M/s LEESHA ELECTRICALS
2.20 | Providing new transformer oil for topping up as per requirement. | 100.00 | Liters | 115.00 | 300.00 | 30000.00 | 100.00 | 10000.00 | 10000.00 | M/s LEESHA ELECTRICALS
2.30 | Complete rewinding of the motor of following capacity Monoblock submersible pump including lowering & lifting from open well, transportation, loading, unloading charges complete as required.
2.31 | 7.5 HP | 2.00 | Job | 7434.00 | 15000.00 | 30000.00 | 1000.00 | 2000.00 | 2000.00 | M/s LEESHA ELECTRICALS
2.32 | 3.0 HP | 1.00 | Job | 3717.00 | 5000.00 | 5000.00 | 500.00 | 500.00 | 500.00 | M/s LEESHA ELECTRICALS
2.40 | Complete rewinding of the motor of following capacity Monoblock pump including transportation, loading, unloading charges complete as required.
2.41 | 5.0 HP | 2.00 | Job | 6969.00 | 7000.00 | 14000.00 | 1000.00 | 2000.00 | 2000.00 | M/s LEESHA ELECTRICALS
2.42 | 2.0 HP | 1.00 | Job | 3252.00 | 4000.00 | 4000.00 | 500.00 | 500.00 | 500.00 | M/s LEESHA ELECTRICALS
2.50 | Complete rewinding of ceiling fan including transportation, loading, unloading charges complete as required. | 6.00 | Job | 465.00 | 1000.00 | 6000.00 | 300.00 | 1800.00 | 1800.00 | M/s LEESHA ELECTRICALS
2.60 | Complete rewinding of following size exhaust fan including transportation, loading, unloading charges complete as required.
2.61 | Up to 300 mm size | 3.00 | Job | 743.00 | 500.00 | 1500.00 | 300.00 | 900.00 | 900.00 | M/s LEESHA ELECTRICALS
2.62 | Up to 450 mm size | 3.00 | Job | 836.00 | 500.00 | 1500.00 | 300.00 | 900.00 | 900.00 | M/s LEESHA ELECTRICALS
2.70 | Painting of electrical panel with one or more coats of spray painting with synthetic enamel paint of approved colour to give an even shade, including cleaning of surface etc. as required. | 50.00 | Sq. Mtr. | 266.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 5000.00 | M/s LEESHA ELECTRICALS
3.00 | SH: III - Calibration and Testing of Relays & Meters
3.10 | Calibration and testing of all numeric relays (1 Nos), auxiliary relays (7 Nos) provided in 11 KV HT Panel by Secondary Injection Test as required through the firm having valid calibration certificates and submission of test reports as reqd. | 2.00 | Job | 4646.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 8000.00 | M/s LEESHA ELECTRICALS
3.20 | Calibration and testing of analogue and digital metering instrument i.e. A, V, KV, Hz Meters, Clamp Meter, Multimeter, Insulation Tester, Earth Tester etc. and submission of test reports as reqd. | 180.00 | Each | 743.00 | 200.00 | 36000.00 | 100.00 | 18000.00 | 18000.00 | M/s LEESHA ELECTRICALS
3.30 | Calibration and minor repairing/servicing of Clinometer (PAPI angle checking instrument) with replacement of bubbles if required including transportation charges from Jalgaon Airport site to OEM site along with submission of test report of calibration from OEM complete as required. | 2.00 | Each | 15332.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 10000.00 | CENTRE TAP ENGINEERING
3.40 | Calibration and minor repairing/servicing of 150 Kg capacity electronic weighing machine along with submission of test report of calibration from legal metrology department complete as required. | 4.00 | Each | 2195.00 | 5000.00 | 20000.00 | 1500.00 | 6000.00 | 6000.00 | M/s LEESHA ELECTRICALS
3.50 | Calibration and minor repairing/servicing of 5 Kg CI weight along with submission of test report of calibration from legal metrology department complete as required. | 1.00 | Each | 261.00 | 2000.00 | 2000.00 | 250.00 | 250.00 | 250.00 | M/s LEESHA ELECTRICALS
4.00 | SH: IV - SUPPLY OF SPARES AS AND WHEN REQUIRED.
4.01 | 3C x 2.5 sq.mm. flexible copper conductor FR PVC insulated PVC round sheathed, 1100 Volts confirming to IS:694 ISI of approved make (1 No. = 1 coil of 100 Mtrs. Length). | 2.00 | Coil | 7713.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 6000.00 | M/s LEESHA ELECTRICALS
4.02 | Supply of 200 W 6.6A Halogen lamps with PK-30d base with, male connector. (Cat No. 64382 OSRAM or Equivalent) as required. | 72.00 | Each | 815.00 | 900.00 | 64800.00 | 800.00 | 57600.00 | 57600.00 | M/s LEESHA ELECTRICALS
4.03 | Supply of 105 W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type light fixtures (Cat No. 64339A of Osram or Equivalent) as required. | 20.00 | Each | 889.00 | 1100.00 | 22000.00 | 500.00 | 10000.00 | 10000.00 | M/s LEESHA ELECTRICALS
4.04 | Supply of Self adhesive HT rubber tape having water proof, moisture proof, corrosion and chemical resistive features, withstand 22KV/mm suitable for 5kV grade AFL cables. Size 25mm x 0.76mm x 9.1 M. (Stanvac Ply safe #W963) | 10.00 | Each | 886.00 | 2000.00 | 20000.00 | 500.00 | 5000.00 | 5000.00 | M/s LEESHA ELECTRICALS
4.05 | Supply of Relay Module card Suitable for NASU make CCR's | 2.00 | Each | 5018.00 | 10000.00 | 20000.00 | 1000.00 | 2000.00 | 2000.00 | M/s LEESHA ELECTRICALS
4.06 | Supply of TTM Card Suitable for NASU make CCR's | 2.00 | Each | 2822.00 | 8000.00 | 16000.00 | 1000.00 | 2000.00 | 2000.00 | M/s LEESHA ELECTRICALS
4.07 | Supply of Thyristor suitable for 30 KW NASU CCR | 1.00 | Each | 15680.00 | 18000.00 | 18000.00 | 5000.00 | 5000.00 | 5000.00 | M/s LEESHA ELECTRICALS
4.08 | Supply of Thyristor suitable for 7.5KW NASU CCR | 1.00 | Each | 11499.00 | 14000.00 | 14000.00 | 4000.00 | 4000.00 | 4000.00 | M/s LEESHA ELECTRICALS
4.09 | Supply of Thyristor suitable for 4 KW NASU CCR | 1.00 | Each | 8363.00 | 10000.00 | 10000.00 | 1000.00 | 1000.00 | 1000.00 | M/s LEESHA ELECTRICALS
4.10 | Supply & Replacement of 400 A, 4P, AC Power contactor of Make: GE, Model No: CK08BA400 suitable for existing AMF Panel at substation and fixing with all accessories, interconnections, connection, etc. as required. | 1.00 | Each | 48138.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 5000.00 | CENTRE TAP ENGINEERING
5.00 | EXECUTION OF WORKS AS PER CPWD DSR 2018 (E&M) AND SPECIFICATIONS AS AND WHEN REQUIRED.
5.10 | CPWD DSR 2018 (E&M) | 200000.00 | % | 1.00 | 1.00 | 200000.00 | .75 | 150000.00 | 150000.00 | M/s LEESHA ELECTRICALS
5.20 | The rate shall be quoted for this item as per examples given below- • Please refer clause 46 of SCC page No. 153 before quoting rates for this item. • If bidder wants to quote the rates at par with rates of DSR-2018 (E & M), then bidder has to quote 1.00 in the rate column. • If bidder wants to quote the rates 10% above the rates of DSR-2018 (E & M), then bidder has to quote 1.10 in the rate column. • If bidder wants to quote the rates 10% below the rates of DSR-2018 (E & M), then bidder has to quote 0.90 in the rate column.
| Total in Figures |  |  |  |  | 3731032.00 |  | 3366450.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(3366450.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Jalgaon Airport for Year 2020-22. SH- Operation and Maintenance of E and M Installations. Tender ID: 2020_AAI_49189_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS | 3366450.00 | L1
| 2 | CENTRE TAP ENGINEERING | 3731032.00 | L2