## BoQ1
Government eProcurement System Created By: Moatemjen Pongen Created Date/Time: 14-Jul-2020 11:49 AM Tender Title: Provision of Energy Efficient Split Type Air Conditioner and Water Cooler for various locations at Dimapur Airport Tender ID: 2020_AAI_49254_1
Tender Inviting Authority: AGM(E-E) AAI, Dimapur Airport.
Name of Work: Provision of Energy Efficient Split Type Air Conditioner and Water Cooler for various Locations at Dimapur Airport
Contract No: (Tender ID: 2020_AAI_49254_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals |  | Industrial Traders |  | Mercantile Agency |  | sudarshnacoolingcentre andelectricals |  | CZONE ENGINEERS PVT LTD. |  | VOLKS ENERGIE PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of Energy Efficient Split Type Air Conditioner and Water Cooler : Supply of Hi-wall single phase, Inverter type Energy Efficient ( As per Latest BEE guidelines) split Air conditioners of nominal cooling capacity, with energy efficient Rotary/Scroll compressor filled with R410a GAS. Including remote control operation for temperature adjustment, indoor unit blower speed, swing adjustment, auto restart, sleep mode, turbo mode, with LED display for temperature i/c standard length of copper refrigerant pipe, copper electrical cable wire & drain pipe etc. complete as required. 1.5 ton HIGHWALL Inverter type AC’s | 32.00 | Each |  | 37789.00 | 1209248.00 | 40492.00 | 1295744.00 | 33500.00 | 1072000.00 | 42400.00 | 1356800.00 | 48500.00 | 1552000.00 | 40625.00 | 1300000.00 | 1072000.00 | Mercantile Agency
2.00 | Installation, testing, commissioning of hi-wall A/C units etc. and making of necessary hole on concrete/brick wall and making good the damages i/c providing suitable size PVC pipe for drawing the gas/drain pipe and wire etc through the concrete/brick wall as required.( 1.5 ton, 2.0 ton,3.0 Ton) | 32.00 | Each |  | 2850.00 | 91200.00 | 2048.00 | 65536.00 | 1600.00 | 51200.00 | 1950.00 | 62400.00 | 2000.00 | 64000.00 | 2000.00 | 64000.00 | 51200.00 | Mercantile Agency
3.00 | S/F of appropriate size of PVC drain pipes complete with fittings on wall or floor surface etc as required. | 225.00 | Mtr |  | 145.00 | 32625.00 | 153.00 | 34425.00 | 170.00 | 38250.00 | 190.00 | 42750.00 | 60.00 | 13500.00 | 100.00 | 22500.00 | 13500.00 | CZONE ENGINEERS PVT LTD.
4.00 | S/F of extra refrigerant pipe of suitable size and thickness complete with soldering, leakages testing and providing thermal insulation & white tape etc as required. | 58.00 | Mtr |  | 758.00 | 43964.00 | 1280.00 | 74240.00 | 825.00 | 47850.00 | 1374.00 | 79692.00 | 600.00 | 34800.00 | 650.00 | 37700.00 | 34800.00 | CZONE ENGINEERS PVT LTD.
5.00 | Supply and fitting of Appropriate size and thickness of MS Stand / L-Chair for fixing outdoor unit or Condensing Units along with necessary anchor fastener/bolt & nuts etc on concrete/brick wall or floor etc. as required. | 15.00 | Each |  | 1254.00 | 18810.00 | 960.00 | 14400.00 | 950.00 | 14250.00 | 912.00 | 13680.00 | 2000.00 | 30000.00 | 800.00 | 12000.00 | 12000.00 | VOLKS ENERGIE PVT LTD
6.00 | Supply and laying of 3 core X 1.5 sq.mm PVC insulated flexible copper wire | 1000.00 | Mtr |  | 75.00 | 75000.00 | 44.80 | 44800.00 | 75.00 | 75000.00 | 49.00 | 49000.00 | 60.00 | 60000.00 | 100.00 | 100000.00 | 44800.00 | Industrial Traders
7.00 | Supply and fixing of DBOXx Plug & Socket with Plastic Cover having modular type socket, DP-MCB of 20 amps rating, on surface or in recess testing and commissioning etc. as required. | 10.00 | Each |  | 1225.00 | 12250.00 | 576.00 | 5760.00 | 2875.00 | 28750.00 | 924.00 | 9240.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 5760.00 | Industrial Traders
8.00 | Supply and fixing of 80 mmX 50 mm DLP plastic trunking having single body with single compartments for fixing on wall / floor surface for hiding the routing of refrigerant pipe, interconnection wires and drainage tube passing through room of the following sizes.
8.10 | DLP plastic trunking, 80 mmX 50 mm | 125.00 | Meter |  | 359.00 | 44875.00 | 473.00 | 59125.00 | 590.00 | 73750.00 | 424.00 | 53000.00 | 150.00 | 18750.00 | 326.00 | 40750.00 | 18750.00 | CZONE ENGINEERS PVT LTD.
8.20 | Flexible cover 85 mm width | 125.00 | Meter |  | 125.00 | 15625.00 | 226.00 | 28250.00 | 340.00 | 42500.00 | 254.00 | 31750.00 | 100.00 | 12500.00 | 156.00 | 19500.00 | 12500.00 | CZONE ENGINEERS PVT LTD.
8.30 | Base joints | 40.00 | Meter |  | 125.00 | 5000.00 | 92.00 | 3680.00 | 81.00 | 3240.00 | 36.00 | 1440.00 | 20.00 | 800.00 | 36.00 | 1440.00 | 800.00 | CZONE ENGINEERS PVT LTD.
8.40 | End caps | 20.00 | Each |  | 100.00 | 2000.00 | 210.00 | 4200.00 | 192.50 | 3850.00 | 100.00 | 2000.00 | 10.00 | 200.00 | 89.00 | 1780.00 | 200.00 | CZONE ENGINEERS PVT LTD.
8.50 | Internal angles - adjustable from 80° - 100° | 20.00 | Each |  | 150.00 | 3000.00 | 585.00 | 11700.00 | 424.55 | 8491.00 | 294.00 | 5880.00 | 25.00 | 500.00 | 230.00 | 4600.00 | 500.00 | CZONE ENGINEERS PVT LTD.
8.60 | External angles - adjustable from 60° - 120° | 20.00 | Each |  | 150.00 | 3000.00 | 571.00 | 11420.00 | 415.45 | 8309.00 | 246.00 | 4920.00 | 25.00 | 500.00 | 224.00 | 4480.00 | 500.00 | CZONE ENGINEERS PVT LTD.
9.00 | Supply , Installation, Testing and Commissioning of Voltage Stabilizer suitable for 1.5 TR Air Conditioner, Current Rating 15 A, Operating Voltage Range 170 V - 270 V | 27.00 | Each |  | 3856.00 | 104112.00 | 3840.00 | 103680.00 | 3050.00 | 82350.00 | 3352.00 | 90504.00 | 6500.00 | 175500.00 | 2500.00 | 67500.00 | 67500.00 | VOLKS ENERGIE PVT LTD
10.00 | Supply , Installation, Testing and Commissioning of Water Purifier cum Cooler with at least 80 ltrs inbuilt storage with inbuilt 3 stage high quality water purifier and temperature adjustable cooler. Separate taps for normal and cold water | 6.00 | Each |  | 105547.00 | 633282.00 | 60000.00 | 360000.00 | 35990.00 | 215940.00 | 76900.00 | 461400.00 | 85000.00 | 510000.00 | 72000.00 | 432000.00 | 215940.00 | Mercantile Agency
11.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required . 12 way (4 + 36), Double door | 1.00 | Each |  | 6565.00 | 6565.00 | 7424.00 | 7424.00 | 14500.00 | 14500.00 | 6280.00 | 6280.00 | 70000.00 | 70000.00 | 10000.00 | 10000.00 | 6280.00 | sudarshnacoolingcentre andelectricals
12.00 | Supplying and fixing of following rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
12.10 | 63 A, TPN | 4.00 | Each |  | 2250.00 | 9000.00 | 1280.00 | 5120.00 | 1952.00 | 7808.00 | 1460.00 | 5840.00 | 1500.00 | 6000.00 | 800.00 | 3200.00 | 3200.00 | VOLKS ENERGIE PVT LTD
12.20 | 6-32 A, DP | 20.00 | Each |  | 452.00 | 9040.00 | 384.00 | 7680.00 | 652.50 | 13050.00 | 550.00 | 11000.00 | 500.00 | 10000.00 | 400.00 | 8000.00 | 7680.00 | Industrial Traders
| Total in Figures |  |  |  |  | 2318596.00 |  | 2137184.00 |  | 1801088.00 |  | 2287576.00 |  | 2574050.00 |  | 2144450.00
Lowest Amount Quoted BY: Mercantile Agency(1801088.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Energy Efficient Split Type Air Conditioner and Water Cooler for various locations at Dimapur Airport Tender ID: 2020_AAI_49254_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mercantile Agency | 1801088.00 | L1
| 2 | Industrial Traders | 2137184.00 | L2
| 3 | VOLKS ENERGIE PVT LTD | 2144450.00 | L3
| 4 | sudarshnacoolingcentre andelectricals | 2287576.00 | L4
| 5 | Techno Electricals | 2318596.00 | L5
| 6 | CZONE ENGINEERS PVT LTD. | 2574050.00 | L6