## BoQ1
Government eProcurement System Created By: A.V Rama Krishna Created Date/Time: 30-Jun-2020 06:05 PM Tender Title: Construction of DVOR Building including Electrical works at Kalburagi Airport, Kalaburagi Tender ID: 2020_AAI_49259_1
Tender Inviting Authority: AGM (E-C)-I, AAI, Begumpet Airport, Hyderabad.
Name of Work: Construction of DVOR Building including Electrical works at Kalburagi Airport, Kalaburagi
Contract No: 2020_ AAI_49259_ 1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Srinivas Gannamaneni |  | ARP ENTERPRISES |  | VIJAYKUMAR CHAVAN
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 230.00 | Cum | 100.00 | 300.00 | 69000.00 | 100.00 | 23000.00 | 192.00 | 44160.00 | 23000.00 | ARP ENTERPRISES
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level :1 : 5 : 10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) | 238.00 | Cum | 100.00 | 4000.00 | 952000.00 | 4500.00 | 1071000.00 | 4800.00 | 1142400.00 | 952000.00 | Srinivas Gannamaneni
3.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate20 mm nominal size) | 50.00 | Cum | 100.00 | 6200.00 | 310000.00 | 7500.00 | 375000.00 | 6152.00 | 307600.00 | 307600.00 | VIJAYKUMAR CHAVAN
4.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. up to floor five level,excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 10.00 | Cum | 100.00 | 7000.00 | 70000.00 | 8000.00 | 80000.00 | 6152.00 | 61520.00 | 61520.00 | VIJAYKUMAR CHAVAN
5.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 14.00 | Cum | 100.00 | 7200.00 | 100800.00 | 7000.00 | 98000.00 | 5500.00 | 77000.00 | 77000.00 | VIJAYKUMAR CHAVAN
6.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 8.00 | Cum | 100.00 | 5800.00 | 46400.00 | 6500.00 | 52000.00 | 5500.00 | 44000.00 | 44000.00 | VIJAYKUMAR CHAVAN
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Foundations, footings, bases of columns, etc. for mass concrete. | 200.00 | Sqm | 100.00 | 400.00 | 80000.00 | 300.00 | 60000.00 | 231.00 | 46200.00 | 46200.00 | VIJAYKUMAR CHAVAN
8.00 | Suspended floors, roofs, landings, balconies and access platform | 120.00 | Sqm | 100.00 | 500.00 | 60000.00 | 500.00 | 60000.00 | 231.00 | 27720.00 | 27720.00 | VIJAYKUMAR CHAVAN
9.00 | Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 150.00 | Sqm | 100.00 | 450.00 | 67500.00 | 500.00 | 75000.00 | 231.00 | 34650.00 | 34650.00 | VIJAYKUMAR CHAVAN
10.00 | Reinforcement for R.C.C. works including straightening, cutting, bending, placing in position and binding all complete. a)Thermo-Mechanically Treated bars. | 9000.00 | Kg | 100.00 | 75.00 | 675000.00 | 80.00 | 720000.00 | 73.82 | 664380.00 | 664380.00 | VIJAYKUMAR CHAVAN
11.00 | Brick work with F.P.S. bricks of class designation 35 in foundation and plinth in : Cement mortar 1:6 (1 Cement : 6 coarse sand) | 40.00 | Cum | 100.00 | 5500.00 | 220000.00 | 7500.00 | 300000.00 | 6308.00 | 252320.00 | 220000.00 | Srinivas Gannamaneni
12.00 | Extra for brick work in superstructure above floor V level for each four floors or part thereof by echanical means by lifting materia using mobile crane. | 11.00 | Cum | 100.00 | 250.00 | 2750.00 | 8000.00 | 88000.00 | 6308.00 | 69388.00 | 2750.00 | Srinivas Gannamaneni
13.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 20.00 | Kg | 100.00 | 95.00 | 1900.00 | 150.00 | 3000.00 | 25.00 | 500.00 | 500.00 | VIJAYKUMAR CHAVAN
14.00 | 12 mm cement plaster of mix: 1:6 (1 Cement :6 Coarse sand) | 140.00 | Sqm | 100.00 | 300.00 | 42000.00 | 300.00 | 42000.00 | 209.00 | 29260.00 | 29260.00 | VIJAYKUMAR CHAVAN
15.00 | 15mm cement plaster on rough side of single or half brick wall of mix : 1:6 (1 Cement :6 Coarse sand) | 240.00 | Sqm | 100.00 | 400.00 | 96000.00 | 350.00 | 84000.00 | 220.00 | 52800.00 | 52800.00 | VIJAYKUMAR CHAVAN
16.00 | 6 mm Cement plaster to ceiling of mix : 1:3 (1Cement : 3 Fine sand ) | 85.00 | Sqm | 100.00 | 200.00 | 17000.00 | 250.00 | 21250.00 | 180.00 | 15300.00 | 15300.00 | VIJAYKUMAR CHAVAN
17.00 | Distempering with dry distemper of approved brand and manufacture (two or more coats) of required shade on new work, over and including water thinnable priming coat to give an even shade. | 465.00 | Sqm | 100.00 | 45.00 | 20925.00 | 70.00 | 32550.00 | 81.90 | 38083.50 | 20925.00 | Srinivas Gannamaneni
18.00 | Construction of embankment with good earth obtained from approved borrowpits with all lift and leads, transporting to site, spreadings, grading to requred slope and compacting to meet requirement as per MORTH Specification. | 1718.00 | Cum | 100.00 | 600.00 | 1030800.00 | 300.00 | 515400.00 | 698.00 | 1199164.00 | 515400.00 | ARP ENTERPRISES
19.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 280.00 | Cum | 100.00 | 4800.00 | 1344000.00 | 6100.00 | 1708000.00 | 5550.00 | 1554000.00 | 1344000.00 | Srinivas Gannamaneni
20.00 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | 12.00 | Sqm | 100.00 | 1000.00 | 12000.00 | 900.00 | 10800.00 | 1098.00 | 13176.00 | 10800.00 | ARP ENTERPRISES
21.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS:15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 25.00 | Sqm | 100.00 | 1000.00 | 25000.00 | 900.00 | 22500.00 | 1153.00 | 28825.00 | 22500.00 | ARP ENTERPRISES
22.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each | 100.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 6000.00 | 6000.00 | 3500.00 | Srinivas Gannamaneni
23.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | 1.00 | Each | 100.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 8800.00 | 8800.00 | 2000.00 | Srinivas Gannamaneni
24.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia Pipes | 200.00 | Meter | 100.00 | 350.00 | 70000.00 | 400.00 | 80000.00 | 185.00 | 37000.00 | 37000.00 | VIJAYKUMAR CHAVAN
25.00 | Providing and fixing brass bib cock of approved quality : 15 mm nominal bore | 2.00 | Each | 100.00 | 300.00 | 600.00 | 1000.00 | 2000.00 | 218.00 | 436.00 | 436.00 | VIJAYKUMAR CHAVAN
26.00 | Providing and fixing brass stop cock of approved quality :15 mm nominal bore | 2.00 | Each | 100.00 | 300.00 | 600.00 | 1000.00 | 2000.00 | 1308.00 | 2616.00 | 600.00 | Srinivas Gannamaneni
27.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 1.00 | Each | 100.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 950.00 | 950.00 | 950.00 | VIJAYKUMAR CHAVAN
28.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 15 mm nominal bore | 1.00 | Each | 100.00 | 350.00 | 350.00 | 1000.00 | 1000.00 | 1050.00 | 1050.00 | 350.00 | Srinivas Gannamaneni
29.00 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :With common burnt clay F.P.S.(non modular) bricks of class designation 5.0 | 2.00 | Each | 100.00 | 2000.00 | 4000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 4000.00 | Srinivas Gannamaneni
30.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :15 mm nominal bore | 2.00 | Each | 100.00 | 150.00 | 300.00 | 500.00 | 1000.00 | 2200.00 | 4400.00 | 300.00 | Srinivas Gannamaneni
31.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :100 mm diameter | 10.00 | Metre | 100.00 | 250.00 | 2500.00 | 350.00 | 3500.00 | 349.00 | 3490.00 | 2500.00 | Srinivas Gannamaneni
32.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : 100 mm diameter S.W. pipe | 10.00 | Metre | 100.00 | 750.00 | 7500.00 | 350.00 | 3500.00 | 4800.00 | 48000.00 | 3500.00 | ARP ENTERPRISES
33.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mmdiameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each | 100.00 | 25200.00 | 25200.00 | 35000.00 | 35000.00 | 32000.00 | 32000.00 | 25200.00 | Srinivas Gannamaneni
34.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable lockingarrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 500.00 | Litre | 100.00 | 10.50 | 5250.00 | 12.00 | 6000.00 | 19.78 | 9890.00 | 5250.00 | Srinivas Gannamaneni
35.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction withframe of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 12.00 | Sqm | 100.00 | 2800.00 | 33600.00 | 3000.00 | 36000.00 | 2050.00 | 24600.00 | 24600.00 | VIJAYKUMAR CHAVAN
36.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge:Profile B Fixing with adjustable lugs with split end tail to each jamb | 31.00 | Meter | 100.00 | 600.00 | 18600.00 | 1000.00 | 31000.00 | 3500.00 | 108500.00 | 18600.00 | Srinivas Gannamaneni
37.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 84.00 | Kg | 100.00 | 450.00 | 37800.00 | 650.00 | 54600.00 | 128.00 | 10752.00 | 10752.00 | VIJAYKUMAR CHAVAN
38.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 20.00 | Kg | 100.00 | 450.00 | 9000.00 | 700.00 | 14000.00 | 150.00 | 3000.00 | 3000.00 | VIJAYKUMAR CHAVAN
39.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness | 13.00 | Sqm | 100.00 | 1200.00 | 15600.00 | 1300.00 | 16900.00 | 4558.00 | 59254.00 | 15600.00 | Srinivas Gannamaneni
40.00 | Providing and fixing ISI marked oxidised M.S. pressed butt hinges withnecessary screws etc. complete.125x65x2.12 mm | 8.00 | Each | 100.00 | 100.00 | 800.00 | 100.00 | 800.00 | 185.00 | 1480.00 | 800.00 | Srinivas Gannamaneni, ARP ENTERPRISES
41.00 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : 300x16 mm | 6.00 | Each | 100.00 | 300.00 | 1800.00 | 300.00 | 1800.00 | 105.00 | 630.00 | 630.00 | VIJAYKUMAR CHAVAN
42.00 | Providing and fixing bright finished brass 100 mm mortice latch andlock, ISI marked, with six levers and a pair of anodised (anodic coatingnot less than grade AC 10 as per IS : 1868) aluminium lever handles ofapproved quality with necessary screws etc. complete. | 2.00 | Each | 100.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 300.00 | 600.00 | 600.00 | VIJAYKUMAR CHAVAN
43.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodiccoating not less than grade AC 10 as per IS : 1868 ) transparent or dyedto required colour or shade, with necessary screws etc. complete :300x10 mm | 16.00 | Each | 100.00 | 150.00 | 2400.00 | 300.00 | 4800.00 | 126.00 | 2016.00 | 2016.00 | VIJAYKUMAR CHAVAN
44.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodiccoating not less than grade AC 10 as per IS : 1868) transparent or dyedto required colour or shade, with necessary screws etc. complete :125 mm | 16.00 | Each | 100.00 | 100.00 | 1600.00 | 150.00 | 2400.00 | 290.00 | 4640.00 | 1600.00 | Srinivas Gannamaneni
45.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 140.00 | Sqm | 100.00 | 75.00 | 10500.00 | 100.00 | 14000.00 | 160.00 | 22400.00 | 10500.00 | Srinivas Gannamaneni
46.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group B. | 20.00 | Point | 100.00 | 790.00 | 15800.00 | 950.00 | 19000.00 | 375.00 | 7500.00 | 7500.00 | VIJAYKUMAR CHAVAN
47.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a). 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 80.00 | Meter | 100.00 | 150.00 | 12000.00 | 300.00 | 24000.00 | 65.00 | 5200.00 | 5200.00 | VIJAYKUMAR CHAVAN
48.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 180.00 | Meter | 100.00 | 177.00 | 31860.00 | 350.00 | 63000.00 | 90.00 | 16200.00 | 16200.00 | VIJAYKUMAR CHAVAN
49.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a) 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 260.00 | Meter | 100.00 | 212.00 | 55120.00 | 400.00 | 104000.00 | 100.00 | 26000.00 | 26000.00 | VIJAYKUMAR CHAVAN
50.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 12.00 | Each | 100.00 | 412.00 | 4944.00 | 400.00 | 4800.00 | 132.00 | 1584.00 | 1584.00 | VIJAYKUMAR CHAVAN
51.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 15.00 | Each | 100.00 | 530.00 | 7950.00 | 450.00 | 6750.00 | 200.00 | 3000.00 | 3000.00 | VIJAYKUMAR CHAVAN
52.00 | Supply of Wall fan of 400mm swing, 1350 RPM with control ON-OFF, variable speed modes, oscillation control, hight adjustable, balanced 3 leaf suitable for operation on 230volts, 50hz, AC power supply etc as required.(Make: Havells, Model: Swing or similar from list of approved makes) | 3.00 | Each | 100.00 | 2400.00 | 7200.00 | 5000.00 | 15000.00 | 2800.00 | 8400.00 | 7200.00 | Srinivas Gannamaneni
53.00 | Supply of 300mm , 1400RPM Heavy Duty Exhaust fan with 4 blades, bird protective guard and all other required accessories suitable for working at 230Volts, 50HZ, single phase, AC supply etc. as required. (Make: Havells, Model: Turbojet SP or equivalent) | 3.00 | Each | 100.00 | 3200.00 | 9600.00 | 5500.00 | 16500.00 | 2100.00 | 6300.00 | 6300.00 | VIJAYKUMAR CHAVAN
54.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. a) Upto 450 mm sweep | 3.00 | Each | 100.00 | 300.00 | 900.00 | 500.00 | 1500.00 | 650.00 | 1950.00 | 900.00 | Srinivas Gannamaneni
55.00 | Supply of 48" (1200mm), 5 star rated ceiling fan with double ball bearing suitable for operation on 230V, 50HZ, AC supply complete with motor, canopy, blades, standard length of down rod and other required accessories etc. as required. (Without fan regulator).(Make: Havells, Model: ES-50 (ISI & 5 star, Brown colour) or equivalent) | 3.00 | Each | 100.00 | 2000.00 | 6000.00 | 2000.00 | 6000.00 | 2900.00 | 8700.00 | 6000.00 | Srinivas Gannamaneni, ARP ENTERPRISES
56.00 | Supply of LED fitting with LED tube light with heat dissipation capability having Opal diffuser to create optimum light uniformity with minimum glare. It has a system level lumen output not less than 2000 lumens with luminaire efficacy of not less than 100 lm/W. CCT not less than 5700K , suitable for indoor applications complete as per technical specifications. (Similar to Havells make, CAT No. LHEWEBP7IN1W020 or equivalent) | 6.00 | Each | 100.00 | 1000.00 | 6000.00 | 1000.00 | 6000.00 | 375.00 | 2250.00 | 2250.00 | VIJAYKUMAR CHAVAN
57.00 | Supply of 595mm x 595mm recess Mounted LED fixture with high efficiency PMMA diffuser complete with driver and accessories having lumen output not less than 3600 Lumens with luminaire efficacy not less than 105 Lumens / watt, CCT not less than 5700K, suitable for indoor applications complete as per techhncial specificaitons (Similar to Havells make CAT No. LHEWDRP7PK1W034 or equivalent) | 10.00 | Each | 100.00 | 2690.00 | 26900.00 | 6000.00 | 60000.00 | 5200.00 | 52000.00 | 26900.00 | Srinivas Gannamaneni
58.00 | Supply of LED street light fitting having system lumen output not less than 4200 lumens and system efficacy of not less than 105 lumens per watt, CCT not less than 5700K, Complete with electronic driver and accessories etc, suitable for outdoor applications, single phase, 230 volts, 50 Hz, AC supply, and supplying and fixing of 40 mm dia X 2.00 meter long G.I. pipe (medium class) bracket for mounting of above fitting on wall including bending the pipe to the required shape, 2 Nos. of suitable size flat iron clamps with nuts, bolts and washer, painting and including wiring (upto 2.0mtrs) with 3x1.5 Sq.mm copper conductor and complete as per technical specifications. (Similar to Havells make CAT No. ENDURAPEARLNEOSL40WLED757PASYTOPC or equivalent). | 6.00 | Each | 100.00 | 4300.00 | 25800.00 | 4000.00 | 24000.00 | 3360.00 | 20160.00 | 20160.00 | VIJAYKUMAR CHAVAN
59.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 16.00 | Each | 100.00 | 150.00 | 2400.00 | 300.00 | 4800.00 | 175.00 | 2800.00 | 2400.00 | Srinivas Gannamaneni
60.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 100.00 | 1330.00 | 7980.00 | 1000.00 | 6000.00 | 434.00 | 2604.00 | 2604.00 | VIJAYKUMAR CHAVAN
61.00 | Supplying and fixing 8 way (8+24), Double Door, three pole and neutral, Vertical Loadline, prewired, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with loose wire box, terminal blocks, duly prewired with suitable size FRLS PVC insulated copper busbar, neutral link, earth bar, din bar, detachable gland plate, interconnections and powder painted including earthing etc. as required.(But without MCB/RCCB/Isolator) | 1.00 | Each | 100.00 | 9400.00 | 9400.00 | 4000.00 | 4000.00 | 1450.00 | 1450.00 | 1450.00 | VIJAYKUMAR CHAVAN
62.00 | Supplying and fixing of 63A rating, four pole, 415 volts, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as equired. | 1.00 | Each | 100.00 | 1740.00 | 1740.00 | 3000.00 | 3000.00 | 6400.00 | 6400.00 | 1740.00 | Srinivas Gannamaneni
63.00 | Supplying and fixing of following amps rating 415 Volts , miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required. e) 32 amps TP MCB 'C' Curve | 2.00 | Each | 100.00 | 1207.00 | 2414.00 | 1500.00 | 3000.00 | 1715.00 | 3430.00 | 2414.00 | Srinivas Gannamaneni
64.00 | Supplying and fixing of following amps rating 240/ 415 Volts , miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required. b). 6 amps to 32 amps DP MCB 'C' curve. | 6.00 | Each | 100.00 | 590.00 | 3540.00 | 600.00 | 3600.00 | 909.00 | 5454.00 | 3540.00 | Srinivas Gannamaneni
65.00 | Supplying and fixing of following amps rating 240/ 415 Volts , miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required. c). 6 amps to 32 amps SP MCB 'C' curve | 12.00 | Each | 100.00 | 250.00 | 3000.00 | 250.00 | 3000.00 | 434.00 | 5208.00 | 3000.00 | Srinivas Gannamaneni, ARP ENTERPRISES
66.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Modular Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel of following loops, with minimum 320 character graphics / LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM) ,The panel should be equiped with loop capacity to take minimum 240 intellegent addressable detectors/ devices (In any combination ) in one loop. Four access levels, capable of taking Protocol Devices, Graphical Display, sufficient numbers of programmable relay controls for controlling ventilation fan, fire pump room, monitoring of fire sprinkler and fire hydrant pump, 230 volts, 50 Hz AC power supply, automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hours normal working and then be capable of operating the system for 30 minutes during an emergency / fault conditions along with battery stand as required. The panel shall have facility for seamless integration with PA system (For Giving triger Signal to Start pre-recorded Digital Voice Evacuation from PA system in case of fire ). The panel shall be compatible for Building Management System with open protocol BACNET / MODBUS etc. as per specification, complete as required. (a). One Loop | 1.00 | Each | 100.00 | 115000.00 | 115000.00 | 12500.00 | 12500.00 | 550000.00 | 550000.00 | 12500.00 | ARP ENTERPRISES
67.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 6.00 | Each | 100.00 | 4200.00 | 25200.00 | 4500.00 | 27000.00 | 3720.00 | 22320.00 | 22320.00 | VIJAYKUMAR CHAVAN
68.00 | Supplying & laying of 2 x 1.5 sqmm FRLS armoured cable, 600 / 1000V rated with annealed copper conductor as per applicable IS standared complete as required. | 60.00 | Meter | 100.00 | 157.00 | 9420.00 | 300.00 | 18000.00 | 59.00 | 3540.00 | 3540.00 | VIJAYKUMAR CHAVAN
69.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cum- strobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. | 1.00 | Each | 100.00 | 4200.00 | 4200.00 | 4500.00 | 4500.00 | 4100.00 | 4100.00 | 4100.00 | VIJAYKUMAR CHAVAN
70.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Manual call station (Resetable pull / push type) suitable for semi flush mounting, IP 54 for indoor use & IP 65 for outdoor use with inbuilt fault isolator / isolator module with double gang outlet box, equipment for key operated test-reset lock, electronic or rotary switches for address setting. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or poly carbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications. | 1.00 | Each | 100.00 | 3000.00 | 3000.00 | 7672.00 | 7672.00 | 4520.00 | 4520.00 | 3000.00 | Srinivas Gannamaneni
| Total in Figures |  |  |  |  | 5897943.00 |  | 6230422.00 |  | 6886020.50
Lowest Amount Quoted BY: Srinivas Gannamaneni(5897943.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of DVOR Building including Electrical works at Kalburagi Airport, Kalaburagi Tender ID: 2020_AAI_49259_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Srinivas Gannamaneni | 5897943.00 | L1
| 2 | ARP ENTERPRISES | 6230422.00 | L2
| 3 | VIJAYKUMAR CHAVAN | 6886020.50 | L3