## BoQ1
Government eProcurement System Created By: rajesh kumar Created Date/Time: 29-Jul-2020 05:22 PM Tender Title: Shifting of MET observatory at Imphal International Airport Tender ID: 2020_AAI_49418_1
Tender Inviting Authority: Asstt. General Manager (Engg - Civil), Airports Authority of India, Imphal Airport, Imphal.
Name of Work: Shifting of MET observatory at Imphal International Airport.
Contract No: 2020_AAI_49418_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Thokchom Okendro Singh |  | Md Kheiruddin
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Supplying and stacking at site. Good earth | 178.00 | cum |  | 475.00 | 84550.00 | 380.00 | 67640.00 | 67640.00 | Md Kheiruddin
2.01 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) , including dressing of sides and ramming of bottoms , lift upto 1.5 m , including getting out the excavated soil and disposal of surplus excavated soil as directed , within a lead of 50 m. All kinds of soil. | 24.00 | cum |  | 225.00 | 5400.00 | 180.00 | 4320.00 | 4320.00 | Md Kheiruddin
3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 44.00 | cum |  | 12000.00 | 528000.00 | 6400.00 | 281600.00 | 281600.00 | Md Kheiruddin
4.01 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 188.00 | cum |  | 180.00 | 33840.00 | 165.00 | 31020.00 | 31020.00 | Md Kheiruddin
5.01 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :450 mm dia. R.C.C. pipe | 5.00 | metre |  | 1335.00 | 6675.00 | 810.00 | 4050.00 | 4050.00 | Md Kheiruddin
6.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size). | 11.00 | cum |  | 6450.00 | 70950.00 | 6853.00 | 75383.00 | 70950.00 | Thokchom Okendro Singh
7.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.40 mm thick with 20 mm nominal size stone aggregate | 24.00 | sqm |  | 665.00 | 15960.00 | 560.00 | 13440.00 | 13440.00 | Md Kheiruddin
8.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 339.00 | kg |  | 105.00 | 35595.00 | 110.00 | 37290.00 | 35595.00 | Thokchom Okendro Singh
9.01 | Fencing with angle iron post placed at required distance embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing 9.38 kg per 100 m (minimum), between the two posts fitted and fixed with G.I. staples, turn buckles etc. complete. (Cost of posts, struts, earth work and concrete work to be paid for separately). Payment to be made per metre cost of total length of barbed wire used. With G.I. barbed wire | 399.00 | metre |  | 18.00 | 7182.00 | 175.00 | 69825.00 | 7182.00 | Thokchom Okendro Singh
10.01 | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete. | 204.00 | sqm |  | 610.00 | 124440.00 | 710.00 | 144840.00 | 124440.00 | Thokchom Okendro Singh
11.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size). | 6.00 | cum |  | 9000.00 | 54000.00 | 7500.00 | 45000.00 | 45000.00 | Md Kheiruddin
12.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :(1 cement :"1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 18.00 | cum |  | 8000.00 | 144000.00 | 7900.00 | 142200.00 | 142200.00 | Md Kheiruddin
13.01 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 2040.00 | kg |  | 105.00 | 214200.00 | 160.00 | 326400.00 | 214200.00 | Thokchom Okendro Singh
14.01 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 82.00 | sqm |  | 800.00 | 65600.00 | 650.00 | 53300.00 | 53300.00 | Md Kheiruddin
15.01 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.Using M.S. angles 40x40x6 mm for diagonal braces | 4.00 | sqm |  | 5300.00 | 21200.00 | 3500.00 | 14000.00 | 14000.00 | Md Kheiruddin
16.01 | Supply of 6 mtrs. high GI OCTAGONAL continuously tapered galvanised street light pole with minimum 1000 mm long Single arm GI bracket (length of bracket shall be based on design as directed by EIC) for installation of LED light luminaire suitable for wind velocity as per IS 875 fabricated out of 3 mm High Tensile Steel Sheet/plate in single section, suitable for installation on a precast foundation with supply of 4 nos. of foundation bolt & anchor plate, rigid flange plate (210x210x12mm min. or as per IS ) welded with the base of pole for fixing on foundation bolts complete as reqd. for structural stability as specified, weather proof and vandal resistant door flush with the exterior surface containing a terminal plate of 5 mm thick backlite sheet with 32 Amp heavy duty connector for loop in loop out cable terminations suitable for two numbers 2 core 25 Sq.mm cables for fixture connections, earthing bolts for continuous earth connection complete as required & as specified. (The top & bottom dia (A/F) of the pole shall not be less than 70mm & 130mm respectively) | 2.00 | Each |  | 5670.00 | 11340.00 | 7500.00 | 15000.00 | 11340.00 | Thokchom Okendro Singh
17.01 | Supply of minimum 36 watt LEd Street Light Fixture with Driver Efficiency not less than 85 % , Luman Efficacy minimum 110 lumens/watt with lenses, the operating CCT shall be 5700-6500K with CRI of ≥70. consisting of pressure die cast/extruded aluminium housing, heat resistant toughened glass/polycarbonate cover, IP 65,IK07 with 4 kv surge protection minimum suitable for operation 230+/-10%, 50 Hz Ac supply with all accessories compete as required as per Technical Specification | 2.00 | Each |  | 4685.00 | 9370.00 | 8500.00 | 17000.00 | 9370.00 | Thokchom Okendro Singh
18.01 | Erection of 6 Mtr. high OCTAGONAL street light pole alongwith bracket and all accessories in reinforced cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation of size 40x40x150 cm, including excavation and refilling, positioning of template & foundation bolts (supplied with pole to match with pole base plate) & providing and fixing of DWC HDPE pipe of size 50 mm dia (2 pieces of min. 0.75 m length) in the foundation for loop-in-loop-out of the cable to the pole i/c cable termination etc complete as required. | 2.00 | Job |  | 5090.00 | 10180.00 | 6000.00 | 12000.00 | 10180.00 | Thokchom Okendro Singh
19.01 | Installation, testing and commissioning of LED Street Light Fixture fitting with all accessories on existing single arm street light pole of 6 mtr height having minimum 1000 mm long bracket i/c inteconnection copmlete as required . | 2.00 | Job |  | 280.00 | 560.00 | 500.00 | 1000.00 | 560.00 | Thokchom Okendro Singh
20.01 | Supplying and fixing following way, three pole and neutral, MCB distribution board, 415 volts,'C' Curve on surface/ recess, complete with tinned copper busbars, neutral link, earth bar, din bar, detachable gland plate,cable end box interconnections, phosphatized and powder painted including earthing etc.as required (but without MCB/RCCB/Isolator). 4 way (4+4 + 12),double door | 1.00 | Each |  | 3000.00 | 3000.00 | 4600.00 | 4600.00 | 3000.00 | Thokchom Okendro Singh
21.01 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 A FP ,30 mA RCCB | 1.00 | Each |  | 4050.00 | 4050.00 | 6000.00 | 6000.00 | 4050.00 | Thokchom Okendro Singh
22.01 | Supplying and fixing of following rating, 415 volts, 'C' curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. 40 Amps FP MCB | 1.00 | Each |  | 1790.00 | 1790.00 | 450.00 | 450.00 | 450.00 | Md Kheiruddin
23.01 | Supplying and fixing of following rating, 240/415 volts, 'C' curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. 6 to 32 Amps SP MCB | 12.00 | Each |  | 220.00 | 2640.00 | 650.00 | 7800.00 | 2640.00 | Thokchom Okendro Singh
24.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required. Group C | 5.00 | Point |  | 125.00 | 625.00 | 1800.00 | 9000.00 | 625.00 | Thokchom Okendro Singh
25.01 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 20.00 | Meter |  | 290.00 | 5800.00 | 950.00 | 19000.00 | 5800.00 | Thokchom Okendro Singh
26.01 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 4.00 | Each |  | 295.00 | 1180.00 | 650.00 | 2600.00 | 1180.00 | Thokchom Okendro Singh
27.01 | Supplying and fixing suitable size GI box with modular plate and cover in FRLSont on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 4.00 | Each |  | 375.00 | 1500.00 | 850.00 | 3400.00 | 1500.00 | Thokchom Okendro Singh
28.01 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 x 2.5 + 1 X 2.5 sq. mm earth wire | 20.00 | Meter |  | 255.00 | 5100.00 | 850.00 | 17000.00 | 5100.00 | Thokchom Okendro Singh
29.01 | Supply of 18/20 watt 4ft Linear LED luminaire delivering an initial system lumen of 2000 lumens & the luminaire shall be with system efficacy ≥ 105lm / W. The luminaire Housing shall be made of PC & the diffuser shall be of polycarbonate/PMMA. The operating CCT shall be 5700- 6500K with CRI of ≥80. The luminaire shall be with BIS Registered electronic driver with input voltage range of 150 to 270V with L70 Criteria, IP20. The LED Driver shall be easily avaiable in India for repair and service. The LED shall be SMD type. Luminaire shall have minimum surge protection of 2KV.The luminaire shall be with following certifications: LM79 & LM80 issued by LED manufacture along with Photo Biological Safety Standard. | 4.00 | Each |  | 835.00 | 3340.00 | 1450.00 | 5800.00 | 3340.00 | Thokchom Okendro Singh
30.01 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 4.00 | Each |  | 70.00 | 280.00 | 350.00 | 1400.00 | 280.00 | Thokchom Okendro Singh
31.01 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required | 1.00 | Each |  | 5870.00 | 5870.00 | 7810.00 | 7810.00 | 5870.00 | Thokchom Okendro Singh
32.01 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 50.00 | Meter |  | 40.00 | 2000.00 | 190.00 | 9500.00 | 2000.00 | Thokchom Okendro Singh
33.01 | Supply of following size of 1.1kv grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part - I) with upto date amendments. 4 core 25 sqmm Sq.mm. | 260.00 | Meter |  | 165.00 | 42900.00 | 480.00 | 124800.00 | 42900.00 | Thokchom Okendro Singh
34.01 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing DWC HDPE pipe as required Upto 35 sq. mm | 250.00 | Meter |  | 20.00 | 5000.00 | 65.00 | 16250.00 | 5000.00 | Thokchom Okendro Singh
35.01 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm | 10.00 | Meter |  | 20.00 | 200.00 | 50.00 | 500.00 | 200.00 | Thokchom Okendro Singh
36.01 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc.conforming to IS 16205 Part 24 complete with fitting(couplers and 'O' rings ) and cutting,jointing etc.direct in ground (75 cm below ground level) in the existing cable trunch 63 mm dia (OD-63 mm & ID-50 mm nominal) | 250.00 | Meter |  | 70.20 | 17550.00 | 450.00 | 112500.00 | 17550.00 | Thokchom Okendro Singh
37.01 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 core 25 Sq.mm. AL Cable | 2.00 | Set |  | 183.60 | 367.20 | 250.00 | 500.00 | 367.20 | Thokchom Okendro Singh
38.01 | Supplying and fixing cable route marker with 10 cm x 10 cm x 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 15.00 | Each |  | 280.80 | 4212.00 | 650.00 | 9750.00 | 4212.00 | Thokchom Okendro Singh
39.01 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width,and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 65.00 | Cum |  | 676.80 | 43992.00 | 950.00 | 61750.00 | 43992.00 | Thokchom Okendro Singh
| Total in Figures |  |  |  |  | 1594438.20 |  | 1775718.00
Lowest Amount Quoted BY: Thokchom Okendro Singh(1594438.20)

## BOQ Summary
BOQ Summary Details Tender Title: Shifting of MET observatory at Imphal International Airport Tender ID: 2020_AAI_49418_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Thokchom Okendro Singh | 1594438.20 | L1
| 2 | Md Kheiruddin | 1775718.00 | L2