## BoQ1
Government eProcurement System Created By: ANIL KUMAR GOND Created Date/Time: 26-Jun-2020 01:57 PM Tender Title: AAI/KNP/SME-E/eNIT-02/2020-21 Tender ID: 2020_AAI_49445_1
Tender Inviting Authority: Sr. Manager (Engg.-E), Airports Authority of India, Kanpur Airport, Kanpur
Name of Work: ARMO of Electrical & Mechanical installations at Kanpur Airport for the year 2020-22. SH: Operation & Maintenance of Electrical & Mechanical installations.
Contract No: 2020_AAI_49445_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | S. N ELECTRICALS |  | ANOOP REFRIGERATION |  | Awasthi Electric Works |  | CIS ELECTRICALS PVT LTD |  | Dubey Trading Company
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Periodical Maintenance of electrical & mechnical installations of terminal building, MT Pool, Fire Station, Localizer, Glide Path, DVOR, Switch Room at Terminal building, Street lights, Parking light at Airport, Apron lights etc. i/c attending the day to day complaints on all days i/c Sunday and Holiday by providing the skilled & unskilled man power, tools & tackles and attending the break-down and preventive maintenance as per detail specifications enclosed. | 24.00 | Month | 173998.00 | 156480.00 | 3755520.00 | 125671.00 | 3016104.00 | 153468.95 | 3683254.80 | 148000.00 | 3552000.00 | 125008.00 | 3000192.00 | 140000.00 | 3360000.00 | 141500.00 | 3396000.00 | 146250.00 | 3510000.00 | 3000192.00 | ANOOP REFRIGERATION
2.00 | Operation of 2 x 125 KVA AMF DG Set & 2 x 75KVA AMF DG Set along with battery chargers, LT panels, AMF panels & accessories etc. installed at Civil Air Terminal, Chakeri and Civil Aerodrome, Cantt, Kanpur i/c attending the day to day complaints on all days i/c Sunday and Holiday by providing the semi-skilled & unskilled man power, tools & tackles and attending the break-down and preventive maintenance as per detail specifications enclosed. | 24.00 | Month | 196384.00 | 176659.00 | 4239816.00 | 167000.00 | 4008000.00 | 160000.00 | 3840000.00 | 195000.00 | 4680000.00 | 141128.00 | 3387072.00 | 155500.00 | 3732000.00 | 197000.00 | 4728000.00 | 165105.00 | 3962520.00 | 3387072.00 | ANOOP REFRIGERATION
3.00 | Rewinding of 1400/ 1200 mm sweep ceiling fan with super enemelled copper winding wire with varnishing and backing including greasing the bearings as required | 40.00 | Each | 461.00 | 250.00 | 10000.00 | 400.00 | 16000.00 | 200.00 | 8000.00 | 150.00 | 6000.00 | 70.00 | 2800.00 | 150.00 | 6000.00 | 300.00 | 12000.00 | 15.00 | 600.00 | 600.00 | Dubey Trading Company
4.00 | Rewinding of 12"/15"/18"size exhaust fan with super enemelled copper winding wire with varnishing and backing including greasing the bearings as required | 30.00 | Each | 540.00 | 250.00 | 7500.00 | 300.00 | 9000.00 | 200.00 | 6000.00 | 200.00 | 6000.00 | 70.00 | 2100.00 | 400.00 | 12000.00 | 600.00 | 18000.00 | 15.00 | 450.00 | 450.00 | Dubey Trading Company
5.00 | Supply and Replacement of both the ball bearings/bushes of ceiling fans / exhaust fans of all sizes including dismentling and refixing of fans at site etc. complete as required. | 20.00 | Each | 230.00 | 50.00 | 1000.00 | 90.00 | 1800.00 | 50.00 | 1000.00 | 25.00 | 500.00 | 50.00 | 1000.00 | 100.00 | 2000.00 | 110.00 | 2200.00 | 18.00 | 360.00 | 360.00 | Dubey Trading Company
6.00 | Lifting & lowering of submersible pump (upto 7.5 HP ) from existing borewell & installation, testing and commissioning at site by using tripod and other tools, including its connected pipe & cable, packings, nut bolts etc and making water proof joint in submersible cable complete as required. | 3.00 | Each | 8604.00 | 3000.00 | 9000.00 | 6000.00 | 18000.00 | 2000.00 | 6000.00 | 1500.00 | 4500.00 | 200.00 | 600.00 | 1500.00 | 4500.00 | 4000.00 | 12000.00 | 20.00 | 60.00 | 60.00 | Dubey Trading Company
7.00 | Rewinding of following capacity 415Volt 50 Hz AC supply submersible pump motors with super enemelled copper winding wire, varnishing and backing i/c greasing of bearings etc as required. a) 5 H.P | 2.00 | Each | 5447.00 | 500.00 | 1000.00 | 6000.00 | 12000.00 | 1000.00 | 2000.00 | 2500.00 | 5000.00 | 400.00 | 800.00 | 2002.00 | 4004.00 | 1100.00 | 2200.00 | 15.00 | 30.00 | 30.00 | Dubey Trading Company
8.00 | Rewinding of following capacity 415Volt 50 Hz AC supply submersible pump motors with super enemelled copper winding wire, varnishing and backing i/c greasing of bearings etc as required. b) 7.5 H.P | 2.00 | Each | 6174.00 | 600.00 | 1200.00 | 7000.00 | 14000.00 | 1000.00 | 2000.00 | 3500.00 | 7000.00 | 400.00 | 800.00 | 2502.00 | 5004.00 | 1400.00 | 2800.00 | 46.50 | 93.00 | 93.00 | Dubey Trading Company
9.00 | Servicing of Desert coolers installed at different places including minor repairing, cleaning of tank oiling & greasing of accessories & replacement of defective PVC pipe, elbow, tee etc complete as required. | 30.00 | Job | 357.00 | 50.00 | 1500.00 | 400.00 | 12000.00 | 50.00 | 1500.00 | 450.00 | 13500.00 | 15.00 | 450.00 | 150.00 | 4500.00 | 150.00 | 4500.00 | 11.00 | 330.00 | 330.00 | Dubey Trading Company
10.00 | Providing and fixing of grass pad of suitable size of desert cooler installed at different locations complete as required. | 30.00 | Job | 284.00 | 50.00 | 1500.00 | 120.00 | 3600.00 | 50.00 | 1500.00 | 250.00 | 7500.00 | 35.00 | 1050.00 | 100.00 | 3000.00 | 70.00 | 2100.00 | 13.50 | 405.00 | 405.00 | Dubey Trading Company
11.00 | Replacement of desert cooler pump by new submersible cooler pump i/c connection etc. and taking back the old desert cooler pump complete as required. | 20.00 | Nos | 189.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 50.00 | 1000.00 | 200.00 | 4000.00 | 80.00 | 1600.00 | 100.00 | 2000.00 | 250.00 | 5000.00 | 12.00 | 240.00 | 240.00 | Dubey Trading Company
12.00 | Spray Painting of electrical panels/ board/ feeder pillar/ duct of different capacity installed at different places at Kanpur Airport with enameled paint (2 or more coat) including scraping the old paint and single coat of primer etc complete as required. | 20.00 | Sqm | 137.00 | 50.00 | 1000.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 5.00 | 100.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 6.00 | 120.00 | 100.00 | ANOOP REFRIGERATION
13.00 | Letter writing on electrical panels/ board/ feeder pillar/ duct etc. in Hindi/English with synthetic enamel paint of approved shade, letter height not less than 0.5 inch and upto 1.5 inch complete as required. | 1000.00 | Nos | 2.00 | 2.00 | 2000.00 | 10.00 | 10000.00 | 1.00 | 1000.00 | 3.50 | 3500.00 | .05 | 50.00 | 1.00 | 1000.00 | 1.00 | 1000.00 | 1.00 | 1000.00 | 50.00 | ANOOP REFRIGERATION
14.00 | Painting of street light pole Upto 7 to 8 mtr size situated at different places at Kanpur Airport. | 30.00 | Nos | 559.00 | 300.00 | 9000.00 | 300.00 | 9000.00 | 10.00 | 300.00 | 150.00 | 4500.00 | 8.00 | 240.00 | 100.00 | 3000.00 | 500.00 | 15000.00 | 9.00 | 270.00 | 240.00 | ANOOP REFRIGERATION
15.00 | Percentage above or below on the rates of Electrical DSR-2018 (CPWD) items worth totaling to Rs. 2,00,000.00 for Execution of misc. items on requirement basis. The Rates quoted shall be without GST. (Note:the firm has to quote/upload the percentage above / below (+/- ) % on the quantity mentioned against this item directly in the form of multiplying factor in the rate column as clarified below. For Example: if desired to quote 5% above on DSR-2018 rates,the rate column shall be filled as 1.05. If desired to quote 3% below on DSR-2018 rates, the rate column shall be filled as 0.97) | 200000.00 | Job | 1.00 | .75 | 150000.00 | .90 | 180000.00 | .50 | 100000.00 | .60 | 120000.00 | -.75 | -150000.00 | .70 | 140000.00 | .50 | 100000.00 | .01 | 2000.00 | -150000.00 | ANOOP REFRIGERATION
| Total in Figures |  |  |  |  | 8196036.00 |  | 7319504.00 |  | 7655554.80 |  | 8417000.00 |  | 6248854.00 |  | 7281008.00 |  | 8302800.00 |  | 7478478.00
Lowest Amount Quoted BY: ANOOP REFRIGERATION(6248854.00)

## BOQ Summary
BOQ Summary Details Tender Title: AAI/KNP/SME-E/eNIT-02/2020-21 Tender ID: 2020_AAI_49445_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANOOP REFRIGERATION | 6248854.00 | L1
| 2 | Awasthi Electric Works | 7281008.00 | L2
| 3 | Manish Electricals | 7319504.00 | L3
| 4 | Dubey Trading Company | 7478478.00 | L4
| 5 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 7655554.80 | L5
| 6 | ABHISHEK ASSOCIATES | 8196036.00 | L6
| 7 | CIS ELECTRICALS PVT LTD | 8302800.00 | L7
| 8 | S. N ELECTRICALS | 8417000.00 | L8