## BoQ1
Government eProcurement System Created By: Madan Mohan Agrawal Created Date/Time: 09-Jul-2020 03:03 PM Tender Title: ARMO of E and M installations at Civil Enclave Adampur, Jalandhar (Year 2020- 21) Tender ID: 2020_AAI_49701_1
Tender Inviting Authority: Sr. Manager (Engg.-Elect)
Name of Work:- ARMO of E & M installations at Civil Enclave Adampur, Jalandhar( Year 2020-21).
Contract No: Tender ID 2020_AAI_49701
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | Anil Kumar Sharma |  | PAN POLAR ENGINEERS PVT. LTD.
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of all internal & external E & M installations in Terminal building, office and other area, etc. , as per requirement, attending to complaints, fault breakdowns and taking rectification action, ensuring serviceability & satisfactory working conditions of the system, preventive maintenance etc as per details specification terms and conditions covered under contract on all days i/c Sundays & Holidays. The contractor has to deploy minimum man power on each day as per terms & special conditions of contract as required. | 12.00 | Month |  | 110269.00 | 1323228.00 | 111791.00 | 1341492.00 | 105000.00 | 1260000.00 | 116000.00 | 1392000.00 | 115000.00 | 1380000.00 | 1260000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
2.00 | Operation and Maintenance of all internal & external E & M installations in Terminal building, office and other area, etc. , as per requirement, attending to complaints, fault breakdowns and taking rectification action, ensuring serviceability & satisfactory working conditions of the system, preventive maintenance etc as per details specification terms and conditions covered under contract on all days i/c Sundays & Holidays. The contractor has to deploy minimum man power on each day as per terms & special conditions of contract as required. | 6.00 | Month |  | 46970.00 | 281820.00 | 47493.00 | 284958.00 | 20000.00 | 120000.00 | 26500.00 | 159000.00 | 45000.00 | 270000.00 | 120000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | Providing manpower to work as Multi Tasking Staff (MTS-Skilled-Type) to perform jobs assigned on day to day basis on all working day or as per office demand basis i.e. computer typing job work, proper handling of programming & other office work as per satisfaction of officer-in-charge. (Qty - 01 No. per Month). | 12.00 | Month |  | 20172.00 | 242064.00 | 18500.00 | 222000.00 | 16000.00 | 192000.00 | 17200.00 | 206400.00 | 23000.00 | 276000.00 | 192000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
4.00 | Annual maintenance contract of fire alarm system of terminal building for checking, repairing, replacement of all response indicators, MCP Hooter control panel,wiring etc as required. | 12.00 | Month |  | 3000.00 | 36000.00 | 5000.00 | 60000.00 | 500.00 | 6000.00 | 1250.00 | 15000.00 | 30000.00 | 360000.00 | 6000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.10 | Annual maintenance contract of Greaves make 02 no. of 125 KVA DG Set , AMF panel i/c service cum inspection of Diesel engine & as per requirement, attending to complaints, fault breakdowns and taking rectification action, ensuring serviceability & satisfactory working conditions of the system, preventive maintenance etc as per details specification terms and conditions covered under contract ( AMC through OEM / authorised dealer back to back contract) etc as per direction and satisfaction of engineer -in-charge. | 12.00 | Month |  | 5000.00 | 60000.00 | 4000.00 | 48000.00 | 500.00 | 6000.00 | 1500.00 | 18000.00 | 20000.00 | 240000.00 | 6000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.20 | B Check of Greaves make 125 KVA DG Set through OEM/ Authorised dealer | 2.00 | Job |  | 10000.00 | 20000.00 | 7000.00 | 14000.00 | 2500.00 | 5000.00 | 3800.00 | 7600.00 | 7000.00 | 14000.00 | 5000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.30 | C Check of Greaves make 125 KVA DG Set through OEM/ Authorised dealer | 2.00 | Job |  | 15000.00 | 30000.00 | 18000.00 | 36000.00 | 5000.00 | 10000.00 | 7500.00 | 15000.00 | 7000.00 | 14000.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.00 | Annual Comprehensive maintenance contract of following type AC /water coolers as per technical specification of contract.
6.10 | Cassette type AC unit of capacity 2.0 TR | 12.00 | Job/ Year |  | 3500.00 | 42000.00 | 6000.00 | 72000.00 | 500.00 | 6000.00 | 1850.00 | 22200.00 | 4000.00 | 48000.00 | 6000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.20 | Split type AC unit of capacity 1.5 TR | 1.00 | Job/ Year |  | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 500.00 | 500.00 | 1500.00 | 1500.00 | 4000.00 | 4000.00 | 500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.30 | Water cooler of capacity upto 120 ltrs. with 25 LPH RO. | 3.00 | Job/ Year |  | 2000.00 | 6000.00 | 5600.00 | 16800.00 | 1000.00 | 3000.00 | 1900.00 | 5700.00 | 4000.00 | 12000.00 | 3000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.00 | All items covered under CPWD, DSR Electrical 2018 upto an amount of Rs. 50000/- system. | 1.00 | Job |  | 40000.00 | 40000.00 | 40000.00 | 40000.00 | 21555.00 | 21555.00 | 42000.00 | 42000.00 | 40000.00 | 40000.00 | 21555.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
| Total in Figures |  |  |  |  | 2083112.00 |  | 2140250.00 |  | 1630055.00 |  | 1884400.00 |  | 2658000.00
Lowest Amount Quoted BY: JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED(1630055.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M installations at Civil Enclave Adampur, Jalandhar (Year 2020- 21) Tender ID: 2020_AAI_49701_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 1630055.00 | L1
| 2 | Anil Kumar Sharma | 1884400.00 | L2
| 3 | ABHISHEK ASSOCIATES | 2083112.00 | L3
| 4 | Manish Electricals | 2140250.00 | L4
| 5 | PAN POLAR ENGINEERS PVT. LTD. | 2658000.00 | L5