## BoQ1
Government eProcurement System Created By: Chandrashekhar Sharma Created Date/Time: 25-Jun-2020 03:28 PM Tender Title: Construction of Public toilet towards city side at C. A. Porbandar Sh - Electrical works Tender ID: 2020_AAI_49711_1
Tender Inviting Authority: <AGM (E-E), AAI, C.A. Porbandar>
Name of Work: <Construction of Public Toilet towards at Cityside at C.A. Porbandar. Sh:Electrical Works>
Contract No: <AAI_POR_AGM(E-E)_e-NIT-01/20-21>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals |  | Unicon Engineering Co
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of XLPE insualted and PVC sheathed aluminium armoured power cable of 1.1 KV grade conforming to IS : 7098-I with up to date amendments & of size 3.5X25 sqmm all as reqd. & as specified. | 350.00 | Mtr | 100.00 | 170.00 | 59500.00 | 168.00 | 58800.00 | 58800.00 | Unicon Engineering Co
2.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Up to 35 sqmm | 275.00 | Mtr | 100.00 | 45.00 | 12375.00 | 28.00 | 7700.00 | 7700.00 | Unicon Engineering Co
3.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc..direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 275.00 | Mtr | 100.00 | 175.00 | 48125.00 | 58.00 | 15950.00 | 15950.00 | Unicon Engineering Co
4.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required. Up to 35 sqmm | 25.00 | Mtr | 100.00 | 50.00 | 1250.00 | 80.00 | 2000.00 | 1250.00 | Techno Electricals
5.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 25 sq. mm (28mm) | 2.00 | Each | 100.00 | 200.00 | 400.00 | 168.00 | 336.00 | 336.00 | Unicon Engineering Co
6.00 | Supplying and fixing of following ways surface/ recess mounting, horizontal type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. a) 8 way (4 + 24), Double door | 1.00 | Each | 100.00 | 5658.00 | 5658.00 | 5800.00 | 5800.00 | 5658.00 | Techno Electricals
7.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) 63 Amp | 1.00 | Each | 100.00 | 2986.00 | 2986.00 | 3800.00 | 3800.00 | 2986.00 | Techno Electricals
8.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (TPN) | 1.00 | Each | 100.00 | 2000.00 | 2000.00 | 880.00 | 880.00 | 880.00 | Unicon Engineering Co
9.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Double Pole) | 3.00 | Each | 100.00 | 350.00 | 1050.00 | 580.00 | 1740.00 | 1050.00 | Techno Electricals
10.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Single Pole) | 12.00 | Each | 100.00 | 105.00 | 1260.00 | 108.00 | 1296.00 | 1260.00 | Techno Electricals
11.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated, Copper conductor, single core cable in surface/recessed PVC conduit as required. 2 x 2.5 sqmm + 1 x 2.5 sqmm earth wire. | 80.00 | Mtr | 100.00 | 139.00 | 11120.00 | 188.00 | 15040.00 | 11120.00 | Techno Electricals
12.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated, Copper conductor, single core cable in surface/recessed PVC conduit as required. 2 x 4 sqmm + 1 x 4 sqmm earth wire. | 50.00 | Mtr | 100.00 | 185.00 | 9250.00 | 288.00 | 14400.00 | 9250.00 | Techno Electricals
13.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 Sq. mm. FRLS, PVC insulated, copper conductor single core cable in surface/ recessed PVC conduit with modular switch, modular plate, suitable G.I. box and earthnig the point with 1.5 sq.mm FRLS PVC insulated, copper conductor single core cable etc. as required: (Group -C) | 40.00 | Point | 100.00 | 475.00 | 19000.00 | 398.00 | 15920.00 | 15920.00 | Unicon Engineering Co
14.00 | Supply of 300 mm sweep heavy duty 1400 rpm exhaust fan suitable to operate on 240 Volts,50 Hz, single phase AC supply complete all as required & as specified. | 6.00 | Each | 100.00 | 4500.00 | 27000.00 | 2080.00 | 12480.00 | 12480.00 | Unicon Engineering Co
15.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 6.00 | Each | 100.00 | 1000.00 | 6000.00 | 2800.00 | 16800.00 | 6000.00 | Techno Electricals
16.00 | SITC of recess mounted 12 W LED ultra slim decorative aluminium casted, round/square fixture in white finish with opal diffuser and seperate electronic driver suitable to opertate on 240 Volts, 50 Hz, single phase AC supply complete all as required & as specified. | 30.00 | Each | 100.00 | 1200.00 | 36000.00 | 1280.00 | 38400.00 | 36000.00 | Techno Electricals
17.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 9.00 | Each | 100.00 | 350.00 | 3150.00 | 188.00 | 1692.00 | 1692.00 | Unicon Engineering Co
18.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 6.00 | Each | 100.00 | 750.00 | 4500.00 | 588.00 | 3528.00 | 3528.00 | Unicon Engineering Co
19.00 | SITC of 22 watt, 4 ft, long linear decorative type ultra slim aluminium square/round profile LED light fixture with high lumen out put, environmental friendly, energy efficient & suitable to opertate on 240 Volts, 50 Hz, single phase AC supply complete all as required & as specified. . | 5.00 | Each | 100.00 | 650.00 | 3250.00 | 688.00 | 3440.00 | 3250.00 | Techno Electricals
20.00 | SITC of 30 Watt, 6500 K, LED flood light fixture with IP 65 protection, high lumen out put, environmental friendly, energy efficient, suitable to opertate on 240 Volts, 50 Hz, single phase AC supply complete all as required & as specified. | 6.00 | Each | 100.00 | 3000.00 | 18000.00 | 9208.00 | 55248.00 | 18000.00 | Techno Electricals
21.00 | SITC of wall mounted Hand Dryer fully automatic with twin blower, outer casing fabricated out of of SS 304 stainless steel, with solid state time delay feature for operation on 230 Volt single phase supply, hand dry time less than 30 second, auto cut off time 60 sec, speed of 25000 RPM, touch free infra red operation all as required & as specified. (Euronics model no. EH 21 NW or equivalent ) | 3.00 | Each | 100.00 | 14000.00 | 42000.00 | 8288.00 | 24864.00 | 24864.00 | Unicon Engineering Co
22.00 | Providing and fixing of advance technology earth electrode earthing system fabricated from hot deep galvanized pipes (pipe in pipe technology) & cavity between pipes pressure filled with highly conductive non-corrosive crystalline material complete with chemically modified homogeneous earth enhancing compound (back fill compound 25 Kg) to treat the soil for lowering the effective ground impedance for each earth pit to make it maintenance free and to minimize the ground voltage potential rise i/c excavation of earth pit suitable to accommodate earth electrode, prefabricated FRP enclosure with cover plate all as reqd. & conforming to (IS:3043 : 1987) duly CPRI/ERDA approved all as required & as specified for Size : - Outer pipe dia = 80mm Inner pipe dia = 40mm Length of electrode = 2 Mtr | 1.00 | Each | 100.00 | 7000.00 | 7000.00 | 8242.00 | 8242.00 | 7000.00 | Techno Electricals
23.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 15.00 | Mtr | 100.00 | 150.00 | 2250.00 | 108.00 | 1620.00 | 1620.00 | Unicon Engineering Co
24.00 | Providing, laying and fixing of 80 mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required. | 24.00 | Mtr | 100.00 | 783.00 | 18792.00 | 288.00 | 6912.00 | 6912.00 | Unicon Engineering Co
| Total in Figures |  |  |  |  | 341916.00 |  | 316888.00
Lowest Amount Quoted BY: Unicon Engineering Co(316888.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Public toilet towards city side at C. A. Porbandar Sh - Electrical works Tender ID: 2020_AAI_49711_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Unicon Engineering Co | 316888.00 | L1
| 2 | Techno Electricals | 341916.00 | L2