## BoQ1
Government eProcurement System Created By: Shyamashis Das Created Date/Time: 27-Jun-2020 04:20 PM Tender Title: ARMO E and M Installations at B. M. Airport, Ranchi SH Providing Maintenance Services for E and M Installations of Operational Area and Technical Block for the Year 2020-2022 Tender ID: 2020_AAI_49759_1
Tender Inviting Authority: AGM (Engg.-Elect.), AAI, B.M.Airport, Ranchi.
Name of Work: : ARMO E & M Installations at B. M. Airport, Ranchi. SH: Providing Maintenance Services for E&M Installations of Operational Area and Technical Block for the Year 2020-2022.
Contract No: 2020_AAI_49759
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | M/S AMAR ENTERPRISES |  | PAN POLAR ENGINEERS PVT. LTD. |  | Sterling And Wilson Pvt. Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head - I Operation and Maintenance - Man power Requirement. Providing Operation and Maintenance Services of Electrical & Mechanical Installations monthly at entire Operational Area includes Old & New ATC cum Technical Block, Fire station, Navaids, STP building, Hangars (For availing source of power supply only) comprising GLF Systems, CCRs, 03 nos. DG Sets upto 500 KVA with AMF Panels, Power Supply Distribution Systems, Transformers upto 630 KVA, Water Pump Sets, Lifts, High Mast Towers, Flood Lights, Street Lights, Perimeter Road Lights , Fire Hydrant System (only operations), HVAC-VRV system (only operations) all Internal & External E. I. works, Old & New ATC power houses, Fire station, i/c 33 KV HT panel, all LT panels & Feeder pillars, APFC panel, ALCMS, UPSs (2 nos x80 KVA and 2 nos x180 KVA) including other minor ancillary & related installations covering the scope of operations, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions and technical specifications of contract on all days including Sundays & Holidays. The services of DG Sets, AMF Panels at power houses and the services of all other E & M installations shall be ensured round the clock (ie. in three shifts daily, each shift of 8 hours) as per specification and as required. (Minimum Manpower engaged shall be as per special condition of contract and particular specification of contracts)
1.01 | Ist Year | 12.00 | Month | 727131.00 | 678386.00 | 8140632.00 | 665000.00 | 7980000.00 | 600000.00 | 7200000.00 | 710000.00 | 8520000.00 | 633783.00 | 7605396.00 | 7200000.00 | M/S AMAR ENTERPRISES
1.02 | II nd Year | 12.00 | Month | 727131.00 | 678386.00 | 8140632.00 | 665000.00 | 7980000.00 | 607000.00 | 7284000.00 | 710000.00 | 8520000.00 | 633783.00 | 7605396.00 | 7284000.00 | M/S AMAR ENTERPRISES
2.00 | Sub Head - 2 Miscellanious seruices Testing BDV value of transformer oil in presence of AAI representative
2.01 | Ist Year | 5.00 | each | 5000.00 | 1500.00 | 7500.00 | 500.00 | 2500.00 | 4000.00 | 20000.00 | 3000.00 | 15000.00 | 55.00 | 275.00 | 275.00 | Sterling And Wilson Pvt. Ltd
2.02 | II nd Year | 5.00 | each | 5000.00 | 1500.00 | 7500.00 | 500.00 | 2500.00 | 4000.00 | 20000.00 | 3000.00 | 15000.00 | 55.00 | 275.00 | 275.00 | Sterling And Wilson Pvt. Ltd
3.00 | Dehyderation and filtration of transformer oil at site including testing for BDV value after dehydration and filtration and submission of test reports etc. complete as required.
3.01 | Ist Year | 3000.00 | ltrs | 20.00 | 10.00 | 30000.00 | 7.00 | 21000.00 | 25.00 | 75000.00 | 13.00 | 39000.00 | 11.00 | 33000.00 | 21000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.02 | II nd Year | 3000.00 | ltrs | 20.00 | 10.00 | 30000.00 | 7.00 | 21000.00 | 25.00 | 75000.00 | 15.00 | 45000.00 | 11.00 | 33000.00 | 21000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
4.00 | Servicing, maintenance and testing of L & T make Air Circuit Breaker up tol000A complete as required.
4.01 | Ist Year | 10.00 | each | 5000.00 | 4000.00 | 40000.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 5000.00 | 50000.00 | 218.00 | 2180.00 | 2180.00 | Sterling And Wilson Pvt. Ltd
4.02 | II nd Year | 10.00 | each | 6000.00 | 4000.00 | 40000.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 5000.00 | 50000.00 | 218.00 | 2180.00 | 2180.00 | Sterling And Wilson Pvt. Ltd
5.00 | Servrcing, maintenance and calibration of earth fault and over load relay with secondary injection kit etc. of 02 nos. HT panel of Jyoti make comDlete as required.
5.01 | Ist Year | 2.00 | each | 10000.00 | 6000.00 | 12000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 218.00 | 436.00 | 436.00 | Sterling And Wilson Pvt. Ltd
5.02 | II nd Year | 2.00 | each | 10000.00 | 6000.00 | 12000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 218.00 | 436.00 | 436.00 | Sterling And Wilson Pvt. Ltd
6.00 | Servicing, maintenance and testing of 33 kV HT - Vaccum Circuit Breaker ofjyoti make etc. complete as required.
6.01 | Ist Year | 2.00 | each | 25000.00 | 15000.00 | 30000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 218.00 | 436.00 | 436.00 | Sterling And Wilson Pvt. Ltd
6.02 | II nd Year | 2.00 | each | 25000.00 | 15000.00 | 30000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 218.00 | 436.00 | 436.00 | Sterling And Wilson Pvt. Ltd
7.00 | Repair and rewinding of submersible pump motor upto 5 HP Job includes transportation of motor, dismantling and rewinding with the same gauge insulated copper wire including replacement of all the internal worn-out/ defective parts i.e. bushes, impellers, sleeves, upper and lower bush sets, thrust bearings, oil seals, rotor grinding and balancing , assembling, testing, transportation etc. complete as required. | 4.00 | job | 11500.00 | 500.00 | 2000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 8000.00 | 32000.00 | 8720.00 | 34880.00 | 2000.00 | ABHISHEK ASSOCIATES
8.00 | Lifting and lowering of submersible pumps of various capacities (upto 5 HP) due to defect in existing pump on urgent basis within a short notice including connection of cable, jointing of cable etc with successful testing & commissioning complete as required. | 4.00 | job | 9500.00 | 3000.00 | 12000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 4000.00 | 16000.00 | 8175.00 | 32700.00 | 8000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
9.00 | Repair and overhauling of AMF panels i/c Checking of control circuits, interlocking , checking of healthiness of all components including AMF Relays etc as complete and as per direction of EIC(Faulty spares to be provided by AAI ) | 1.00 | job | 64000.00 | 25000.00 | 25000.00 | 10555.00 | 10555.00 | 9300.00 | 9300.00 | 12000.00 | 12000.00 | 54500.00 | 54500.00 | 9300.00 | M/S AMAR ENTERPRISES
10.00 | Sub Head - 3 Supply of general electrical Materials as and when required. Supply of Flame Retardant Low Smoke & Halogen FR-LSH PVC Insulated Industrial Cables of following sizes Single Core FR-LSH PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volts Conforming to IS: 694 (Each Roll of 90 Mtrs)
10.01 | I Core 1.5 Sq. mm. | 15.00 | roll | 1058.00 | 996.00 | 14940.00 | 1000.00 | 15000.00 | 1200.00 | 18000.00 | 1700.00 | 25500.00 | 11.00 | 165.00 | 165.00 | Sterling And Wilson Pvt. Ltd
10.02 | I core2.5 sq.mm. | 15.00 | roll | 1714.00 | 1614.00 | 24210.00 | 1500.00 | 22500.00 | 2000.00 | 30000.00 | 2600.00 | 39000.00 | 17.00 | 255.00 | 255.00 | Sterling And Wilson Pvt. Ltd
10.03 | I core 4 sq.mm. | 10.00 | roll | 2516.00 | 2467.00 | 24670.00 | 2000.00 | 20000.00 | 3000.00 | 30000.00 | 3500.00 | 35000.00 | 28.00 | 280.00 | 280.00 | Sterling And Wilson Pvt. Ltd
11.00 | Supply of PVC insulated and FR PVC Round Sheathed, Copper Conductor (flexible) industrial cable, 1100 Volts, conforming to IS: 694 (Each Roll of 100 Mtrs)
11.01 | 3 core 2.5 sq.mm. | 4.00 | roll | 5698.00 | 6111.00 | 24444.00 | 5000.00 | 20000.00 | 6000.00 | 24000.00 | 6650.00 | 26600.00 | 53.00 | 212.00 | 212.00 | Sterling And Wilson Pvt. Ltd
11.02 | 3 core 4 sq.mm. | 4.00 | roll | 8688.00 | 7986.00 | 31944.00 | 8000.00 | 32000.00 | 8000.00 | 32000.00 | 8250.00 | 33000.00 | 92.00 | 368.00 | 368.00 | Sterling And Wilson Pvt. Ltd
12.00 | Supply of 90 W LED street Light fittings cool white | 20.00 | each | 10000.00 | 3750.00 | 75000.00 | 4000.00 | 80000.00 | 5000.00 | 100000.00 | 6500.00 | 130000.00 | 2943.00 | 58860.00 | 58860.00 | Sterling And Wilson Pvt. Ltd
13.00 | Supply of 3HP submersible pump set make KSB, model UMAI 100- 2.2122 or equivalent | 2.00 | each | 20000.00 | 28470.00 | 56940.00 | 25000.00 | 50000.00 | 20000.00 | 40000.00 | 3800.00 | 7600.00 | 27000.00 | 54000.00 | 7600.00 | PAN POLAR ENGINEERS PVT. LTD.
14.00 | supply of wll mounted fans 300 mm sweep | 10.00 | each | 2025.00 | 1600.00 | 16000.00 | 2000.00 | 20000.00 | 1800.00 | 18000.00 | 2200.00 | 22000.00 | 1962.00 | 19620.00 | 16000.00 | ABHISHEK ASSOCIATES
15.00 | supply of medium intensity Aviation obstruction light for 230 V system | 5.00 | each | 7000.00 | 3800.00 | 19000.00 | 3000.00 | 15000.00 | 5000.00 | 25000.00 | 5000.00 | 25000.00 | 4360.00 | 21800.00 | 15000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
16.00 | Supply of following size XLPE insulated and PVC sheatheed, armoured Aluminum conductor power cable of 1.1 KV grade conforming to IS-7098 (part-1) 1988 with upto date amendments. 3.5 x 185sq mm | 500.00 | mtrs | 672.00 | 618.00 | 309000.00 | 500.00 | 250000.00 | 500.00 | 250000.00 | 700.00 | 350000.00 | 530.00 | 265000.00 | 250000.00 | M/S AMAR ENTERPRISES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
17.00 | 12V constant voltage converter drive for LED signages 60W | 10.00 | each | 3795.00 | 3200.00 | 32000.00 | 1500.00 | 15000.00 | 800.00 | 8000.00 | 5200.00 | 52000.00 | 2289.00 | 22890.00 | 8000.00 | M/S AMAR ENTERPRISES
18.00 | 12V constant voltage converter drive for LED signages 120W | 10.00 | each | 5865.00 | 4800.00 | 48000.00 | 2000.00 | 20000.00 | 1700.00 | 17000.00 | 5200.00 | 52000.00 | 3488.00 | 34880.00 | 17000.00 | M/S AMAR ENTERPRISES
19.00 | LED strip 0.2W X 144 per strip of I meter | 50.00 | mtrs | 518.00 | 430.00 | 21500.00 | 600.00 | 30000.00 | 500.00 | 25000.00 | 200.00 | 10000.00 | 23.00 | 1150.00 | 1150.00 | Sterling And Wilson Pvt. Ltd
20.00 | SH:4 supply of Airfield materials i/c GLF Supply of following GLF items as per latest ICAO specifications
20.01 | 200w 6.6 A holagen Lamp Runway lamp | 200.00 | each | 489.00 | 425.00 | 85000.00 | 850.00 | 170000.00 | 800.00 | 160000.00 | 600.00 | 120000.00 | 465.00 | 93000.00 | 85000.00 | ABHISHEK ASSOCIATES
20.02 | 105 w 6.6 A BIPIN (Inset ) Halogen Lamp | 50.00 | each | 1139.00 | 925.00 | 46250.00 | 850.00 | 42500.00 | 1800.00 | 90000.00 | 1200.00 | 60000.00 | 1010.00 | 50500.00 | 42500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
20.03 | 200 W 6.6 A Elevated Approach Fiting lamp | 50.00 | each | 1000.00 | 850.00 | 42500.00 | 850.00 | 42500.00 | 1000.00 | 50000.00 | 680.00 | 34000.00 | 1045.00 | 52250.00 | 34000.00 | PAN POLAR ENGINEERS PVT. LTD.
20.04 | Runway Larnp Holder (Flate end tenninal ) | 50.00 | each | 374.00 | 290.00 | 14500.00 | 500.00 | 25000.00 | 700.00 | 35000.00 | 520.00 | 26000.00 | 354.00 | 17700.00 | 14500.00 | ABHISHEK ASSOCIATES
20.05 | 6 sq.mm ESSNA -kit (copper ) 5kv grade | 50.00 | each | 661.00 | 330.00 | 16500.00 | 500.00 | 25000.00 | 800.00 | 40000.00 | 720.00 | 36000.00 | 360.00 | 18000.00 | 16500.00 | ABHISHEK ASSOCIATES
20.06 | 16 sq.mm 5 KV Grade plug &Recaptable (ESSNA Kit)(copper) | 100.00 | each | 661.00 | 330.00 | 33000.00 | 550.00 | 55000.00 | 750.00 | 75000.00 | 1100.00 | 110000.00 | 360.00 | 36000.00 | 33000.00 | ABHISHEK ASSOCIATES
20.07 | Secondary 2 Pin lead of 0.3 mtr Length | 50.00 | each | 460.00 | 270.00 | 13500.00 | 500.00 | 25000.00 | 380.00 | 19000.00 | 300.00 | 15000.00 | 300.00 | 15000.00 | 13500.00 | ABHISHEK ASSOCIATES
20.08 | Two Pin Secondary Plug Assembly for PAPI (2.5 Mtr long) | 50.00 | each | 1035.00 | 700.00 | 35000.00 | 1000.00 | 50000.00 | 700.00 | 35000.00 | 600.00 | 30000.00 | 763.00 | 38150.00 | 30000.00 | PAN POLAR ENGINEERS PVT. LTD.
20.09 | Base Plate Gaskets | 50.00 | each | 247.00 | 375.00 | 18750.00 | 750.00 | 37500.00 | 105.00 | 5250.00 | 350.00 | 17500.00 | 410.00 | 20500.00 | 5250.00 | M/S AMAR ENTERPRISES
20.10 | LED Signage Converter capable to drive LED strip of 0'5w for ooerational area signages | 20.00 | each | 10000.00 | 5000.00 | 100000.00 | 4000.00 | 80000.00 | 3800.00 | 76000.00 | 3000.00 | 60000.00 | 5450.00 | 109000.00 | 60000.00 | PAN POLAR ENGINEERS PVT. LTD.
20.11 | LED Signage Strip of 0.5w make osram or equivalent | 50.00 | each | 1380.00 | 950.00 | 47500.00 | 600.00 | 30000.00 | 3000.00 | 150000.00 | 760.00 | 38000.00 | 1050.00 | 52500.00 | 30000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
20.12 | LED Type Taxi Fitting as per latest ICAO standards | 25.00 | each | 8050.00 | 6000.00 | 150000.00 | 5440.00 | 136000.00 | 5000.00 | 125000.00 | 6000.00 | 150000.00 | 6540.00 | 163500.00 | 125000.00 | M/S AMAR ENTERPRISES
20.13 | breakable coupling for GLF light fittings | 20.00 | each | 460.00 | 600.00 | 12000.00 | 500.00 | 10000.00 | 650.00 | 13000.00 | 680.00 | 13600.00 | 654.00 | 13080.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
21.00 | Supply of SCR /Thyrister for NASU CCR
21.01 | 85 RK 160 SCR/thyrister for 7.5kw NASU make CCR | 4.00 | each | 12650.00 | 2000.00 | 8000.00 | 2000.00 | 8000.00 | 1600.00 | 6400.00 | 5200.00 | 20800.00 | 12000.00 | 48000.00 | 6400.00 | M/S AMAR ENTERPRISES
21.02 | 250RK 160 SCR/thyristor for 30kw NASU make CCR | 4.00 | each | 17250.00 | 4500.00 | 18000.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 6000.00 | 24000.00 | 15000.00 | 60000.00 | 10000.00 | M/S AMAR ENTERPRISES
22.00 | Supply of Isolating Transformer as per ICAO
22.01 | Isolating Transformer200w 20/6.6 A | 50.00 | each | 4200.00 | 3500.00 | 175000.00 | 4000.00 | 200000.00 | 4000.00 | 200000.00 | 3200.00 | 160000.00 | 3761.00 | 188050.00 | 160000.00 | PAN POLAR ENGINEERS PVT. LTD.
22.02 | Isolating Transformer200w 6.6/6.6 A | 20.00 | each | 4200.00 | 3500.00 | 70000.00 | 4000.00 | 80000.00 | 4000.00 | 80000.00 | 2800.00 | 56000.00 | 3761.00 | 75220.00 | 56000.00 | PAN POLAR ENGINEERS PVT. LTD.
22.03 | Isolating Transformer 45w 20/6.6 A | 10.00 | each | 3680.00 | 2800.00 | 28000.00 | 3000.00 | 30000.00 | 3750.00 | 37500.00 | 2800.00 | 28000.00 | 3052.00 | 30520.00 | 28000.00 | PAN POLAR ENGINEERS PVT. LTD., ABHISHEK ASSOCIATES
22.04 | Isolating Transformer 45w 6.6/6.6 A | 10.00 | each | 3680.00 | 2800.00 | 28000.00 | 3000.00 | 30000.00 | 3750.00 | 37500.00 | 2600.00 | 26000.00 | 3052.00 | 30520.00 | 26000.00 | PAN POLAR ENGINEERS PVT. LTD.
22.05 | Isolating Transformer 15 w 20/6.6A | 20.00 | each | 2990.00 | 2250.00 | 45000.00 | 2500.00 | 50000.00 | 2600.00 | 52000.00 | 2600.00 | 52000.00 | 2453.00 | 49060.00 | 45000.00 | ABHISHEK ASSOCIATES
22.06 | Isolating Transformer 15 w 6.6/6.6A | 20.00 | each | 2990.00 | 2250.00 | 45000.00 | 2500.00 | 50000.00 | 2600.00 | 52000.00 | 2500.00 | 50000.00 | 2453.00 | 49060.00 | 45000.00 | ABHISHEK ASSOCIATES
22.07 | Isolating Transformer 300W 6.6/6.6A | 10.00 | each | 4200.00 | 5100.00 | 51000.00 | 5000.00 | 50000.00 | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 5559.00 | 55590.00 | 45000.00 | PAN POLAR ENGINEERS PVT. LTD.
23.00 | Supply of LENS
23.01 | 360 Clear inner lens /Filters | 50.00 | each | 3191.00 | 1500.00 | 75000.00 | 1000.00 | 50000.00 | 1900.00 | 95000.00 | 3000.00 | 150000.00 | 1635.00 | 81750.00 | 50000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.02 | 180 deg inner lens filters | 10.00 | each | 2760.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 3000.00 | 30000.00 | 1635.00 | 16350.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.03 | 180 deg Red lens filters | 10.00 | each | 2760.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 3200.00 | 32000.00 | 1635.00 | 16350.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.04 | 180 deg Green lens filters | 10.00 | each | 2760.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 3200.00 | 32000.00 | 1635.00 | 16350.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.05 | 180 deg yellow lens/filter | 10.00 | each | 2760.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 3200.00 | 32000.00 | 1635.00 | 16350.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.06 | Ommi- directionol blue lens Suitable for MIRL | 10.00 | each | 2415.00 | 1500.00 | 15000.00 | 500.00 | 5000.00 | 1200.00 | 12000.00 | 3200.00 | 32000.00 | 1635.00 | 16350.00 | 5000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.07 | 180 deg Black Sheild | 10.00 | each | 2760.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 3200.00 | 32000.00 | 1635.00 | 16350.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.08 | 180 Yellow Filter (convetional Type ) | 10.00 | each | 2760.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 3300.00 | 33000.00 | 1635.00 | 16350.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.09 | Red Filter for papi | 10.00 | each | 5980.00 | 1500.00 | 15000.00 | 2000.00 | 20000.00 | 1200.00 | 12000.00 | 3500.00 | 35000.00 | 1635.00 | 16350.00 | 12000.00 | M/S AMAR ENTERPRISES
23.10 | Red Spreader lens for end light fiting | 10.00 | each | 3795.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 6000.00 | 60000.00 | 1635.00 | 16350.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.11 | Green Spreader lens For threshold light fiting | 10.00 | each | 3795.00 | 1500.00 | 15000.00 | 1200.00 | 12000.00 | 1200.00 | 12000.00 | 4500.00 | 45000.00 | 1635.00 | 16350.00 | 12000.00 | M/S AMAR ENTERPRISES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.12 | 360 Clear outer dome for HIRL fitring | 50.00 | each | 3393.00 | 1500.00 | 75000.00 | 1500.00 | 75000.00 | 1200.00 | 60000.00 | 4000.00 | 200000.00 | 1635.00 | 81750.00 | 60000.00 | M/S AMAR ENTERPRISES
24.00 | Supply of Airfield/Runway Cable
24.01 | 1x6 sq.mm Airfiled Lieilrting cable | 500.00 | mtrs | 86.00 | 65.00 | 32500.00 | 70.00 | 35000.00 | 109.00 | 54500.00 | 90.00 | 45000.00 | 19.00 | 9500.00 | 9500.00 | Sterling And Wilson Pvt. Ltd
24.02 | 1x16 sq.mm Airfiled Lieilrting cable | 500.00 | mtrs | 173.00 | 160.00 | 80000.00 | 120.00 | 60000.00 | 169.00 | 84500.00 | 160.00 | 80000.00 | 118.00 | 59000.00 | 59000.00 | Sterling And Wilson Pvt. Ltd
25.00 | Sub Head - 5 DSR Works Percentage above or below on the rates of DSR'2018(CPWD )-Electrical items worth totaling to Rs.15,00,000.00 as per requirement. (Note: The firm has to quote/upload the Percentage above/ below (+/- %) on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below: For Example: If desired to quote 5% above on SR-2018 rates, the rate column shall be filled as 1.05. If desired to quote 3% below on SR-2018 rates, the rate column shall be filled as 0.97.) | 1500000.00 | % Above or Below | 1.00 | .80 | 1200000.00 | .85 | 1275000.00 | .70 | 1050000.00 | .90 | 1350000.00 | .80 | 1200000.00 | 1050000.00 | M/S AMAR ENTERPRISES
| Total in Figures |  |  |  |  | 19951912.00 |  | 19555555.00 |  | 18344950.00 |  | 21529600.00 |  | 18745706.00
Lowest Amount Quoted BY: M/S AMAR ENTERPRISES(18344950.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO E and M Installations at B. M. Airport, Ranchi SH Providing Maintenance Services for E and M Installations of Operational Area and Technical Block for the Year 2020-2022 Tender ID: 2020_AAI_49759_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S AMAR ENTERPRISES | 18344950.00 | L1
| 2 | Sterling And Wilson Pvt. Ltd | 18745706.00 | L2
| 3 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 19555555.00 | L3
| 4 | ABHISHEK ASSOCIATES | 19951912.00 | L4
| 5 | PAN POLAR ENGINEERS PVT. LTD. | 21529600.00 | L5