## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 22-Jul-2020 11:31 AM Tender Title: ARMO of Electrical and Allied Works at Old Civil Airport Jaisalmer (i/c Gagan) (For 2 Years 2020-22) Tender ID: 2020_AAI_49779_1
Tender Inviting Authority: Sr. Manager Engg.- E, Northern Region, Airports Authority of India, New Delhi
Name of Work:- "ARMO of Electrical & Allied Works at Old Civil Airport Jaisalmer (i/c Gagan) (For 2 Years 2020-22).
Contract No: 2020_AAI_49779
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | PAN POLAR ENGINEERS PVT. LTD. |  | Ram Karan Porterage Contractor |  | CIS ELECTRICALS PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Running operation & maintenance of all Internal & External Electrical Installation, Lighting system, clean water pump wystem, including one Nos. Silent type DG set of 30 KVA rating (Kirloskar) with associated AMF panel, LT power distrinbution panels etc. i/c attending to complaints / faults / breakdowns and taking proper rectification action, ensuring serviceability & satisfactory working condition of the systems, on all days including Sundays and Holidays, by deployment of required manpower as specified below and as per special condition of Contract. (All major materiasls for maintenance shall be issued, free of cost, by the AAI): (a) Supervisor - Highly Skilled - 01 No. - General Shift (06 Days in a Week) (b) Wireman - Skilled - 03 Nos. (Reliever Shall be Provided on Weekly Off/Holiday ) (c) Helper - Unskilled - 01 Nos. (Reliever Shall be Provided on Weekly Off / Holiday) (1. Contractor has to depute the above required staff except Supervisor on all days including weekly offs & holidays. 2. Contractor has to provide Reliever on Weekly Offs / Holidays of above required staffs except Supervisor) | 24.00 | Month |  | 98111.00 | 2354664.00 | 92161.00 | 2211864.00 | 100000.00 | 2400000.00 | 93000.00 | 2232000.00 | 91760.00 | 2202240.00 | 199000.00 | 4776000.00 | 2202240.00 | Ram Karan Porterage Contractor
2.00 | Annual Comprehensive Maintenance of fire fighting / fire alarm detection system including refilling of gas and other required wornout/faulty spares complete in all restect consisting of following equipment:- (a) Main control Fire panel/local control panels/Fire Alarm Panels (b) Fire fighting extingulshers (Co2 type and mechanical foam type) Note- The contractor has to depute specialist Fire supervisor / mechanic during every visit in each month for checking & attending faults. | 24.00 | Month |  | 2500.00 | 60000.00 | 12000.00 | 288000.00 | 3000.00 | 72000.00 | 15000.00 | 360000.00 | 2500.00 | 60000.00 | 70000.00 | 1680000.00 | 60000.00 | ABHISHEK ASSOCIATES, Ram Karan Porterage Contractor
3.00 | comprehensive maintenance contract of Water cooler, upto capacity 150/150L i/c supply & replacement of wornout spares, refrigerent gas & defective compressor of OEM make i/c rewinding of motor and repair of voltage stabilizer etc. as reqd. as per instructions of Engineer-in-Charge for ONE UNIT FOR ONE MONTH. | 72.00 | Job |  | 200.00 | 14400.00 | 350.00 | 25200.00 | 500.00 | 36000.00 | 200.00 | 14400.00 | 500.00 | 36000.00 | 20000.00 | 1440000.00 | 14400.00 | PAN POLAR ENGINEERS PVT. LTD., ABHISHEK ASSOCIATES
4.00 | Comprehensive maintenance contract of Spit type Aircoditioner, 1.5 TR i/c supply & replacement of wornout spares refrigerent gas & defective compressor of OEM make i/c rewinding of motor and repair of voltage stabilizer etc. as reqd. as per instructions of Engineer-in-Charge for ONE UNIT FOR ONE MONTH. | 48.00 | Job |  | 200.00 | 9600.00 | 360.00 | 17280.00 | 500.00 | 24000.00 | 200.00 | 9600.00 | 700.00 | 33600.00 | 16000.00 | 768000.00 | 9600.00 | PAN POLAR ENGINEERS PVT. LTD., ABHISHEK ASSOCIATES
5.00 | Comprehensive maintenance contract of Spit type Aircoditioner, 2.0 TR i/c supply & replacement of wornout spares refrigerent gas & defective compressor of OEM make i/c rewinding of motor and repair of voltage stabilizer etc. as reqd. as per instructions of Engineer-in-Charge for ONE UNIT FOR ONE MONTH. | 264.00 | Job |  | 200.00 | 52800.00 | 400.00 | 105600.00 | 500.00 | 132000.00 | 300.00 | 79200.00 | 800.00 | 211200.00 | 100000.00 | 26400000.00 | 52800.00 | ABHISHEK ASSOCIATES
6.00 | Dismentalling / shifting / Re-installation / Testing and Commissioning of 1.5/2.0/3TR Spilt / Tower type Airconditioners suitable for operation on 230V, 50Hz, A. C. Supply on wall, Floor or Ceiling i/c gas charging, accociated Civil Works and making all arangement for successful ITC of AC Units etc. complete as required. | 5.00 | Each |  | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 2000.00 | 10000.00 | 3000.00 | 15000.00 | 3000.00 | 15000.00 | 2000.00 | 10000.00 | 10000.00 | CIS ELECTRICALS PVT LTD, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.00 | Rewinding of Motor of celling / Pedestal / Exhaust / Wall mounted fan / Desert / Room cooler i/c replacement of bearings / bushes rotary mechanism, Grasing etc. as reqd.). | 10.00 | Job |  | 250.00 | 2500.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 700.00 | 7000.00 | 1000.00 | 10000.00 | 4000.00 | 40000.00 | 2500.00 | ABHISHEK ASSOCIATES
8.00 | Supply and replacement of B-Check kit (including Engine Lube Oil,fuel, oil filter, O-ring. CR element, coolant etc. as per manufacturers recommendation) i/c servicing by authorised dealer for the following make capacity DG sets. (i) 30 KVA DG Set (Make: Kirloskar) - 01 set | 4.00 | Job |  | 10000.00 | 40000.00 | 3500.00 | 14000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 25000.00 | 100000.00 | 14000.00 | Manish Electricals
9.00 | Supplying and replacement of following make ,Battery with Cu. Cable/Lugs etc. as reqd at site for DG Sets/Diesel Engine as specified below (Old worn /scrap battery shall be retained by the firm
9.10 | SMF Battery 12 V, 100 AH (Exide/ AMCO / AMARON / PRESTOLITE / GENPRO / LUCAS make) | 2.00 | Each |  | 10000.00 | 20000.00 | 12000.00 | 24000.00 | 10000.00 | 20000.00 | 6500.00 | 13000.00 | 10000.00 | 20000.00 | 7000.00 | 14000.00 | 13000.00 | PAN POLAR ENGINEERS PVT. LTD.
10.00 | To carry out the complete item of work on CPWD schedule of rates (Electrical DSR -2018) as per CPWD specification complete as required. (Total amount of Rs. 1,00,000.00 is kept for DSR Item-2018) (Note : Rate of DSR items shall be calculated by deducting GST component from schedule rate on account of GST and the quantity. Rs 100000.00 is after deducting the GST component) (Refer clause- 33 of Guidence to the bidder at page No.- NIT-4 & NIT-5 for quoting rate for this item.) | 1.00 | Job |  | 80000.00 | 80000.00 | 70000.00 | 70000.00 | 75000.00 | 75000.00 | 75000.00 | 75000.00 | 70000.00 | 70000.00 | 50000.00 | 50000.00 | 50000.00 | CIS ELECTRICALS PVT LTD
| Total in Figures |  |  |  |  | 2646464.00 |  | 2772444.00 |  | 2794000.00 |  | 2845200.00 |  | 2678040.00 |  | 35278000.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(2646464.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Allied Works at Old Civil Airport Jaisalmer (i/c Gagan) (For 2 Years 2020-22) Tender ID: 2020_AAI_49779_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 2646464.00 | L1
| 2 | Ram Karan Porterage Contractor | 2678040.00 | L2
| 3 | Manish Electricals | 2772444.00 | L3
| 4 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 2794000.00 | L4
| 5 | PAN POLAR ENGINEERS PVT. LTD. | 2845200.00 | L5
| 6 | CIS ELECTRICALS PVT LTD | 35278000.00 | L6