## BoQ1
Government eProcurement System Created By: Biraj Kumar Ganguly Created Date/Time: 07-Aug-2020 01:30 PM Tender Title: Operation and CMC contract of high side and low side of AC plant at Operational Office Complex NSCBI Airport Tender ID: 2020_AAI_50209_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work: R & M other electrical works at NSCBI Airport kolkata for the year 2020-2021 & 2021-2022. SH:- Operation & CMC contract of high side and low side of AC plant at Operational office Complex, NSCBI Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Voltas Limited |  | Blue Star Ltd |  | Carrier Airconditioning and Refrigeration Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance Contract of HVAC equipment installed at Plant Room (High Side) complete with Air-cooled Screw Chillers (04 nos.- 200 TR), Chilled Water Pumps, associated Electrical Power supply panels, Starter Panels & Control Panels with all it's control and switchgear i/c VFDs and associated power and control cables, piping & valves with and without insulation, Strainers, Flow meters, earthing connector complete etc., as required and as per enclosed specifications with all related/ associated equipments works at locations and as installed covering the scope of activities given in special conditions of contract and technical specifications, attending faults and free supply, replacement of defective components of same rating and make, ensuring serviceability/satisfactory working condition of the systems, i/c attending preventive & breakdown maintenance complete etc. as required and as specified.
2.00 | First Year | 12.00 | Months | 10500.00 | 60000.00 | 720000.00 | 52000.00 | 624000.00 | 41666.00 | 499992.00 | 499992.00 | Carrier Airconditioning and Refrigeration Ltd
3.00 | Second Year | 12.00 | Months | 10500.00 | 61800.00 | 741600.00 | 54000.00 | 648000.00 | 45000.00 | 540000.00 | 540000.00 | Carrier Airconditioning and Refrigeration Ltd
4.00 | Comprehensive Maintenance Contract of HVAC equipments installed at Operational Building (Low Side) complete with AHUs and associated electrical panels complete with control and switch gear and associated cables i/c VFD, valves with and without insulation, Strainers, VFDs, complete etc., as required as per enclosed specifications with all related/associated equipments at locations and as installed covering the scope of acivities given in special conditions of contract and technical specifications, attendng faults and free supply, replacement of defective components of same rating and make, ensuring serviceability/satisfactory working condition of the systems, i/c attending preventive & breakdown maintenance complete etc. as required and as specified.
5.00 | First year | 12.00 | Months | 10500.00 | 33330.00 | 399960.00 | 36500.00 | 438000.00 | 35000.00 | 420000.00 | 399960.00 | Voltas Limited
6.00 | Second Year | 12.00 | Months | 10500.00 | 34329.90 | 411958.80 | 38500.00 | 462000.00 | 36750.00 | 441000.00 | 411958.80 | Voltas Limited
7.00 | Operation and Day to Day Maintenance Contract of HVAC equipments installed at Plant Room and Operational Building (High Side and Low Side) complete with Air-cooled Screw Chillers (4 nos), Chilled Water Pumps, associated Electrical Power supply panels, Starter Panels & Control Panels with all it's control and switchgear i/c VFDs, AHUs and associated electrical panels complete with control and switch gear and associated cables i/c VFD, valves with and without insulation, Strainers, VFDs, complete etc. and associated power and control cables, piping & valves with and without insulation, Strainers, Flow meters, earthing connector complete etc., as required and as per enclosed specifications with all related/associated equipments at locations as per the enclosed inventory of "Annexure-A" and as installed covering the scope of activities given in special conditions of contract and technical specifications, attending faults and free supply, replacement of defective components of same rating and make, ensuring serviceability/satisfactory working condition of the systems, i/c attending preventive & breakdown maintenance, record maintenance, documentation, complete etc. as required and as specified.
8.00 | First year | 12.00 | Months | 10500.00 | 154971.36 | 1859656.32 | 160200.00 | 1922400.00 | 150000.00 | 1800000.00 | 1800000.00 | Carrier Airconditioning and Refrigeration Ltd
9.00 | Second Year | 12.00 | Months | 10500.00 | 162719.93 | 1952639.16 | 164800.00 | 1977600.00 | 155000.00 | 1860000.00 | 1860000.00 | Carrier Airconditioning and Refrigeration Ltd
10.00 | Supply and fixing of Direct mounting Actuator (Valve Size-1/2'',3'') with master controller Thermostat Model-M911A-M 912B Model R981-s Power Supply-24 V AC | 12.00 | Nos. |  | 10752.00 | 129024.00 | 12000.00 | 144000.00 | 25000.00 | 300000.00 | 129024.00 | Voltas Limited
11.00 | Supply and fixing of ball valve, syphone, pressure gauge as per following size
12.00 | Pressure gauge 4'' Dia dial type Connection-3/8'' BSP range :0-10 kg | 50.00 | Nos. |  | 283.50 | 14175.00 | 418.00 | 20900.00 | 600.00 | 30000.00 | 14175.00 | Voltas Limited
13.00 | Gun Metal Ball Valve Size - 3/8'' | 50.00 | Nos. |  | 126.00 | 6300.00 | 313.00 | 15650.00 | 420.00 | 21000.00 | 6300.00 | Voltas Limited
14.00 | MS Syphone Size-3/8'' | 50.00 | Nos. |  | 42.00 | 2100.00 | 113.00 | 5650.00 | 150.00 | 7500.00 | 2100.00 | Voltas Limited
15.00 | Supply and fixing of SS-316 Ball Valve Size-25mm | 20.00 | Nos. |  | 1050.00 | 21000.00 | 600.00 | 12000.00 | 1300.00 | 26000.00 | 12000.00 | Blue Star Ltd
16.00 | Supply and fixing of Door Limit Switch,Lamp with Fittings as per following size
17.00 | Door Limit Switch (10A, 500VAC,0.8A, 250VAC, 1NO +1NC) TYPE -LSR , Make-ESSEN. | 15.00 | Nos. |  | 1260.00 | 18900.00 | 2500.00 | 37500.00 | 500.00 | 7500.00 | 7500.00 | Carrier Airconditioning and Refrigeration Ltd
18.00 | 100w Lamp with Fittings | 15.00 | Nos. |  | 210.00 | 3150.00 | 400.00 | 6000.00 | 50.00 | 750.00 | 750.00 | Carrier Airconditioning and Refrigeration Ltd
19.00 | Supply and fixing Of Butterfly Valves (PN-16 ) as per following size
20.00 | 80mm | 6.00 | Nos. |  | 1191.75 | 7150.50 | 2800.00 | 16800.00 | 1800.00 | 10800.00 | 7150.50 | Voltas Limited
21.00 | 125mm | 2.00 | Nos. |  | 1790.25 | 3580.50 | 4500.00 | 9000.00 | 2800.00 | 5600.00 | 3580.50 | Voltas Limited
22.00 | Supply and fixing of AHU Air Pre Filter (EU-3)
23.00 | Size- 595 X 290 X 50 mm | 80.00 | Nos. |  | 543.64 | 43491.20 | 1100.00 | 88000.00 | 550.00 | 44000.00 | 43491.20 | Voltas Limited
24.00 | Size- 595 X 595 X 50 mm | 95.00 | Nos. |  | 683.29 | 64912.55 | 1500.00 | 142500.00 | 670.00 | 63650.00 | 63650.00 | Carrier Airconditioning and Refrigeration Ltd
25.00 | The execution of Delhi Schedule of Rates (E&M) 2018 of estimated amount of Rs 5,00,000.00 Items mentioned in Chapter 1 to Chapter 17 including Appendix-I & II as when required basis for repair/maintenance/ addition / alteration etc. [Quoting in the Rate 10% below the Estimated amount of Rs 5,00,000.00 means amount will be Rs. 4,50,000/-. Similarly Quoting in the Rate 10% above the Estimated amount of Rs 5,00,000.00 means amount will be Rs.5,50,000/-] (Note: Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR-2018) | 500000.00 | % above or below | 10500.00 | 12.00 | 440000.00 | 15.00 | 425000.00 | 16.00 | 420000.00 | 420000.00 | Carrier Airconditioning and Refrigeration Ltd
| Total in Figures |  |  |  |  | 6839598.03 |  | 6995000.00 |  | 6497792.00
Lowest Amount Quoted BY: Carrier Airconditioning and Refrigeration Ltd(6497792.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and CMC contract of high side and low side of AC plant at Operational Office Complex NSCBI Airport Tender ID: 2020_AAI_50209_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Carrier Airconditioning and Refrigeration Ltd | 6497792.00 | L1
| 2 | Voltas Limited | 6839598.03 | L2
| 3 | Blue Star Ltd | 6995000.00 | L3