## BoQ1
Government eProcurement System Created By: Shyamashis Das Created Date/Time: 08-Jul-2020 03:06 PM Tender Title: ARMO E and M Installations at B. M. Airport, Ranchi SH- Providing Maintenance Services for E and M Installations of old terminal building, CISF barrack, MT pool ,cargo division and ancillary buildings etc. Tender ID: 2020_AAI_50256_1
Tender Inviting Authority: AGM (Engg.-Elect.), AAI, B.M.Airport, Ranchi.
Name of Work: : ARMO E & M Installations at B. M. Airport, Ranchi. SH: Providing Maintenance Services for E&M Installations of old terminal building, CISF barrack, MT pool ,cargo division and ancillary buildings etc
Contract No: 2020_AAI_ 50256
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S AMAR ENTERPRISES |  | CIS ELECTRICALS PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head - 1 Operation and Maintenance - Man Power Requirement. Providing Operation and Maintenance Services of Electrical & Mechanical Installations monthly at old terminal building , MT pool , CISF barrack ,cargo division, Approach Road & old and nw Car Parking Lights,including power supply Systems, all Internal & External E. I. of areas mentioned above covering the scope of operation, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions and technical specifications of contract on all days including Sundays & Holidays. The services shall be carried out in 01 shift daily (Minimum Manpower engaged shall be as per special condition attached) | 7.00 | Month | 63183.00 | 59000.00 | 413000.00 | 150000.00 | 1050000.00 | 413000.00 | M/S AMAR ENTERPRISES
2.00 | Sub Head - 2 Miscellanious seruices AMC of 250 KWp terrace mounted Solar panels along with inverter and other accessories as complete(Faulty spares will be provided by AAI).
2.01 | For six month | 1.00 | job | 160000.00 | 70000.00 | 70000.00 | 100000.00 | 100000.00 | 70000.00 | M/S AMAR ENTERPRISES
3.00 | Decorating City side of Airport with minimum 50 nos PAR Lights , 300 nos Led Rice lights , 20 nos flood lights giving tri colour effects or as per theme dicided by E-I-C during national holidays or festivals. | 12.00 | days | 6000.00 | 5500.00 | 66000.00 | 2000.00 | 24000.00 | 24000.00 | CIS ELECTRICALS PVT LTD
4.00 | Sub Head - 3 Supply of Materials as and when required. Supply of spares for self driven articulating compact crawler/spider boom lift make GOMAN, Model' X24
4.01 | Hydraulic OilHighPressureFilter, code HF735-20.106-AS-FG010-H C-B60-B-DD-H | 2.00 | each | 61272.00 | 45000.00 | 90000.00 | 1000.00 | 2000.00 | 2000.00 | CIS ELECTRICALS PVT LTD
4.02 | HydraulicOil Return,Filter code RFMBN/HC165BC1OE1.0 | 2.00 | each | 31581.00 | 25000.00 | 50000.00 | 1000.00 | 2000.00 | 2000.00 | CIS ELECTRICALS PVT LTD
4.03 | Tilt Sensor code 'ZCT1KOJ-SPS-A | 1.00 | each | 16600.00 | 15000.00 | 15000.00 | 100.00 | 100.00 | 100.00 | CIS ELECTRICALS PVT LTD
4.04 | OutriggerHydraulicLock code 'MC000114 | 1.00 | each | 12868.00 | 11000.00 | 11000.00 | 200.00 | 200.00 | 200.00 | CIS ELECTRICALS PVT LTD
4.05 | ElectronicThrottle code DE24-17W42-02FP041 | 1.00 | each | 100265.00 | 85000.00 | 85000.00 | 400.00 | 400.00 | 400.00 | CIS ELECTRICALS PVT LTD
4.06 | OutriggerTravelSwitch item code 'XCMD2115L1 | 1.00 | each | 4198.00 | 4000.00 | 4000.00 | 300.00 | 300.00 | 300.00 | CIS ELECTRICALS PVT LTD
4.07 | OutriggerLanding Travel Switch item code'ZCMD21 | 1.00 | each | 7130.00 | 6000.00 | 6000.00 | 400.00 | 400.00 | 400.00 | CIS ELECTRICALS PVT LTD
4.08 | BoomTravelSwitch item code'ZCK-J2H29C | 1.00 | each | 2674.00 | 2500.00 | 2500.00 | 300.00 | 300.00 | 300.00 | CIS ELECTRICALS PVT LTD
4.09 | Fuse '20A | 1.00 | each | 57.00 | 100.00 | 100.00 | 250.00 | 250.00 | 100.00 | M/S AMAR ENTERPRISES
4.10 | KeySwitch item code'ZB4BG7 | 1.00 | each | 6240.00 | 6000.00 | 6000.00 | 500.00 | 500.00 | 500.00 | CIS ELECTRICALS PVT LTD
4.11 | Controller item code 'CR2532 | 1.00 | each | 210555.00 | 155000.00 | 155000.00 | 600.00 | 600.00 | 600.00 | CIS ELECTRICALS PVT LTD
4.12 | RotaryEncoder item code'ZB0622 | 2.00 | each | 59380.00 | 50000.00 | 100000.00 | 4000.00 | 8000.00 | 8000.00 | CIS ELECTRICALS PVT LTD
4.13 | TimeRelay item code'H3Y-2 | 1.00 | each | 3326.00 | 3000.00 | 3000.00 | 500.00 | 500.00 | 500.00 | CIS ELECTRICALS PVT LTD
4.14 | EmergencyButton item code'ZB2BS54C | 1.00 | each | 1125.00 | 1000.00 | 1000.00 | 1200.00 | 1200.00 | 1000.00 | M/S AMAR ENTERPRISES
4.15 | Hydraulic Oil Pump item code 00372847PUMPPLP10.63 DO-30S0-LGD/GD-N-EL1 | 1.00 | each | 148391.00 | 118000.00 | 118000.00 | 2800.00 | 2800.00 | 2800.00 | CIS ELECTRICALS PVT LTD
4.16 | AngleSensor item code'ZCT1KOJ-SPS-A | 1.00 | each | 16600.00 | 14000.00 | 14000.00 | 1000.00 | 1000.00 | 1000.00 | CIS ELECTRICALS PVT LTD
4.17 | PullSensor item code'SDS-80 | 1.00 | each | 77637.00 | 65000.00 | 65000.00 | 900.00 | 900.00 | 900.00 | CIS ELECTRICALS PVT LTD
4.18 | IndicatorLight item code'AD56-22DS | 1.00 | each | 502.00 | 400.00 | 400.00 | 500.00 | 500.00 | 400.00 | M/S AMAR ENTERPRISES
4.19 | ACContactor item code'LC1D25JDC | 1.00 | each | 13425.00 | 12000.00 | 12000.00 | 600.00 | 600.00 | 600.00 | CIS ELECTRICALS PVT LTD
4.20 | 12V,24VConvertor item code'CPZ250-12S24 | 1.00 | each | 7596.00 | 7300.00 | 7300.00 | 2000.00 | 2000.00 | 2000.00 | CIS ELECTRICALS PVT LTD
4.21 | LimitSwitch item code XCMD2102C12 | 1.00 | each | 1418.00 | 1200.00 | 1200.00 | 4000.00 | 4000.00 | 1200.00 | M/S AMAR ENTERPRISES
4.22 | GearPump item code PLP10.4D | 1.00 | each | 10129.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 5000.00 | CIS ELECTRICALS PVT LTD
4.23 | Hydraulic Oil | 60.00 | each | 300.00 | 280.00 | 16800.00 | 6000.00 | 360000.00 | 16800.00 | M/S AMAR ENTERPRISES
5.00 | Sub Head - 4 DSR Works Percentage above or below on the rates of DSR'2018(CPWD )-Electrical items worth totaling to Rs.2,00,000.00 as per requirement. (Note: The firm has to quote/upload the Percentage above/ below (+/- %) on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below: For Example: If desired to quote 5% above on SR-2018 rates, the rate column shall be filled as 1.05. If desired to quote 3% below on SR-2018 rates, the rate column shall be filled as 0.97.) | 50000.00 | % Above or Below | 1.00 | .80 | 40000.00 | 2.00 | 100000.00 | 40000.00 | M/S AMAR ENTERPRISES
| Total in Figures |  |  |  |  | 1362300.00 |  | 1667550.00
Lowest Amount Quoted BY: M/S AMAR ENTERPRISES(1362300.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO E and M Installations at B. M. Airport, Ranchi SH- Providing Maintenance Services for E and M Installations of old terminal building, CISF barrack, MT pool ,cargo division and ancillary buildings etc. Tender ID: 2020_AAI_50256_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S AMAR ENTERPRISES | 1362300.00 | L1
| 2 | CIS ELECTRICALS PVT LTD | 1667550.00 | L2