## BoQ1
Government eProcurement System Created By: Ganesh Yadav Created Date/Time: 08-Jul-2020 01:26 PM Tender Title: ARMO of Electrical and Mechanical installation at Civil Airport Gorakhpur for the year 2020-21 and 2021-22. Tender ID: 2020_AAI_50574_1
Tender Inviting Authority: Asst. Gen. Mgr. (E-E), AAI, Civil Airport, Gorakhpur
Name of Work: ARMO of Electrical and Mechanical installation at Civil Airport Gorakhpur for the year 2020-21 and 2021-22.
Contract No: AAI/GKP/ENGG-ELECT./ARMO/20-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | S. N ELECTRICALS |  | SAURABH ENTERPRISES |  | PAN POLAR ENGINEERS PVT. LTD. |  | Industrial Traders |  | ANOOP REFRIGERATION |  | CIS ELECTRICALS PVT LTD |  | Freaquer Corporation Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB HEAD - I: Operation and Maintenance
1.10 | Periodical Maintenance & Operation of Electrical & Mechanical Installations involving operation, repair, maintenance attending to complaints/faults/breakdowns and taking rectification action, ensuring serviceability/satisfactory working condition of the systems i/c operation of the AC & pumps, preventive maintenance, maintenance of records/documentation etc. as per the detailed specifications, scope of work and terms & conditions covered under this contract on all days in three shift including Sundays and holidays.
1.11 | 1st Year | 12.00 | Month | 223603.00 | 205417.00 | 2465004.00 | 215000.00 | 2580000.00 | 218200.00 | 2618400.00 | 207350.00 | 2488200.00 | 215000.00 | 2580000.00 | 125000.00 | 1500000.00 | 146844.80 | 1762137.60 | 219766.00 | 2637192.00 | 228000.00 | 2736000.00 | 1500000.00 | Industrial Traders
1.12 | 2nd Year | 12.00 | Month | 245963.00 | 206958.00 | 2483496.00 | 210000.00 | 2520000.00 | 216200.00 | 2594400.00 | 207350.00 | 2488200.00 | 215000.00 | 2580000.00 | 135000.00 | 1620000.00 | 146844.80 | 1762137.60 | 219766.00 | 2637192.00 | 228000.00 | 2736000.00 | 1620000.00 | Industrial Traders
2.00 | Periodical Maintenance and Operation of Electrical & Mechanical Installations of Sewage Treatment Plant involving operation, repair, maintenance attending to complaints/faults/breakdowns and taking rectification action, ensuring serviceability/satisfactory working condition of the systems as per the detailed specifications, scope of work and terms & conditions covered under this contract on all days in General shift including Sundays and holidays after completion of 1 Year DLP of STP work.
2.11 | 1st Year | 12.00 | Month | 25747.00 | 20000.00 | 240000.00 | 15000.00 | 180000.00 | 20735.00 | 248820.00 | 25000.00 | 300000.00 | 25000.00 | 300000.00 | 125000.00 | 1500000.00 | 57061.50 | 684738.00 | 40000.00 | 480000.00 | 50000.00 | 600000.00 | 180000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
2.12 | 2nd Year | 6.00 | Month | 28322.00 | 23500.00 | 141000.00 | 10000.00 | 60000.00 | 20735.00 | 124410.00 | 25000.00 | 150000.00 | 25000.00 | 150000.00 | 125000.00 | 750000.00 | 57061.50 | 342369.00 | 40000.00 | 240000.00 | 50000.00 | 300000.00 | 60000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | SUB HEAD - II : Miscllaneous Repair Works
3.10 | Comprehensive maintenance of Water Cooler with inbuilt RO system 60/80 through OEM (including replacement of compressor and all necessary consumables & spares like all type of filter, Candle etc.) installed at at different locations of Terminal Building aand attending any number of faults as per requirement .
3.11 | 1st Year | 4.00 | Job | 18001.00 | 3500.00 | 14000.00 | 1000.00 | 4000.00 | 13500.00 | 54000.00 | 15000.00 | 60000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 900.00 | 3600.00 | 5500.00 | 22000.00 | 15500.00 | 62000.00 | 3600.00 | ANOOP REFRIGERATION
3.12 | 2nd Year | 4.00 | Job | 19801.00 | 3500.00 | 14000.00 | 1000.00 | 4000.00 | 13500.00 | 54000.00 | 15000.00 | 60000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 1080.00 | 4320.00 | 5500.00 | 22000.00 | 17890.00 | 71560.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
4.00 | Rewinding of following fans as per original characteristics with super enameled copper wire and `E' class insulation material, replacement of the worn out bearing etc. as required i/c dismantling, making arrangment for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required). (The dismantled material will be taken by the contractor).
4.11 | Exhaust fan /Ceiling fan/Wall mounted fan | 20.00 | Each | 528.00 | 350.00 | 7000.00 | 300.00 | 6000.00 | 250.00 | 5000.00 | 10.00 | 200.00 | 700.00 | 14000.00 | 450.00 | 9000.00 | 570.00 | 11400.00 | 400.00 | 8000.00 | 2050.00 | 41000.00 | 200.00 | SAURABH ENTERPRISES
4.12 | Pump up to 0.5HP | 1.00 | Each | 1290.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 10.00 | 10.00 | 2500.00 | 2500.00 | 5500.00 | 5500.00 | 540.00 | 540.00 | 1000.00 | 1000.00 | 2170.00 | 2170.00 | 10.00 | SAURABH ENTERPRISES
4.13 | Submersibile pump up to 2HP | 1.00 | Each | 2346.00 | 750.00 | 750.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 10.00 | 10.00 | 3500.00 | 3500.00 | 5500.00 | 5500.00 | 1800.00 | 1800.00 | 1300.00 | 1300.00 | 3070.00 | 3070.00 | 10.00 | SAURABH ENTERPRISES
4.14 | Submersibile pump up to 5HP | 1.00 | Each | 3519.00 | 850.00 | 850.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 10.00 | 10.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 3300.00 | 3300.00 | 2000.00 | 2000.00 | 4051.00 | 4051.00 | 10.00 | SAURABH ENTERPRISES
5.00 | Lifting and lowering of open well submersible pump motor set of capacity up to 5HP. | 2.00 | Each | 3334.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 10.00 | 20.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 1800.00 | 3600.00 | 4000.00 | 8000.00 | 1980.00 | 3960.00 | 20.00 | SAURABH ENTERPRISES
6.00 | Carriage of diesel (3 drums 200 ltr each) from Petrol pump to Sub-Station (D.G.Set room)which includes hiring of of vehicle, loading & unloading of drums at site. (empty drums will be provided by AAI) | 24.00 | Job | 697.00 | 500.00 | 12000.00 | 500.00 | 12000.00 | 10000.00 | 240000.00 | 10.00 | 240.00 | 1500.00 | 36000.00 | 1500.00 | 36000.00 | 2100.00 | 50400.00 | 1000.00 | 24000.00 | 4060.00 | 97440.00 | 240.00 | SAURABH ENTERPRISES
7.00 | Calibration of 11 kv KV HT Panel, 1 i/c and 2 O/G(Make-M/s Crompton Graves) | 1.00 | Job | 23230.00 | 8500.00 | 8500.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 10.00 | 10.00 | 15000.00 | 15000.00 | 14000.00 | 14000.00 | 18000.00 | 18000.00 | 8000.00 | 8000.00 | 18300.00 | 18300.00 | 10.00 | SAURABH ENTERPRISES
8.00 | Supply of Tranformer mineral oil for topupin existing 400 KVA transformer. | 500.00 | Ltr | 141.00 | 125.00 | 62500.00 | 50.00 | 25000.00 | 210.00 | 105000.00 | 10.00 | 5000.00 | 250.00 | 125000.00 | 185.00 | 92500.00 | 210.00 | 105000.00 | 130.00 | 65000.00 | 190.00 | 95000.00 | 5000.00 | SAURABH ENTERPRISES
9.00 | Filteraion of transformer Oil and record of BDV value for top and bottom layer of Oil. | 1000.00 | Ltr | 6.00 | 10.00 | 10000.00 | 7.00 | 7000.00 | 10.00 | 10000.00 | 1.00 | 1000.00 | 15.00 | 15000.00 | 20.00 | 20000.00 | 90.00 | 90000.00 | 9.00 | 9000.00 | 190.00 | 190000.00 | 1000.00 | SAURABH ENTERPRISES
10.00 | SUB HEAD- III : Supply of Spares
11.00 | Supply of Heat Convector of rating 2kw like Havells make and models -CISTA. | 10.00 | Each | 2848.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 2500.00 | 25000.00 | 10.00 | 100.00 | 2500.00 | 25000.00 | 2500.00 | 25000.00 | 2400.00 | 24000.00 | 1500.00 | 15000.00 | 9100.00 | 91000.00 | 100.00 | SAURABH ENTERPRISES
12.00 | Supply of maintenance free battery of following rating as and when required.
12.01 | 12V,180AH for 2x320 KVA DG Set | 4.00 | Each | 15485.00 | 17525.00 | 70100.00 | 14500.00 | 58000.00 | 18500.00 | 74000.00 | 10.00 | 40.00 | 15000.00 | 60000.00 | 15513.00 | 62052.00 | 14400.00 | 57600.00 | 18000.00 | 72000.00 | 14230.00 | 56920.00 | 40.00 | SAURABH ENTERPRISES
12.02 | 12V,150AH for 1x62.5 KVA DG Set | 1.00 | Each | 12260.00 | 13252.00 | 13252.00 | 12500.00 | 12500.00 | 16500.00 | 16500.00 | 10.00 | 10.00 | 13000.00 | 13000.00 | 13300.00 | 13300.00 | 10800.00 | 10800.00 | 18000.00 | 18000.00 | 23970.00 | 23970.00 | 10.00 | SAURABH ENTERPRISES
13.00 | Supply of following pump of rating as and when required.
13.01 | Supply of 5 HP Submersibile Pump set suitable for Three phase, 50Hz AC supply and having 3000(rpm) speed,Head 28/51 Mtr,capacity 90-260 lpm, no of stages as per manufacturer design and standrads,outlet size 50mm and suitable for 100mm or bigger borewell etc complete as required.Motor shall have dynamically balanced rotor with stainless steel stator body and rotor shaft corrosion and abrasion resistant parts of pump shall be made of stainless steel .(Make-As per AAI approved makes) | 1.00 | Each | 31627.00 | 22500.00 | 22500.00 | 35000.00 | 35000.00 | 3500.00 | 3500.00 | 10.00 | 10.00 | 19000.00 | 19000.00 | 25000.00 | 25000.00 | 25200.00 | 25200.00 | 50000.00 | 50000.00 | 15230.00 | 15230.00 | 10.00 | SAURABH ENTERPRISES
13.02 | Supply of 3 HP Submersibile Pump set suitable for Three phase, 50Hz AC supply and having 3000(rpm) speed,Head 18/53 Mtr,capacity 0-180 lpm, no of stages as per manufacturer design and standrads,outlet size 50mm and suitable for 100mm or bigger borewell etc complete as required.Motor shall have dynamically balanced rotor with stainless steel stator body and rotor shaft corrosion and abrasion resistant parts of pump shall be made of stainless steel .(Make-As per AAI approved makes) | 1.00 | Each | 19332.00 | 20000.00 | 20000.00 | 25000.00 | 25000.00 | 2500.00 | 2500.00 | 10.00 | 10.00 | 17000.00 | 17000.00 | 15000.00 | 15000.00 | 21000.00 | 21000.00 | 35000.00 | 35000.00 | 19890.00 | 19890.00 | 10.00 | SAURABH ENTERPRISES
13.03 | Single Phase water Pump 0.5 HP,220V | 1.00 | Each | 9268.00 | 4500.00 | 4500.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 10.00 | 10.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 3000.00 | 3000.00 | 3450.00 | 3450.00 | 10.00 | SAURABH ENTERPRISES
14.00 | Supply of following size single core (FR-LSH) (IS:694) PVC insulated Copper conductor industrial Cable, 1100V, and PVC sheathed for cables-90m standard length (Make: As per AAI approved makes)
14.01 | 1.0 sqmm Earth Wire | 2.00 | Coil | 605.00 | 750.00 | 1500.00 | 1000.00 | 2000.00 | 850.00 | 1700.00 | 10.00 | 20.00 | 1190.00 | 2380.00 | 763.00 | 1526.00 | 720.00 | 1440.00 | 1200.00 | 2400.00 | 4500.00 | 9000.00 | 20.00 | SAURABH ENTERPRISES
14.02 | 1.5 sqmm | 2.00 | Coil | 903.00 | 950.00 | 1900.00 | 1200.00 | 2400.00 | 1050.00 | 2100.00 | 10.00 | 20.00 | 1700.00 | 3400.00 | 1134.00 | 2268.00 | 1080.00 | 2160.00 | 1400.00 | 2800.00 | 5700.00 | 11400.00 | 20.00 | SAURABH ENTERPRISES
14.03 | 2.5sqmm | 2.00 | Coil | 1454.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1350.00 | 2700.00 | 10.00 | 20.00 | 3000.00 | 6000.00 | 1836.00 | 3672.00 | 2100.00 | 4200.00 | 3800.00 | 7600.00 | 7200.00 | 14400.00 | 20.00 | SAURABH ENTERPRISES
14.04 | 4 sqmm | 1.00 | Coil | 2271.00 | 3200.00 | 3200.00 | 3000.00 | 3000.00 | 2350.00 | 2350.00 | 10.00 | 10.00 | 4200.00 | 4200.00 | 2660.00 | 2660.00 | 2700.00 | 2700.00 | 5600.00 | 5600.00 | 12300.00 | 12300.00 | 10.00 | SAURABH ENTERPRISES
15.00 | Supply of 3x2.5sqmm size multi core (IS:694) PVC insulated Copper conductor (flexible) industrial Cable, 1100V, and PVC round sheathed for cables-100m standard length (Make: As per AAI approved makes) | 1.00 | Coil | 53.00 | 8500.00 | 8500.00 | 6000.00 | 6000.00 | 3650.00 | 3650.00 | 5.00 | 5.00 | 9500.00 | 9500.00 | 6666.00 | 6666.00 | 8000.00 | 8000.00 | 5800.00 | 5800.00 | 12220.00 | 12220.00 | 5.00 | SAURABH ENTERPRISES
16.00 | Supply of following MCB's / RCCBs of following rating working on 240V/ 415V, 10KA as (Make: As per AAI approved makes) .
16.01 | S.P.MCB- 6 Amps , B Curve | 15.00 | Each | 171.00 | 100.00 | 1500.00 | 200.00 | 3000.00 | 90.00 | 1350.00 | 5.00 | 75.00 | 150.00 | 2250.00 | 87.00 | 1305.00 | 78.00 | 1170.00 | 250.00 | 3750.00 | 740.00 | 11100.00 | 75.00 | SAURABH ENTERPRISES
16.02 | S.P.MCB- 16 Amps, C Curve | 6.00 | Each | 171.00 | 100.00 | 600.00 | 200.00 | 1200.00 | 100.00 | 600.00 | 5.00 | 30.00 | 170.00 | 1020.00 | 90.00 | 540.00 | 90.00 | 540.00 | 480.00 | 2880.00 | 740.00 | 4440.00 | 30.00 | SAURABH ENTERPRISES
16.03 | S.P.MCB- 20 Amps, C Curve | 6.00 | Each | 171.00 | 100.00 | 600.00 | 200.00 | 1200.00 | 100.00 | 600.00 | 5.00 | 30.00 | 190.00 | 1140.00 | 90.00 | 540.00 | 102.00 | 612.00 | 300.00 | 1800.00 | 740.00 | 4440.00 | 30.00 | SAURABH ENTERPRISES
16.04 | SPN MCB- 6 Amps, C Curve | 15.00 | Each | 171.00 | 450.00 | 6750.00 | 200.00 | 3000.00 | 100.00 | 1500.00 | 5.00 | 75.00 | 170.00 | 2550.00 | 325.00 | 4875.00 | 96.00 | 1440.00 | 200.00 | 3000.00 | 740.00 | 11100.00 | 75.00 | SAURABH ENTERPRISES
16.05 | FP MCB (32 amps.), C Curve | 5.00 | Each | 1077.00 | 2500.00 | 12500.00 | 300.00 | 1500.00 | 1250.00 | 6250.00 | 5.00 | 25.00 | 590.00 | 2950.00 | 760.00 | 3800.00 | 192.00 | 960.00 | 1200.00 | 6000.00 | 740.00 | 3700.00 | 25.00 | SAURABH ENTERPRISES
17.00 | Supplying of 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 695.00 | 1250.00 | 2500.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 5.00 | 10.00 | 850.00 | 1700.00 | 600.00 | 1200.00 | 570.00 | 1140.00 | 900.00 | 1800.00 | 15460.00 | 30920.00 | 10.00 | SAURABH ENTERPRISES
18.00 | Supplying of 30 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 30 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 2211.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 550.00 | 1100.00 | 5.00 | 10.00 | 1800.00 | 3600.00 | 1100.00 | 2200.00 | 5100.00 | 10200.00 | 1400.00 | 2800.00 | 2340.00 | 4680.00 | 10.00 | SAURABH ENTERPRISES
19.00 | Supply of DP sheet steel enclosure for mcb(Make-Havells or equivallent). | 5.00 | Each | 448.00 | 150.00 | 750.00 | 1000.00 | 5000.00 | 95.00 | 475.00 | 5.00 | 25.00 | 300.00 | 1500.00 | 200.00 | 1000.00 | 510.00 | 2550.00 | 550.00 | 2750.00 | 367.00 | 1835.00 | 25.00 | SAURABH ENTERPRISES
20.00 | Supply of TP sheet steel enclosure for mcb( Make-Havells or equivallent). | 3.00 | Each | 545.00 | 200.00 | 600.00 | 1000.00 | 3000.00 | 110.00 | 330.00 | 5.00 | 15.00 | 425.00 | 1275.00 | 250.00 | 750.00 | 1080.00 | 3240.00 | 800.00 | 2400.00 | 1130.00 | 3390.00 | 15.00 | SAURABH ENTERPRISES
21.00 | Supply of 5/6 amp, 4 way Power extension Cord up to appx 1.5 Mtr Length suitable for Computer, Printer, Monitor and Speker(Make-Anchor) | 6.00 | Each | 541.00 | 650.00 | 3900.00 | 500.00 | 3000.00 | 245.00 | 1470.00 | 5.00 | 30.00 | 700.00 | 4200.00 | 286.00 | 1716.00 | 480.00 | 2880.00 | 550.00 | 3300.00 | 590.00 | 3540.00 | 30.00 | SAURABH ENTERPRISES
22.00 | Supply of 4P, 630 amp ACB(Make & model-L&T, U Power Omega UW1-06N) | 1.00 | Each | 145632.00 | 252265.00 | 252265.00 | 85000.00 | 85000.00 | 40500.00 | 40500.00 | 10.00 | 10.00 | 150000.00 | 150000.00 | 90000.00 | 90000.00 | 10500.00 | 10500.00 | 150000.00 | 150000.00 | 200500.00 | 200500.00 | 10.00 | SAURABH ENTERPRISES
23.00 | Supply of following 4P MCCBs.(Make & Model-L&T,D Shine)
23.01 | 400Amp | 1.00 | Each | 23190.00 | 17500.00 | 17500.00 | 15000.00 | 15000.00 | 10500.00 | 10500.00 | 5.00 | 5.00 | 31000.00 | 31000.00 | 16266.00 | 16266.00 | 21000.00 | 21000.00 | 20000.00 | 20000.00 | 16000.00 | 16000.00 | 5.00 | SAURABH ENTERPRISES
23.02 | 250 amp | 1.00 | Each | 17959.00 | 14500.00 | 14500.00 | 12000.00 | 12000.00 | 7500.00 | 7500.00 | 5.00 | 5.00 | 26000.00 | 26000.00 | 13495.00 | 13495.00 | 18000.00 | 18000.00 | 18000.00 | 18000.00 | 16000.00 | 16000.00 | 5.00 | SAURABH ENTERPRISES
23.03 | 100 amp | 1.00 | Each | 7013.00 | 12500.00 | 12500.00 | 5000.00 | 5000.00 | 5500.00 | 5500.00 | 5.00 | 5.00 | 7200.00 | 7200.00 | 5272.00 | 5272.00 | 11400.00 | 11400.00 | 8000.00 | 8000.00 | 12500.00 | 12500.00 | 5.00 | SAURABH ENTERPRISES
23.04 | 63 amp | 2.00 | Each | 7013.00 | 8500.00 | 17000.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 5.00 | 10.00 | 6800.00 | 13600.00 | 5272.00 | 10544.00 | 5400.00 | 10800.00 | 5000.00 | 10000.00 | 10490.00 | 20980.00 | 10.00 | SAURABH ENTERPRISES
23.05 | 40 amp | 2.00 | Each | 7013.00 | 6565.00 | 13130.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 10.00 | 20.00 | 4500.00 | 9000.00 | 5272.00 | 10544.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 7670.00 | 15340.00 | 20.00 | SAURABH ENTERPRISES
24.00 | Supply of LED street light fitting having system lumen output not less than 4500 lumens and system efficacy of not less than 110 lumens per watt and lumen maintainence of 70% at the end of 50000 burning hours, Power Factor≥0.95 & THD<10%, CRI>70, CCT : 4000K ± 300K, made of high pressure die cast Aluminium/ standard alloy housing with separate optics and control gear compartment, toughened glass protector, permanently sealed and a removable control gear plate, mounting spigot suitable for horizontal mounting (Ø 32 – 42mm) with tilt flexibility upto (+)(-) 15 degrees, operating range 150 – 270V AC supply voltages, surge protection≥10KV with minimum IP:65 Protection. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacture. LED shall have reverse polarity, open and short circuit protection. (Similar to Philips CAT No. BRP062 84 CW SLC S1 PSU or equivalent). | 10.00 | Job | 7977.00 | 3000.00 | 30000.00 | 2000.00 | 20000.00 | 3500.00 | 35000.00 | 16.50 | 165.00 | 6000.00 | 60000.00 | 3500.00 | 35000.00 | 2040.00 | 20400.00 | 15000.00 | 150000.00 | 5500.00 | 55000.00 | 165.00 | SAURABH ENTERPRISES
25.00 | Supply of Non Contact Forehead Infrared Digital multimode Thermometer (CE & FDA Approved, Contactless, Perfect for Commercial Use)- Model - IR 988 | 2.00 | Each | 3090.00 | 2250.00 | 4500.00 | 5000.00 | 10000.00 | 3400.00 | 6800.00 | 10.00 | 20.00 | 3100.00 | 6200.00 | 3500.00 | 7000.00 | 510.00 | 1020.00 | 2000.00 | 4000.00 | 2050.00 | 4100.00 | 20.00 | SAURABH ENTERPRISES
26.00 | Supply of Single phase digital Control Panel suitable for 1.5-2 HP submrsible pump(Make-Crompton) | 2.00 | Each | 3552.00 | 3520.00 | 7040.00 | 2000.00 | 4000.00 | 4500.00 | 9000.00 | 5.00 | 10.00 | 3200.00 | 6400.00 | 3500.00 | 7000.00 | 1800.00 | 3600.00 | 9000.00 | 18000.00 | 15600.00 | 31200.00 | 10.00 | SAURABH ENTERPRISES
27.00 | Supply of Single Phase Kwh meter with LCD display(Make and model-L&T, EM101) | 2.00 | Each | 2103.00 | 500.00 | 1000.00 | 2000.00 | 4000.00 | 2250.00 | 4500.00 | 15.00 | 30.00 | 1370.00 | 2740.00 | 1700.00 | 3400.00 | 720.00 | 1440.00 | 1500.00 | 3000.00 | 7200.00 | 14400.00 | 30.00 | SAURABH ENTERPRISES
28.00 | Supply of LED driver suitable for fittings of Philips make.
28.01 | Supply of LED driver of rating 46 watt, 260 mamp suitable for 36 Watt,240V LED recessed type fitiings of size 600mmx600mm . (Make -Philips ) | 25.00 | Each | 663.00 | 1700.00 | 42500.00 | 500.00 | 12500.00 | 275.00 | 6875.00 | 10.00 | 250.00 | 1350.00 | 33750.00 | 800.00 | 20000.00 | 300.00 | 7500.00 | 2200.00 | 55000.00 | 560.00 | 14000.00 | 250.00 | SAURABH ENTERPRISES
28.02 | Supply of LED driver suitable for 13Watt, 240V LED recessed type round fitiings . (Make &Model-Philips,DN1938 LED12S -6500 PSU WH S1PB) | 25.00 | Each | 176.00 | 1500.00 | 37500.00 | 500.00 | 12500.00 | 275.00 | 6875.00 | 15.00 | 375.00 | 850.00 | 21250.00 | 500.00 | 12500.00 | 300.00 | 7500.00 | 3000.00 | 75000.00 | 1050.00 | 26250.00 | 375.00 | SAURABH ENTERPRISES
29.00 | Supply of 200 Watts,230 V, Desert Cooler of capacity 43 Ltr Suitable for all climates and costal regions,Wood Wool cooling media, easily removable 3 Side cooling pad for enhanced performance , Castor wheel for easy mobility, 3 way speed control; Quite Performance; Four way air deflection, etc as required.(Make & Model-M/s Bajaj DC2015, Color-White) | 2.00 | Each | 12786.00 | 8500.00 | 17000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 10.00 | 20.00 | 15000.00 | 30000.00 | 9200.00 | 18400.00 | 4200.00 | 8400.00 | 9500.00 | 19000.00 | 7090.00 | 14180.00 | 20.00 | SAURABH ENTERPRISES
30.00 | Supply of 40 amp cylindrical HRC Fuse(Make-L&T) | 15.00 | Each | 92.00 | 125.00 | 1875.00 | 200.00 | 3000.00 | 59.00 | 885.00 | 10.00 | 150.00 | 110.00 | 1650.00 | 100.00 | 1500.00 | 210.00 | 3150.00 | 100.00 | 1500.00 | 1256.00 | 18840.00 | 150.00 | SAURABH ENTERPRISES
31.00 | SUB HEAD- IV : DSR Items
31.01 | Execution of works as per CPWD Delhi Schedule of Rate (E&M) 2018 and specification as and when reqd. Percentage above or below on the rates of DSR (E&M) 2018-(CPWD )-Electrical items worth totaling to Rs. 300000.00 as mentioned below. (Note: Rate shall be quoted in the Indian Rupees only payment of DSR item will be released on the basis of percentage calculation of quoted amount and fixed amount of Rs. 300000/- as clarified below: For Example: If desired to quote 5% above on DSR-2018rates, the rate column shall be filled as Rs.315000/- If desired to quote 3% below on DSR-2018 rates, the rate column shall be filled as Rs.294000/-) (Rates are inclusive of Cess@1% on Rs.3,00,000/-) | 1.00 | Job | 303000.00 | 245000.00 | 245000.00 | 138255.00 | 138255.00 | 100000.00 | 100000.00 | 1000.00 | 1000.00 | 200000.00 | 200000.00 | 285000.00 | 285000.00 | 5000.00 | 5000.00 | 200000.00 | 200000.00 | 294000.00 | 294000.00 | 1000.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 6374062.00 |  | 5955555.00 |  | 6491040.00 |  | 5555555.00 |  | 6659455.00 |  | 6356991.00 |  | 5162684.20 |  | 7151864.00 |  | 8062766.00
Lowest Amount Quoted BY: ANOOP REFRIGERATION(5162684.20)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical installation at Civil Airport Gorakhpur for the year 2020-21 and 2021-22. Tender ID: 2020_AAI_50574_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANOOP REFRIGERATION | 5162684.20 | L1
| 2 | SAURABH ENTERPRISES | 5555555.00 | L2
| 3 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 5955555.00 | L3
| 4 | Industrial Traders | 6356991.00 | L4
| 5 | Techno Electricals | 6374062.00 | L5
| 6 | S. N ELECTRICALS | 6491040.00 | L6
| 7 | PAN POLAR ENGINEERS PVT. LTD. | 6659455.00 | L7
| 8 | CIS ELECTRICALS PVT LTD | 7151864.00 | L8
| 9 | Freaquer Corporation Pvt Ltd | 8062766.00 | L9