## BoQ1
Government eProcurement System Created By: Dillip Kumar Pradhan Created Date/Time: 30-Jul-2020 02:05 PM Tender Title: Job Contract for Operation and Comprehensive Maintenance of CCRs Taxiway Sign boards Perimeter Road lighting Perimeter Wall lighting and Apron Flood Lighting system at NSCBI Airport Kolkata Tender ID: 2020_AAI_50666_1
Tender Inviting Authority:
Name of Work: M.O. GLF installations at NSCBI Airport, Kolkata Dg: 2020-22. Job Contract for Operation and Comprehensive Maintenance of CCRs, Taxiway Sign boards, Perimeter Road lighting, Perimeter Wall lighting and Apron Flood Lighting system at NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders |  | M/s J.K. Electric Engineering Works
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART (A). Maintenance of CCRs
2.00 | Job contract and Comprehensive Maintenance of around 21 Nos. NASU & Youyang make Constant Current Regulators (CCRs) and related control unit and all its accessories, carry out preventive maintenance as per PMI schedule, attending complaints/faults/breakdown including taking rectification action and ensuring serviceability/satisfactory working condition, including supply of spares and replacement of defective parts, maintaining all records and documentation, as per special conditions of contract and the instruction of Engineer in-charge or his authorised representative as per requirement of the works. (a) For 1st Year | 12.00 | Month | 17064.00 | 11000.00 | 132000.00 | 10000.00 | 120000.00 | 120000.00 | M/s J.K. Electric Engineering Works
3.00 | Job contract and Comprehensive Maintenance of around 21 Nos. NASU & Youyang make Constant Current Regulators (CCRs) and related control unit and all its accessories, carry out preventive maintenance as per PMI schedule, attending complaints/faults/breakdown including taking rectification action and ensuring serviceability/satisfactory working condition, including supply of spares and replacement of defective parts, maintaining all records and documentation, as per special conditions of contract and the instruction of Engineer in-charge or his authorised representative as per requirement of the works. (b) For 2nd Year | 12.00 | Month | 18770.00 | 12000.00 | 144000.00 | 10000.00 | 120000.00 | 120000.00 | M/s J.K. Electric Engineering Works
4.00 | Calibration of Clinometer / Megger / Lux meter from Govt. Test laboratory, submission of test report etc., complete the job as per direction of Engineer in-charge i/c taking the equipment from AAI's site to laboratory and bringing back the same from laboratory to AAI's site. (a) For 1st Year | 6.00 | Job | 5000.00 | 4000.00 | 24000.00 | 1500.00 | 9000.00 | 9000.00 | M/s J.K. Electric Engineering Works
5.00 | Calibration of Clinometer / Megger / Lux meter from Govt. Test laboratory, submission of test report etc., complete the job as per direction of Engineer in-charge i/c taking the equipment from AAI's site to laboratory and bringing back the same from laboratory to AAI's site. (b) For 2nd Year | 6.00 | Job | 5500.00 | 4500.00 | 27000.00 | 1500.00 | 9000.00 | 9000.00 | M/s J.K. Electric Engineering Works
6.00 | PART (B). Maintenance of Sign Boards
7.00 | Job contract for Operation and Comprehensive Maintenance of Runway and Taxiway Mandatory/Information guidance Signage boards (LED illuminated signages & Fluoroscent tube light illuminated signages), Road holding Lights, Portable Obstruction Lights etc. along with all its accessories by deploying adequate manpower, on all days throughout the year including Sundays and holidays, preventive maintenance as per PMI schedule, attending complaints/faults/breakdown including taking rectification action and ensuring serviceability/satisfactory working condition, supply and replacement of all spares e.g. Coverter/driver unit, LED strips, tube lights, all other electronic spares etc., maintaining all records and documentation etc., as per special conditions of contract and the instruction of Engineer in-charge or his authorised represenative as per requirement of the works. Note: (i) For LED illuminated signage boards the cost of all spares needs to be considered with this item except drivers and LED strips (Drivers & LED strips is under defect liability period for 5 Years). (ii) For fluoroscent illuminated signages all cost of spares including driver to be considered. (iii) The replacement of polycarbonate sheet i/c lettering not included in this item. Note: The contractor needs to deploy the following minimum manpower for maintenance of signages. 1) Skilled Manpower - 2 Nos. (1 each in A and B shift) 2) Unskilled manpower - 2 Nos.(1 each in A and B shift) (a) For 1st Year | 12.00 | Month | 134907.00 | 100000.00 | 1200000.00 | 93500.00 | 1122000.00 | 1122000.00 | M/s J.K. Electric Engineering Works
8.00 | Job contract for Operation and Comprehensive Maintenance of Runway and Taxiway Mandatory/Information guidance Signage boards (LED illuminated signages & Fluoroscent tube light illuminated signages), Road holding Lights, Portable Obstruction Lights etc. along with all its accessories by deploying adequate manpower, on all days throughout the year including Sundays and holidays, preventive maintenance as per PMI schedule, attending complaints/faults/breakdown including taking rectification action and ensuring serviceability/satisfactory working condition, supply and replacement of all spares e.g. Coverter/driver unit, LED strips, tube lights, all other electronic spares etc., maintaining all records and documentation etc., as per special conditions of contract and the instruction of Engineer in-charge or his authorised represenative as per requirement of the works. Note: (i) For LED illuminated signage boards the cost of all spares needs to be considered with this item except drivers and LED strips (Drivers & LED strips is under defect liability period for 5 Years). (ii) For fluoroscent illuminated signages all cost of spares including driver to be considered. (iii) The replacement of polycarbonate sheet i/c lettering not included in this item. Note: The contractor needs to deploy the following minimum manpower for maintenance of signages. 1) Skilled Manpower - 2 Nos. (1 each in A and B shift) 2) Unskilled manpower - 2 Nos.(1 each in A and B shift) (b) For 2nd Year | 12.00 | Month | 148398.00 | 103000.00 | 1236000.00 | 95000.00 | 1140000.00 | 1140000.00 | M/s J.K. Electric Engineering Works
9.00 | Installation, testing and commissioning of signage boards by carrying the board to the site from store and making necessary electrical connections i/c providing wiring, fixing the base with fastners, nut, bolts etc. as and when required as per the instruction of Engineer in-charge. (a) For 1st Year | 10.00 | Job | 1834.00 | 900.00 | 9000.00 | 700.00 | 7000.00 | 7000.00 | M/s J.K. Electric Engineering Works
10.00 | Installation, testing and commissioning of signage boards by carrying the board to the site from store and making necessary electrical connections i/c providing wiring, fixing the base with fastners, nut, bolts etc. as and when required as per the instruction of Engineer in-charge. (b) For 2nd Year | 10.00 | Job | 2017.00 | 1000.00 | 10000.00 | 700.00 | 7000.00 | 7000.00 | M/s J.K. Electric Engineering Works
11.00 | Dismantling the existing signage board by disconnecting from the circuit i/c removal of nut bolts from the legs, carrying and stacking in AAI store as and when required as per the instruction of engineer in-charge. (a) For 1st Year | 10.00 | Job | 930.00 | 800.00 | 8000.00 | 200.00 | 2000.00 | 2000.00 | M/s J.K. Electric Engineering Works
12.00 | Dismantling the existing signage board by disconnecting from the circuit i/c removal of nut bolts from the legs, carrying and stacking in AAI store as and when required as per the instruction of engineer in-charge. (b) For 2nd Year | 10.00 | Job | 1023.00 | 900.00 | 9000.00 | 200.00 | 2000.00 | 2000.00 | M/s J.K. Electric Engineering Works
13.00 | Supply and replacement of UV stabilized Polycarbonate sheet (4 mm thick) including graphics (alpha numeric) as per requirement at site and as per instruction of Engineer in-charge. (a) For 1st Year | 50.00 | sq.mtr. | 9500.00 | 6000.00 | 300000.00 | 6500.00 | 325000.00 | 300000.00 | Youngmen Traders
14.00 | Supply and replacement of UV stabilized Polycarbonate sheet (4 mm thick) including graphics (alpha numeric) as per requirement at site and as per instruction of Engineer in-charge. (b) For 2nd Year | 50.00 | sq.mtr. | 10450.00 | 7000.00 | 350000.00 | 6500.00 | 325000.00 | 325000.00 | M/s J.K. Electric Engineering Works
15.00 | Installation of transformer housing boxes in cement concrete foundation of ratio 1:3:6 (1 cement : 3 course sand : 6 grade stone of 20 mm nominal size), thickness of concrete 100 mm at bottom and 75 mm in all around i/c bottom dressing of earth soil with brick soling & finishing with 12 mm thick cement plaster of ratio 1:3 on exposed surface, making suitable slope to match with the surrounding level all around the housing box i/c painting of housing box on both sides by two coats of black enamel paint, lettering, numbering etc. as required. (a) For 1st Year | 50.00 | Job | 2472.00 | 1800.00 | 90000.00 | 1000.00 | 50000.00 | 50000.00 | M/s J.K. Electric Engineering Works
16.00 | Installation of transformer housing boxes in cement concrete foundation of ratio 1:3:6 (1 cement : 3 course sand : 6 grade stone of 20 mm nominal size), thickness of concrete 100 mm at bottom and 75 mm in all around i/c bottom dressing of earth soil with brick soling & finishing with 12 mm thick cement plaster of ratio 1:3 on exposed surface, making suitable slope to match with the surrounding level all around the housing box i/c painting of housing box on both sides by two coats of black enamel paint, lettering, numbering etc. as required. (b) For 2nd Year | 50.00 | Job | 2719.00 | 2000.00 | 100000.00 | 1200.00 | 60000.00 | 60000.00 | M/s J.K. Electric Engineering Works
17.00 | PART (C). Maintenance of Perimter Road & wall Lighting and High Mast lighting installations.
18.00 | Job contract for Operation and Comprehensive Maintenance of 20 nos. (approx.) Apron Flood Light (AFL) masts of various heights with its panel etc. and complete Perimeter Road and Perimeter Wall Lighting System (approx. 1227 light fittings) and Watch Tower lightings for 20 nos watch towers, including Feeder Pillars etc., by deploying adequate manpower in three shifts on all days throughout the year including Sundays and holidays, preventive maintenance as per PMI schedule, attending complaints/faults/breakdown including taking rectification action and ensuring serviceability/satisfactory working condition, supply and replacement of all defective spares like MCCBs, MCB, contactors, LED fitting with driver of similar rating, time switch, lamp, ballast, Ignitor, wire, control cable, connectors, obstruction lights etc. and ensuring serviceability/satisfactory working condition of AFL masts and Perimeter road & wall lighting system, taking lux level measurement, maintaining all records and documentation etc as per PVM schedule., as per special conditions of contract and the instruction of Engineer in-charge or his authorised represenative as per requirement of the works. Note : i) For perimeter lights: Supply and replacement of all defective spares like MCCBs, MCB, contactors, LED fitting with driver of similar rating ( Except 377 LED fittings of perimeter light which is under defect liability for 5 years), time switch, lamp, ballast, Ignitor, pole loop wire, control cable, connectors, obstruction lights, loop in loop out box etc. and ensuring serviceability/satisfactory working condition of perimeter light and wall lights etc. ii) 20 nos. (approx.) Apron Flood Light (AFL) masts, semi high mast of various heights (Max 30 Mtr) at various locations with its panel etc supply and replacement of all defective spares like MCCBs, MCB, contactors, LED fitting with driver of similar rating time switch, lamp, ballast, Ignitor, wire, control cable, connectors, obstruction lights etc. and ensuring serviceability/satisfactory working condition. The contractor needs to deploy the following minimum manpower 1. Supervisor (Highly skilled) - 1 No. (in General shift), 2. Skilled Manpower - 03 No.( 1 in each shift) and 3. Unskilled manpower - 06 Nos. (2 in each shift.) (a) For 1st Year | 12.00 | Month | 297609.00 | 200000.00 | 2400000.00 | 213500.00 | 2562000.00 | 2400000.00 | Youngmen Traders
19.00 | Job contract for Operation and Comprehensive Maintenance of 20 nos. (approx.) Apron Flood Light (AFL) masts of various heights with its panel etc. and complete Perimeter Road and Perimeter Wall Lighting System (approx. 1227 light fittings) and Watch Tower lightings for 20 nos watch towers, including Feeder Pillars etc., by deploying adequate manpower in three shifts on all days throughout the year including Sundays and holidays, preventive maintenance as per PMI schedule, attending complaints/faults/breakdown including taking rectification action and ensuring serviceability/satisfactory working condition, supply and replacement of all defective spares like MCCBs, MCB, contactors, LED fitting with driver of similar rating, time switch, lamp, ballast, Ignitor, wire, control cable, connectors, obstruction lights etc. and ensuring serviceability/satisfactory working condition of AFL masts and Perimeter road & wall lighting system, taking lux level measurement, maintaining all records and documentation etc as per PVM schedule., as per special conditions of contract and the instruction of Engineer in-charge or his authorised represenative as per requirement of the works. Note : i) For perimeter lights: Supply and replacement of all defective spares like MCCBs, MCB, contactors, LED fitting with driver of similar rating ( Except 377 LED fittings of perimeter light which is under defect liability for 5 years), time switch, lamp, ballast, Ignitor, pole loop wire, control cable, connectors, obstruction lights, loop in loop out box etc. and ensuring serviceability/satisfactory working condition of perimeter light and wall lights etc. ii) 20 nos. (approx.) Apron Flood Light (AFL) masts, semi high mast of various heights (Max 30 Mtr) at various locations with its panel etc supply and replacement of all defective spares like MCCBs, MCB, contactors, LED fitting with driver of similar rating time switch, lamp, ballast, Ignitor, wire, control cable, connectors, obstruction lights etc. and ensuring serviceability/satisfactory working condition. The contractor needs to deploy the following minimum manpower 1. Supervisor (Highly skilled) - 1 No. (in General shift), 2. Skilled Manpower - 03 No.( 1 in each shift) and 3. Unskilled manpower - 06 Nos. (2 in each shift.) (b) For 2nd Year | 12.00 | Month | 327370.00 | 205000.00 | 2460000.00 | 214500.00 | 2574000.00 | 2460000.00 | Youngmen Traders
20.00 | Dismantling the winch Gear assembly & Motor from High Mast then dismantling the motor from Gear assembly and complete overhauling of the Winch Gear assembly i/c filling it up with 80w-90 Lub Oil and then re-assemble the Winch Gear & fitting it with Motor and fix in it's original position with necessary wire rope connection for lifting the carriage etc. as required. (a) For 1st Year | 10.00 | Job | 7000.00 | 4500.00 | 45000.00 | 2500.00 | 25000.00 | 25000.00 | M/s J.K. Electric Engineering Works
21.00 | Dismantling the winch Gear assembly & Motor from High Mast then dismantling the motor from Gear assembly and complete overhauling of the Winch Gear assembly i/c filling it up with 80w-90 Lub Oil and then re-assemble the Winch Gear & fitting it with Motor and fix in it's original position with necessary wire rope connection for lifting the carriage etc. as required. (b) For 2nd Year | 10.00 | Job | 7700.00 | 4800.00 | 48000.00 | 3000.00 | 30000.00 | 30000.00 | M/s J.K. Electric Engineering Works
22.00 | Dismantling the damaged pole (not exceeding 9 m height) and reinstallation of the same in ground by grouting not less than 1 mtr. below ground level, with 1:3:6 (1 cement : 3 coarse sand : 6 graded stone of 40mm nominal size) cement concrete foundation and cement concrete collar of size 0.4mtr dia x 0.5 mtr. height i/c excavation and refilling , cement plaster, neat cement etc. as required i/c painting C.C. collar with synthetic enamel paint of approved colour etc. as required. (a) For 1st Year | 20.00 | Job | 3000.00 | 2200.00 | 44000.00 | 500.00 | 10000.00 | 10000.00 | M/s J.K. Electric Engineering Works
23.00 | Dismantling the damaged pole (not exceeding 9 m height) and reinstallation of the same in ground by grouting not less than 1 mtr. below ground level, with 1:3:6 (1 cement : 3 coarse sand : 6 graded stone of 40mm nominal size) cement concrete foundation and cement concrete collar of size 0.4mtr dia x 0.5 mtr. height i/c excavation and refilling , cement plaster, neat cement etc. as required i/c painting C.C. collar with synthetic enamel paint of approved colour etc. as required. (b) For 2nd Year | 20.00 | Job | 3300.00 | 2500.00 | 50000.00 | 500.00 | 10000.00 | 10000.00 | M/s J.K. Electric Engineering Works
24.00 | DSR items The execution of Delhi Schedule of Rates (E&M) 2018 of estimated amount of Rs.8,00,000.00 items mentioned in chapter 1 to chapter 17 including Appendix- I & II as and when required basis for repair/maintenance/addition/alteration etc of internal and external Electrical installations. [For example, if the quoted rate for this item is Rs. 0.90, then for executing DSR - 2018 (E&M) schedule work of value Rs. 1,00,000/- (excluding GST), the quoted amount will be Rs. 90,000/- (excluding GST). And if quoted rate for this item is Rs. 1.25, then quoted amount for the same will be Rs. 1,25,000/-(excluding GST).] [ GST will be added extra on quoted amount] (a) For 1st Year | 800000.00 | Unit | 1.00 | .80 | 640000.00 | .55 | 440000.00 | 440000.00 | M/s J.K. Electric Engineering Works
25.00 | The execution of Delhi Schedule of Rates (E&M) 2018 of estimated amount of Rs.8,00,000.00 items mentioned in chapter 1 to chapter 17 including Appendix- I & II as and when required basis for repair/maintenance/addition/alteration etc of internal and external Electrical installations. [For example, if the quoted rate for this item is Rs. 0.90, then for executing DSR - 2018 (E&M) schedule work of value Rs. 1,00,000/- (excluding GST), the quoted amount will be Rs. 90,000/- (excluding GST). And if quoted rate for this item is Rs. 1.25, then quoted amount for the same will be Rs. 1,25,000/-(excluding GST).] [ GST will be added extra on quoted amount] (b) For 2nd Year | 800000.00 | Unit | 1.00 | .82 | 656000.00 | .60 | 480000.00 | 480000.00 | M/s J.K. Electric Engineering Works
26.00 | Providing personal protective gears such as face masks(at least 2 nos to be provided to each person per month), Hand gloves(at least 2 sets to be provided to each person per month), sufficient qty. hand sanitisers (at least 250ml to be provided to each person per month), Hand wash (at least 500ml. to be provided to each person per month), soap ( at least one no. to be provided to each person per month) etc. to all the manpower deployed for duty as a preventive measure to contain spread of COVID-19. (Note: Providing the personal protective gears to all the persons deployed for duty for a period of one month is considered as one job). (a) For 1st Year | 12.00 | Job | 11305.00 | 5000.00 | 60000.00 | 1200.00 | 14400.00 | 14400.00 | M/s J.K. Electric Engineering Works
27.00 | Providing personal protective gears such as face masks(at least 2 nos to be provided to each person per month), Hand gloves(at least 2 sets to be provided to each person per month), sufficient qty. hand sanitisers (at least 250ml to be provided to each person per month), Hand wash (at least 500ml. to be provided to each person per month), soap ( at least one no. to be provided to each person per month) etc. to all the manpower deployed for duty as a preventive measure to contain spread of COVID-19. (Note: Providing the personal protective gears to all the persons deployed for duty for a period of one month is considered as one job). (b) For 2nd Year | 12.00 | Job | 12436.00 | 5000.00 | 60000.00 | 1200.00 | 14400.00 | 14400.00 | M/s J.K. Electric Engineering Works
| Total in Figures |  |  |  |  | 10102000.00 |  | 9457800.00
Lowest Amount Quoted BY: M/s J.K. Electric Engineering Works(9457800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job Contract for Operation and Comprehensive Maintenance of CCRs Taxiway Sign boards Perimeter Road lighting Perimeter Wall lighting and Apron Flood Lighting system at NSCBI Airport Kolkata Tender ID: 2020_AAI_50666_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s J.K. Electric Engineering Works | 9457800.00 | L1
| 2 | Youngmen Traders | 10102000.00 | L2