## BoQ1
Government eProcurement System Created By: Hirdaya kumar Chaturvedi Created Date/Time: 22-Jul-2020 12:12 PM Tender Title: Operation and Comprehensive Maintenance of VRF type Air-Conditioning System of AAI Admin building at SVPI Airport Ahmedabad (2020-22) Tender ID: 2020_AAI_50705_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-Elect)
Name of Work: “Operation and Comprehensive Maintenance of VRF type Air-Conditioning System of AAI Admin building at SVPI Airport Ahmedabad (2020-22).”
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Zamzam Refrigeration and airconditioning |  | ROSHAN REFRIGERATION AND ELECTRICALS |  | ANOOP REFRIGERATION |  | AIRTECH ENGINEERS
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 1st Year Comprehensive maintenance of 182 HP (total outdoor capacity) VRF system comprising of ODU, various type Indoor units, refrigerant piping, drain piping, ducting, dampers etc as detailed in the special condition of contract which includes repair/ replacement of defective components, carrying preventive maintenance as per OEM recommendations & AAI guidelines, maintenance of records/documentation, supplying consumables, spares etc complete as required. The work shall be carried out as per conditions of contract. | 12.00 | Months |  | 25000.00 | 300000.00 | 25000.00 | 300000.00 | 28297.50 | 339570.00 | 12000.00 | 144000.00 | 144000.00 | AIRTECH ENGINEERS
2.00 | 1st Year Running and Operation of 182 HP VRF system at AAI Admin Building in general shift (shift of 8 hours) on all days excluding sunday. Contractor shall have to depute minimum man power as per Special Condition. | 12.00 | Months |  | 45000.00 | 540000.00 | 39711.00 | 476532.00 | 36833.68 | 442004.16 | 46000.00 | 552000.00 | 442004.16 | ANOOP REFRIGERATION
3.00 | 2nd Year Comprehensive maintenance of 182 HP (total outdoor capacity) VRF system comprising of ODU, various type Indoor units, refrigerant piping, drain piping, ducting, dampers etc as detailed in the special condition of contract which includes repair/ replacement of defective components, carrying preventive maintenance as per OEM recommendations & AAI guidelines, maintenance of records/documentation, supplying consumables, spares etc complete as required. The work shall be carried out as per conditions of contract. | 12.00 | Months |  | 25000.00 | 300000.00 | 25000.00 | 300000.00 | 28297.50 | 339570.00 | 12000.00 | 144000.00 | 144000.00 | AIRTECH ENGINEERS
4.00 | 2nd Year Running and Operation of 182 HP VRF system at AAI Admin Building in general shift (shift of 8 hours) on all days excluding sunday. Contractor shall have to depute minimum man power as per Special Condition. | 12.00 | Months |  | 45000.00 | 540000.00 | 43682.90 | 524194.80 | 36833.68 | 442004.16 | 45000.00 | 540000.00 | 442004.16 | ANOOP REFRIGERATION
| Total in Figures |  |  |  |  | 1680000.00 |  | 1600726.80 |  | 1563148.32 |  | 1380000.00
Lowest Amount Quoted BY: AIRTECH ENGINEERS(1380000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Comprehensive Maintenance of VRF type Air-Conditioning System of AAI Admin building at SVPI Airport Ahmedabad (2020-22) Tender ID: 2020_AAI_50705_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AIRTECH ENGINEERS | 1380000.00 | L1
| 2 | ANOOP REFRIGERATION | 1563148.32 | L2
| 3 | ROSHAN REFRIGERATION AND ELECTRICALS | 1600726.80 | L3
| 4 | Zamzam Refrigeration and airconditioning | 1680000.00 | L4