## BoQ1
Government eProcurement System Created By: Rupsingh Kanoj Created Date/Time: 10-Jul-2020 05:39 PM Tender Title: ARMO of Electrical and Mechanical installation at Civil Airport Bareilly for year 2020-21. Tender ID: 2020_AAI_50765_1
Tender Inviting Authority:
Name of Work:
Contract No: 2020_AAI_50765
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NATIONAL SAFETY ENGINEERS |  | Manish Electricals |  | ANOOP REFRIGERATION |  | CIS ELECTRICALS PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: OPERATION & MAINTENANCE
1.01 | Annual Operation & daily Maintenance of various Electrical & Mechanical Installations involving repairs & maintenance and attending to compliants /faults/breakdowns and taking rectification action , ensuring servicibility/satisfactory working condition of the systems, preventive maintenance , maintenance of records/ documents etc. of DG set (Operation only), pump house , Terminal Building , Switch Room panels/ DBs, External lighting , and other ancillary Buildings etc as per the detailed specifications, terms & conditions covered under this contract on all days including sundays & holidays etc as reqd. a) Wireman /Electrician (Skilled) -01 No. - in General shift only . b) DG Set Operator (Semi Skilled )- 01 No. - in General shift only . c) Helper (Unskilled ) - 01 No. - in General shift only . | 12.00 | Month | 0.00 | 56000.00 | 672000.00 | 58786.00 | 705432.00 | 47138.00 | 565656.00 | 78000.00 | 936000.00 | 565656.00 | ANOOP REFRIGERATION
1.02 | Provision of additional manpower required for emergency / major maintenance works at Airport area beyond the scope of item No.1 on daily basis. (a) Skilled workmen | 10.00 | Day | 0.00 | 100.00 | 1000.00 | 700.00 | 7000.00 | 695.00 | 6950.00 | 900.00 | 9000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
1.03 | Provision of additional manpower required for emergency / major maintenance works at Airport area beyond the scope of item No.1 on daily basis. (b) Un-Skilled workmen | 20.00 | Day | 0.00 | 80.00 | 1600.00 | 600.00 | 12000.00 | 593.00 | 11860.00 | 800.00 | 16000.00 | 1600.00 | NATIONAL SAFETY ENGINEERS
1.04 | Fuel cost for running of the following capacity Kirloskar/Cummins make DG set per hour basis (contractor has to quote their rate for running hours i/c handling,storing and transportation cost of fuel .The rate shall be assessed according to the location and capacity of the DG set) as per special conditions of tender. (a) 1x125 KVA | 50.00 | Per Hour | 0.00 | 500.00 | 25000.00 | 843.00 | 42150.00 | 1230.00 | 61500.00 | 5000.00 | 250000.00 | 25000.00 | NATIONAL SAFETY ENGINEERS
1.05 | Fuel cost for running of the following capacity Kirloskar/Cummins make DG set per hour basis (contractor has to quote their rate for running hours i/c handling,storing and transportation cost of fuel .The rate shall be assessed according to the location and capacity of the DG set) as per special conditions of tender. (b) 1x62.5 KVA | 50.00 | Per Hour | 0.00 | 1000.00 | 50000.00 | 560.00 | 28000.00 | 615.00 | 30750.00 | 4500.00 | 225000.00 | 28000.00 | Manish Electricals
1.06 | Annual Comprehensive maintenance of 2 TR ,4 way (Cassette type) inverter type split Air-conditioning unit of Toshiba make i/c providing and repairing of defective compressor & replacement of other defective components like relay & switches , capacitors etc. with original components complete as required. | 22.00 | Each | 0.00 | 6000.00 | 132000.00 | 8000.00 | 176000.00 | 4000.00 | 88000.00 | 4000.00 | 88000.00 | 88000.00 | ANOOP REFRIGERATION, CIS ELECTRICALS PVT LTD
1.07 | Annual Comprehensive maintenance of fire detection and alarm system,comprising of Agni make microcontrolled based convetional fire alarm panel,detectors(52 Nos) ,response indiacotor , hooter (11Nos) , MCP (11Nos.) with complete circuit wiring and batteries etc. i/c cleaning of detectors and maintaining of fire alarm system in working condition complete as required . | 12.00 | Month | 0.00 | 2500.00 | 30000.00 | 8000.00 | 96000.00 | 2730.00 | 32760.00 | 20000.00 | 240000.00 | 30000.00 | NATIONAL SAFETY ENGINEERS
1.08 | Annual comprehensive maintenance of water coolers having capacities of 40/80 Ltrs by repairing/replacement of all defective parts such as compressors,fan motor & gas charging etc. complete as required at site. | 3.00 | Each | 0.00 | 5000.00 | 15000.00 | 5200.00 | 15600.00 | 800.00 | 2400.00 | 9000.00 | 27000.00 | 2400.00 | ANOOP REFRIGERATION
1.09 | Annual comprehensive maintenance of UV water purifier of Eurekaforbes make with pre filter by repaiting/replacement of defective parts complete as required. | 3.00 | Each | 0.00 | 2500.00 | 7500.00 | 5400.00 | 16200.00 | 2000.00 | 6000.00 | 8000.00 | 24000.00 | 6000.00 | ANOOP REFRIGERATION
2.00 | SH-II: SUPPLY OF ELECTRICAL SPARES & ACCESSORIES (on as and when required basis at site )
2.01 | Supply of Flame retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of following size: (a) 1 x 1.5 sqmm (90 mtr coil) | 1.00 | Coil | 0.00 | 1300.00 | 1300.00 | 1200.00 | 1200.00 | 504.00 | 504.00 | 7000.00 | 7000.00 | 504.00 | ANOOP REFRIGERATION
2.02 | Supply of Flame retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of following size: (b) 1 x 2.5 sqmm ( 90 mtr coil ) | 1.00 | Coil | 0.00 | 1900.00 | 1900.00 | 1800.00 | 1800.00 | 896.00 | 896.00 | 7000.00 | 7000.00 | 896.00 | ANOOP REFRIGERATION
2.03 | Supply of Flame retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of following size: (c) 1 x 4.0 sqmm (90 mtr coil) | 1.00 | Coil | 0.00 | 3000.00 | 3000.00 | 3400.00 | 3400.00 | 1410.50 | 1410.50 | 5000.00 | 5000.00 | 1410.50 | ANOOP REFRIGERATION
2.04 | Supply of Flame retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of following size: (d) 3 x 2.5 sqmm (100 Mtr Coil ) Flexible | 1.00 | Coil | 0.00 | 4000.00 | 4000.00 | 6500.00 | 6500.00 | 3641.75 | 3641.75 | 5000.00 | 5000.00 | 3641.75 | ANOOP REFRIGERATION
2.05 | Supply of lead acid Batteries 12 V, 180 AH capacity in charged condition, as & when required. | 4.00 | Each | 0.00 | 15000.00 | 60000.00 | 17000.00 | 68000.00 | 15500.00 | 62000.00 | 19000.00 | 76000.00 | 60000.00 | NATIONAL SAFETY ENGINEERS
2.06 | Supply of Wall mounting fan (400 mm sweep). | 4.00 | Each | 0.00 | 2500.00 | 10000.00 | 3600.00 | 14400.00 | 1120.00 | 4480.00 | 2500.00 | 10000.00 | 4480.00 | ANOOP REFRIGERATION
2.07 | Supply of Ceiling fan (1200 mm sweep), energy efficient . | 2.00 | Each | 0.00 | 2200.00 | 4400.00 | 1800.00 | 3600.00 | 805.00 | 1610.00 | 1900.00 | 3800.00 | 1610.00 | ANOOP REFRIGERATION
2.08 | Supply of 6A ,3 Pin top | 5.00 | Each | 0.00 | 50.00 | 250.00 | 30.00 | 150.00 | 70.00 | 350.00 | 100.00 | 500.00 | 150.00 | Manish Electricals
2.09 | Supply of 16A ,3 Pin top | 5.00 | Each | 0.00 | 85.00 | 425.00 | 50.00 | 250.00 | 104.30 | 521.50 | 150.00 | 750.00 | 250.00 | Manish Electricals
2.10 | Supply of 20A & 10A Switch Socket combined Unit | 6.00 | Each | 0.00 | 200.00 | 1200.00 | 150.00 | 900.00 | 116.90 | 701.40 | 110.00 | 660.00 | 660.00 | CIS ELECTRICALS PVT LTD
2.11 | Supply of PVC Tape | 50.00 | Each | 0.00 | 12.00 | 600.00 | 8.00 | 400.00 | 6.30 | 315.00 | 13.00 | 650.00 | 315.00 | ANOOP REFRIGERATION
2.12 | Supply of Desert Cooler made of GI sheet body of nominal 20Gauge of having minimum dimension 2ftX2ftX3ft with fan and pump including all accessories complete as required . | 2.00 | Each | 0.00 | 8500.00 | 17000.00 | 7500.00 | 15000.00 | 4550.00 | 9100.00 | 12000.00 | 24000.00 | 9100.00 | ANOOP REFRIGERATION
2.13 | Supply of LED Flood Light fitting made of pressure die cast housing ,of 100W ,230V, 50Hz , Colour cool white light, with IP 65 weather protection with all accessories complete as as required. | 4.00 | Each | 0.00 | 6000.00 | 24000.00 | 8500.00 | 34000.00 | 3850.00 | 15400.00 | 6000.00 | 24000.00 | 15400.00 | ANOOP REFRIGERATION
3.00 | SH-III: DSR ITEMS
3.01 | Execution of works as per requirement of site from CPWD schedule of rates (Electrical DSR-2018) as per CPWD specifications completed as required .(Total amount of Rs 50000.00 (exclusive of GST ) is kept for DSR items -2018) [ (Note- Rate of DSR items shall be quoted against total amount of Rs 50000.00 (Fifty Thousand ) in figures excluding GST which shall be converted in the percentage (above/below ) and rate of DSR items shall be taken exclusive of GST (basic rate ) on which payment shall be made considering percentage above /below rate quoted against Rs 50,000.00 .] | 1.00 | Job | 0.00 | 48000.00 | 48000.00 | 40000.00 | 40000.00 | 50.00 | 50.00 | 45000.00 | 45000.00 | 50.00 | ANOOP REFRIGERATION
| Total in Figures |  |  |  |  | 1110175.00 |  | 1287982.00 |  | 906856.15 |  | 2024360.00
Lowest Amount Quoted BY: ANOOP REFRIGERATION(906856.15)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical installation at Civil Airport Bareilly for year 2020-21. Tender ID: 2020_AAI_50765_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANOOP REFRIGERATION | 906856.15 | L1
| 2 | NATIONAL SAFETY ENGINEERS | 1110175.00 | L2
| 3 | Manish Electricals | 1287982.00 | L3
| 4 | CIS ELECTRICALS PVT LTD | 2024360.00 | L4