## BoQ1
Government eProcurement System Created By: Mayank Gaur Created Date/Time: 08-Jul-2020 11:34 AM Tender Title: Provision of UVGI at DATS Tender ID: 2020_AAI_50809_1
Tender Inviting Authority: Senior Manager (Engg.-E), AAI, DATS Complex, IGI Airport, New Delhi.
Name of Work: Provision of Ultra Violet Germicidal Irradiations, (UVGI) System in AHUs at DATS, Operation offices & CATFM, New Delhi.
Contract No: AAI/DATS/E-E/UVGI/2020-21/E-NIT-03
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNOWMEX ENGINEERS LIMITED |  | Welcome Engineers |  | Blue Star Limited |  | Gentech Engineering Services |  | Aircon Engineers Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation , testing & Commissioning of AHU coil mounted UV system for maintaining Indoor Air Quality through coil microbe disinfection & cleaning without the need for regular chemical cleaning. UV modules must be with factory fabricated support. UV system supplied must be in strict conformity with the specifications.( tenderers are requested to see the technical specifications before quoting the rate). The whole system shall be in compliance with the selection chart based on ISHRAE recommendation. The details of CFM of AHUs are as follows:
1.01 | TB Building DATS Location= TBB Ground CFM = 16300 | 1.00 | Job | 119217.24 | 105000.00 | 105000.00 | 117000.00 | 117000.00 | 59954.00 | 59954.00 | 96985.00 | 96985.00 | 105587.00 | 105587.00 | 59954.00 | Blue Star Limited
1.02 | Location= TBB Ground CFM = 19300 | 1.00 | Job | 119217.24 | 105000.00 | 105000.00 | 122000.00 | 122000.00 | 67989.00 | 67989.00 | 114835.00 | 114835.00 | 109992.00 | 109992.00 | 67989.00 | Blue Star Limited
1.03 | Location= TBB 1st floor CFM = 10500 | 1.00 | Job | 71784.49 | 105000.00 | 105000.00 | 90000.00 | 90000.00 | 45484.00 | 45484.00 | 62475.00 | 62475.00 | 81117.00 | 81117.00 | 45484.00 | Blue Star Limited
1.04 | Location=TBB 1st floor CFM = 14550 | 1.00 | Job | 71784.49 | 105000.00 | 105000.00 | 100000.00 | 100000.00 | 56072.00 | 56072.00 | 86572.50 | 86572.50 | 83320.00 | 83320.00 | 56072.00 | Blue Star Limited
1.05 | Location= TBB 2nd floor CFM = 15300 | 1.00 | Job | 113946.94 | 105000.00 | 105000.00 | 100000.00 | 100000.00 | 63145.00 | 63145.00 | 91035.00 | 91035.00 | 83320.00 | 83320.00 | 63145.00 | Blue Star Limited
1.06 | Location= TBB 2nd floor CFM = 12000 | 1.00 | Job | 71784.49 | 75000.00 | 75000.00 | 90000.00 | 90000.00 | 45484.00 | 45484.00 | 71400.00 | 71400.00 | 81668.00 | 81668.00 | 45484.00 | Blue Star Limited
1.07 | Location= TBB 3rd floor CFM = 10500 | 1.00 | Job | 71784.49 | 75000.00 | 75000.00 | 90000.00 | 90000.00 | 45484.00 | 45484.00 | 62475.00 | 62475.00 | 81117.00 | 81117.00 | 45484.00 | Blue Star Limited
1.08 | Location= TBB 4th floor CFM = 15400 | 1.00 | Job | 113946.94 | 85000.00 | 85000.00 | 90000.00 | 90000.00 | 63145.00 | 63145.00 | 91630.00 | 91630.00 | 83320.00 | 83320.00 | 63145.00 | Blue Star Limited
2.00 | ACC Building, DATS
2.01 | Location = ACC Basement CFM = 18000 | 1.00 | Job | 119472.77 | 120000.00 | 120000.00 | 121000.00 | 121000.00 | 63145.00 | 63145.00 | 107100.00 | 107100.00 | 108230.00 | 108230.00 | 63145.00 | Blue Star Limited
2.02 | Location = ACC Ground CFM = 22650 | 1.00 | Job | 151318.20 | 120000.00 | 120000.00 | 200000.00 | 200000.00 | 79648.00 | 79648.00 | 134767.50 | 134767.50 | 186177.00 | 186177.00 | 79648.00 | Blue Star Limited
2.03 | Location = ACC Ground CFM = 21500 | 1.00 | Job | 151318.20 | 120000.00 | 120000.00 | 200000.00 | 200000.00 | 79648.00 | 79648.00 | 127925.00 | 127925.00 | 184745.00 | 184745.00 | 79648.00 | Blue Star Limited
2.04 | Location = ACC Ground CFM = 19500 | 1.00 | Job | 119217.24 | 105000.00 | 105000.00 | 122000.00 | 122000.00 | 67989.00 | 67989.00 | 116025.00 | 116025.00 | 113169.00 | 113169.00 | 67989.00 | Blue Star Limited
2.05 | Location = ACC 1st Floor CFM = 16300 | 1.00 | Job | 119217.24 | 105000.00 | 105000.00 | 117000.00 | 117000.00 | 59954.00 | 59954.00 | 96985.00 | 96985.00 | 105587.00 | 105587.00 | 59954.00 | Blue Star Limited
2.06 | Location = ACC 1st Floor CFM = 16750 | 1.00 | Job | 119217.24 | 105000.00 | 105000.00 | 117000.00 | 117000.00 | 63145.00 | 63145.00 | 99662.50 | 99662.50 | 106137.00 | 106137.00 | 63145.00 | Blue Star Limited
2.07 | Location = ACC 1st Floor CFM = 15300 | 1.00 | Job | 113946.94 | 105000.00 | 105000.00 | 100000.00 | 100000.00 | 63145.00 | 63145.00 | 91035.00 | 91035.00 | 84114.00 | 84114.00 | 63145.00 | Blue Star Limited
2.08 | Location = ACC 2nd Floor CFM = 19500 | 1.00 | Job | 119217.24 | 105000.00 | 105000.00 | 122000.00 | 122000.00 | 67989.00 | 67989.00 | 116025.00 | 116025.00 | 113169.00 | 113169.00 | 67989.00 | Blue Star Limited
2.09 | Location = ACC 2nd Floor CFM = 22500 | 1.00 | Job | 151318.20 | 120000.00 | 120000.00 | 200000.00 | 200000.00 | 79648.00 | 79648.00 | 133875.00 | 133875.00 | 186177.00 | 186177.00 | 79648.00 | Blue Star Limited
2.10 | Location = ACC 3rd Floor CFM = 16600 | 1.00 | Job | 119217.24 | 105000.00 | 105000.00 | 117000.00 | 117000.00 | 63145.00 | 63145.00 | 98770.00 | 98770.00 | 105587.00 | 105587.00 | 63145.00 | Blue Star Limited
2.11 | Location = ACC 3rd Floor CFM = 15650 | 1.00 | Job | 113946.94 | 110000.00 | 110000.00 | 100000.00 | 100000.00 | 63145.00 | 63145.00 | 93117.50 | 93117.50 | 84114.00 | 84114.00 | 63145.00 | Blue Star Limited
2.12 | Location = ACC 3rd Floor CFM = 18699 | 1.00 | Job | 151318.20 | 110000.00 | 110000.00 | 122000.00 | 122000.00 | 67989.00 | 67989.00 | 111259.05 | 111259.05 | 109992.00 | 109992.00 | 67989.00 | Blue Star Limited
2.13 | Location = ACC 4th Floor CFM = 21000 | 1.00 | Job | 147804.66 | 110000.00 | 110000.00 | 200000.00 | 200000.00 | 79648.00 | 79648.00 | 124950.00 | 124950.00 | 184745.00 | 184745.00 | 79648.00 | Blue Star Limited
2.14 | Location = ACC 4th Floor CFM = 21000 | 1.00 | Job | 147804.66 | 110000.00 | 110000.00 | 200000.00 | 200000.00 | 79648.00 | 79648.00 | 124950.00 | 124950.00 | 184745.00 | 184745.00 | 79648.00 | Blue Star Limited
2.15 | Location = ACC 4th Floor CFM = 21000 | 1.00 | Job | 147804.66 | 110000.00 | 110000.00 | 200000.00 | 200000.00 | 79648.00 | 79648.00 | 124950.00 | 124950.00 | 184745.00 | 184745.00 | 79648.00 | Blue Star Limited
3.00 | Tower Building
3.01 | Location = 22th Floor CFM = 10200 | 1.00 | Job | 49585.32 | 65000.00 | 65000.00 | 90000.00 | 90000.00 | 45484.00 | 45484.00 | 60690.00 | 60690.00 | 104792.00 | 104792.00 | 45484.00 | Blue Star Limited
3.02 | Location = 22th Floor CFM = 10000 | 1.00 | Job | 49585.32 | 65000.00 | 65000.00 | 90000.00 | 90000.00 | 45484.00 | 45484.00 | 59500.00 | 59500.00 | 79466.00 | 79466.00 | 45484.00 | Blue Star Limited
4.00 | Operational Office, RHQ NR
4.01 | Location = 1st floor CFM = 16000 | 1.00 | Job | 119217.24 | 115000.00 | 115000.00 | 117000.00 | 117000.00 | 63145.00 | 63145.00 | 95200.00 | 95200.00 | 105587.00 | 105587.00 | 63145.00 | Blue Star Limited
4.02 | Location = 1st floor CFM = 12000 | 1.00 | Job | 130236.98 | 74000.00 | 74000.00 | 90000.00 | 90000.00 | 45484.00 | 45484.00 | 71400.00 | 71400.00 | 81668.00 | 81668.00 | 45484.00 | Blue Star Limited
4.03 | Location = 2nd floor CFM = 14000 | 1.00 | Job | 130236.98 | 115000.00 | 115000.00 | 100000.00 | 100000.00 | 55804.00 | 55804.00 | 83300.00 | 83300.00 | 82549.00 | 82549.00 | 55804.00 | Blue Star Limited
4.04 | Location = 2nd floor CFM = 16000 | 1.00 | Job | 119217.24 | 115000.00 | 115000.00 | 117000.00 | 117000.00 | 63145.00 | 63145.00 | 95200.00 | 95200.00 | 105587.00 | 105587.00 | 63145.00 | Blue Star Limited
4.05 | Location = 2nd floor CFM = 14000 | 1.00 | Job | 130236.98 | 115000.00 | 115000.00 | 100000.00 | 100000.00 | 55804.00 | 55804.00 | 83300.00 | 83300.00 | 82549.00 | 82549.00 | 55804.00 | Blue Star Limited
4.06 | Location = 2nd floor CFM = 12000 | 1.00 | Job | 130236.98 | 74000.00 | 74000.00 | 100000.00 | 100000.00 | 45484.00 | 45484.00 | 71400.00 | 71400.00 | 81668.00 | 81668.00 | 45484.00 | Blue Star Limited
4.07 | Location = 3rd floor CFM = 14000 | 1.00 | Job | 130236.98 | 74000.00 | 74000.00 | 100000.00 | 100000.00 | 55804.00 | 55804.00 | 83300.00 | 83300.00 | 82549.00 | 82549.00 | 55804.00 | Blue Star Limited
4.08 | Location = 3rd floor CFM = 16000 | 1.00 | Job | 119217.24 | 115000.00 | 115000.00 | 117000.00 | 117000.00 | 63145.00 | 63145.00 | 95200.00 | 95200.00 | 105587.00 | 105587.00 | 63145.00 | Blue Star Limited
4.09 | Location = 3rd floor CFM = 16000 | 1.00 | Job | 119217.24 | 115000.00 | 115000.00 | 117000.00 | 117000.00 | 63145.00 | 63145.00 | 95200.00 | 95200.00 | 105587.00 | 105587.00 | 63145.00 | Blue Star Limited
4.10 | Location = 3rd floor CFM = 12000 | 1.00 | Job | 130236.98 | 74000.00 | 74000.00 | 90000.00 | 90000.00 | 45484.00 | 45484.00 | 71400.00 | 71400.00 | 81668.00 | 81668.00 | 45484.00 | Blue Star Limited
4.11 | Location = 4th Floor CFM = 12000 | 1.00 | Job | 130236.98 | 74000.00 | 74000.00 | 90000.00 | 90000.00 | 45484.00 | 45484.00 | 71400.00 | 71400.00 | 81668.00 | 81668.00 | 45484.00 | Blue Star Limited
4.12 | Location = 4th Floor CFM = 12000 | 1.00 | Job | 130236.98 | 74000.00 | 74000.00 | 90000.00 | 90000.00 | 45484.00 | 45484.00 | 71400.00 | 71400.00 | 81668.00 | 81668.00 | 45484.00 | Blue Star Limited
4.13 | Location = 5th Floor CFM = 14000 | 1.00 | Job | 130236.98 | 115000.00 | 115000.00 | 90000.00 | 90000.00 | 55804.00 | 55804.00 | 83300.00 | 83300.00 | 82549.00 | 82549.00 | 55804.00 | Blue Star Limited
4.14 | Location = 5th Floor CFM = 14000 | 1.00 | Job | 130236.98 | 115000.00 | 115000.00 | 90000.00 | 90000.00 | 55804.00 | 55804.00 | 83300.00 | 83300.00 | 82549.00 | 82549.00 | 55804.00 | Blue Star Limited
4.15 | Location = Ground floor CFM = 18000 | 1.00 | Job | 119217.24 | 115000.00 | 115000.00 | 130000.00 | 130000.00 | 63145.00 | 63145.00 | 107100.00 | 107100.00 | 108230.00 | 108230.00 | 63145.00 | Blue Star Limited
5.00 | CATFM Offices
5.01 | Location = CATFM CFM = 3600 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 55000.00 | 55000.00 | 22641.00 | 22641.00 | 21420.00 | 21420.00 | 47838.00 | 47838.00 | 21420.00 | Gentech Engineering Services
5.02 | Location = CATFM CFM = 3600 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 55000.00 | 55000.00 | 22641.00 | 22641.00 | 21420.00 | 21420.00 | 47838.00 | 47838.00 | 21420.00 | Gentech Engineering Services
6.00 | CSU Details, DATS Tower
6.01 | Location = Tower 23rd Floor, CSU-01 CFM = 4000 | 1.00 | Job | 36010.29 | 26500.00 | 26500.00 | 55000.00 | 55000.00 | 22641.00 | 22641.00 | 23800.00 | 23800.00 | 47838.00 | 47838.00 | 22641.00 | Blue Star Limited
6.02 | Location = Tower 23rd Floor, CSU-02 CFM = 4000 | 1.00 | Job | 36010.29 | 26500.00 | 26500.00 | 55000.00 | 55000.00 | 22641.00 | 22641.00 | 23800.00 | 23800.00 | 47838.00 | 47838.00 | 22641.00 | Blue Star Limited
6.03 | Location = Tower 23rd Floor, CSU-03 CFM = 4000 | 1.00 | Job | 36010.29 | 26500.00 | 26500.00 | 55000.00 | 55000.00 | 22641.00 | 22641.00 | 23800.00 | 23800.00 | 47838.00 | 47838.00 | 22641.00 | Blue Star Limited
6.04 | Location = Tower 23rd Floor, CSU-04 CFM = 4000 | 1.00 | Job | 36010.29 | 26500.00 | 26500.00 | 55000.00 | 55000.00 | 22641.00 | 22641.00 | 23800.00 | 23800.00 | 47838.00 | 47838.00 | 22641.00 | Blue Star Limited
6.05 | Location = Tower 24th Floor, CSU-01 CFM = 4000 | 1.00 | Job | 36010.29 | 26500.00 | 26500.00 | 55000.00 | 55000.00 | 22641.00 | 22641.00 | 23800.00 | 23800.00 | 47838.00 | 47838.00 | 22641.00 | Blue Star Limited
6.06 | Location = Tower 24th Floor, CSU-02 CFM = 4000 | 1.00 | Job | 36010.29 | 26500.00 | 26500.00 | 55000.00 | 55000.00 | 22641.00 | 22641.00 | 23800.00 | 23800.00 | 47838.00 | 47838.00 | 22641.00 | Blue Star Limited
7.00 | CSU Details, DATS TBB Building
7.01 | Location = TBB 3rd Floor Pantry CFM = 1800 | 1.00 | Job | 31298.95 | 26500.00 | 26500.00 | 30000.00 | 30000.00 | 21472.00 | 21472.00 | 10710.00 | 10710.00 | 27223.00 | 27223.00 | 10710.00 | Gentech Engineering Services
7.02 | Location = TBB 3rd Floor Room No. 312 CFM = 2400 | 1.00 | Job | 33295.28 | 26500.00 | 26500.00 | 30000.00 | 30000.00 | 21472.00 | 21472.00 | 14280.00 | 14280.00 | 27223.00 | 27223.00 | 14280.00 | Gentech Engineering Services
7.03 | Location = TBB Basement LV Switch board Tower CFM = 1200 | 1.00 | Job | 30628.19 | 26500.00 | 26500.00 | 21000.00 | 21000.00 | 20574.00 | 20574.00 | 7140.00 | 7140.00 | 18414.00 | 18414.00 | 7140.00 | Gentech Engineering Services
7.04 | Location = TBB UPS Room 1 & 2, CSU-01 CFM = 1200 | 1.00 | Job | 30628.19 | 26500.00 | 26500.00 | 21000.00 | 21000.00 | 20574.00 | 20574.00 | 7140.00 | 7140.00 | 18414.00 | 18414.00 | 7140.00 | Gentech Engineering Services
7.05 | Location = TBB UPS Room 1 & 2, CSU-02 CFM = 1200 | 1.00 | Job | 30628.19 | 26500.00 | 26500.00 | 21000.00 | 21000.00 | 20574.00 | 20574.00 | 7140.00 | 7140.00 | 18414.00 | 18414.00 | 7140.00 | Gentech Engineering Services
7.06 | Location = TBB Basement LV Switch Board Room CFM = 3000 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 45000.00 | 45000.00 | 22508.00 | 22508.00 | 17850.00 | 17850.00 | 44535.00 | 44535.00 | 17850.00 | Gentech Engineering Services
7.07 | Location = TBB Basement CFM = 1800 | 1.00 | Job | 31298.95 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 21472.00 | 21472.00 | 10710.00 | 10710.00 | 27223.00 | 27223.00 | 10710.00 | Gentech Engineering Services
7.08 | Location = TBB 1st Floor Pantry CFM = 1800 | 1.00 | Job | 31298.95 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 21472.00 | 21472.00 | 10710.00 | 10710.00 | 27223.00 | 27223.00 | 10710.00 | Gentech Engineering Services
8.00 | CSU Details, DATS ACC Building
8.01 | Location =ACC Basement CFM = 2400 | 1.00 | Job | 33295.28 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 21472.00 | 21472.00 | 14280.00 | 14280.00 | 27223.00 | 27223.00 | 14280.00 | Gentech Engineering Services
8.02 | Location = ACC Basement CFM = 2400 | 1.00 | Job | 33295.28 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 21472.00 | 21472.00 | 14280.00 | 14280.00 | 27223.00 | 27223.00 | 14280.00 | Gentech Engineering Services
8.03 | Location = ACC 1st Floor CFM = 5000 | 1.00 | Job | 48467.38 | 26500.00 | 26500.00 | 65000.00 | 65000.00 | 32363.00 | 32363.00 | 29750.00 | 29750.00 | 51142.00 | 51142.00 | 26500.00 | SNOWMEX ENGINEERS LIMITED
9.00 | FCU Details, DATS Tower
9.01 | Location = Location Tower 24th Floor corridor and washroom CFM = 2400 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 21472.00 | 21472.00 | 14280.00 | 14280.00 | 27223.00 | 27223.00 | 14280.00 | Gentech Engineering Services
9.02 | Location = Location Tower 24th Floor corridor and washroom CFM = 1500 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 20574.00 | 20574.00 | 8925.00 | 8925.00 | 27223.00 | 27223.00 | 8925.00 | Gentech Engineering Services
10.00 | FCU Details, DATS ACC Building
10.01 | Location = Location A.- 142 CFM = 1500 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 20574.00 | 20574.00 | 8925.00 | 8925.00 | 27223.00 | 27223.00 | 8925.00 | Gentech Engineering Services
10.02 | Location = Location A.- 117 CFM = 1500 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 20574.00 | 20574.00 | 8925.00 | 8925.00 | 27223.00 | 27223.00 | 8925.00 | Gentech Engineering Services
10.03 | Location = Location A.- 166 CFM = 1500 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 20574.00 | 20574.00 | 8925.00 | 8925.00 | 27223.00 | 27223.00 | 8925.00 | Gentech Engineering Services
10.04 | Location = Location A.-102 CFM = 1500 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 20574.00 | 20574.00 | 8925.00 | 8925.00 | 27223.00 | 27223.00 | 8925.00 | Gentech Engineering Services
10.05 | Location = Location A.-103 CFM = 1500 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 20574.00 | 20574.00 | 8925.00 | 8925.00 | 27223.00 | 27223.00 | 8925.00 | Gentech Engineering Services
10.06 | Location = ACC Basement CFM = 1500 | 1.00 | Job | 34173.67 | 26500.00 | 26500.00 | 36000.00 | 36000.00 | 20574.00 | 20574.00 | 8925.00 | 8925.00 | 27223.00 | 27223.00 | 8925.00 | Gentech Engineering Services
| Total in Figures |  |  |  |  | 4744500.00 |  | 5860000.00 |  | 3009467.00 |  | 4166779.05 |  | 5201540.00
Lowest Amount Quoted BY: Blue Star Limited(3009467.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of UVGI at DATS Tender ID: 2020_AAI_50809_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Blue Star Limited | 3009467.00 | L1
| 2 | Gentech Engineering Services | 4166779.05 | L2
| 3 | SNOWMEX ENGINEERS LIMITED | 4744500.00 | L3
| 4 | Aircon Engineers Pvt Ltd | 5201540.00 | L4
| 5 | Welcome Engineers | 5860000.00 | L5