## BoQ1
Government eProcurement System Created By: Hemant Bhavsar Created Date/Time: 28-Jul-2020 11:44 AM Tender Title: Supply of Electrical Spares for Maintenance at Ahmedabad Airport (2020-21) Tender ID: 2020_AAI_51138_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg.-Elect), Airports Authority of India, S.V.P.I. Airport, Ahmedabad
Name of Work: Supply of Electrical Spares for Maintenance at Ahmedabad Airport (2020-21).
Contract No: 079-22858057
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | S. N ELECTRICALS |  | Taral Electricals |  | Industrial Traders |  | Yash Energy Pvt. Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Bell Buzzer (Anchor Code 8374 or Equivalent) | 10.00 | Each |  | 55.00 | 550.00 | 110.00 | 1100.00 | 63.00 | 630.00 | 62.00 | 620.00 | 63.00 | 630.00 | 550.00 | ABHISHEK ASSOCIATES
2.00 | Bell Buzzer Modular 240V (Anchor Code 21204 or Equivalent) | 10.00 | Each |  | 73.00 | 730.00 | 110.00 | 1100.00 | 89.00 | 890.00 | 210.00 | 2100.00 | 89.00 | 890.00 | 730.00 | ABHISHEK ASSOCIATES
3.00 | Bell Ding Dong (Anchor Code 8272 or Equivalent) | 10.00 | Each |  | 98.00 | 980.00 | 110.00 | 1100.00 | 112.00 | 1120.00 | 210.00 | 2100.00 | 111.00 | 1110.00 | 980.00 | ABHISHEK ASSOCIATES
4.00 | Bell Indicator Roma (Anchor Code 20358 or Equivalent) | 10.00 | Each |  | 113.00 | 1130.00 | 110.00 | 1100.00 | 138.00 | 1380.00 | 284.00 | 2840.00 | 139.00 | 1390.00 | 1100.00 | S. N ELECTRICALS
5.00 | Bell Push Switch Modular (Anchor Code 21044 or Equivalent) | 10.00 | Each |  | 64.00 | 640.00 | 110.00 | 1100.00 | 77.00 | 770.00 | 157.00 | 1570.00 | 77.00 | 770.00 | 640.00 | ABHISHEK ASSOCIATES
6.00 | Bench vice, Cast Iron body Size (in inch) - 6 Width of Jaws (in mm) - 150 Opening of Jaws (in mm) min. - 170 Depth of Jaws (in mm) - 90 | 2.00 | Each |  | 3940.00 | 7880.00 | 550.00 | 1100.00 | 4233.00 | 8466.00 | 7477.00 | 14954.00 | 5319.00 | 10638.00 | 1100.00 | S. N ELECTRICALS
7.00 | Cable Tie - 300mm | 10.00 | PKT |  | 197.00 | 1970.00 | 100.00 | 1000.00 | 115.00 | 1150.00 | 105.00 | 1050.00 | 110.00 | 1100.00 | 1000.00 | S. N ELECTRICALS
8.00 | Cable 2 x 1.5 Sqmm (Flexible ) copper, 1.1 kV Grade as per IS: 694: 2010 or as amended. | 500.00 | Mtr |  | 25.00 | 12500.00 | 24.00 | 12000.00 | 27.00 | 13500.00 | 29.00 | 14500.00 | 21.00 | 10500.00 | 10500.00 | Yash Energy Pvt. Ltd
9.00 | Cable 2 x 2.5 Sqmm (Flexible ) copper, 1.1 kV Grade as per IS: 694: 2010 or as amended. | 500.00 | Mtr |  | 41.00 | 20500.00 | 38.00 | 19000.00 | 43.00 | 21500.00 | 46.00 | 23000.00 | 34.00 | 17000.00 | 17000.00 | Yash Energy Pvt. Ltd
10.00 | Cable 3 x 1.5 sqmm (Flexible ) copper, 1.1 kV Grade as per IS: 694: 2010 or as amended. | 500.00 | Mtr |  | 35.00 | 17500.00 | 30.00 | 15000.00 | 36.00 | 18000.00 | 40.00 | 20000.00 | 29.00 | 14500.00 | 14500.00 | Yash Energy Pvt. Ltd
11.00 | Cable 3 x 2.5 sqmm (Flexible ) copper, 1.1 kV Grade as per IS: 694: 2010 or as amended. | 500.00 | Mtr |  | 57.00 | 28500.00 | 45.00 | 22500.00 | 59.00 | 29500.00 | 64.00 | 32000.00 | 47.00 | 23500.00 | 22500.00 | S. N ELECTRICALS
12.00 | Cable 4 x 2.5 Sqmm (Flexible ) copper, 1.1 kV Grade as per IS: 694: 2010 or as amended. | 200.00 | Mtr. |  | 75.00 | 15000.00 | 65.00 | 13000.00 | 78.00 | 15600.00 | 84.00 | 16800.00 | 62.00 | 12400.00 | 12400.00 | Yash Energy Pvt. Ltd
13.00 | Cable 4 x 4 Sqmm (Flexible ) copper, 1.1 kV Grade as per IS: 694: 2010 or as amended. | 500.00 | Mtr. |  | 115.00 | 57500.00 | 110.00 | 55000.00 | 118.00 | 59000.00 | 129.00 | 64500.00 | 94.00 | 47000.00 | 47000.00 | Yash Energy Pvt. Ltd
14.00 | Cable 4 x 6 Sqmm (Flexible ) copper, 1.1 kV Grade as per IS: 694: 2010 or as amended. | 250.00 | Mtr. |  | 167.00 | 41750.00 | 150.00 | 37500.00 | 187.00 | 46750.00 | 187.00 | 46750.00 | 135.00 | 33750.00 | 33750.00 | Yash Energy Pvt. Ltd
15.00 | Cable Al. Conductor Armoured, XLPE insulated 1.1 kV Grade as per IS 7098 (Part - 1) - Cable 4 x 16 Sqmm | 500.00 | Mtr |  | 90.00 | 45000.00 | 105.00 | 52500.00 | 95.00 | 47500.00 | 114.00 | 57000.00 | 87.00 | 43500.00 | 43500.00 | Yash Energy Pvt. Ltd
16.00 | Cable Al. Conductor Armoured, XLPE insulated 1.1 kV Grade as per IS 7098 (Part - 1) - Cable 4 x 25 Sqmm | 500.00 | Mtr |  | 123.00 | 61500.00 | 140.00 | 70000.00 | 130.00 | 65000.00 | 155.00 | 77500.00 | 119.00 | 59500.00 | 59500.00 | Yash Energy Pvt. Ltd
17.00 | Cable Al. Conductor Armoured, XLPE insulated 1.1 kV Grade as per IS 7098 (Part - 1) - Cable 3.5 x 50 Sqmm | 500.00 | Mtr |  | 175.00 | 87500.00 | 200.00 | 100000.00 | 186.00 | 93000.00 | 222.00 | 111000.00 | 169.00 | 84500.00 | 84500.00 | Yash Energy Pvt. Ltd
18.00 | Cable Junction Box, IP 66, "weather proof", for Outdoor installation (with plain walls) Cable Size (in sqmm) : 10 - 25 (Make Hensel : Cat no. KF 2500 H or Equivalent) | 30.00 | Each |  | 1877.00 | 56310.00 | 2000.00 | 60000.00 | 2046.00 | 61380.00 | 1678.00 | 50340.00 | 1860.00 | 55800.00 | 50340.00 | Industrial Traders
19.00 | Cable Gland (Synthetic) - Size M32 x 1.5 Sealing range (mm dia) - 17.0 - 25.0 (Make Hensel : Cat no. 1545.32.25 / 1555.32.25 (black / grey) or Equivalent). | 60.00 | Each |  | 73.00 | 4380.00 | 55.00 | 3300.00 | 80.00 | 4800.00 | 65.00 | 3900.00 | 73.00 | 4380.00 | 3300.00 | S. N ELECTRICALS
20.00 | Capacitor 2.5 MFD - (440V) | 200.00 | Each |  | 16.00 | 3200.00 | 25.00 | 5000.00 | 18.00 | 3600.00 | 19.00 | 3800.00 | 21.00 | 4200.00 | 3200.00 | ABHISHEK ASSOCIATES
21.00 | Capacitor Heavy duty 5 KVAR Round type | 2.00 | Each |  | 693.00 | 1386.00 | 660.00 | 1320.00 | 937.00 | 1874.00 | 1116.00 | 2232.00 | 1018.00 | 2036.00 | 1320.00 | S. N ELECTRICALS
22.00 | Capacitor Heavy duty 10 KVAR Round type | 2.00 | Each |  | 1387.00 | 2774.00 | 1320.00 | 2640.00 | 1814.00 | 3628.00 | 2096.00 | 4192.00 | 1705.00 | 3410.00 | 2640.00 | S. N ELECTRICALS
23.00 | Capacitor Heavy duty 50 KVAR Round type | 3.00 | Each |  | 6937.00 | 20811.00 | 660.00 | 1980.00 | 9071.00 | 27213.00 | 10540.00 | 31620.00 | 8525.00 | 25575.00 | 1980.00 | S. N ELECTRICALS
24.00 | Casing Caping 20 x 12 mm (Length 2 mtr) | 400.00 | Each |  | 26.00 | 10400.00 | 25.00 | 10000.00 | 30.00 | 12000.00 | 32.00 | 12800.00 | 13.00 | 5200.00 | 5200.00 | Yash Energy Pvt. Ltd
25.00 | Casing Caping 25 x 12 mm (Length 2 mtr) | 400.00 | Each |  | 30.00 | 12000.00 | 35.00 | 14000.00 | 35.00 | 14000.00 | 35.00 | 14000.00 | 15.00 | 6000.00 | 6000.00 | Yash Energy Pvt. Ltd
26.00 | C.I Cover for Earthing | 20.00 | Each |  | 360.00 | 7200.00 | 450.00 | 9000.00 | 375.00 | 7500.00 | 434.00 | 8680.00 | 935.00 | 18700.00 | 7200.00 | ABHISHEK ASSOCIATES
27.00 | CLIP on Connector - CST - 16 | 20.00 | Each |  | 20.00 | 400.00 | 16.00 | 320.00 | 24.00 | 480.00 | 21.00 | 420.00 | 34.00 | 680.00 | 320.00 | S. N ELECTRICALS
28.00 | CLIP on Connector - CST - 35 | 50.00 | Each |  | 44.00 | 2200.00 | 25.00 | 1250.00 | 51.00 | 2550.00 | 46.00 | 2300.00 | 51.00 | 2550.00 | 1250.00 | S. N ELECTRICALS
29.00 | 25 mm dia. ISI marked, PVC Conduit | 150.00 | Mtr |  | 18.00 | 2700.00 | 45.00 | 6750.00 | 21.00 | 3150.00 | 19.00 | 2850.00 | 20.00 | 3000.00 | 2700.00 | ABHISHEK ASSOCIATES
30.00 | 32 mm dia. ISI marked, PVC Conduit | 150.00 | Mtr |  | 31.00 | 4650.00 | 60.00 | 9000.00 | 36.00 | 5400.00 | 29.00 | 4350.00 | 33.00 | 4950.00 | 4350.00 | Industrial Traders
31.00 | 25 mm PVC Bends | 10.00 | Each |  | 8.00 | 80.00 | 5.00 | 50.00 | 9.00 | 90.00 | 9.00 | 90.00 | 9.00 | 90.00 | 50.00 | S. N ELECTRICALS
32.00 | 32 mm PVC Bends | 10.00 | Each |  | 21.00 | 210.00 | 7.00 | 70.00 | 25.00 | 250.00 | 15.00 | 150.00 | 23.00 | 230.00 | 70.00 | S. N ELECTRICALS
33.00 | Connector - CBT 110 35/50 Sqmm | 10.00 | Each |  | 93.00 | 930.00 | 25.00 | 250.00 | 108.00 | 1080.00 | 95.00 | 950.00 | 107.00 | 1070.00 | 250.00 | S. N ELECTRICALS
34.00 | Connector Ramanujan 63 A (4 way) | 40.00 | Each |  | 61.00 | 2440.00 | 20.00 | 800.00 | 97.00 | 3880.00 | 25.00 | 1000.00 | 25.00 | 1000.00 | 800.00 | S. N ELECTRICALS
35.00 | 8 Way Connector Strip | 25.00 | Each |  | 79.00 | 1975.00 | 120.00 | 3000.00 | 30.00 | 750.00 | 62.00 | 1550.00 | 55.00 | 1375.00 | 750.00 | Taral Electricals
36.00 | Contactor 4 Pole, 240V, 40A Schneider - LC1DT40 M7 or Equivalent | 2.00 | Each |  | 1677.00 | 3354.00 | 1840.00 | 3680.00 | 1828.00 | 3656.00 | 7905.00 | 15810.00 | 1192.00 | 2384.00 | 2384.00 | Yash Energy Pvt. Ltd
37.00 | Contactor LC1D18 32A 440V 3 pole Schneider - LC1D18 M7 or Equivalent | 5.00 | Each |  | 792.00 | 3960.00 | 3450.00 | 17250.00 | 905.00 | 4525.00 | 2108.00 | 10540.00 | 717.00 | 3585.00 | 3585.00 | Yash Energy Pvt. Ltd
38.00 | Contactor LC1D25 M7 With Coil 415V Schneider - LC1D25 M7 or Equivalent | 2.00 | Each |  | 983.00 | 1966.00 | 2450.00 | 4900.00 | 1123.00 | 2246.00 | 2616.00 | 5232.00 | 856.00 | 1712.00 | 1712.00 | Yash Energy Pvt. Ltd
39.00 | Contactor MNX 140A L & T 230V L&T or Equivalent | 20.00 | Each |  | 11628.00 | 232560.00 | 12500.00 | 250000.00 | 12143.00 | 242860.00 | 12710.00 | 254200.00 | 11044.00 | 220880.00 | 220880.00 | Yash Energy Pvt. Ltd
40.00 | Digital Panel AC Meter Model No: R-350 I Accuracy Class 0.5 | 1.00 | Each |  | 721.00 | 721.00 | 1500.00 | 1500.00 | 952.00 | 952.00 | 1116.00 | 1116.00 | 1485.00 | 1485.00 | 721.00 | ABHISHEK ASSOCIATES
41.00 | Digital Panel meter R96350 0.750Vac | 1.00 | Each |  | 721.00 | 721.00 | 1500.00 | 1500.00 | 1134.00 | 1134.00 | 1116.00 | 1116.00 | 1045.00 | 1045.00 | 721.00 | ABHISHEK ASSOCIATES
42.00 | Digital Volt meter Model No 96 R - 350 I AC Range 0-750 V AC Display 750V AC Accuracy Class 1.0 | 1.00 | Each |  | 720.76 | 720.76 | 2500.00 | 2500.00 | 1134.00 | 1134.00 | 1116.00 | 1116.00 | 1045.00 | 1045.00 | 720.76 | ABHISHEK ASSOCIATES
43.00 | Din rail - 500mm Length (Make : Elmex Electric, Cat Type - CHK 5 or Equivalent) | 10.00 | Each |  | 36.00 | 360.00 | 3500.00 | 35000.00 | 108.00 | 1080.00 | 34.00 | 340.00 | 72.00 | 720.00 | 340.00 | Industrial Traders
44.00 | Electronics Timer (L&T ST100 - Cat No. ST80328OOOO/ ST80329OOOO or Equivalent) | 3.00 | Each |  | 1143.00 | 3429.00 | 1500.00 | 4500.00 | 1245.00 | 3735.00 | 1153.00 | 3459.00 | 1101.00 | 3303.00 | 3303.00 | Yash Energy Pvt. Ltd
45.00 | Enclosures (IP 66) without mounting plate and with transparent / opaque lid. (Make Hensel : Cat no. KG 9003 / KG 9003 IN or Equivalent). | 4.00 | Each |  | 1594.00 | 6376.00 | 1340.00 | 5360.00 | 1737.00 | 6948.00 | 2375.00 | 9500.00 | 1580.00 | 6320.00 | 5360.00 | S. N ELECTRICALS
46.00 | Exhaust Fan PVC Body 250mm | 5.00 | Each |  | 1082.00 | 5410.00 | 1150.00 | 5750.00 | 1281.00 | 6405.00 | 1364.00 | 6820.00 | 1430.00 | 7150.00 | 5410.00 | ABHISHEK ASSOCIATES
47.00 | Fan Regulator Switch Type (Anchor code 38284 or Equivalent) | 50.00 | Each |  | 131.00 | 6550.00 | 185.00 | 9250.00 | 146.00 | 7300.00 | 141.00 | 7050.00 | 144.00 | 7200.00 | 6550.00 | ABHISHEK ASSOCIATES
48.00 | Fan Regulator Electronics Socket Type (Anchor Code 38660 or Equivalent) | 50.00 | Each |  | 148.00 | 7400.00 | 185.00 | 9250.00 | 164.00 | 8200.00 | 159.00 | 7950.00 | 163.00 | 8150.00 | 7400.00 | ABHISHEK ASSOCIATES
49.00 | Fan Step Regulator Modular Switch Type (Anchor code 22546 or Equivalent) | 100.00 | Each |  | 156.00 | 15600.00 | 185.00 | 18500.00 | 174.00 | 17400.00 | 180.00 | 18000.00 | 182.00 | 18200.00 | 15600.00 | ABHISHEK ASSOCIATES
50.00 | Fan Step Regulator Modular Socket Type (Anchor Code 21496 or Equivalent) | 50.00 | Each |  | 218.00 | 10900.00 | 185.00 | 9250.00 | 243.00 | 12150.00 | 252.00 | 12600.00 | 253.00 | 12650.00 | 9250.00 | S. N ELECTRICALS
51.00 | HF fuse 14x51 63A (L&T SF90159) | 5.00 | Each |  | 215.00 | 1075.00 | 185.00 | 925.00 | 235.00 | 1175.00 | 248.00 | 1240.00 | 207.00 | 1035.00 | 925.00 | S. N ELECTRICALS
52.00 | Gang Box for Switch & Socket (Anchor Code - 7112 or Equivalent) | 500.00 | Each |  | 16.00 | 8000.00 | 180.00 | 90000.00 | 20.00 | 10000.00 | 15.00 | 7500.00 | 20.00 | 10000.00 | 7500.00 | Industrial Traders
53.00 | Gang Box for Two Switch & Socket (Anchor Code - 7203 or Equivalent) | 500.00 | Each |  | 33.00 | 16500.00 | 285.00 | 142500.00 | 39.00 | 19500.00 | 30.00 | 15000.00 | 39.00 | 19500.00 | 15000.00 | Industrial Traders
54.00 | GI Bracket of Medium Class GI Pipe for Electrical Fixture mounting. Vertical Member : 65mm Dia GI Pipe, 0.5 Mtr length. Horizontal Member : 40mm Dia GI Pipe, angle 35 degree ± 5 degree, 0.7 Mtr. length. | 10.00 | Each |  | 1110.00 | 11100.00 | 1250.00 | 12500.00 | 726.00 | 7260.00 | 372.00 | 3720.00 | 1320.00 | 13200.00 | 3720.00 | Industrial Traders
55.00 | Grip Plugs 8 x 25 mm (1 Pckt = 100 Nos. ) | 100.00 | Each |  | 18.00 | 1800.00 | 10.00 | 1000.00 | 22.00 | 2200.00 | 43.00 | 4300.00 | 18.00 | 1800.00 | 1000.00 | S. N ELECTRICALS
56.00 | Hole saw Cutter - 19mm | 5.00 | Each |  | 228.00 | 1140.00 | 200.00 | 1000.00 | 254.00 | 1270.00 | 223.00 | 1115.00 | 242.00 | 1210.00 | 1000.00 | S. N ELECTRICALS
57.00 | Hole saw Cutter - 25/28mm | 5.00 | Each |  | 238.00 | 1190.00 | 200.00 | 1000.00 | 302.00 | 1510.00 | 273.00 | 1365.00 | 275.00 | 1375.00 | 1000.00 | S. N ELECTRICALS
58.00 | Hole saw Cutter - 32mm | 5.00 | Each |  | 258.00 | 1290.00 | 200.00 | 1000.00 | 454.00 | 2270.00 | 372.00 | 1860.00 | 290.00 | 1450.00 | 1000.00 | S. N ELECTRICALS
59.00 | Holder - Angle/ Batten Type (Anchor Code No. 39527/ 38538 or Equivalent) | 100.00 | Each |  | 20.00 | 2000.00 | 10.00 | 1000.00 | 24.00 | 2400.00 | 31.00 | 3100.00 | 24.00 | 2400.00 | 1000.00 | S. N ELECTRICALS
60.00 | Holder for 1000W Halogen | 100.00 | Each |  | 66.00 | 6600.00 | 65.00 | 6500.00 | 73.00 | 7300.00 | 56.00 | 5600.00 | 28.00 | 2800.00 | 2800.00 | Yash Energy Pvt. Ltd
61.00 | Holder Rotary/Slim type for 36W tube light | 100.00 | Each |  | 16.00 | 1600.00 | 45.00 | 4500.00 | 18.00 | 1800.00 | 15.00 | 1500.00 | 28.00 | 2800.00 | 1500.00 | Industrial Traders
62.00 | HT tape roll ( 3M ) 30mm x 10Mtr. | 20.00 | Each |  | 582.00 | 11640.00 | 250.00 | 5000.00 | 665.00 | 13300.00 | 198.00 | 3960.00 | 660.00 | 13200.00 | 3960.00 | Industrial Traders
63.00 | Iron screws, 35 mm X 6 mm / 40 mm X 6 mm | 200.00 | Each |  | 1.00 | 200.00 | 2.00 | 400.00 | 1.00 | 200.00 | 1.00 | 200.00 | 2.00 | 400.00 | 200.00 | Industrial Traders, ABHISHEK ASSOCIATES, Taral Electricals
64.00 | Iron screws, 45 mm X 6 mm | 200.00 | Each |  | 1.00 | 200.00 | 2.00 | 400.00 | 1.00 | 200.00 | 1.00 | 200.00 | 2.00 | 400.00 | 200.00 | Industrial Traders, ABHISHEK ASSOCIATES, Taral Electricals
65.00 | Ignitor 70 To 400W HPSV/MH | 100.00 | Each |  | 99.00 | 9900.00 | 125.00 | 12500.00 | 97.00 | 9700.00 | 118.00 | 11800.00 | 132.00 | 13200.00 | 9700.00 | Taral Electricals
66.00 | Indicator lamp: (HT Panel ) Suitable for 24V/48V DC Red/ Yellow/ Green/ Amber/ White | 15.00 | Each |  | 84.00 | 1260.00 | 100.00 | 1500.00 | 85.00 | 1275.00 | 107.00 | 1605.00 | 129.00 | 1935.00 | 1260.00 | ABHISHEK ASSOCIATES
67.00 | Indicator lamp: (HT Panel ) Suitable for 24V/48V DC Blue | 15.00 | Each |  | 144.00 | 2160.00 | 110.00 | 1650.00 | 85.00 | 1275.00 | 162.00 | 2430.00 | 129.00 | 1935.00 | 1275.00 | Taral Electricals
68.00 | Indicator lamp : (LT Panel ) Suitable for 220 V AC Red/ Yellow/ Green | 60.00 | Each |  | 84.00 | 5040.00 | 75.00 | 4500.00 | 85.00 | 5100.00 | 81.00 | 4860.00 | 76.00 | 4560.00 | 4500.00 | S. N ELECTRICALS
69.00 | Indicator lamp : (LT Panel ) Suitable for 220 V AC Blue | 20.00 | Each |  | 144.00 | 2880.00 | 120.00 | 2400.00 | 85.00 | 1700.00 | 130.00 | 2600.00 | 129.00 | 2580.00 | 1700.00 | Taral Electricals
70.00 | Industrial AC box with Metal Top & Socket 20 A DP With Plastic Cover | 5.00 | Each |  | 893.00 | 4465.00 | 950.00 | 4750.00 | 902.00 | 4510.00 | 558.00 | 2790.00 | 659.00 | 3295.00 | 2790.00 | Industrial Traders
71.00 | Industrial Socket 63A 5 pin (3P+N+E) | 5.00 | Each |  | 1603.00 | 8015.00 | 1250.00 | 6250.00 | 1989.00 | 9945.00 | 2220.00 | 11100.00 | 1617.00 | 8085.00 | 6250.00 | S. N ELECTRICALS
72.00 | Industrial Top 20A, 2P + E | 5.00 | Each |  | 205.00 | 1025.00 | 125.00 | 625.00 | 139.00 | 695.00 | 238.00 | 1190.00 | 385.00 | 1925.00 | 625.00 | S. N ELECTRICALS
73.00 | Synthetic Insulation Safety Mats, Class "A", Thickness 2.0 mm, Width 1 Mtr. (upto 3.3 kV), anti-skid upper surface, CPRI approved, electrical purpose confirming to IS: 15652-2006. | 50.00 | SqMtr |  | 1276.00 | 63800.00 | 850.00 | 42500.00 | 581.00 | 29050.00 | 992.00 | 49600.00 | 506.00 | 25300.00 | 25300.00 | Yash Energy Pvt. Ltd
74.00 | Suitable Adhesive Solution for insulation safety mats at Item no. 73 as per OEM / Supplier. | 26.00 | Ltr |  | 277.00 | 7202.00 | 180.00 | 4680.00 | 351.00 | 9126.00 | 186.00 | 4836.00 | 297.00 | 7722.00 | 4680.00 | S. N ELECTRICALS
75.00 | Suitable Sealing material for insulation safety mats at Item no. 73 as per OEM / Supplier. | 140.00 | Mtr |  | 11.00 | 1540.00 | 15.00 | 2100.00 | 17.00 | 2380.00 | 124.00 | 17360.00 | 220.00 | 30800.00 | 1540.00 | ABHISHEK ASSOCIATES
76.00 | Lamp 11W CFL Pin Type White 0860 | 150.00 | Each |  | 55.00 | 8250.00 | 90.00 | 13500.00 | 60.00 | 9000.00 | 112.00 | 16800.00 | 94.00 | 14100.00 | 8250.00 | ABHISHEK ASSOCIATES
77.00 | Lamp 18W CFL (D- Type) | 10.00 | Each |  | 83.00 | 830.00 | 90.00 | 900.00 | 80.00 | 800.00 | 161.00 | 1610.00 | 165.00 | 1650.00 | 800.00 | Taral Electricals
78.00 | Lamp 70W HPSV ( Tubular type ) | 10.00 | Each |  | 199.00 | 1990.00 | 480.00 | 4800.00 | 160.00 | 1600.00 | 310.00 | 3100.00 | 143.00 | 1430.00 | 1430.00 | Yash Energy Pvt. Ltd
79.00 | Lamp 70W MHL (Double Ended) | 10.00 | Each |  | 333.00 | 3330.00 | 480.00 | 4800.00 | 351.00 | 3510.00 | 744.00 | 7440.00 | 341.00 | 3410.00 | 3330.00 | ABHISHEK ASSOCIATES
80.00 | Lamp 400W HPSV (Tubular type) | 300.00 | Each |  | 360.00 | 108000.00 | 650.00 | 195000.00 | 357.00 | 107100.00 | 390.00 | 117000.00 | 440.00 | 132000.00 | 107100.00 | Taral Electricals
81.00 | Lamp 500W Halogen | 20.00 | Each |  | 49.00 | 980.00 | 55.00 | 1100.00 | 49.00 | 980.00 | 53.00 | 1060.00 | 50.00 | 1000.00 | 980.00 | ABHISHEK ASSOCIATES, Taral Electricals
82.00 | Lamp 1000W Halogen | 200.00 | Each |  | 61.00 | 12200.00 | 65.00 | 13000.00 | 62.00 | 12400.00 | 56.00 | 11200.00 | 66.00 | 13200.00 | 11200.00 | Industrial Traders
83.00 | LED Aviation Obstruction Light fixture (Make Bajaj BGAV 302 LED or equivalent) | 20.00 | Each |  | 3552.00 | 71040.00 | 3250.00 | 65000.00 | 3415.00 | 68300.00 | 4216.00 | 84320.00 | 3740.00 | 74800.00 | 65000.00 | S. N ELECTRICALS
84.00 | LED Fitting Driver Surya Make: 25W, Cat ref no. DR UL 25W LXN | 5.00 | Each |  | 666.00 | 3330.00 | 250.00 | 1250.00 | 549.00 | 2745.00 | 1364.00 | 6820.00 | 495.00 | 2475.00 | 1250.00 | S. N ELECTRICALS
85.00 | LED Round Down light, 15W, Warm White / Natural White / Cool Day Light. (Make Jaquar, Pro Series, Cat. Part No. LARV01R015XW (3000K) / LARV01R015XN (4000K) / LARV01R015XC (6500K) | 750.00 | Each |  | 639.00 | 479250.00 | 650.00 | 487500.00 | 690.00 | 517500.00 | 560.00 | 420000.00 | 605.00 | 453750.00 | 420000.00 | Industrial Traders
86.00 | 10 W LED Bulb / Lamp suitable for bollards of Wipro / Bajaj / Phillips / Havells or approved equivalent. | 300.00 | Each |  | 83.00 | 24900.00 | 110.00 | 33000.00 | 91.00 | 27300.00 | 136.00 | 40800.00 | 99.00 | 29700.00 | 24900.00 | ABHISHEK ASSOCIATES
87.00 | Locknuts for Gland (Synthetic) - Size M32 x 1.5 (Make Hensel : Cat no. 8232 / 8232.40 (grey / black) or Equivalent). | 60.00 | Each |  | 16.00 | 960.00 | 14.00 | 840.00 | 18.00 | 1080.00 | 15.00 | 900.00 | 17.00 | 1020.00 | 840.00 | S. N ELECTRICALS
88.00 | Lugs Aluminium upto 10 Sqmm (Round Type) | 10.00 | Each |  | 1.00 | 10.00 | 12.00 | 120.00 | 3.00 | 30.00 | 2.00 | 20.00 | 2.00 | 20.00 | 10.00 | ABHISHEK ASSOCIATES
89.00 | Lugs Aluminium 16/25 Sqmm (Round Type) | 10.00 | Each |  | 3.00 | 30.00 | 20.00 | 200.00 | 3.00 | 30.00 | 4.00 | 40.00 | 3.00 | 30.00 | 30.00 | Yash Energy Pvt. Ltd, ABHISHEK ASSOCIATES, Taral Electricals
90.00 | Lugs Aluminium 35 Sqmm (Round Type) | 10.00 | Each |  | 4.00 | 40.00 | 25.00 | 250.00 | 4.00 | 40.00 | 5.00 | 50.00 | 4.00 | 40.00 | 40.00 | Yash Energy Pvt. Ltd, ABHISHEK ASSOCIATES, Taral Electricals
91.00 | Lugs Aluminium 50 Sqmm (Round Type) | 10.00 | Each |  | 6.00 | 60.00 | 25.00 | 250.00 | 10.00 | 100.00 | 7.00 | 70.00 | 7.00 | 70.00 | 60.00 | ABHISHEK ASSOCIATES
92.00 | Lugs Aluminium 70 Sqmm (Round Type) | 10.00 | Each |  | 10.00 | 100.00 | 25.00 | 250.00 | 10.00 | 100.00 | 12.00 | 120.00 | 10.00 | 100.00 | 100.00 | Yash Energy Pvt. Ltd, ABHISHEK ASSOCIATES, Taral Electricals
93.00 | Lugs Aluminium 95 Sqmm (Round Type) | 10.00 | Each |  | 10.00 | 100.00 | 35.00 | 350.00 | 11.00 | 110.00 | 12.00 | 120.00 | 11.00 | 110.00 | 100.00 | ABHISHEK ASSOCIATES
94.00 | Lugs Aluminium 120 Sqmm (Round Type) | 10.00 | Each |  | 15.00 | 150.00 | 45.00 | 450.00 | 14.00 | 140.00 | 19.00 | 190.00 | 15.00 | 150.00 | 140.00 | Taral Electricals
95.00 | Lugs Copper 16 Sqmm (Pin Type) | 30.00 | Each |  | 7.00 | 210.00 | 15.00 | 450.00 | 5.00 | 150.00 | 9.00 | 270.00 | 7.00 | 210.00 | 150.00 | Taral Electricals
96.00 | Lugs Copper 16 Sqmm (Round Type) | 30.00 | Each |  | 6.00 | 180.00 | 15.00 | 450.00 | 9.00 | 270.00 | 15.00 | 450.00 | 9.00 | 270.00 | 180.00 | ABHISHEK ASSOCIATES
97.00 | Lugs Copper 25 Sqmm (Pin Type) | 10.00 | Each |  | 14.00 | 140.00 | 20.00 | 200.00 | 13.00 | 130.00 | 19.00 | 190.00 | 13.00 | 130.00 | 130.00 | Yash Energy Pvt. Ltd, Taral Electricals
98.00 | MCB SP 6-32A, 240/415 V 10kA C Series | 50.00 | Each |  | 88.00 | 4400.00 | 110.00 | 5500.00 | 92.00 | 4600.00 | 108.00 | 5400.00 | 99.00 | 4950.00 | 4400.00 | ABHISHEK ASSOCIATES
99.00 | MCB DP 6-32A, 240/415 V 10kA C Series | 50.00 | Each |  | 277.00 | 13850.00 | 330.00 | 16500.00 | 302.00 | 15100.00 | 355.00 | 17750.00 | 316.00 | 15800.00 | 13850.00 | ABHISHEK ASSOCIATES
100.00 | MCB DP 6-32A, 240/415 V 10kA D Series | 5.00 | Each |  | 418.00 | 2090.00 | 350.00 | 1750.00 | 302.00 | 1510.00 | 412.00 | 2060.00 | 366.00 | 1830.00 | 1510.00 | Taral Electricals
101.00 | MCB TPN 6-32A, 240/415 V 10kA C Series | 30.00 | Each |  | 610.00 | 18300.00 | 545.00 | 16350.00 | 680.00 | 20400.00 | 701.00 | 21030.00 | 622.00 | 18660.00 | 16350.00 | S. N ELECTRICALS
102.00 | MCB FP 25A/32A, 240/415 V, 10kA, C Series | 10.00 | Each |  | 610.00 | 6100.00 | 735.00 | 7350.00 | 691.00 | 6910.00 | 779.00 | 7790.00 | 691.00 | 6910.00 | 6100.00 | ABHISHEK ASSOCIATES
103.00 | MCB FP 40A/63A, 240/415 Volt, 10kA, C Series | 30.00 | Each |  | 999.00 | 29970.00 | 900.00 | 27000.00 | 960.00 | 28800.00 | 1101.00 | 33030.00 | 978.00 | 29340.00 | 27000.00 | S. N ELECTRICALS
104.00 | MCCB 63-80A, 3 Pole, 36kA, DN0 -100 D | 2.00 | Each |  | 3718.00 | 7436.00 | 3465.00 | 6930.00 | 5987.00 | 11974.00 | 3776.00 | 7552.00 | 3416.00 | 6832.00 | 6832.00 | Yash Energy Pvt. Ltd
105.00 | MCCB 4 pole 100A DH -100, 25kA L& T | 2.00 | Each |  | 5024.00 | 10048.00 | 3760.00 | 7520.00 | 5524.00 | 11048.00 | 5456.00 | 10912.00 | 3735.00 | 7470.00 | 7470.00 | Yash Energy Pvt. Ltd
106.00 | Modular Switch One Way 6A (Anchor Code No. 47101 or Equivalent) | 250.00 | Each |  | 17.00 | 4250.00 | 50.00 | 12500.00 | 22.00 | 5500.00 | 24.00 | 6000.00 | 39.00 | 9750.00 | 4250.00 | ABHISHEK ASSOCIATES
107.00 | Modular Switch One Way 16A (Anchor Code No. 47161 or Equivalent) | 250.00 | Each |  | 41.00 | 10250.00 | 60.00 | 15000.00 | 46.00 | 11500.00 | 50.00 | 12500.00 | 105.00 | 26250.00 | 10250.00 | ABHISHEK ASSOCIATES
108.00 | Modular Twin Socket 20A & 10A (Anchor Code No. 47366 or Equivalent) | 250.00 | Each |  | 71.00 | 17750.00 | 76.00 | 19000.00 | 80.00 | 20000.00 | 87.00 | 21750.00 | 151.00 | 37750.00 | 17750.00 | ABHISHEK ASSOCIATES
109.00 | Modular Combi Socket 6/10/13A (Anchor Code No. 47363 or Equivalent) | 250.00 | Each |  | 71.00 | 17750.00 | 80.00 | 20000.00 | 81.00 | 20250.00 | 87.00 | 21750.00 | 150.00 | 37500.00 | 17750.00 | ABHISHEK ASSOCIATES
110.00 | Modular Single Blanking Plate (Anchor Code No. 47684 or Equivalent) | 50.00 | Each |  | 8.00 | 400.00 | 5.00 | 250.00 | 10.00 | 500.00 | 10.00 | 500.00 | 18.00 | 900.00 | 250.00 | S. N ELECTRICALS
111.00 | Modular Double Blanking Plate (Anchor Code No. 47685 or Equivalent) | 50.00 | Each |  | 15.00 | 750.00 | 7.00 | 350.00 | 19.00 | 950.00 | 17.00 | 850.00 | 31.00 | 1550.00 | 350.00 | S. N ELECTRICALS
112.00 | Panel Lock | 100.00 | Each |  | 22.00 | 2200.00 | 30.00 | 3000.00 | 60.00 | 6000.00 | 25.00 | 2500.00 | 0.00 | 0.00 | 0.00 | Yash Energy Pvt. Ltd
113.00 | Plug Top 6A 3 Pin - Anchor Code No. 39571 | 50.00 | Each |  | 37.00 | 1850.00 | 45.00 | 2250.00 | 43.00 | 2150.00 | 36.00 | 1800.00 | 51.00 | 2550.00 | 1800.00 | Industrial Traders
114.00 | Plug Top 16A 3 pin - Anchor Code No. 39582 | 50.00 | Each |  | 49.00 | 2450.00 | 65.00 | 3250.00 | 57.00 | 2850.00 | 48.00 | 2400.00 | 66.00 | 3300.00 | 2400.00 | Industrial Traders
115.00 | Plug (Insulated), IP 67 Rating Amp. - 16/20A No. of Poles - 2P + E (Make Hensel : Cat no. 219306 or Equivalent). | 2.00 | Each |  | 653.00 | 1306.00 | 550.00 | 1100.00 | 712.00 | 1424.00 | 583.00 | 1166.00 | 648.00 | 1296.00 | 1100.00 | S. N ELECTRICALS
116.00 | Plug (Insulated), IP 67 Rating Amp. - 32A No. of Poles - 3P + N + E (Make Hensel : Cat no. 239 or Equivalent). | 2.00 | Each |  | 940.00 | 1880.00 | 800.00 | 1600.00 | 1025.00 | 2050.00 | 843.00 | 1686.00 | 933.00 | 1866.00 | 1600.00 | S. N ELECTRICALS
117.00 | PPRC (Polypropylene Random Copolymer) Pipe - 63mm (green colour) confirming to IS : 15801 : 2008 PN 16 / SDR 7.4 ; 3 Layer | 15.00 | Mtr |  | 326.00 | 4890.00 | 110.00 | 1650.00 | 356.00 | 5340.00 | 310.00 | 4650.00 | 297.00 | 4455.00 | 1650.00 | S. N ELECTRICALS
118.00 | Socket / Coupler for pipe at Item no. 117 - size 63mm | 2.00 | Each |  | 61.00 | 122.00 | 100.00 | 200.00 | 67.00 | 134.00 | 232.00 | 464.00 | 61.00 | 122.00 | 122.00 | Yash Energy Pvt. Ltd, ABHISHEK ASSOCIATES
119.00 | MS Flange for above pipe at Item no. 117 - size 63mm | 2.00 | Each |  | 85.00 | 170.00 | 100.00 | 200.00 | 179.00 | 358.00 | 310.00 | 620.00 | 275.00 | 550.00 | 170.00 | ABHISHEK ASSOCIATES
120.00 | PPRC (Polypropylene Random Copolymer) Pipe - 110mm (green colour) confirming to IS : 15801 : 2008 PN 16 / SDR 7.4 ; 3 Layer | 20.00 | Mtr |  | 949.00 | 18980.00 | 110.00 | 2200.00 | 1035.00 | 20700.00 | 434.00 | 8680.00 | 908.00 | 18160.00 | 2200.00 | S. N ELECTRICALS
121.00 | Push Button 2 NO/ 2 NC | 10.00 | Each |  | 170.00 | 1700.00 | 100.00 | 1000.00 | 133.00 | 1330.00 | 174.00 | 1740.00 | 210.00 | 2100.00 | 1000.00 | S. N ELECTRICALS
122.00 | PVC flexible conduit 25 mm ( 1Roll = 25 Mtr ) ISI Marked | 10.00 | Each |  | 242.00 | 2420.00 | 150.00 | 1500.00 | 275.00 | 2750.00 | 223.00 | 2230.00 | 251.00 | 2510.00 | 1500.00 | S. N ELECTRICALS
123.00 | RCCB 40A /30 mA DP | 5.00 | Each |  | 1055.00 | 5275.00 | 1450.00 | 7250.00 | 1166.00 | 5830.00 | 1354.00 | 6770.00 | 1201.00 | 6005.00 | 5275.00 | ABHISHEK ASSOCIATES
124.00 | RCCB 40A /300 mA DP | 20.00 | Each |  | 1054.00 | 21080.00 | 1540.00 | 30800.00 | 1207.00 | 24140.00 | 1478.00 | 29560.00 | 1318.00 | 26360.00 | 21080.00 | ABHISHEK ASSOCIATES
125.00 | RCCB 63A / 300 mA DP | 20.00 | Each |  | 1387.00 | 27740.00 | 1780.00 | 35600.00 | 1659.00 | 33180.00 | 1860.00 | 37200.00 | 1650.00 | 33000.00 | 27740.00 | ABHISHEK ASSOCIATES
126.00 | RCCB 40A /300 mA FP | 15.00 | Each |  | 1332.00 | 19980.00 | 1800.00 | 27000.00 | 1649.00 | 24735.00 | 1855.00 | 27825.00 | 1634.00 | 24510.00 | 19980.00 | ABHISHEK ASSOCIATES
127.00 | RCCB 63A / 300 mA FP | 15.00 | Each |  | 1387.00 | 20805.00 | 2050.00 | 30750.00 | 1663.00 | 24945.00 | 1979.00 | 29685.00 | 1756.00 | 26340.00 | 20805.00 | ABHISHEK ASSOCIATES
128.00 | Relay 14 Pin, Pla 240V | 20.00 | Each |  | 210.00 | 4200.00 | 200.00 | 4000.00 | 224.00 | 4480.00 | 248.00 | 4960.00 | 160.00 | 3200.00 | 3200.00 | Yash Energy Pvt. Ltd
129.00 | Relay minilec ALVD2 415V AC | 2.00 | Each |  | 1943.00 | 3886.00 | 200.00 | 400.00 | 1565.00 | 3130.00 | 1596.00 | 3192.00 | 1980.00 | 3960.00 | 400.00 | S. N ELECTRICALS
130.00 | Relay Overload CL02 (14.5A - 18A) | 2.00 | Each |  | 942.00 | 1884.00 | 200.00 | 400.00 | 2712.00 | 5424.00 | 1488.00 | 2976.00 | 2206.00 | 4412.00 | 400.00 | S. N ELECTRICALS
131.00 | SFU 125A Type VSB SP03 (D) - DIN Type | 3.00 | Each |  | 5627.00 | 16881.00 | 200.00 | 600.00 | 4059.00 | 12177.00 | 5096.00 | 15288.00 | 5246.00 | 15738.00 | 600.00 | S. N ELECTRICALS
132.00 | Sheet steel DP MCB enclosure | 10.00 | Each |  | 160.00 | 1600.00 | 350.00 | 3500.00 | 153.00 | 1530.00 | 198.00 | 1980.00 | 184.00 | 1840.00 | 1530.00 | Taral Electricals
133.00 | Sheet steel TP MCB enclosure | 10.00 | Each |  | 212.00 | 2120.00 | 450.00 | 4500.00 | 186.00 | 1860.00 | 248.00 | 2480.00 | 211.00 | 2110.00 | 1860.00 | Taral Electricals
134.00 | Sintex Box GJSB 3020 | 35.00 | Each |  | 499.00 | 17465.00 | 1350.00 | 47250.00 | 600.00 | 21000.00 | 372.00 | 13020.00 | 578.00 | 20230.00 | 13020.00 | Industrial Traders
135.00 | Signage Driver having input range 170 - 250 VAC 0.318 MAX 50/60Hz, Output voltage - 12V DC, Output Current - 3.33 A, Output Power - 40 W. Make - JINBO, Model JLV-12040KA or equivalent | 5.00 | Each |  | 1110.00 | 5550.00 | 2000.00 | 10000.00 | 1572.00 | 7860.00 | 682.00 | 3410.00 | 605.00 | 3025.00 | 3025.00 | Yash Energy Pvt. Ltd
136.00 | Signage Driver having input range 170 - 250 VAC, 50/60Hz, Output voltage - 12V DC, Output Current - 33.3 A, Output Power - 400 W suitable for outdoor signage, driver should be Rainproof. | 3.00 | Each |  | 1665.00 | 4995.00 | 2000.00 | 6000.00 | 2661.00 | 7983.00 | 2232.00 | 6696.00 | 4400.00 | 13200.00 | 4995.00 | ABHISHEK ASSOCIATES
137.00 | Single Zone Fence Controller 5 Joule (4000 Mtr.) with in-built Fence Voltage Alarm Input Voltage : 12V DC Input Current : 400 mA Output Voltage : 8000V - 9900V Output Current : 9 Amp. Pulse Interval : 1.2 Sec. Make : Fieldmaster or equivalent. | 3.00 | Each |  | 4273.00 | 12819.00 | 8500.00 | 25500.00 | 25037.00 | 75111.00 | 27900.00 | 83700.00 | 24750.00 | 74250.00 | 12819.00 | ABHISHEK ASSOCIATES
138.00 | Single Phase (1P) kWh Meter 5-30 Amp. with LCD Display and box for complete unit. (L&T make ; Model EM101+ Class 1 base mounting, Cat No. WM101BC5DL0BOX or Equivalent). | 5.00 | Each |  | 1293.00 | 6465.00 | 850.00 | 4250.00 | 1421.00 | 7105.00 | 1445.00 | 7225.00 | 1243.00 | 6215.00 | 4250.00 | S. N ELECTRICALS
139.00 | Indoor Cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade. | 2.00 | Set |  | 2220.00 | 4440.00 | 8500.00 | 17000.00 | 1378.00 | 2756.00 | 4186.00 | 8372.00 | 3000.00 | 6000.00 | 2756.00 | Taral Electricals
140.00 | ISI marked 4.5 Kg CO2 High Pressure Portable Fire Extinguishers fitted with 1m wire breaded hose & flat horn with diffuser nozzle, powder coated handle confirming to IS 15683 having fire rating 55B. | 36.00 | Each |  | 4412.00 | 158832.00 | 4000.00 | 144000.00 | 4209.00 | 151524.00 | 4712.00 | 169632.00 | 5005.00 | 180180.00 | 144000.00 | S. N ELECTRICALS
141.00 | ISI marked 6 Kg, ABC Stored Pressure type Dry Chemical Powder (DCP) Portable Fire Extinguishers filled with Mono Ammonium Phosphate powder (MAP) 50%, fitted with rubber breaded hose with PVC nozzle confirming to IS 15683 having fire rating 4A:144B. | 34.00 | Each |  | 1387.00 | 47158.00 | 5000.00 | 170000.00 | 1415.00 | 48110.00 | 1178.00 | 40052.00 | 3080.00 | 104720.00 | 40052.00 | Industrial Traders
142.00 | Surface Plastic Box - 2 Module (Anchor Code - 21281 or Equivalent) | 50.00 | Each |  | 26.00 | 1300.00 | 45.00 | 2250.00 | 31.00 | 1550.00 | 33.00 | 1650.00 | 34.00 | 1700.00 | 1300.00 | ABHISHEK ASSOCIATES
143.00 | Surface Plastic Box - 4 Module (Anchor Code - 21292 or Equivalent) | 50.00 | Each |  | 36.00 | 1800.00 | 65.00 | 3250.00 | 42.00 | 2100.00 | 45.00 | 2250.00 | 47.00 | 2350.00 | 1800.00 | ABHISHEK ASSOCIATES
144.00 | Surface Plastic Box - 6 Module (Anchor Code - 30511 or Equivalent) | 50.00 | Each |  | 47.00 | 2350.00 | 85.00 | 4250.00 | 55.00 | 2750.00 | 60.00 | 3000.00 | 62.00 | 3100.00 | 2350.00 | ABHISHEK ASSOCIATES
145.00 | Surface Plastic Box - 8 Module Horizontal / Rectangular Anchor Code - 30704 or Equivalent) | 50.00 | Each |  | 66.00 | 3300.00 | 95.00 | 4750.00 | 76.00 | 3800.00 | 81.00 | 4050.00 | 86.00 | 4300.00 | 3300.00 | ABHISHEK ASSOCIATES
146.00 | Surface Plastic Box - 12 Module (Anchor Code - 20347 or Equivalent) | 50.00 | Each |  | 83.00 | 4150.00 | 110.00 | 5500.00 | 96.00 | 4800.00 | 103.00 | 5150.00 | 108.00 | 5400.00 | 4150.00 | ABHISHEK ASSOCIATES
147.00 | Surge Protector 690V AC, 30kA, AC SPDs. Uc: 690V AC In : 15KA (8/20) Imax : 30KA (8/20) Up : ≤ 2.5KV (GEHE make - GPU1-C40/690 or Equivalent) | 25.00 | Each |  | 1332.00 | 33300.00 | 1250.00 | 31250.00 | 3266.00 | 81650.00 | 2480.00 | 62000.00 | 3938.00 | 98450.00 | 31250.00 | S. N ELECTRICALS
148.00 | Surge Protector 1100V DC, 40kA, DC SPDs. (1 Set - 3 nos.) Uc: 1120V DC In : 20KA (8/20) Imax : 40KA (8/20) Up : ≤ 3.9KV (GEHE make - GPU1-ZS 1000 or Equivalent) | 8.00 | Set |  | 1332.00 | 10656.00 | 2500.00 | 20000.00 | 2854.00 | 22832.00 | 2728.00 | 21824.00 | 2475.00 | 19800.00 | 10656.00 | ABHISHEK ASSOCIATES
149.00 | Switch One Way 6A (Anchor Code No. 38058 or Equivalent) | 250.00 | Each |  | 10.00 | 2500.00 | 15.00 | 3750.00 | 11.00 | 2750.00 | 14.00 | 3500.00 | 12.00 | 3000.00 | 2500.00 | ABHISHEK ASSOCIATES
150.00 | Socket Two in One 6A (Anchor Code No. 38320 or Equivalent) | 250.00 | Each |  | 20.00 | 5000.00 | 25.00 | 6250.00 | 23.00 | 5750.00 | 22.00 | 5500.00 | 22.00 | 5500.00 | 5000.00 | ABHISHEK ASSOCIATES
151.00 | Socket Combi 6A & 10/13A (Anchor Code No. 38717 or Equivalent) | 250.00 | Each |  | 35.00 | 8750.00 | 90.00 | 22500.00 | 39.00 | 9750.00 | 38.00 | 9500.00 | 39.00 | 9750.00 | 8750.00 | ABHISHEK ASSOCIATES
152.00 | Switch One Way 20A (Anchor Code No. 39989 or Equivalent) | 250.00 | Each |  | 50.00 | 12500.00 | 90.00 | 22500.00 | 59.00 | 14750.00 | 57.00 | 14250.00 | 58.00 | 14500.00 | 12500.00 | ABHISHEK ASSOCIATES
153.00 | Socket Universal 20A & 10A (Anchor Code No. 39993 or Equivalent) | 250.00 | Each |  | 53.00 | 13250.00 | 90.00 | 22500.00 | 63.00 | 15750.00 | 62.00 | 15500.00 | 63.00 | 15750.00 | 13250.00 | ABHISHEK ASSOCIATES
154.00 | Switch Socket Combi with box 20A & 10A (Anchor Code No. 39593 or Equivalent) | 250.00 | Each |  | 96.00 | 24000.00 | 90.00 | 22500.00 | 112.00 | 28000.00 | 110.00 | 27500.00 | 112.00 | 28000.00 | 22500.00 | S. N ELECTRICALS
155.00 | Solid state liquid level controller | 2.00 | Each |  | 1610.00 | 3220.00 | 250.00 | 500.00 | 968.00 | 1936.00 | 2232.00 | 4464.00 | 1375.00 | 2750.00 | 500.00 | S. N ELECTRICALS
156.00 | Starter FASD L & T MK1 FASD Type SS96254 ( 12.5 HP ) ( 9-14 A) | 2.00 | Each |  | 5784.00 | 11568.00 | 3450.00 | 6900.00 | 5688.00 | 11376.00 | 5828.00 | 11656.00 | 5014.00 | 10028.00 | 6900.00 | S. N ELECTRICALS
157.00 | 18 Watt Starter S2 110V (Phillips or equivalent) | 40.00 | Each |  | 44.00 | 1760.00 | 10.00 | 400.00 | 24.00 | 960.00 | 32.00 | 1280.00 | 31.00 | 1240.00 | 400.00 | S. N ELECTRICALS
158.00 | Synthetic Locking Plug - M 12 x 1.5 / M 16 x 1.5 (Hensel Make; Cat No. 8845.12/8845.17; Grey/Black or equivalent) | 100.00 | Each |  | 5.00 | 500.00 | 5.00 | 500.00 | 6.00 | 600.00 | 6.00 | 600.00 | 6.00 | 600.00 | 500.00 | S. N ELECTRICALS, ABHISHEK ASSOCIATES
159.00 | Synthetic Locking Plug - M 20 x 1.5 (Hensel Make; Cat No. 8845.20; Grey/Black or equivalent) | 100.00 | Each |  | 6.00 | 600.00 | 6.00 | 600.00 | 7.00 | 700.00 | 6.00 | 600.00 | 7.00 | 700.00 | 600.00 | S. N ELECTRICALS, Industrial Traders, ABHISHEK ASSOCIATES
160.00 | Synthetic Locking Plug - M 25 x 1.5 (Hensel Make; Cat No. 8845.25; Grey/Black or equivalent) | 100.00 | Each |  | 8.00 | 800.00 | 7.00 | 700.00 | 9.00 | 900.00 | 7.00 | 700.00 | 9.00 | 900.00 | 700.00 | S. N ELECTRICALS, Industrial Traders
161.00 | Synthetic Locking Plug - M 32 x 1.5 (Hensel Make; Cat No. 8845.32; Grey/Black or equivalent) | 100.00 | Each |  | 11.00 | 1100.00 | 10.00 | 1000.00 | 13.00 | 1300.00 | 11.00 | 1100.00 | 12.00 | 1200.00 | 1000.00 | S. N ELECTRICALS
162.00 | Synthetic Locking Plug - M 40 x 1.5 (Hensel Make; Cat No. 8845.40; Grey/Black or equivalent) | 50.00 | Each |  | 20.00 | 1000.00 | 17.00 | 850.00 | 22.00 | 1100.00 | 19.00 | 950.00 | 20.00 | 1000.00 | 850.00 | S. N ELECTRICALS
163.00 | Synthetic Locking Plug - M 50 x 1.5 (Hensel Make; Cat No. 8845.50; Grey/Black or equivalent) | 10.00 | Each |  | 28.00 | 280.00 | 23.00 | 230.00 | 30.00 | 300.00 | 25.00 | 250.00 | 28.00 | 280.00 | 230.00 | S. N ELECTRICALS
164.00 | Synthetic Locking Plug - M 63 x 1.5 (Hensel Make; Cat No. 8845.63; Grey/Black or equivalent) | 10.00 | Each |  | 38.00 | 380.00 | 31.00 | 310.00 | 41.00 | 410.00 | 33.00 | 330.00 | 37.00 | 370.00 | 310.00 | S. N ELECTRICALS
165.00 | Thermoplastic MCB Box for 3 Pole, IP 65 (Hensel Make or equivalent) | 5.00 | Each |  | 1208.00 | 6040.00 | 850.00 | 4250.00 | 1315.00 | 6575.00 | 1079.00 | 5395.00 | 1324.00 | 6620.00 | 4250.00 | S. N ELECTRICALS
166.00 | Three Phase (3P), 4 Wire kWh meter 10-60 Amp. LCD Type (Accuracy Class 1.0) (L&T make ; Model ER300P Base mounting, Cat No. WR301BC7D10 or Equivalent). | 20.00 | Each |  | 3289.00 | 65780.00 | 3000.00 | 60000.00 | 2260.00 | 45200.00 | 3455.00 | 69100.00 | 3065.00 | 61300.00 | 45200.00 | Taral Electricals
167.00 | Timer FM-1 Quartz Type L & T J648B1 | 35.00 | Each |  | 1610.00 | 56350.00 | 1250.00 | 43750.00 | 1572.00 | 55020.00 | 1767.00 | 61845.00 | 1529.00 | 53515.00 | 43750.00 | S. N ELECTRICALS
168.00 | Transformer for 50W/12V halogen | 30.00 | Each |  | 145.00 | 4350.00 | 1250.00 | 37500.00 | 333.00 | 9990.00 | 186.00 | 5580.00 | 182.00 | 5460.00 | 4350.00 | ABHISHEK ASSOCIATES
169.00 | Socket (Insulated) with DIN - rail, IP 67 Rating Amp. - 16/20A No. of Poles - 2P + E (Make Hensel : Cat no. AR 119 306 TS or Equivalent). | 2.00 | Each |  | 4546.00 | 9092.00 | 4500.00 | 9000.00 | 4953.00 | 9906.00 | 4062.00 | 8124.00 | 4505.00 | 9010.00 | 8124.00 | Industrial Traders
170.00 | Socket (Insulated) with DIN - rail, IP 67 Rating Amp. - 32A No. of Poles - 3P + N + E (Make Hensel : Cat no. AR 139 TS or Equivalent). | 2.00 | Each |  | 4929.00 | 9858.00 | 7500.00 | 15000.00 | 5370.00 | 10740.00 | 4404.00 | 8808.00 | 4884.00 | 9768.00 | 8808.00 | Industrial Traders
171.00 | Wire 1.0 Sqmm (Flexible), FR-LSH, PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694. (1 Coil = 90 mtr. ). | 2.00 | Coil |  | 610.00 | 1220.00 | 750.00 | 1500.00 | 670.00 | 1340.00 | 756.00 | 1512.00 | 510.00 | 1020.00 | 1020.00 | Yash Energy Pvt. Ltd
172.00 | Wire 1.5 Sqmm (Flexible), FR-LSH, PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694. (1 Coil = 90 mtr. ). | 20.00 | Coil |  | 898.00 | 17960.00 | 1050.00 | 21000.00 | 994.00 | 19880.00 | 1225.00 | 24500.00 | 738.00 | 14760.00 | 14760.00 | Yash Energy Pvt. Ltd
173.00 | Wire 2.5 Sqmm (Flexible), FR-LSH, PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694. (1 Coil = 90 mtr. ). | 20.00 | Coil |  | 1457.00 | 29140.00 | 1850.00 | 37000.00 | 1569.00 | 31380.00 | 1990.00 | 39800.00 | 1161.00 | 23220.00 | 23220.00 | Yash Energy Pvt. Ltd
174.00 | Wire 4 Sqmm (Flexible), FR-LSH, PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694. (1 Coil = 90 mtr. ). | 4.00 | Coil |  | 2113.00 | 8452.00 | 2540.00 | 10160.00 | 2310.00 | 9240.00 | 2884.00 | 11536.00 | 1885.00 | 7540.00 | 7540.00 | Yash Energy Pvt. Ltd
175.00 | Wire 6 Sqmm (Flexible), FR-LSH, PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694. (1 Coil = 90 mtr. ). | 2.00 | Coil |  | 3116.00 | 6232.00 | 3450.00 | 6900.00 | 3548.00 | 7096.00 | 4253.00 | 8506.00 | 2866.00 | 5732.00 | 5732.00 | Yash Energy Pvt. Ltd
176.00 | Wooden screws, 25 mm X 8 mm (Each Pkt - 100 Nos.) | 20.00 | PKT |  | 43.00 | 860.00 | 60.00 | 1200.00 | 43.00 | 860.00 | 43.00 | 860.00 | 36.00 | 720.00 | 720.00 | Yash Energy Pvt. Ltd
177.00 | Wooden screws, 35 mm X 8 mm (Each Pkt - 100 Nos.) | 20.00 | PKT |  | 50.00 | 1000.00 | 89.00 | 1780.00 | 55.00 | 1100.00 | 56.00 | 1120.00 | 44.00 | 880.00 | 880.00 | Yash Energy Pvt. Ltd
178.00 | Wooden screws, 45 mm X 8 mm (Each Pkt - 100 nos.) | 10.00 | PKT |  | 67.00 | 670.00 | 60.00 | 600.00 | 74.00 | 740.00 | 74.00 | 740.00 | 63.00 | 630.00 | 600.00 | S. N ELECTRICALS
| Total in Figures |  |  |  |  | 2648460.76 |  | 3261490.00 |  | 2887551.00 |  | 2997621.00 |  | 2929864.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(2648460.76)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Electrical Spares for Maintenance at Ahmedabad Airport (2020-21) Tender ID: 2020_AAI_51138_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 2648460.76 | L1
| 2 | Taral Electricals | 2887551.00 | L2
| 3 | Yash Energy Pvt. Ltd | 2929864.00 | L3
| 4 | Industrial Traders | 2997621.00 | L4
| 5 | S. N ELECTRICALS | 3261490.00 | L5