## BoQ1
Government eProcurement System Created By: Sanjay Kumar Created Date/Time: 23-Jul-2020 03:14 PM Tender Title: Repair and maintenance of E and M Installations at Silchar Airport. SH-Job contract for E and M Installations at 11 KV Substation and Kumbha pump house and allied works for the year 2020-22 Tender ID: 2020_AAI_51163_1
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: Repair & maintenance of E & M Installations at silchar Airport. SH-Job contract for E&M Installations at 11 KV substation & Kumbha pump house and allied works for the year 2020-22.
Tender Id: 2020_AAI_51163_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | PREMIER ENGINEERING TECHNICS PVT. LTD. |  | PAN POLAR ENGINEERS PVT. LTD. |  | Sterling And Wilson Pvt. Ltd |  | sudarshnacoolingcentre andelectricals
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Maintenance Services of Electrical & Mechanical Installations viz power supply system of 11 KV Substation/power house, CTs, transformers, AVRs & HT & LT panels covering the scope of operation, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis basis , each shift of 8 hours) on all days including Sundays & National Holidays as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 125000.00 | 1500000.00 | 158000.00 | 1896000.00 | 160000.00 | 1920000.00 | 140000.00 | 1680000.00 | 141967.00 | 1703604.00 | 1500000.00 | ABHISHEK ASSOCIATES
2.00 | Providing Maintenance Services of Electrical & Mechanical Installations viz power supply system of 11 KV Substation/power house, CTs, transformers, AVRs & HT & LT panels covering the scope of operation, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis basis , each shift of 8 hours) on all days including Sundays & National Holidays as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 125000.00 | 1500000.00 | 158000.00 | 1896000.00 | 150000.00 | 1800000.00 | 140000.00 | 1680000.00 | 141967.00 | 1703604.00 | 1500000.00 | ABHISHEK ASSOCIATES
3.00 | Day to day operation of kumbha pump house of 40HP/20HP water pump sets, i/c lighting & power supply system attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis , each shift of 8 hours) on all days including Sundays & National Holidays & as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 125000.00 | 1500000.00 | 117000.00 | 1404000.00 | 115000.00 | 1380000.00 | 109655.00 | 1315860.00 | 103900.00 | 1246800.00 | 1246800.00 | sudarshnacoolingcentre andelectricals
4.00 | Day to day operation of kumbha pump house of 40HP/20HP water pump sets, i/c lighting & power supply system attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis , each shift of 8 hours) on all days including Sundays & National Holidays & as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 125000.00 | 1500000.00 | 117000.00 | 1404000.00 | 120000.00 | 1440000.00 | 109655.00 | 1315860.00 | 103900.00 | 1246800.00 | 1246800.00 | sudarshnacoolingcentre andelectricals
5.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of High Skilled Person For 1st Year | 100.00 | Hours | 0.00 | 85.00 | 8500.00 | 90.00 | 9000.00 | 100.00 | 10000.00 | 95.00 | 9500.00 | 77.00 | 7700.00 | 7700.00 | sudarshnacoolingcentre andelectricals
6.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of High Skilled Person For 2nd Year | 100.00 | Hours | 0.00 | 85.00 | 8500.00 | 90.00 | 9000.00 | 100.00 | 10000.00 | 95.00 | 9500.00 | 77.00 | 7700.00 | 7700.00 | sudarshnacoolingcentre andelectricals
7.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of Skilled Person For 1st Year | 100.00 | Hours | 0.00 | 75.00 | 7500.00 | 80.00 | 8000.00 | 80.00 | 8000.00 | 78.00 | 7800.00 | 66.00 | 6600.00 | 6600.00 | sudarshnacoolingcentre andelectricals
8.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of Skilled Person For 2nd Year | 100.00 | Hours | 0.00 | 75.00 | 7500.00 | 80.00 | 8000.00 | 80.00 | 8000.00 | 78.00 | 7800.00 | 66.00 | 6600.00 | 6600.00 | sudarshnacoolingcentre andelectricals
9.00 | Filtration & dehydration of insulation oil of existing HT installations (like- HT AVR'S & 11 KV indoor transformer) in substation using on line oil filtration equipment with initial heating arrangement to attain standard breakdown voltage including testing of breaking strength prior and past purification with certificate and replacement of silica gel of breather of the same etc as required and as per direction of Engg-in-charge. Location: Sub Station For 1st Year | 4000.00 | Ltr | 0.00 | 30.00 | 120000.00 | 12.00 | 48000.00 | 20.00 | 80000.00 | 8.00 | 32000.00 | 21.00 | 84000.00 | 32000.00 | Sterling And Wilson Pvt. Ltd
10.00 | Filtration & dehydration of insulation oil of existing HT installations (like- HT AVR'S & 11 KV indoor transformer) in substation using on line oil filtration equipment with initial heating arrangement to attain standard breakdown voltage including testing of breaking strength prior and past purification with certificate and replacement of silica gel of breather of the same etc as required and as per direction of Engg-in-charge. Location: Sub Station For 2nd Year | 4000.00 | Ltr | 0.00 | 30.00 | 120000.00 | 14.00 | 56000.00 | 20.00 | 80000.00 | 8.00 | 32000.00 | 21.00 | 84000.00 | 32000.00 | Sterling And Wilson Pvt. Ltd
11.00 | Servicing , testing , checking and calibration of relay (over current 2 Nos + 1 No earth fault relay) installed in 11 KV HT panel including calibration and testing of 03 nos VCB (400 Amp) 11 kV HT - CG make with suitable secondary injection kit and submission of test certificate completed as required, checking the function of auxilary relay ( confirming the tripping) mechanism of the breaker due to high winding temperature, high oil temperature and due to bucholz relay , activation of the connection transformer, testing the of tripping system by secondery injection kit, tighning the terminals and termination, changing of all nuts and bolts i/c washers (if required), replacement of all insulator/bushing of 11 KV panel (01 incommer and 02 no out going+ insulators of PT section) (if required), replacement of the cork sheet and replacement of 3 sets of indoor type resin cast CTs (if required) i/c pressure test at site and calibrating the same complete as required and as per direction of Engg-in-charge. Location: Sub Station For 1st Year | 1.00 | Job | 0.00 | 24000.00 | 24000.00 | 125000.00 | 125000.00 | 40000.00 | 40000.00 | 75000.00 | 75000.00 | 17800.00 | 17800.00 | 17800.00 | sudarshnacoolingcentre andelectricals
12.00 | Servicing , testing , checking and calibration of relay (over current 2 Nos + 1 No earth fault relay) installed in 11 KV HT panel including calibration and testing of 03 nos VCB (400 Amp) 11 kV HT - CG make with suitable secondary injection kit and submission of test certificate completed as required, checking the function of auxilary relay ( confirming the tripping) mechanism of the breaker due to high winding temperature, high oil temperature and due to bucholz relay , activation of the connection transformer, testing the of tripping system by secondery injection kit, tighning the terminals and termination, changing of all nuts and bolts i/c washers (if required), replacement of all insulator/bushing of 11 KV panel (01 incommer and 02 no out going+ insulators of PT section) (if required), replacement of the cork sheet and replacement of 3 sets of indoor type resin cast CTs (if required) i/c pressure test at site and calibrating the same complete as required and as per direction of Engg-in-charge.. Location: Sub Station For 2nd Year | 1.00 | Job | 0.00 | 24000.00 | 24000.00 | 150000.00 | 150000.00 | 40000.00 | 40000.00 | 49713.00 | 49713.00 | 17800.00 | 17800.00 | 17800.00 | sudarshnacoolingcentre andelectricals
13.00 | Calibration and testing of Air Circuit Breaker (Make: GE) of capacity (Range: 800 Amp to 1250 Amp) using suitable secondary injection kit and submission of test certificate completed as required. Location: Sub Station For 1st Year | 1.00 | Job | 0.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 17000.00 | 17000.00 | 16000.00 | 16000.00 | 10200.00 | 10200.00 | 5000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD., ABHISHEK ASSOCIATES
14.00 | Calibration and testing of Air Circuit Breaker (Make: GE) of capacity (Range: 800 Amp to 1250 Amp) using suitable secondary injection kit and submission of test certificate completed as required. Location: Sub Station For 2nd Year | 1.00 | Job | 0.00 | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 17000.00 | 17000.00 | 16000.00 | 16000.00 | 10800.00 | 10800.00 | 5000.00 | ABHISHEK ASSOCIATES
15.00 | Complete cleaning of jack well (Size: L= 4.5 mtr X B= 3.5 mtr X D= 0.50 mtr) at Kumbha Pump House along with cleaning and removal of mud/slugg in the jack well engaging sufficient no. of suitable workers provided with suitable tools and protective gadgets with adequate safety measures and disposal of the remove mud/slugg when it is required & as per direction of EIC. Location: Kumbha Pump House For 1st Year | 4.00 | Job | 0.00 | 4000.00 | 16000.00 | 100000.00 | 400000.00 | 12000.00 | 48000.00 | 10000.00 | 40000.00 | 6200.00 | 24800.00 | 16000.00 | ABHISHEK ASSOCIATES
16.00 | Complete cleaning of jack well (Size: L= 4.5 mtr X B= 3.5 mtr X D= 0.50 mtr) at Kumbha Pump House along with cleaning and removal of mud/slugg in the jack well engaging sufficient no. of suitable workers provided with suitable tools and protective gadgets with adequate safety measures and disposal of the remove mud/slugg when it is required & as per direction of EIC. Location: Kumbha Pump House For 2nd Year | 4.00 | Job | 0.00 | 4000.00 | 16000.00 | 125000.00 | 500000.00 | 12000.00 | 48000.00 | 10000.00 | 40000.00 | 6200.00 | 24800.00 | 16000.00 | ABHISHEK ASSOCIATES
17.00 | Complete Overhuling & repairing of 20 HP capacity water pump i/c replacement of defective keys, bush, necessary lathe work, replacement of ball bearing & gland packing, painting and replacement of worn out minor hardware items etc. after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Kumbha Pump House | 2.00 | Job | 0.00 | 5000.00 | 10000.00 | 25000.00 | 50000.00 | 15000.00 | 30000.00 | 17000.00 | 34000.00 | 15800.00 | 31600.00 | 10000.00 | ABHISHEK ASSOCIATES
18.00 | Complete Overhuling & repairing of 40 HP capacity water pump i/c replacement of defective keys, bush, necessary lathe work, replacement of ball bearing & gland packing, painting and replacement of worn out minor hardware items etc. after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Kumbha Pump House | 2.00 | Job | 0.00 | 5000.00 | 10000.00 | 30000.00 | 60000.00 | 18000.00 | 36000.00 | 25000.00 | 50000.00 | 22100.00 | 44200.00 | 10000.00 | ABHISHEK ASSOCIATES
19.00 | Complete Re-winding of burnt out cooper coils of stator of 20 HP capacity 3 Ph. induction motor, dismantling from the existing location, transporting upto the workshop and reinstallation of the motor after repair with new super anamel coated copper, heat brunishing alongwith all other necessary spare parts as required including giving less credit for the burntout copper coil complete as required. Location: Kumbha Pump House | 2.00 | Job | 0.00 | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 14000.00 | 28000.00 | 18000.00 | 36000.00 | 11800.00 | 23600.00 | 20000.00 | ABHISHEK ASSOCIATES
20.00 | Complete Re-winding of burnt out cooper coils of stator of 40 HP capacity 3 Ph. induction motor, dismantling from the existing location, transporting upto the workshop and reinstallation of the motor after repair with new super anamel coated copper, heat brunishing alongwith all other necessary spare parts as required including giving less credit for the burntout copper coil complete as required. Location: Kumbha Pump House | 2.00 | Job | 0.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 18000.00 | 36000.00 | 20000.00 | 40000.00 | 31800.00 | 63600.00 | 30000.00 | ABHISHEK ASSOCIATES
21.00 | Replacement of Old damage Gate Valve of size 80mm made of CI material from the pipe line when it is required & as per direction of EIC. | 2.00 | Job | 0.00 | 6000.00 | 12000.00 | 10000.00 | 20000.00 | 9000.00 | 18000.00 | 6000.00 | 12000.00 | 5815.00 | 11630.00 | 11630.00 | sudarshnacoolingcentre andelectricals
22.00 | Replacement of Old damage Gate Valve of size 100mm made of CI material from the pipe line when it is required & as per direction of EIC. | 2.00 | Job | 0.00 | 7000.00 | 14000.00 | 12500.00 | 25000.00 | 10000.00 | 20000.00 | 6200.00 | 12400.00 | 7149.00 | 14298.00 | 12400.00 | Sterling And Wilson Pvt. Ltd
23.00 | Replacement of Old damage foot Valve of size 80mm made of CI material from the pipe line when it is required & as per direction of EIC. | 2.00 | Job | 0.00 | 6000.00 | 12000.00 | 10000.00 | 20000.00 | 4500.00 | 9000.00 | 3600.00 | 7200.00 | 5856.00 | 11712.00 | 7200.00 | Sterling And Wilson Pvt. Ltd
24.00 | Replacement of Old damage foot Valve of size 100mm made of CI material from the pipe line when it is required & as per direction of EIC. | 2.00 | Job | 0.00 | 6500.00 | 13000.00 | 12500.00 | 25000.00 | 6000.00 | 12000.00 | 3500.00 | 7000.00 | 6510.00 | 13020.00 | 7000.00 | Sterling And Wilson Pvt. Ltd
25.00 | Replacement of Old damage Non return Valve of size 80mm made of CI material from the pipe line when it is required & as per direction of EIC. | 2.00 | Job | 0.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 9000.00 | 18000.00 | 2300.00 | 4600.00 | 5395.00 | 10790.00 | 4600.00 | Sterling And Wilson Pvt. Ltd
26.00 | Replacement of Old damage Non return Valve of size 100mm made of CI material from the pipe line when it is required & as per direction of EIC. | 2.00 | Job | 0.00 | 6000.00 | 12000.00 | 12500.00 | 25000.00 | 10000.00 | 20000.00 | 2895.00 | 5790.00 | 6170.00 | 12340.00 | 5790.00 | Sterling And Wilson Pvt. Ltd
| Total in Figures |  |  |  |  | 6505000.00 |  | 8280500.00 |  | 7173000.00 |  | 6536023.00 |  | 6440398.00
Lowest Amount Quoted BY: sudarshnacoolingcentre andelectricals(6440398.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair and maintenance of E and M Installations at Silchar Airport. SH-Job contract for E and M Installations at 11 KV Substation and Kumbha pump house and allied works for the year 2020-22 Tender ID: 2020_AAI_51163_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | sudarshnacoolingcentre andelectricals | 6440398.00 | L1
| 2 | ABHISHEK ASSOCIATES | 6505000.00 | L2
| 3 | Sterling And Wilson Pvt. Ltd | 6536023.00 | L3
| 4 | PAN POLAR ENGINEERS PVT. LTD. | 7173000.00 | L4
| 5 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 8280500.00 | L5