## BoQ1
Government eProcurement System Created By: Sanjay Kumar Created Date/Time: 23-Jul-2020 03:16 PM Tender Title: Repair and maintenance of E and M Installations at Silchar Airport. SH-Job contract for E and M Installations at terminal building, operational area and allied works for the year 2020-22 Tender ID: 2020_AAI_51167_1
Tender Inviting Authority: Assistant General Manager (Engg-Electrical), AAI, Silchar Airport.
Name of Work: Repair & maintenance of E & M Installations at Silchar Airport. SH-Job contract for E&M Installations at terminal building, operational area & allied works for the year 2020-22.
Tender Id: 2020_AAI_51167_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | PREMIER ENGINEERING TECHNICS PVT. LTD. |  | PAN POLAR ENGINEERS PVT. LTD. |  | Sterling And Wilson Pvt. Ltd |  | sudarshnacoolingcentre andelectricals
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Maintenance Services and operation of Electrical & Mechanical Installations i.e power supply system, Electrical installation of terminal building, Fire alarm & fire fighting, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock (ie. in two shifts basis, each shift of 8 hours) on all days including Sundays & National Holidays as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 95000.00 | 1140000.00 | 117000.00 | 1404000.00 | 104000.00 | 1248000.00 | 109140.42 | 1309685.04 | 90980.00 | 1091760.00 | 1091760.00 | sudarshnacoolingcentre andelectricals
2.00 | Providing Maintenance Services and operation of Electrical & Mechanical Installations i.e power supply system, Electrical installation of terminal building, Fire alarm & fire fighting, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock (ie. in two shifts basis, each shift of 8 hours) on all days including Sundays & National Holidays as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 95000.00 | 1140000.00 | 117000.00 | 1404000.00 | 104000.00 | 1248000.00 | 109140.42 | 1309685.04 | 90980.00 | 1091760.00 | 1091760.00 | sudarshnacoolingcentre andelectricals
3.00 | Providing Maintenance Services and operation of GLF systems at operational area (comprising of HIRL/ MIRL / SAPL / Inset fittings, PAPI Units, AFL cables etc.) attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock on all days including Sundays & National Holidays as per direction of EIC . For 1st Year | 12.00 | Month | 0.00 | 104500.00 | 1254000.00 | 132000.00 | 1584000.00 | 112000.00 | 1344000.00 | 75000.00 | 900000.00 | 100825.00 | 1209900.00 | 900000.00 | Sterling And Wilson Pvt. Ltd
4.00 | Providing Maintenance Services and operation of GLF systems at operational area (comprising of HIRL/ MIRL / SAPL / Inset fittings, PAPI Units, AFL cables etc.) attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock on all days including Sundays & National Holidays as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 104500.00 | 1254000.00 | 132000.00 | 1584000.00 | 112000.00 | 1344000.00 | 75000.00 | 900000.00 | 100825.00 | 1209900.00 | 900000.00 | Sterling And Wilson Pvt. Ltd
5.00 | Providing of services for preperation various reports, maintaining the records, preparation of rate analysis, estimates, tender documents etc along with various day to day office works as per scope of work given in special conditions of contract on all days excluding sundays and National holidays & as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 61100.00 | 733200.00 | 61000.00 | 732000.00 | 55000.00 | 660000.00 | 80500.00 | 966000.00 | 51591.00 | 619092.00 | 619092.00 | sudarshnacoolingcentre andelectricals
6.00 | Providing of services for preperation various reports, maintaining the records, preparation of rate analysis, estimates, tender documents etc along with various day to day office works as per scope of work given in special conditions of contract on all days excluding sundays and National holidays & as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 61100.00 | 733200.00 | 61000.00 | 732000.00 | 55000.00 | 660000.00 | 80500.00 | 966000.00 | 51591.00 | 619092.00 | 619092.00 | sudarshnacoolingcentre andelectricals
7.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of High Skilled Person For 1st Year | 100.00 | Hours | 0.00 | 85.00 | 8500.00 | 90.00 | 9000.00 | 100.00 | 10000.00 | 99.00 | 9900.00 | 77.00 | 7700.00 | 7700.00 | sudarshnacoolingcentre andelectricals
8.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of High Skilled Person For 2nd Year | 100.00 | Hours | 0.00 | 85.00 | 8500.00 | 86.88 | 8688.00 | 100.00 | 10000.00 | 99.00 | 9900.00 | 77.00 | 7700.00 | 7700.00 | sudarshnacoolingcentre andelectricals
9.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of Skilled Person For 1st Year | 100.00 | Hours | 0.00 | 75.00 | 7500.00 | 80.00 | 8000.00 | 85.00 | 8500.00 | 82.00 | 8200.00 | 66.00 | 6600.00 | 6600.00 | sudarshnacoolingcentre andelectricals
10.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of Skilled Person For 2nd Year | 100.00 | Hours | 0.00 | 75.00 | 7500.00 | 80.00 | 8000.00 | 85.00 | 8500.00 | 82.00 | 8200.00 | 66.00 | 6600.00 | 6600.00 | sudarshnacoolingcentre andelectricals
11.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of Semi Skilled Person For 1st Year | 100.00 | Hours | 0.00 | 62.00 | 6200.00 | 65.00 | 6500.00 | 65.00 | 6500.00 | 71.00 | 7100.00 | 58.00 | 5800.00 | 5800.00 | sudarshnacoolingcentre andelectricals
12.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. a) Services of Semi Skilled Person For 2nd Year | 100.00 | Hours | 0.00 | 62.00 | 6200.00 | 65.00 | 6500.00 | 65.00 | 6500.00 | 71.00 | 7100.00 | 58.00 | 5800.00 | 5800.00 | sudarshnacoolingcentre andelectricals
13.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. b) Service of Unskilled Person For 1st Year | 250.00 | Hours | 0.00 | 53.00 | 13250.00 | 55.00 | 13750.00 | 55.00 | 13750.00 | 60.00 | 15000.00 | 48.00 | 12000.00 | 12000.00 | sudarshnacoolingcentre andelectricals
14.00 | Extra hours running & operation of Electrical installations of Airport due to exigencies/early or over watch hour extension beyond normal shift hours or as per specification. b) Service of Unskilled Person For 2nd Year | 250.00 | Hours | 0.00 | 53.00 | 13250.00 | 55.00 | 13750.00 | 55.00 | 13750.00 | 60.00 | 15000.00 | 48.00 | 12000.00 | 12000.00 | sudarshnacoolingcentre andelectricals
15.00 | Complete Overhuling & repairing of 3.5 HP capacity water pump i/c replacement of defective keys, necessary lathe work, replacement of ball bearing & gland packing including replacement of bush bearing, replacement of minor hardware items and painting after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Overhead refining for CFT at Apron area | 1.00 | Job | 0.00 | 3000.00 | 3000.00 | 25000.00 | 25000.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 3500.00 | 3500.00 | 3000.00 | PAN POLAR ENGINEERS PVT. LTD., ABHISHEK ASSOCIATES
16.00 | Complete Overhuling & repairing of 5 HP capacity water pump i/c replacement of defective keys, necessary lathe work, replacement of ball bearing & gland packing including replacement of bush bearing, replacement of minor hardware items and painting after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Fire Pump Room | 1.00 | Job | 0.00 | 3500.00 | 3500.00 | 30000.00 | 30000.00 | 4000.00 | 4000.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 3500.00 | ABHISHEK ASSOCIATES
17.00 | Complete Overhuling & repairing of 7.5 HP capacity water pump i/c replacement of defective keys, necessary lathe work, replacement of ball bearing & gland packing including replacement of bush bearing, replacement of minor hardware items and painting after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Water Treatment Plant | 2.00 | Job | 0.00 | 3500.00 | 7000.00 | 35000.00 | 70000.00 | 5500.00 | 11000.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 7000.00 | ABHISHEK ASSOCIATES
18.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 20 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Overhead Tank Fire Pump Room | 2.00 | Job | 0.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 14000.00 | 28000.00 | 16000.00 | 32000.00 | 15000.00 | 30000.00 | 14000.00 | ABHISHEK ASSOCIATES
19.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 50 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Fire Pump Room | 2.00 | Job | 0.00 | 8500.00 | 17000.00 | 25000.00 | 50000.00 | 35000.00 | 70000.00 | 15000.00 | 30000.00 | 28000.00 | 56000.00 | 17000.00 | ABHISHEK ASSOCIATES
20.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 1.5 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Highmast | 2.00 | Job | 0.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 1800.00 | 3600.00 | 16000.00 | 32000.00 | 3500.00 | 7000.00 | 3000.00 | ABHISHEK ASSOCIATES
21.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 3.5 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Overhead refining for CFT at Apron area | 1.00 | Job | 0.00 | 2500.00 | 2500.00 | 7500.00 | 7500.00 | 2700.00 | 2700.00 | 8000.00 | 8000.00 | 4000.00 | 4000.00 | 2500.00 | ABHISHEK ASSOCIATES
22.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 5 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Fire Pump Room | 1.00 | Job | 0.00 | 3000.00 | 3000.00 | 10000.00 | 10000.00 | 3500.00 | 3500.00 | 8000.00 | 8000.00 | 4000.00 | 4000.00 | 3000.00 | ABHISHEK ASSOCIATES
23.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 7.5 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Water Treatment Plant | 2.00 | Job | 0.00 | 5000.00 | 10000.00 | 12500.00 | 25000.00 | 5000.00 | 10000.00 | 12000.00 | 24000.00 | 5500.00 | 11000.00 | 10000.00 | PAN POLAR ENGINEERS PVT. LTD., ABHISHEK ASSOCIATES
24.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 20 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Overhead Tank Fire Pump | 2.00 | Job | 0.00 | 12000.00 | 24000.00 | 25000.00 | 50000.00 | 14000.00 | 28000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 24000.00 | ABHISHEK ASSOCIATES
25.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 50 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Fire Pump Room | 2.00 | Job | 0.00 | 15000.00 | 30000.00 | 40000.00 | 80000.00 | 35000.00 | 70000.00 | 25000.00 | 50000.00 | 28000.00 | 56000.00 | 30000.00 | ABHISHEK ASSOCIATES
26.00 | Cleaning and painting of street light tubular pole including light fitting bracket and all other associated accessories of height upto 12 mtr with one coat of red-oxide metal primer of anti-corrosive paint on rusted surface and one or more coats of enamelled paint including numbering on the pole etc as required. The pole shall be painted with obstruction color upto required height above the masonary pedestal ( 1.0 to 1.5m) as per direction of EIC. For 1st Year | 90.00 | Each | 0.00 | 400.00 | 36000.00 | 1000.00 | 90000.00 | 750.00 | 67500.00 | 400.00 | 36000.00 | 1560.00 | 140400.00 | 36000.00 | Sterling And Wilson Pvt. Ltd, ABHISHEK ASSOCIATES
27.00 | Cleaning and painting of street light tubular pole including light fitting bracket and all other associated accessories of height upto 12 mtr with one coat of red-oxide metal primer of anti-corrosive paint on rusted surface and one or more coats of enamelled paint including numbering on the pole etc as required. The pole shall be painted with obstruction color upto required height above the masonary pedestal ( 1.0 to 1.5m) as per direction of EIC. For 2nd Year | 90.00 | Each | 0.00 | 400.00 | 36000.00 | 1200.00 | 108000.00 | 750.00 | 67500.00 | 400.00 | 36000.00 | 1560.00 | 140400.00 | 36000.00 | Sterling And Wilson Pvt. Ltd, ABHISHEK ASSOCIATES
28.00 | Cleaning and painting of street light tubular pole including light fitting bracket and all other associated accessories of height upto 05 mtr with one coat of red-oxide metal primer of anti-corrosive paint on rusted surface and one or more coats of enamelled paint including numbering on the pole etc as required. The pole shall be painted with obstruction color upto required height above the masonary pedestal ( 1.0 to 1.5m) as per direction of EIC. For 1st Year | 101.00 | Each | 0.00 | 300.00 | 30300.00 | 400.00 | 40400.00 | 500.00 | 50500.00 | 300.00 | 30300.00 | 660.00 | 66660.00 | 30300.00 | Sterling And Wilson Pvt. Ltd, ABHISHEK ASSOCIATES
29.00 | Cleaning and painting of street light tubular pole including light fitting bracket and all other associated accessories of height upto 05 mtr with one coat of red-oxide metal primer of anti-corrosive paint on rusted surface and one or more coats of enamelled paint including numbering on the pole etc as required. The pole shall be painted with obstruction color upto required height above the masonary pedestal ( 1.0 to 1.5m) as per direction of EIC. For 2nd Year | 101.00 | Each | 0.00 | 300.00 | 30300.00 | 500.00 | 50500.00 | 500.00 | 50500.00 | 300.00 | 30300.00 | 660.00 | 66660.00 | 30300.00 | Sterling And Wilson Pvt. Ltd, ABHISHEK ASSOCIATES
30.00 | Painting of collar of street light pole with one or more coat of synthetic enamelled paint and application of red-oxide paint wherever required in bicolour ( black and yellow strip ) complete etc as required and as per direction of EIC. For 1st Year | 191.00 | Each | 0.00 | 150.00 | 28650.00 | 350.00 | 66850.00 | 250.00 | 47750.00 | 400.00 | 76400.00 | 220.00 | 42020.00 | 28650.00 | ABHISHEK ASSOCIATES
31.00 | Painting of collar of street light pole with one or more coat of synthetic enamelled paint and application of red-oxide paint wherever required in bicolour ( black and yellow strip ) complete etc as required and as per direction of EIC. For 2nd Year | 191.00 | Each | 0.00 | 150.00 | 28650.00 | 500.00 | 95500.00 | 250.00 | 47750.00 | 400.00 | 76400.00 | 220.00 | 42020.00 | 28650.00 | ABHISHEK ASSOCIATES
32.00 | Painting of GLF fittings (HIRL/MIRL/SAPL) including base plate with one or more coats of synthetic enamelled paint of required colour as per ICAO standard of approved make to give an even shade including cleaning the surface and numbering of the same etc.as required & as per direction of EIC. For 1st Year | 280.00 | Each | 0.00 | 100.00 | 28000.00 | 400.00 | 112000.00 | 50.00 | 14000.00 | 250.00 | 70000.00 | 150.00 | 42000.00 | 14000.00 | PAN POLAR ENGINEERS PVT. LTD.
33.00 | Painting of GLF fittings (HIRL/MIRL/SAPL) including base plate with one or more coats of synthetic enamelled paint of required colour as per ICAO standard of approved make to give an even shade including cleaning the surface and numbering of the same etc.as required & as per direction of EIC. For 2nd Year | 280.00 | Each | 0.00 | 100.00 | 28000.00 | 500.00 | 140000.00 | 50.00 | 14000.00 | 250.00 | 70000.00 | 150.00 | 42000.00 | 14000.00 | PAN POLAR ENGINEERS PVT. LTD.
34.00 | Painting of outdoor feeder pillar panel in operational area in bi-colour (Red & White strips) with one coat of metal primer of anti-corrosive paint on rusted surface and two coats of approved Synthetic Enamel paint. The outdoor feeder pillars should be painted by alternate white and red colour strips of suitable size complete as required as per direction of E.I.C. For 1st Year | 100.00 | Sqmtr | 0.00 | 50.00 | 5000.00 | 350.00 | 35000.00 | 200.00 | 20000.00 | 110.00 | 11000.00 | 142.00 | 14200.00 | 5000.00 | ABHISHEK ASSOCIATES
35.00 | Painting of outdoor feeder pillar panel in operational area in bi-colour (Red & White strips) with one coat of metal primer of anti-corrosive paint on rusted surface and two coats of approved Synthetic Enamel paint. The outdoor feeder pillars should be painted by alternate white and red colour strips of suitable size complete as required as per direction of E.I.C. For 2nd Year | 100.00 | Sqmtr | 0.00 | 50.00 | 5000.00 | 400.00 | 40000.00 | 200.00 | 20000.00 | 110.00 | 11000.00 | 142.00 | 14200.00 | 5000.00 | ABHISHEK ASSOCIATES
36.00 | Replacement of Old damage street light loop-IN Loop-OUT box by IP 66 Thermoplastic Polycarbonete enclosure which is totally shock proof,safe, weather proof, rust proof, dust proof, water proof, halogen free silica free and having internally embeded gasket technology. The enclosure should have 04 nos of 25 sqmm elmax terminal to accomodate 4 X 25 sqmm LT cable, 1 No SP 6 Amp MCB of approved make MS clamp for pole mounting completed as required i/c dismantling the existing loop-IN Loop-OUT box, cable connection, earthing etc and reconnection the same with the new cable gland, earthing connection etc as complete as required. | 20.00 | Each | 0.00 | 2500.00 | 50000.00 | 5000.00 | 100000.00 | 450.00 | 9000.00 | 7000.00 | 140000.00 | 1500.00 | 30000.00 | 9000.00 | PAN POLAR ENGINEERS PVT. LTD.
37.00 | Visit of speclised/authorised service engineer for checking of servicebility & assurance of fire alarm, fire extingusher & fire fighting system on half yearly basis or in unserviceable condition of the system when it is required & as per direction of EIC. For 1st Year | 2.00 | Job | 0.00 | 15000.00 | 30000.00 | 8000.00 | 16000.00 | 20000.00 | 40000.00 | 6300.00 | 12600.00 | 13500.00 | 27000.00 | 12600.00 | Sterling And Wilson Pvt. Ltd
38.00 | Visit of speclised/authorised service engineer for checking of servicebility & assurance of fire alarm, fire extingusher & fire fighting system on half yearly basis or in unserviceable condition of the system when it is required & as per direction of EIC. For 2nd Year | 2.00 | Job | 0.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 20000.00 | 40000.00 | 6300.00 | 12600.00 | 13500.00 | 27000.00 | 12600.00 | Sterling And Wilson Pvt. Ltd
39.00 | Carrying out of DSR Item works as scheduled in DSR -2018 (both internal and external ) CPWD as and when required basis & as per direction of Engineer in charge. (Note: The firm has to quote/upload the Percentage above/ below (+/- %) on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below: For Example: If desired to quote 5% above on SR-2018 rates, the rate column shall be filled as 1.05. If desired to quote 3% below on SR-2018 rates, the rate column shall be filled as 0.97.) For 1st Year | 75000.00 | Lot | 0.00 | .85 | 63750.00 | 1.10 | 82500.00 | .75 | 56250.00 | .75 | 56250.00 | .47 | 35250.00 | 35250.00 | sudarshnacoolingcentre andelectricals
40.00 | Carrying out of DSR Item works as scheduled in DSR -2018 (both internal and external ) CPWD as and when required basis & as per direction of Engineer in charge. (Note: The firm has to quote/upload the Percentage above/ below (+/- %) on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below: For Example: If desired to quote 5% above on SR-2018 rates, the rate column shall be filled as 1.05. If desired to quote 3% below on SR-2018 rates, the rate column shall be filled as 0.97.) For 2nd Year | 75000.00 | Lot | 0.00 | .85 | 63750.00 | 1.15 | 86250.00 | .75 | 56250.00 | .80 | 60000.00 | .47 | 35250.00 | 35250.00 | sudarshnacoolingcentre andelectricals
| Total in Figures |  |  |  |  | 6935700.00 |  | 8974688.00 |  | 7416300.00 |  | 7400620.08 |  | 6887264.00
Lowest Amount Quoted BY: sudarshnacoolingcentre andelectricals(6887264.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair and maintenance of E and M Installations at Silchar Airport. SH-Job contract for E and M Installations at terminal building, operational area and allied works for the year 2020-22 Tender ID: 2020_AAI_51167_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | sudarshnacoolingcentre andelectricals | 6887264.00 | L1
| 2 | ABHISHEK ASSOCIATES | 6935700.00 | L2
| 3 | Sterling And Wilson Pvt. Ltd | 7400620.08 | L3
| 4 | PAN POLAR ENGINEERS PVT. LTD. | 7416300.00 | L4
| 5 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 8974688.00 | L5