## BoQ1
Government eProcurement System Created By: Ashvin Kumar Singh Created Date/Time: 16-Jul-2020 06:24 PM Tender Title: ARMO of Electrical and Mechanical Installations, Fire Fighting System, Fire Alarm System, STP Plant, ACMC of window/split type air-conditioners, R.O water purifiers, Auto Dialer System and GP DG Sets at Civil Air Terminal, Chandigarh. Tender ID: 2020_AAI_51174_1
Tender Inviting Authority: <ASSISTANT GENERAL MANAGER (ENGG-E>
Name of Work: <ARMO of Electrical & Mechanical Installations, Fire Fighting System, Fire Alarm System, STP Plant, ACMC of window/split type air-conditioners, R.O water purifiers, Auto Dialer System and GP DG Sets at Civil Air Terminal, Chandigarh.>
Contact No: <01725056441>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | SRS ENGINEERS |  | Techno Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | S. N ELECTRICALS |  | M/S B.A.G ENTERPRISES |  | PAN POLAR ENGINEERS PVT. LTD. |  | ANOOP REFRIGERATION |  | ASHWANI REFRIGERATION AND ELECTRICALS |  | M/s CGPL ELECTROMECH PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual operation and maintenance of Electrical & Mechanical Installations,as per scope of work given in SCC by providing following minimum manpower on all days including Sunday and Holidays. i) Supervisor(highly skilled) = 01 Nos. ii) Electrician (Skilled) = 03 Nos. iii) Operator (Skilled) = 06 Nos. iv) Helper (Unskilled) = 4 Nos. v) Reliever (Skilled + Unskilled) = (02 + 01) = 03 Nos. | 12.00 | Month | 100.00 | 299738.00 | 3596856.00 | 322817.00 | 3873804.00 | 321185.00 | 3854220.00 | 300000.00 | 3600000.00 | 296767.00 | 3561204.00 | 265000.00 | 3180000.00 | 320000.00 | 3840000.00 | 300439.36 | 3605272.32 | 270000.00 | 3240000.00 | 270550.00 | 3246600.00 | 3180000.00 | M/S B.A.G ENTERPRISES
2.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance,monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers,fans , voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 1.5 TR capacity window type air conditioner | 3.00 | Each | 100.00 | 5000.00 | 15000.00 | 6000.00 | 18000.00 | 2000.00 | 6000.00 | 500.00 | 1500.00 | 1800.00 | 5400.00 | 4000.00 | 12000.00 | 2500.00 | 7500.00 | 1050.00 | 3150.00 | 1000.00 | 3000.00 | 1500.00 | 4500.00 | 1500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance,monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers,fans , voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 2.00 TR capacity window type air-conditioner | 9.00 | Each | 100.00 | 5500.00 | 49500.00 | 7000.00 | 63000.00 | 2000.00 | 18000.00 | 500.00 | 4500.00 | 1800.00 | 16200.00 | 4000.00 | 36000.00 | 3000.00 | 27000.00 | 1400.00 | 12600.00 | 1500.00 | 13500.00 | 1800.00 | 16200.00 | 4500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
4.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance,monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers,fans , voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 1.5 TR capacity split type air-conditioner | 21.00 | Each | 100.00 | 5000.00 | 105000.00 | 6000.00 | 126000.00 | 2000.00 | 42000.00 | 500.00 | 10500.00 | 1800.00 | 37800.00 | 3500.00 | 73500.00 | 2500.00 | 52500.00 | 1275.00 | 26775.00 | 1500.00 | 31500.00 | 1500.00 | 31500.00 | 10500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance,monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers,fans , voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 2.00 TR capacity split type air-conditioner | 10.00 | Each | 100.00 | 5500.00 | 55000.00 | 7000.00 | 70000.00 | 2000.00 | 20000.00 | 500.00 | 5000.00 | 1800.00 | 18000.00 | 3500.00 | 35000.00 | 3000.00 | 30000.00 | 1700.00 | 17000.00 | 1500.00 | 15000.00 | 2000.00 | 20000.00 | 5000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance,monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers,fans , voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 4 TR Carrier Make Cassette Type Airconditioner. | 1.00 | Each | 100.00 | 11000.00 | 11000.00 | 10000.00 | 10000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 3400.00 | 3400.00 | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 2000.00 | Techno Electricals, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.00 | Annual Comprehensive maintenance Contract of following Water coolers including preventive maintenance,monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers,fans , voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 150 ltr | 2.00 | Each | 100.00 | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 7000.00 | 14000.00 | 2500.00 | 5000.00 | 1105.00 | 2210.00 | 6000.00 | 12000.00 | 2500.00 | 5000.00 | 2210.00 | ANOOP REFRIGERATION
8.00 | Annual Comprehensive maintenance Contract of following Water coolers including preventive maintenance,monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers,fans , voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 80 ltr | 6.00 | Each | 100.00 | 6000.00 | 36000.00 | 3000.00 | 18000.00 | 3000.00 | 18000.00 | 1000.00 | 6000.00 | 2000.00 | 12000.00 | 7000.00 | 42000.00 | 2500.00 | 15000.00 | 1020.00 | 6120.00 | 4000.00 | 24000.00 | 2500.00 | 15000.00 | 6000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
9.00 | Annual comprehensive maintenance contract of following RO water purifier (Make: -Eureka Forbes - Aquaguard) including preventive maintenance, monthly visits, breakdown visits, replacement of defective memberanes, filters, adaptor, pumps, pressure switch, PRV, Valves etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) RO 25 LPH | 3.00 | Nos. | 100.00 | 6000.00 | 18000.00 | 9000.00 | 27000.00 | 4500.00 | 13500.00 | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 8000.00 | 24000.00 | 5000.00 | 15000.00 | 6000.00 | 18000.00 | 6000.00 | 18000.00 | 3000.00 | 9000.00 | 6000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
10.00 | Annual comprehensive maintenance contract of following RO water purifier (Make: -Eureka Forbes - Aquaguard) including preventive maintenance, monthly visits, breakdown visits, replacement of defective memberanes, filters, adaptor, pumps, pressure switch, PRV, Valves etc. complete as required as per technical specification (Note:- The rate shall be for 01 unit for 01 year) RO 50 LPH | 1.00 | Nos. | 100.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 10000.00 | 10000.00 | 3500.00 | 3500.00 | 3000.00 | Techno Electricals, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
11.00 | Annual comprehensive maintenace contract of fire alarm and GSM based Auto dailer system along with smoke detectors, hooters etc. installed in AAI, IAF operational area at NAV-AID Sites (GP, LLZ) including preventive maintenance, monthly visits, breakdown visits, replacement of defective parts, adaptor,smoke detectors, hooters,replacement of PCB Cards/mother board etc., complete as required at site. | 12.00 | Month | 100.00 | 15000.00 | 180000.00 | 6500.00 | 78000.00 | 4000.00 | 48000.00 | 1000.00 | 12000.00 | 20000.00 | 240000.00 | 8000.00 | 96000.00 | 15000.00 | 180000.00 | 3100.00 | 37200.00 | 1500.00 | 18000.00 | 3000.00 | 36000.00 | 12000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
12.00 | REWINDING AND REPAIRING of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing,seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismentle copper winding shall be property of the contractor). Ceiling/exhaust/pedestial fan motor | 10.00 | Each | 100.00 | 900.00 | 9000.00 | 650.00 | 6500.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 200.00 | 2000.00 | 2000.00 | ANOOP REFRIGERATION, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, M/s CGPL ELECTROMECH PVT LTD
13.00 | REWINDING AND REPAIRING of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing,seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismentle copper winding shall be property of the contractor). 10 H.P pump motor | 1.00 | Each | 100.00 | 7000.00 | 7000.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 9000.00 | 9000.00 | 200.00 | 200.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 200.00 | ANOOP REFRIGERATION
14.00 | REWINDING AND REPAIRING of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing,seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismentle copper winding shall be property of the contractor). 7.5 H.P pump motor | 1.00 | Each | 100.00 | 7000.00 | 7000.00 | 5500.00 | 5500.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 7500.00 | 7500.00 | 700.00 | 700.00 | 800.00 | 800.00 | 1800.00 | 1800.00 | 700.00 | ANOOP REFRIGERATION
15.00 | REWINDING AND REPAIRING of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing,seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismentle copper winding shall be property of the contractor). 4.0 H.P pump motor | 1.00 | Each | 100.00 | 4500.00 | 4500.00 | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 850.00 | 850.00 | 700.00 | 700.00 | 5000.00 | 5000.00 | 500.00 | 500.00 | 700.00 | 700.00 | 1500.00 | 1500.00 | 500.00 | ANOOP REFRIGERATION
16.00 | REWINDING AND REPAIRING of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing,seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismentle copper winding shall be property of the contractor). 1 H.P Pump motor | 1.00 | Each | 100.00 | 2000.00 | 2000.00 | 1200.00 | 1200.00 | 1200.00 | 1200.00 | 500.00 | 500.00 | 850.00 | 850.00 | 300.00 | 300.00 | 2500.00 | 2500.00 | 200.00 | 200.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 200.00 | ANOOP REFRIGERATION
17.00 | REWINDING AND REPAIRING of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing,seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismentle copper winding shall be property of the contractor). 7.5 H.P Submersible motor/Monoblock pump motor | 1.00 | Each | 100.00 | 6500.00 | 6500.00 | 8000.00 | 8000.00 | 3200.00 | 3200.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 12500.00 | 12500.00 | 700.00 | 700.00 | 5000.00 | 5000.00 | 2200.00 | 2200.00 | 700.00 | ANOOP REFRIGERATION
18.00 | Lifting /Lowering of following submersible pump motor i/c dismantling, checking, re-installation after repair etc as required complete in all respect. 7.5 H.P Submersible motor/Monoblock pump motor | 1.00 | Job | 100.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 11000.00 | 11000.00 | 1000.00 | 1000.00 | 4000.00 | 4000.00 | 3500.00 | 3500.00 | 1000.00 | ANOOP REFRIGERATION, M/S B.A.G ENTERPRISES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
19.00 | Servicing, Testing and calibration of HT panels, VCB's, LT panels ACB's and protection relays including making of necessary adjustments installed in LT panel / ACB, transformers and 11 KV HT VCB panel of substation.( 01 Job per year) | 1.00 | Job | 100.00 | 70000.00 | 70000.00 | 12000.00 | 12000.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 26000.00 | 26000.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 10000.00 | M/S B.A.G ENTERPRISES, PAN POLAR ENGINEERS PVT. LTD.
20.00 | Dehydration and filteration of transformer oil at site by using filteration machine ,providing reuired oil including testing the BDV and acidity before and after testing and submission of test reports for 1500KVA, 11KV/433V Transformer of VOLTAMP make.(For 02 No. of Transformers 01 Job per year) | 1.00 | Job | 100.00 | 30000.00 | 30000.00 | 15000.00 | 15000.00 | 8500.00 | 8500.00 | 5000.00 | 5000.00 | 25000.00 | 25000.00 | 10000.00 | 10000.00 | 15.00 | 15.00 | 40000.00 | 40000.00 | 25000.00 | 25000.00 | 12000.00 | 12000.00 | 15.00 | PAN POLAR ENGINEERS PVT. LTD.
21.00 | Refilling, Painting and Repairing (if required i/c replacement of Hose Pipe, Nozzle, rubber seals, O rings, Valve assembly etc.) of Following types of Fire Extinguishers available at site. CO2, BC type , 4.5 KG. | 10.00 | Nos | 100.00 | 800.00 | 8000.00 | 900.00 | 9000.00 | 1250.00 | 12500.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 1500.00 | 15000.00 | 400.00 | 4000.00 | 1250.00 | 12500.00 | 1000.00 | 10000.00 | 500.00 | 5000.00 | 4000.00 | PAN POLAR ENGINEERS PVT. LTD.
22.00 | Refilling, Painting and Repairing (if required i/c replacement of Hose Pipe, Nozzle, rubber seals, O rings, Valve assembly etc.) of Following types of Fire Extinguishers available at site. Dry Powder,BC Type, 5 KG. | 2.00 | Nos | 100.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 1250.00 | 2500.00 | 1000.00 | 2000.00 | 850.00 | 1700.00 | 1500.00 | 3000.00 | 400.00 | 800.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 500.00 | 1000.00 | 800.00 | PAN POLAR ENGINEERS PVT. LTD.
23.00 | DSR-2018 Item for Rs. 30,000/- [NOTE: The rate may be quoted in the following manner- (i) If quoted Rate is Rs. 27,000/- then the Percentage will considered as 10% below DSR 2018. (ii) If quoted Rate is Rs. 30,000/- then Percentage will considered as 0% above /below DSR 2018. (iii) If quoted Rate is Rs. 33,000/- then Percentage will considered as 10% above DSR 2018. PLEASE NOTE THAT THE ITEMS SHALL BE EXECUTED FROM DSR-2018 RATE AT THE ABOVE QUOTED PERCENTAGE AS PER SITE REQUIREMENT. | 1.00 | Job | 100.00 | 27000.00 | 27000.00 | 27000.00 | 27000.00 | 20000.00 | 20000.00 | 5000.00 | 5000.00 | 18000.00 | 18000.00 | 42000.00 | 42000.00 | 22000.00 | 22000.00 | 14000.00 | 14000.00 | 25000.00 | 25000.00 | 35000.00 | 35000.00 | 5000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
24.00 | Supply of 4-Pole Contactor with 25 Amp Duty Rating at 415 V, 50 Hz . Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 5.00 | Nos | 100.00 | 2500.00 | 12500.00 | 700.00 | 3500.00 | 1750.00 | 8750.00 | 1000.00 | 5000.00 | 2580.00 | 12900.00 | 1000.00 | 5000.00 | 2950.00 | 14750.00 | 1100.00 | 5500.00 | 1200.00 | 6000.00 | 2500.00 | 12500.00 | 3500.00 | SRS ENGINEERS
25.00 | Supply of 6 A to 32 A ratings, SP MCB, “C” curve, 10 kA breaking capacity Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 10.00 | Nos | 100.00 | 200.00 | 2000.00 | 135.00 | 1350.00 | 100.00 | 1000.00 | 150.00 | 1500.00 | 110.00 | 1100.00 | 130.00 | 1300.00 | 180.00 | 1800.00 | 105.00 | 1050.00 | 250.00 | 2500.00 | 150.00 | 1500.00 | 1000.00 | Techno Electricals
26.00 | Supply of 6 A to 32 A ratings, DP MCB, “C” curve, 10 kA breaking capacity Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 5.00 | Nos | 100.00 | 400.00 | 2000.00 | 340.00 | 1700.00 | 352.00 | 1760.00 | 200.00 | 1000.00 | 385.00 | 1925.00 | 400.00 | 2000.00 | 450.00 | 2250.00 | 350.00 | 1750.00 | 700.00 | 3500.00 | 225.00 | 1125.00 | 1000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
27.00 | Supply of 6 A to 32 A ratings, TP MCB, “C” curve, 10 kA breaking capacity Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 5.00 | Nos | 100.00 | 650.00 | 3250.00 | 580.00 | 2900.00 | 100.00 | 500.00 | 300.00 | 1500.00 | 584.00 | 2920.00 | 700.00 | 3500.00 | 1110.00 | 5550.00 | 570.00 | 2850.00 | 1000.00 | 5000.00 | 350.00 | 1750.00 | 500.00 | Techno Electricals
28.00 | Supply of 6 A to 32 A ratings, TPN MCB, “C” curve, 10 kA breaking capacity Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 5.00 | Nos | 100.00 | 850.00 | 4250.00 | 750.00 | 3750.00 | 780.00 | 3900.00 | 300.00 | 1500.00 | 1120.00 | 5600.00 | 9000.00 | 45000.00 | 1700.00 | 8500.00 | 760.00 | 3800.00 | 1500.00 | 7500.00 | 350.00 | 1750.00 | 1500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
29.00 | Supply of 20W LED Batten (4 Ft.), 6500K Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 10.00 | Nos | 100.00 | 250.00 | 2500.00 | 220.00 | 2200.00 | 550.00 | 5500.00 | 400.00 | 4000.00 | 195.00 | 1950.00 | 300.00 | 3000.00 | 620.00 | 6200.00 | 200.00 | 2000.00 | 700.00 | 7000.00 | 2200.00 | 22000.00 | 1950.00 | S. N ELECTRICALS
30.00 | Supply of Battery 12 v ,100Ah Suitable for Genset operation. Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 2.00 | Nos | 100.00 | 7600.00 | 15200.00 | 10000.00 | 20000.00 | 15520.00 | 31040.00 | 12000.00 | 24000.00 | 13500.00 | 27000.00 | 6000.00 | 12000.00 | 8500.00 | 17000.00 | 9500.00 | 19000.00 | 7000.00 | 14000.00 | 9500.00 | 19000.00 | 12000.00 | M/S B.A.G ENTERPRISES
31.00 | Supply of Battery 12v ,65 AH compatible with Fire Alarm control panel. Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 2.00 | Nos | 100.00 | 5100.00 | 10200.00 | 8000.00 | 16000.00 | 12452.00 | 24904.00 | 7000.00 | 14000.00 | 9500.00 | 19000.00 | 4000.00 | 8000.00 | 7500.00 | 15000.00 | 7000.00 | 14000.00 | 3500.00 | 7000.00 | 7500.00 | 15000.00 | 7000.00 | ASHWANI REFRIGERATION AND ELECTRICALS
| Total in Figures |  |  |  |  | 4314256.00 |  | 4452904.00 |  | 4183474.00 |  | 3763500.00 |  | 4064899.00 |  | 3695800.00 |  | 4342365.00 |  | 3888477.32 |  | 3536500.00 |  | 3556925.00
Lowest Amount Quoted BY: ASHWANI REFRIGERATION AND ELECTRICALS(3536500.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations, Fire Fighting System, Fire Alarm System, STP Plant, ACMC of window/split type air-conditioners, R.O water purifiers, Auto Dialer System and GP DG Sets at Civil Air Terminal, Chandigarh. Tender ID: 2020_AAI_51174_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASHWANI REFRIGERATION AND ELECTRICALS | 3536500.00 | L1
| 2 | M/s CGPL ELECTROMECH PVT LTD | 3556925.00 | L2
| 3 | M/S B.A.G ENTERPRISES | 3695800.00 | L3
| 4 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 3763500.00 | L4
| 5 | ANOOP REFRIGERATION | 3888477.32 | L5
| 6 | S. N ELECTRICALS | 4064899.00 | L6
| 7 | Techno Electricals | 4183474.00 | L7
| 8 | Manish Electricals | 4314256.00 | L8
| 9 | PAN POLAR ENGINEERS PVT. LTD. | 4342365.00 | L9
| 10 | SRS ENGINEERS | 4452904.00 | L10