## BoQ1
Government eProcurement System Created By: Balasaheb Ghatare Created Date/Time: 17-Jul-2020 01:30 PM Tender Title: Annual Maintenance Contract of HT installations at ATS Complex and Operational Area, Mumbai Airport, Mumbai for the year 2020-21 to 2021-22 Tender ID: 2020_AAI_51213_1
Tender Inviting Authority: Asstt.General Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: Annual Maintenance Contract of HT installations at ATS Complex and Operational Area, Mumbai Airport, Mumbai for the year 2020-21 to 2021-22.
Contract No: MUM/ATS/ENGG-E/eNIT-01/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | SARASWAT ENGINEERING SERVICES |  | CIS ELECTRICALS PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) a) First year i) Transformer 11 KV/ 433 Volts, 2 MVA | 2.00 | Each |  | 35000.00 | 70000.00 | 21000.00 | 42000.00 | 29000.00 | 58000.00 | 42000.00 | SARASWAT ENGINEERING SERVICES
1.02 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) a) First year ii) Transformer 3.3 KV/ 433 Volts, 250 KVA | 1.00 | Each |  | 15000.00 | 15000.00 | 11000.00 | 11000.00 | 20000.00 | 20000.00 | 11000.00 | SARASWAT ENGINEERING SERVICES
1.03 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) a) First year iii) Transformer 3.3 KV/ 433 Volts, 100 KVA | 1.00 | Each |  | 12000.00 | 12000.00 | 5500.00 | 5500.00 | 20000.00 | 20000.00 | 5500.00 | SARASWAT ENGINEERING SERVICES
1.04 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) a) First year iv) 3.3 KV HT extensible oil switch fuse unit/ Isolator | 2.00 | Each |  | 12000.00 | 24000.00 | 4500.00 | 9000.00 | 11000.00 | 22000.00 | 9000.00 | SARASWAT ENGINEERING SERVICES
1.05 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) a) First year v) 3.3 KV, Oil immersed Ring Main Units of 200 -400 Amps. capacity consisting of one incomer and two outgoings. | 2.00 | Each |  | 12000.00 | 24000.00 | 4500.00 | 9000.00 | 10000.00 | 20000.00 | 9000.00 | SARASWAT ENGINEERING SERVICES
1.06 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) b) Second year i) Transformer 11 KV/ 433 Volts, 2 MVA | 2.00 | Each |  | 30000.00 | 60000.00 | 21000.00 | 42000.00 | 18000.00 | 36000.00 | 36000.00 | CIS ELECTRICALS PVT LTD
1.07 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) b) Second year ii) Transformer 3.3 KV/ 433 Volts, 250 KVA | 1.00 | Each |  | 12000.00 | 12000.00 | 11000.00 | 11000.00 | 11000.00 | 11000.00 | 11000.00 | CIS ELECTRICALS PVT LTD, SARASWAT ENGINEERING SERVICES
1.08 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) b) Second year iii) Transformer 3.3 KV/ 433 Volts, 100 KVA | 1.00 | Each |  | 12000.00 | 12000.00 | 5500.00 | 5500.00 | 11000.00 | 11000.00 | 5500.00 | SARASWAT ENGINEERING SERVICES
1.09 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) b) Second year iv) 3.3 KV HT extensible oil switch fuse unit/ Isolator | 2.00 | Each |  | 12000.00 | 24000.00 | 4500.00 | 9000.00 | 11000.00 | 22000.00 | 9000.00 | SARASWAT ENGINEERING SERVICES
1.10 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers, etc. (Transformers oil for topping up will be supplied separately.) b) Second year v) 3.3 KV, Oil immersed Ring Main Units of 200 -400 Amps capacity consisting of one incomer and two outgoings. | 2.00 | Each |  | 12000.00 | 24000.00 | 4500.00 | 9000.00 | 13000.00 | 26000.00 | 9000.00 | SARASWAT ENGINEERING SERVICES
2.01 | Filtration and dehydration of oil for the 11 KV, 1600 Amp. HT MOCB including co-ordination with M/s. Reliance for taking shut down of the supply, disconnecting the control supply, racking out the MOCB, cleaning the bus bar fingers and insulators, racking in the MOCB after filtration and dehydration of the oil and connecting the control supply properly and charging the HT panel in co-ordination with M/s. Reliance and testing the supply and controling, etc. (Transformer oil for topping up will be supplied separately.) a) First year | 5.00 | Each |  | 10000.00 | 50000.00 | 4500.00 | 22500.00 | 10000.00 | 50000.00 | 22500.00 | SARASWAT ENGINEERING SERVICES
2.02 | Filtration and dehydration of oil for the 11 KV, 1600 Amp. HT MOCB including co-ordination with M/s. Reliance for taking shut down of the supply, disconnecting the control supply, racking out the MOCB, cleaning the bus bar fingers and insulators, racking in the MOCB after filtration and dehydration of the oil and connecting the control supply properly and charging the HT panel in co-ordination with M/s. Reliance and testing the supply and controling, etc. (Transformer oil for topping up will be supplied separately.) b) Second year | 5.00 | Each |  | 8500.00 | 42500.00 | 4500.00 | 22500.00 | 12000.00 | 60000.00 | 22500.00 | SARASWAT ENGINEERING SERVICES
3.01 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. a) First year i) Transformer 11 KV/ 433Volts, 2 MVA | 2.00 | Per Year |  | 25000.00 | 50000.00 | 22000.00 | 44000.00 | 29000.00 | 58000.00 | 44000.00 | SARASWAT ENGINEERING SERVICES
3.02 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. a) First year ii) Transformer 3.3 KV/ 433Volts, 250 KVA | 1.00 | Per Year |  | 10000.00 | 10000.00 | 11000.00 | 11000.00 | 15000.00 | 15000.00 | 10000.00 | Manish Electricals
3.03 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. a) First year iii) Transformer 3.3 KV/ 433Volts, 100 KVA | 1.00 | Per Year |  | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 9000.00 | 9000.00 | 9000.00 | CIS ELECTRICALS PVT LTD, SARASWAT ENGINEERING SERVICES
3.04 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. a) First year iv) Transformer 320 KVA Dry Type | 2.00 | Per Year |  | 30000.00 | 60000.00 | 10000.00 | 20000.00 | 12500.00 | 25000.00 | 20000.00 | SARASWAT ENGINEERING SERVICES
3.05 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. a) First year v) 11 KV HT MOCB panel with busbars consisting of 1600 Amp. two incomer, two outgoings and one buscoupler including CT & PT. | 5.00 | Per Year |  | 15000.00 | 75000.00 | 6400.00 | 32000.00 | 9000.00 | 45000.00 | 32000.00 | SARASWAT ENGINEERING SERVICES
3.06 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. a) First year vi) 3.3 KV HT extensible oil switch fuse unit/ Isolator | 2.00 | Per Year |  | 15000.00 | 30000.00 | 6400.00 | 12800.00 | 9000.00 | 18000.00 | 12800.00 | SARASWAT ENGINEERING SERVICES
3.07 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. a) First year vii) 3.3 KV, Oil immersed Ring Main Units of 200 -400 Amps capacity consisting of one incomer and two outgoings, job includes rectification of Oil leakage, etc. as required. | 2.00 | Per Year |  | 15000.00 | 30000.00 | 8500.00 | 17000.00 | 9000.00 | 18000.00 | 17000.00 | SARASWAT ENGINEERING SERVICES
3.08 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. b) Second year i) Transformer 11KV/ 433Volts, 2 MVA | 2.00 | Per Year |  | 25000.00 | 50000.00 | 22000.00 | 44000.00 | 30000.00 | 60000.00 | 44000.00 | SARASWAT ENGINEERING SERVICES
3.09 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. b) Second year ii) Transformer 3.3KV/ 433Volts, 250 KVA | 1.00 | Per Year |  | 15000.00 | 15000.00 | 11000.00 | 11000.00 | 13000.00 | 13000.00 | 11000.00 | SARASWAT ENGINEERING SERVICES
3.10 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. b) Second year iii) Transformer 3.3KV/ 433Volts, 100 KVA | 1.00 | Per Year |  | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 11000.00 | 11000.00 | 9000.00 | SARASWAT ENGINEERING SERVICES
3.11 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. b) Second year iv) Transformer 320 KVA Dry Type | 2.00 | Per Year |  | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 20000.00 | SARASWAT ENGINEERING SERVICES
3.12 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. b) Second year v) 11 KV HT MOCB panel with busbars consisting of 1600 Amp. two incomer, two outgoings and one buscoupler including CT & PT. | 5.00 | Per Year |  | 15000.00 | 75000.00 | 640.00 | 3200.00 | 40000.00 | 200000.00 | 3200.00 | SARASWAT ENGINEERING SERVICES
3.13 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. b) Second year vi) 3.3 KV HT extensible oil switch fuse unit/ Isolator | 2.00 | Per Year |  | 10000.00 | 20000.00 | 6400.00 | 12800.00 | 20000.00 | 40000.00 | 12800.00 | SARASWAT ENGINEERING SERVICES
3.14 | Annual maintenance contract of following capacity of Transformers to maintain in serviceable condition including tightening of HT and LT terminations, cleaning of breathers etc as per preventive maitenance periodically as per Annex-I(A) and Annex- I(B) for a period of one year, submission of test/service reports as per Maintenance shedule, etc. complete as required. b) Second year vii) 3.3KV, Oil immersed Ring Main Units of 200 -400 Amps capacity consisting of one incomer and two outgoings, job includes rectification of Oil leakage, etc. as required. | 2.00 | Per Year |  | 10000.00 | 20000.00 | 8500.00 | 17000.00 | 20000.00 | 40000.00 | 17000.00 | SARASWAT ENGINEERING SERVICES
4.01 | AMC of L&T make Air Circuit Breakers installed at LT Ess. and Non-Ess. Panels as Main incomers, DG incomers and Bus Couplers and Incoming feeders of AC Panel of the following rating:- a) First year i) 3200 Amp, 4 Pole, U Power Series ACB | 9.00 | Rate/Year |  | 7000.00 | 63000.00 | 17500.00 | 157500.00 | 17000.00 | 153000.00 | 63000.00 | Manish Electricals
4.02 | AMC of L&T make Air Circuit Breakers installed at LT Ess. and Non-Ess. Panels as Main incomers, DG incomers and Bus Couplers and Incoming feeders of AC Panel of the following rating:- a) First year ii) 1600 Amp, 4 Pole, U Power series ACB | 3.00 | Rate/Year |  | 7000.00 | 21000.00 | 14000.00 | 42000.00 | 18000.00 | 54000.00 | 21000.00 | Manish Electricals
4.03 | AMC of L&T make Air Circuit Breakers installed at LT Ess. and Non-Ess. Panels as Main incomers, DG incomers and Bus Couplers and Incoming feeders of AC Panel of the following rating:- a) First year iii) 800 Amp, 4 Pole, C Power Series ACB | 2.00 | Rate/Year |  | 7000.00 | 14000.00 | 14000.00 | 28000.00 | 10000.00 | 20000.00 | 14000.00 | Manish Electricals
4.04 | AMC of L&T make Air Circuit Breakers installed at LT Ess. and Non-Ess. Panels as Main incomers, DG incomers and Bus Couplers and Incoming feeders of AC Panel of the following rating:- b) Second year i) 3200 Amp, 4 Pole, U Power Series ACB | 9.00 | Rate/Year |  | 7000.00 | 63000.00 | 17500.00 | 157500.00 | 10000.00 | 90000.00 | 63000.00 | Manish Electricals
4.05 | AMC of L&T make Air Circuit Breakers installed at LT Ess. and Non-Ess. Panels as Main incomers, DG incomers and Bus Couplers and Incoming feeders of AC Panel of the following rating:- b) Second year ii) 1600 Amp, 4 Pole, U Power series ACB | 3.00 | Rate/Year |  | 7000.00 | 21000.00 | 14000.00 | 42000.00 | 9000.00 | 27000.00 | 21000.00 | Manish Electricals
4.06 | AMC of L&T make Air Circuit Breakers installed at LT Ess. and Non-Ess. Panels as Main incomers, DG incomers and Bus Couplers and Incoming feeders of AC Panel of the following rating:- b) Second year iii) 800 Amp, 4 Pole, C Power Series ACB | 2.00 | Rate/Year |  | 7000.00 | 14000.00 | 14000.00 | 28000.00 | 8000.00 | 16000.00 | 14000.00 | Manish Electricals
5.01 | AMC of 800 Amp Vaccum Circuit Breakers installed at ELDIS-II (New RADAR) in operational area, Mumbai airport. a) First year | 6.00 | Rate/Year |  | 10000.00 | 60000.00 | 25000.00 | 150000.00 | 27000.00 | 162000.00 | 60000.00 | Manish Electricals
5.02 | AMC of 800 Amp Vaccum Circuit Breakers installed at ELDIS-II (New RADAR) in operational area, Mumbai airport. b) Second year | 6.00 | Rate/Year |  | 10000.00 | 60000.00 | 25000.00 | 150000.00 | 34000.00 | 204000.00 | 60000.00 | Manish Electricals
6.00 | Visiting charges towards inspecting, checking, taking parameters and rectification of the faults if require for ACB. (Beyond 4 nos. preventive maintenance and 8 nos. breakdown complaints.) | 12.00 | Visit |  | 6000.00 | 72000.00 | 5000.00 | 60000.00 | 12000.00 | 144000.00 | 60000.00 | SARASWAT ENGINEERING SERVICES
7.01 | Testing and calibration of Voltage and current operated relays as per Annex -II including secondary injection testing and settings once in a year, submitting test reports etc complete as required. Job includes checking proper co-ordination of relays, testing of tripping, checking all the control systems, checking and testing electrical interlocking, checking of control wiring, tightening of the wiring, etc. complete as required. a) First year | 127.00 | Each |  | 3900.00 | 495300.00 | 1200.00 | 152400.00 | 1500.00 | 190500.00 | 152400.00 | SARASWAT ENGINEERING SERVICES
7.02 | Testing and calibration of Voltage and current operated relays as per Annex -II including secondary injection testing and settings once in a year, submitting test reports etc complete as required. Job includes checking proper co-ordination of relays, testing of tripping, checking all the control systems, checking and testing electrical interlocking, checking of control wiring, tightening of the wiring, etc. complete as required. b) Second year | 127.00 | Each |  | 4400.00 | 558800.00 | 1200.00 | 152400.00 | 2000.00 | 254000.00 | 152400.00 | SARASWAT ENGINEERING SERVICES
8.00 | Cable fault detection of HT / LT underground power cables of the 1.1 KV grade of any size with the cable fault finding machine complete etc. as required. | 6.00 | Each |  | 15000.00 | 90000.00 | 14000.00 | 84000.00 | 20000.00 | 120000.00 | 84000.00 | SARASWAT ENGINEERING SERVICES
9.00 | Supply of transformer oil of IS: 335/1980 ammended upto date with test report as required. | 420.00 | Litre |  | 210.00 | 88200.00 | 110.00 | 46200.00 | 180.00 | 75600.00 | 46200.00 | SARASWAT ENGINEERING SERVICES
10.01 | Repainting of following equipments including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint including writing, etc. complete as required. a) Transformer 11KV/ 433Volts, 2 MVA | 2.00 | Each |  | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 15000.00 | 30000.00 | 10000.00 | SARASWAT ENGINEERING SERVICES
10.02 | Repainting of following equipments including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint including writing, etc. complete as required. b) Transformer 3.3KV/ 433Volts, 250 KVA | 1.00 | Each |  | 5000.00 | 5000.00 | 2400.00 | 2400.00 | 10000.00 | 10000.00 | 2400.00 | SARASWAT ENGINEERING SERVICES
10.03 | Repainting of following equipments including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint including writing, etc. complete as required. c) Transformer 3.3KV/ 433Volts, 100 KVA | 1.00 | Each |  | 5000.00 | 5000.00 | 2200.00 | 2200.00 | 5000.00 | 5000.00 | 2200.00 | SARASWAT ENGINEERING SERVICES
10.04 | Repainting of following equipments including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint including writing, etc. complete as required. d) 11 KV HT MOCB panel. | 1.00 | Each |  | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 14000.00 | 14000.00 | 3000.00 | SARASWAT ENGINEERING SERVICES
10.05 | Repainting of following equipments including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint including writing, etc. complete as required. e) 3.3 KV, 200/400 Amp Ring Main Units and Isolating switch | 2.00 | Each |  | 5000.00 | 10000.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 3000.00 | SARASWAT ENGINEERING SERVICES
11.00 | Execution of works as per CPWD schedule of work and specifications as and when required. Schedule of rates (CPWD) 2018 Electrical (For Rs;50000/=). Agency should be mentioned % above or below of the rates of DSR 2018 in Rate column. NOTE: EXAMPLE FOR QUOTING RATES BELOW 5% OF DSR ITEM RATES, CONTRACTOR SHOULD QUOTE 0.95 IN RATE COLUMN AND FOR QUOTING RATES ABOVE 5% OF DSR ITEM RATES, CONTRACTOR SHOULD QUOTE 1.05 IN RATE COLUMN. | 50000.00 | Lumsum |  | 1.20 | 60000.00 | 1.10 | 55000.00 | 1.00 | 50000.00 | 50000.00 | CIS ELECTRICALS PVT LTD
| Total in Figures |  |  |  |  | 2595800.00 |  | 1786400.00 |  | 2567100.00
Lowest Amount Quoted BY: SARASWAT ENGINEERING SERVICES(1786400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of HT installations at ATS Complex and Operational Area, Mumbai Airport, Mumbai for the year 2020-21 to 2021-22 Tender ID: 2020_AAI_51213_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SARASWAT ENGINEERING SERVICES | 1786400.00 | L1
| 2 | CIS ELECTRICALS PVT LTD | 2567100.00 | L2
| 3 | Manish Electricals | 2595800.00 | L3