## BoQ1
Government eProcurement System Created By: Sanjib Kumar Dey Created Date/Time: 08-Sep-2020 03:54 PM Tender Title: Operation and Maintenance of E and M Installations Tender ID: 2020_AAI_51443_1
Tender Inviting Authority: GM(Engg.),RHQ,ER,Kolkata-52
Name of Work: Annual job contract for Operation and Maintenance of E & M installations with Fire Fighting, Fire Alarm System and Air Conditioner Units etc. for non-operational area of Kolkata Airport, RHQ,ER and Behala Airport (2020-21 & 2021-22).
Contract No: AAI/ER/KOL/EE/NIT-02/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | L K BUILDERS(GSTN-19AJLPP6631L3ZH) |  | Blue Star Limited(GSTN-27AAACB4487D1ZS) |  | Sterling And Wilson Pvt. Ltd(GSTN-19AAACS9939D1Z1) |  | Youngmen Traders(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | FSTC Narayanpur: Day to day periodic maintenance of E&M installation, external and internal lighting, Operation of DG in general shift and all working days including Sundays & holidays round the clock basis including holidays at FSTC complex, Narayanpur by providing necessary qualified manpower as per special conditions of contract and technical specification for attending the complaints / breakdowns / preventive maintenance etc. complete as required. This AMC is to be carried out engaging minimum manpower inclduing reliever as per SCC, Particular Specification and contract documents.
1.10 | 1st year | 12.00 | Month |  | 82000.00 | 984000.00 | 127978.50 | 1535742.00 | 98000.00 | 1176000.00 | 95000.00 | 1140000.00 | 984000.00 | L K BUILDERS
1.20 | 2nd year | 12.00 | Month |  | 82000.00 | 984000.00 | 127978.50 | 1535742.00 | 98000.00 | 1176000.00 | 95000.00 | 1140000.00 | 984000.00 | L K BUILDERS
2.00 | Behala Airport: Day to day periodic maintenance of all types of E & M installations available in the hangar area, ATC cum Fire station-office block , Operation of 63 KVA DG set and submersible type water pump, including monitoring of supply parameters at Behala Airport in general shift including holidays etc. as required by providing necessary qualified manpower as per special conditions of contract and technical specification for attending the complaints / breakdowns / preventive maintenance etc. complete as required. This AMC is to be carried out engaging minimum manpower inclduing reliever as per SCC, Particular Specification and contract documents.
2.10 | 1st year | 12.00 | Month |  | 39120.00 | 469440.00 | 68326.00 | 819912.00 | 42000.00 | 504000.00 | 45000.00 | 540000.00 | 469440.00 | L K BUILDERS
2.20 | 2nd year | 12.00 | Month |  | 39120.00 | 469440.00 | 68326.00 | 819912.00 | 42000.00 | 504000.00 | 45000.00 | 540000.00 | 469440.00 | L K BUILDERS
3.00 | New Qtr. Electrical Enquiry, MT Pool & Old VHF : Day to day periodic maintenance of all types of E & M installations such as uch as Transformer, Essential panels, Non-Essential Panels, distribution panels, Street Light, Operation of DG set available in the New quarters residential colony, MT pool, Old VHF and submersible type water & Sewage pump, including monitoring and recording supply parameters, new wiring work , repair of existing electrical wiring, at New quarters Electrical Sub-station in general shift and all working days including Sundays & holidays round the clock basis etc. as required by providing necessary qualified manpower as per special conditions of contract and technical specification for attending the complaints / breakdowns / preventive maintenance etc. as per SCC, Partciular Specification and contract documents.
3.10 | 1st year | 12.00 | Month |  | 241000.00 | 2892000.00 | 315238.00 | 3782856.00 | 270000.00 | 3240000.00 | 270000.00 | 3240000.00 | 2892000.00 | L K BUILDERS
3.20 | 2nd year | 12.00 | Month |  | 241000.00 | 2892000.00 | 315238.00 | 3782856.00 | 270000.00 | 3240000.00 | 270000.00 | 3240000.00 | 2892000.00 | L K BUILDERS
4.00 | Badu MSSR and Rx station: Day to Day maintenance of Electrical Installations such as HT AVR Transformer, Essential panels, Non-Essential Panels, distribution panels, Street Light, E&M installation etc. and Operation of DG sets including all electrical installations like AMF panels, essential panel, non-essential panel, VCB panel, various LT DB etc on all working days including Sundays & holidays round the clock basis at Badu MSSR and Rx station and complete as required by providing necessary qualified manpower as per special conditions of contract and technical specification for attending the complaints / breakdowns / preventive maintenance etc. complete as required.
4.10 | 1st year | 12.00 | Month |  | 125000.00 | 1500000.00 | 215999.50 | 2591994.00 | 150000.00 | 1800000.00 | 142000.00 | 1704000.00 | 1500000.00 | L K BUILDERS
4.20 | 2nd year | 12.00 | Month |  | 125000.00 | 1500000.00 | 215999.50 | 2591994.00 | 150000.00 | 1800000.00 | 142000.00 | 1704000.00 | 1500000.00 | L K BUILDERS
5.00 | Nilgaunge Outer Marker : Operation of DG sets and day to day maintenance of Electrical Installations such as essential and non-essential panels, other LT Distribution panels, Outside Lights, submersible pumps etc., on all working days including Sunday & holidays round the clock basis etc. complete as required by providing necessary qualified manpower as per special conditions of contract and technical specification for attending the complaints / breakdowns / preventive maintenance etc complete as required.
5.10 | 1st year | 12.00 | Month |  | 64000.00 | 768000.00 | 107627.50 | 1291530.00 | 80000.00 | 960000.00 | 75000.00 | 900000.00 | 768000.00 | L K BUILDERS
5.20 | 2nd year | 12.00 | Month |  | 64000.00 | 768000.00 | 107627.50 | 1291530.00 | 80000.00 | 960000.00 | 75000.00 | 900000.00 | 768000.00 | L K BUILDERS
6.00 | Bagjola Tx station : Operation of DG sets and day to day maintenance of Electrical Installations such as essential and non-essential panels, other LT Distribution panels, Outside Lights, submersible pumps etc.at, on all working days including holidays in General shift and round the clock basis etc. complete as required by providing necessary qualified manpower as per special conditions of contract and technical specification for attending the complaints / breakdowns / preventive maintenance etc complete as required.
6.10 | 1st year | 12.00 | Month |  | 119000.00 | 1428000.00 | 164917.50 | 1979010.00 | 138000.00 | 1656000.00 | 135000.00 | 1620000.00 | 1428000.00 | L K BUILDERS
6.20 | 2nd year | 12.00 | Month |  | 119000.00 | 1428000.00 | 164917.50 | 1979010.00 | 138000.00 | 1656000.00 | 135000.00 | 1620000.00 | 1428000.00 | L K BUILDERS
7.00 | Providing Commercial vehicle (Air-Conditioned) not less than 1900CC capacity ( Scorpio / Bollero/Tata Sumo / Inova ) including necessary fuel, permit and necessary entry pass alongwith driver from Monday to Saturday in general shift for maximum 10hour basis throughout the year (for average run of 2000 KM per month) for non-operational area for attending complaints, carrying out PMI checks as per maintenance schedule related to all electrical installations as per area mentioned in BOQ , attending breakdown calls fo operation and non operation area as directed by Engineer-in- Charge.
7.10 | 1st year | 12.00 | Month |  | 37000.00 | 444000.00 | 50000.00 | 600000.00 | 37000.00 | 444000.00 | 50000.00 | 600000.00 | 444000.00 | L K BUILDERS, Sterling And Wilson Pvt. Ltd
7.20 | 2nd year | 12.00 | Month |  | 37000.00 | 444000.00 | 50000.00 | 600000.00 | 37000.00 | 444000.00 | 55000.00 | 660000.00 | 444000.00 | L K BUILDERS, Sterling And Wilson Pvt. Ltd
8.00 | FSTC Narayanpur : Annual maintenance contract for fire detection & alarm system consisting of Single loop, addressable intelligent Fire Alarm panel of Morley IAS Dx, photo electric smoke detector of IAS Morley MI - PSE , heat detector of IAS Morley MI-RHSE, Manual call point of IAS Morley MI - MCP FLEX, response indicator, fault isolator of IAS Morley MI - DISO, fire alarm sounder of IAS Morley MI including monthly servicing & breakdown maintenance as and when required as per the special terms and conditions specifications & manufacturer's recommendations.
8.10 | 1st year | 12.00 | Month |  | 6600.00 | 79200.00 | 5000.00 | 60000.00 | 12000.00 | 144000.00 | 8000.00 | 96000.00 | 60000.00 | Blue Star Limited
8.20 | 2nd year | 12.00 | Month |  | 6600.00 | 79200.00 | 5000.00 | 60000.00 | 12000.00 | 144000.00 | 10000.00 | 120000.00 | 60000.00 | Blue Star Limited
9.00 | Badu MSSR : Annual maintenance contract for fire detection & alarm system consisting of fire loop, addressable intelligent Fire Alarm panel of Morley IAS Z x 2Se, Active repeater panel of Morley IAS Zx Ra photo electric smoke detector of IAS Morley MI - PSE (50 nos.approx), heat detector of IAS Morley MI-RHSE (2 nos. approx.) manual call point of IAS Morley MI - MCP FLEX(5 nos. approx) response indicator (12 nos. approx.) fault isolator of IAS Morley MI - DISO (3 nos), fire alarm sounder cum strobe of IAS Morley MI - WSDB - R (5 nos.) and Auto dialier system (1No.) including monthly servicing & breakdown maintenance as and when required as per the special terms and conditions specifications & manufacturer's recommendations.
9.10 | 1st year | 12.00 | Month |  | 6900.00 | 82800.00 | 5000.00 | 60000.00 | 12000.00 | 144000.00 | 8000.00 | 96000.00 | 60000.00 | Blue Star Limited
9.20 | 2nd year | 12.00 | Month |  | 6900.00 | 82800.00 | 5000.00 | 60000.00 | 12000.00 | 144000.00 | 10000.00 | 120000.00 | 60000.00 | Blue Star Limited
10.00 | FSTC Narayanpur : Annual maintenance contract of Fire Hydrant system including all type of MS Pipe Below the ground and above the ground , 7Nos Fire Hose Cabinet,7 Nos rainforce rubber, 8Nos Single headed oblique type flange, 1No foot valve, 1No dual Plate butterfly valve, 1No. Non-return valve, 1no Y strainer, Pressure switch, Pressure Guage, 40HP Horizental type Fire Hydrant Pump and Control Panel including monthly servicing & breakdown maintenance as and when required as per the special terms and conditions specifications & manufacturer's recommendations.
10.10 | 1st year | 12.00 | Month |  | 7500.00 | 90000.00 | 10000.00 | 120000.00 | 24000.00 | 288000.00 | 18000.00 | 216000.00 | 90000.00 | L K BUILDERS
10.20 | 2nd year | 12.00 | Month |  | 7500.00 | 90000.00 | 10000.00 | 120000.00 | 24000.00 | 288000.00 | 20000.00 | 240000.00 | 90000.00 | L K BUILDERS
11.00 | Badu MSSR : Annual maintenance contract of Fire Hydrant system including Valve, Fire Hydrant Point, 10HP Submersible Fire Hydrant Pump and Star-delta Starter including monthly servicing & breakdown maintenance as and when required as per the special terms and conditions specifications & manufacturer's recommendations..
11.10 | 1st year | 12.00 | Month |  | 6600.00 | 79200.00 | 10000.00 | 120000.00 | 24000.00 | 288000.00 | 18000.00 | 216000.00 | 79200.00 | L K BUILDERS
11.20 | 2nd year | 12.00 | Month |  | 6600.00 | 79200.00 | 10000.00 | 120000.00 | 24000.00 | 288000.00 | 20000.00 | 240000.00 | 79200.00 | L K BUILDERS
12.00 | Comprehensive maintenance of all make AC units 1.0 Tr. capacity single phase window type at Bagjola Tx. Station, Kalyanmayee Guest house, New Quarter Enquiry including providing all necessary consumable spares and up to its smooth performance as required as per the special terms and conditions attached.
12.10 | 1st year | 4.00 | Each per Annum |  | 2500.00 | 10000.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 3000.00 | 12000.00 | 4000.00 | Sterling And Wilson Pvt. Ltd
12.20 | 2nd year | 4.00 | Each per Annum |  | 2500.00 | 10000.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 3200.00 | 12800.00 | 4000.00 | Sterling And Wilson Pvt. Ltd
13.00 | Comprehensive maintenance of all make AC units 1.0 Tr. capacity single phase split type AC at Kalyanmayee Guest house, Badu Radar including providing all necessary consumable spares and up to its smooth performance as required as per the special terms and conditions attached.[Make:- voltas ]
13.10 | 1st year | 10.00 | Each per Annum |  | 3000.00 | 30000.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 3200.00 | 32000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
13.20 | 2nd year | 10.00 | Each per Annum |  | 3000.00 | 30000.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 3500.00 | 35000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
14.00 | Comprehensive maintenance of all make AC units 1.5 Tr. capacity single phase window type at different location including providing all necessary consumable spares and up to its smooth performance as required as per the special terms and conditions attached.
14.10 | 1st year | 19.00 | Each per Annum |  | 3000.00 | 57000.00 | 2250.00 | 42750.00 | 1250.00 | 23750.00 | 3200.00 | 60800.00 | 23750.00 | Sterling And Wilson Pvt. Ltd
14.20 | 2nd year | 19.00 | Each per Annum |  | 3000.00 | 57000.00 | 2250.00 | 42750.00 | 1250.00 | 23750.00 | 3400.00 | 64600.00 | 23750.00 | Sterling And Wilson Pvt. Ltd
15.00 | Comprehensive maintenance of all make AC units 1.5 Tr. capacity single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as required as per the special terms and conditions attached.
15.10 | 1st year | 40.00 | Each per Annum |  | 3000.00 | 120000.00 | 2250.00 | 90000.00 | 1250.00 | 50000.00 | 3500.00 | 140000.00 | 50000.00 | Sterling And Wilson Pvt. Ltd
15.20 | 2nd year | 40.00 | Each per Annum |  | 3000.00 | 120000.00 | 2250.00 | 90000.00 | 1250.00 | 50000.00 | 4000.00 | 160000.00 | 50000.00 | Sterling And Wilson Pvt. Ltd
16.00 | Comprehensive maintenance of all make AC units 2.0 Tr. capacity single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as required as per the special terms and conditions attached.
16.10 | 1st year | 105.00 | Each per Annum |  | 4000.00 | 420000.00 | 3000.00 | 315000.00 | 1500.00 | 157500.00 | 5500.00 | 577500.00 | 157500.00 | Sterling And Wilson Pvt. Ltd
16.20 | 2nd year | 105.00 | Each per Annum |  | 4000.00 | 420000.00 | 3000.00 | 315000.00 | 1500.00 | 157500.00 | 6000.00 | 630000.00 | 157500.00 | Sterling And Wilson Pvt. Ltd
17.00 | Comprehensive maintenance of all make floor mounted AC units 2.0 Tr. capacity single or three phase , split type AC at different location including providing all necessary consumable spares and up to its smooth performance as required as per the special terms and conditions attached.[Make:- voltas, Model: slimline]
17.10 | 1st year | 14.00 | Each per Annum |  | 4000.00 | 56000.00 | 3000.00 | 42000.00 | 1500.00 | 21000.00 | 5500.00 | 77000.00 | 21000.00 | Sterling And Wilson Pvt. Ltd
17.20 | 2nd year | 14.00 | Each per Annum |  | 4000.00 | 56000.00 | 3000.00 | 42000.00 | 1500.00 | 21000.00 | 6000.00 | 84000.00 | 21000.00 | Sterling And Wilson Pvt. Ltd
18.00 | Comprehensive maintenance of Voltas make AC units 3.0 Tr. capacity three phase Floor Mounted split and High Wall Split type AC at different location including providing all necessary consumable spares and up to its smooth performance as required as per the special terms and conditions attached. [Year of Installation : Dec'2015] .[Make:- voltas, Model: slimline] and [ Make: Blue Star]
18.10 | 1st year | 10.00 | Each per Annum |  | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 2200.00 | 22000.00 | 80000.00 | 800000.00 | 22000.00 | Sterling And Wilson Pvt. Ltd
18.20 | 2nd year | 10.00 | Each per Annum |  | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 2200.00 | 22000.00 | 82000.00 | 820000.00 | 22000.00 | Sterling And Wilson Pvt. Ltd
19.00 | Comprehensive maintenance of all make storage type water cooler of capacity 40 / 80 ltrs at different location including providing all necessary consumable spares and upto its smooth performance as required as per the special terms and conditions attached after defect liability period.
19.10 | 1st year | 1.00 | Each per Annum |  | 2560.00 | 2560.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 1500.00 | Sterling And Wilson Pvt. Ltd
19.20 | 2nd year | 1.00 | Each per Annum |  | 2560.00 | 2560.00 | 3675.00 | 3675.00 | 1500.00 | 1500.00 | 3200.00 | 3200.00 | 1500.00 | Sterling And Wilson Pvt. Ltd
20.00 | Comprehensive Annual Maintenance Contract of following water purifier for periodic maintenance and attending breakdown call at various non-operational units and offices at NSCBI Airport Kolkata including providing and repairing / replacing faulty component consumable spares etc. as required.
20.10 | Aquaguard 200ltr/H Capacity , Model: AG200
20.11 | 1st year | 8.00 | Each per Annum |  | 1630.00 | 13040.00 | 17000.00 | 136000.00 | 1800.00 | 14400.00 | 2000.00 | 16000.00 | 13040.00 | L K BUILDERS
20.12 | 2nd year | 8.00 | Each per Annum |  | 1630.00 | 13040.00 | 17000.00 | 136000.00 | 1800.00 | 14400.00 | 2000.00 | 16000.00 | 13040.00 | L K BUILDERS
20.20 | Aquaguard cooler cum purifier 40Ltr./H capacity; Model: AGCCP
20.21 | 1st year | 1.00 | Each per Annum |  | 3950.00 | 3950.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 2500.00 | Sterling And Wilson Pvt. Ltd
20.22 | 2nd year | 1.00 | Each per Annum |  | 3950.00 | 3950.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 2500.00 | Sterling And Wilson Pvt. Ltd
21.00 | Dismantling & Reinstallation of Water Coolers as directed by EIC etc. complete as required. | 5.00 | Job |  | 400.00 | 2000.00 | 3000.00 | 15000.00 | 1500.00 | 7500.00 | 1200.00 | 6000.00 | 2000.00 | L K BUILDERS
22.00 | Dismantling of window A/C units of capacity upto 1.5 Tr. single phase or three phase and transporting to AAI store as directed by EIC etc. complete as required. | 5.00 | Job |  | 600.00 | 3000.00 | 3000.00 | 15000.00 | 500.00 | 2500.00 | 1500.00 | 7500.00 | 2500.00 | Sterling And Wilson Pvt. Ltd
23.00 | Dismantling of high wall split type A/C units of capacity upto 3.0 Tr. Single phase or three phase and transporting to AAI store as directed by EIC etc. complete as required. | 6.00 | Job |  | 600.00 | 3600.00 | 3500.00 | 21000.00 | 500.00 | 3000.00 | 1500.00 | 9000.00 | 3000.00 | Sterling And Wilson Pvt. Ltd
24.00 | Reinstallation, testing and commissioning of window type AC units of all types of model and tonnage capacity upto 1.5 TR as direceted by E-I-C (Window AC unit will be issued by AAI). | 6.00 | Job |  | 900.00 | 5400.00 | 3000.00 | 18000.00 | 1000.00 | 6000.00 | 1800.00 | 10800.00 | 5400.00 | L K BUILDERS
25.00 | Reinstallation, testing and commissioning including connection of copper pipe with insulation and refrigerant gas charging of the split type A.C. units of all types of model and tonnage capacity upto 3TR as directed by E-I-C. (Indoor & Outdoor unit will be issued by AAI). | 6.00 | Job |  | 2100.00 | 12600.00 | 4000.00 | 24000.00 | 1800.00 | 10800.00 | 3900.00 | 23400.00 | 10800.00 | Sterling And Wilson Pvt. Ltd
26.00 | Supply and fixing of copper refrigerant pipe with rubberized cunifoam insulation including necessary brazing, fluring, power supply cabling etc. complete as required for re-commissioning of A.C. units as directed by E-I-C. | 70.00 | Metre |  | 300.00 | 21000.00 | 800.00 | 56000.00 | 150.00 | 10500.00 | 600.00 | 42000.00 | 10500.00 | Sterling And Wilson Pvt. Ltd
27.00 | Lifting & lowering (combined) of submersible pump motor set of following capacity from the depth upto 100 feet including dismantling of the column pipe, cable and Re-installation of the pump and motor set in the bore well along with all necessary work like fixing of column pipes , connection of rope with 'U' clamps, connection to the discharge line, dry revolution test including consumables like rubber gasket & nuts/Bolts with all tools and tackles and transportation also check and servicing the electrical switchgears etc as required.
27.10 | (a) up to 3HP | 2.00 | Job |  | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 4000.00 | Sterling And Wilson Pvt. Ltd
27.20 | (b) above 3HP up to 10HP | 4.00 | Job |  | 7000.00 | 28000.00 | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 12000.00 | 48000.00 | 20000.00 | Sterling And Wilson Pvt. Ltd
27.30 | (c) above 10HP up to 20HP | 4.00 | Job |  | 8500.00 | 34000.00 | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 25000.00 | 100000.00 | 20000.00 | Sterling And Wilson Pvt. Ltd
27.40 | (d) above 20HP up to 30HP | 3.00 | Job |  | 8500.00 | 25500.00 | 10000.00 | 30000.00 | 7500.00 | 22500.00 | 30000.00 | 90000.00 | 22500.00 | Sterling And Wilson Pvt. Ltd
28.00 | Complete repair and maintenance i/c rewinding, replacement of defective spares , tools and transportation of the following sizes Squirrel cage submersible motors from Authorised /OEM service centre for ,440V, 3ph motor set i/c dismantling and fitment of spares etc. complete as required With one year warranty from the date of repair (Dismantled copper to be adjusted )
28.10 | (a) 3HP | 2.00 | Job |  | 4000.00 | 8000.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 7500.00 | 15000.00 | 4000.00 | Sterling And Wilson Pvt. Ltd
28.20 | (b) 7.5 HP | 2.00 | Job |  | 9000.00 | 18000.00 | 4500.00 | 9000.00 | 4000.00 | 8000.00 | 20000.00 | 40000.00 | 8000.00 | Sterling And Wilson Pvt. Ltd
28.30 | (c )15 HP | 2.00 | Job |  | 13000.00 | 26000.00 | 7500.00 | 15000.00 | 9500.00 | 19000.00 | 25000.00 | 50000.00 | 15000.00 | Blue Star Limited
28.40 | (d) 25HP | 2.00 | Job |  | 17000.00 | 34000.00 | 12000.00 | 24000.00 | 13500.00 | 27000.00 | 30000.00 | 60000.00 | 24000.00 | Blue Star Limited
28.50 | (e) 30HP | 2.00 | Job |  | 17000.00 | 34000.00 | 14250.00 | 28500.00 | 22300.00 | 44600.00 | 35000.00 | 70000.00 | 28500.00 | Blue Star Limited
29.00 | Complete dismantling of the pump of following capacity submersible pump set, replacing all worn out parts, reassembling after complete servicing / overhauling from the OEM/Authorised service dealers with transportation etc complete as required including supply of materials/spares With one year warranty from the date of repair( excluding rewinding of motor)
29.10 | (a) up to 3HP | 2.00 | Job |  | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 4000.00 | 8000.00 | 2000.00 | Sterling And Wilson Pvt. Ltd
29.20 | (b) above 3HP up to 10HP | 2.00 | Job |  | 7000.00 | 14000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 12000.00 | 24000.00 | 4000.00 | Sterling And Wilson Pvt. Ltd
29.30 | ( c ) above 10HP up to 20HP | 2.00 | Job |  | 12000.00 | 24000.00 | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 18000.00 | 36000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
29.40 | (d) above 20 up to 30HP | 2.00 | Job |  | 18000.00 | 36000.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 30000.00 | 60000.00 | 15000.00 | Blue Star Limited
30.00 | Lifting and lowering (combined) of following capacity sewage submersible pump motor set from up to depth of 30ft along with de-watering of sump water during re-installation etc. complete as when required.
30.10 | a) 10 HP to 20HP Sewage pump. | 2.00 | Job |  | 6000.00 | 12000.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 18000.00 | 36000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
31.00 | Complete repair and maintenance i/c rewinding, replacement of defective spare parts & oil seals , tools and transportation of the following sizes Squirrel cage submersible sewage motors from Authorised /OEM service centre from 10 HP to 20 HP,440V 3ph motor set i/c dismantling and fitment of spares etc complete as required With one year warranty from the date of repair (Dismantled copper to be adjusted ) | 2.00 | Job |  | 16000.00 | 32000.00 | 12000.00 | 24000.00 | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 20000.00 | Sterling And Wilson Pvt. Ltd
32.00 | Complete dismantling of sewage pump of 10HP to 20HP and replacing all worn out parts ,reassembling the same after complete servicing / overhauling from OEM/Authorised service centre with transportation etc complete as required including materials/spare parts. With one year warranty from the date of repair (excluding rewinding of motor). | 2.00 | Job |  | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 9000.00 | 18000.00 | 8000.00 | Blue Star Limited
33.00 | Scraping, cleaning and painting of street light tubular poles along with arms of length not exceeding 11 mtrs with two coats of superior quality aluminium paint i/c embossing of AAI symbol and numbering with synthetic enamel paint after applying Aluminum painting on the pole etc. as required. | 191.00 | Job |  | 20.00 | 3820.00 | 600.00 | 114600.00 | 50.00 | 9550.00 | 425.00 | 81175.00 | 3820.00 | L K BUILDERS
34.00 | Scrabing,rubbing,cleaning & spray painting of metal frame,metal boxes,metal surface in different shape and in different location with 2 coats high gloss synthetic enamel paint of smoke gray or any other approved colour etc. as required. | 160.00 | Sq.m. |  | 150.00 | 24000.00 | 250.00 | 40000.00 | 100.00 | 16000.00 | 225.00 | 36000.00 | 16000.00 | Sterling And Wilson Pvt. Ltd
35.00 | Scrabing,cleaning and painting of street light CC collar i/c loop-in-loop out box with two coats of sperior qualitity synthetic enamel paint of approved colour etc. all as required Note: CC collars to be painted with alternate strips of different colour as per the direction of the Engineer-in-Charge. | 149.00 | Job |  | 133.00 | 19817.00 | 100.00 | 14900.00 | 100.00 | 14900.00 | 250.00 | 37250.00 | 14900.00 | Blue Star Limited, Sterling And Wilson Pvt. Ltd
36.00 | Repairing of Electric water heater (Geyser) of capacity upto 10 litres including replacement of heating element, thermostat and complete servicing etc as required. | 6.00 | Job |  | 1200.00 | 7200.00 | 1000.00 | 6000.00 | 1200.00 | 7200.00 | 2000.00 | 12000.00 | 6000.00 | Blue Star Limited
37.00 | Rewinding of ceiling fan motor of size (900mm to 1400mm) /exhaust fan (upto 350mm) including replacement of Capacitor & ball bearing etc complete as required.(Dismantled copper to be adjusted ) | 60.00 | Job |  | 250.00 | 15000.00 | 400.00 | 24000.00 | 200.00 | 12000.00 | 425.00 | 25500.00 | 12000.00 | Sterling And Wilson Pvt. Ltd
38.00 | Complete repairing of Battery charger with single phase 230volt AC input supply and 12/24 V DC output supply and maximum charging current of 30AMP (DC) | 4.00 | Job |  | 800.00 | 3200.00 | 2000.00 | 8000.00 | 1300.00 | 5200.00 | 1500.00 | 6000.00 | 3200.00 | L K BUILDERS
39.00 | Dehydration of insulating oil for transformers through centrifugal oil purifier / sparkler machine and heating arrangements to attend withstand strength of 40 kv for one minute as per IS 355 - 1983 (Rev) with submission of prior and post test report of breaking strength of oil at sub-station. | 6000.00 | Ltrs. |  | 18.00 | 108000.00 | 10.00 | 60000.00 | 8.00 | 48000.00 | 12.00 | 72000.00 | 48000.00 | Sterling And Wilson Pvt. Ltd
40.00 | Supply of Fire detection & Alarm system spares having protocol compatability with Morley IAS , Dxc Fire alarm panel.
40.10 | (a) Analogue addressable photo electric smoke detector with mounting base. Make Morley IAS, Model: MI-PSE-S2-IV. | 8.00 | Each |  | 2000.00 | 16000.00 | 1800.00 | 14400.00 | 1300.00 | 10400.00 | 2400.00 | 19200.00 | 10400.00 | Sterling And Wilson Pvt. Ltd
40.20 | (b) Analogue addressable rate of rise heat detector with mounting base. Make Morley IAS, Model :MI-RHSE-S2-IV. | 3.00 | Each |  | 2200.00 | 6600.00 | 2400.00 | 7200.00 | 1170.00 | 3510.00 | 2200.00 | 6600.00 | 3510.00 | Sterling And Wilson Pvt. Ltd
40.30 | (c) Response Indicator of same protocol. | 2.00 | Each |  | 75.00 | 150.00 | 1800.00 | 3600.00 | 155.00 | 310.00 | 130.00 | 260.00 | 150.00 | L K BUILDERS
40.40 | (d) Analogue addressable Manual Call Point. Make Morley IAS, Model :MI-MCP GLASS. | 2.00 | Each |  | 3200.00 | 6400.00 | 1900.00 | 3800.00 | 950.00 | 1900.00 | 3000.00 | 6000.00 | 1900.00 | Sterling And Wilson Pvt. Ltd
40.50 | (e) Analogue addressable Sounder . Make Morley IAS, Model :MI-WSO-PR-NO5. | 2.00 | Each |  | 3600.00 | 7200.00 | 2750.00 | 5500.00 | 2200.00 | 4400.00 | 3200.00 | 6400.00 | 4400.00 | Sterling And Wilson Pvt. Ltd
40.60 | (f) 12Volts 7 AH Sealed Lead Acid Battery. | 2.00 | Each |  | 1100.00 | 2200.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 1100.00 | 2200.00 | 2000.00 | Sterling And Wilson Pvt. Ltd
41.00 | Supply of analogue addressable photo electric smoke detector with mounting base, having protocol compatability with IAS moreley make Z x 2Se fire alarm panel (Make: IAS Moreley model MI - PSE or equivalent) | 10.00 | Each |  | 2000.00 | 20000.00 | 1225.00 | 12250.00 | 1300.00 | 13000.00 | 2400.00 | 24000.00 | 12250.00 | Blue Star Limited
42.00 | Supply of analogue addressable heat detector with mounting base, having protocol compatability with IAS moreley make Z x 2Se fire alarm panel (Make: IAS moreley Model MI - RHSE or equivalent) | 5.00 | Each |  | 2250.00 | 11250.00 | 2341.00 | 11705.00 | 1170.00 | 5850.00 | 2200.00 | 11000.00 | 5850.00 | Sterling And Wilson Pvt. Ltd
43.00 | DSR Works:-The execution of Delhi Schedule of Rates (E&M) 2018 Items mentioned in Chapter 1 to Chapter 17 as when required basis for repair and maintenance of internal and External Electrical installations at different locations under non-operational area as per the special Terms and Condition of Contract or as directed by Engineer-in-Charge of total Estimated amount Rs.1000000.00 (Rupees Ten Lakhs only) . NOTE: Guiidline for quoting %age rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 1000000.00/-of DSR 2018 (Electrical) and same shall be converted into %age above/below on the DSR 2018 (considering the rates of DSR 2018 as base rates). 2. For Example if bidder quotes Rs. 1050000.00/- in rates column then same shall be converted into %age of DSR 2018 as under ((1050000 - 1000000) / 1000000) i.e. 5% above on DSR 2018 and accordingly payment shall be made by applying the %age i.e. 5% above on DSR 2018 rates for items covered in DSR 2018. | 1.00 | Job |  | 700000.00 | 700000.00 | 650000.00 | 650000.00 | 765020.00 | 765020.00 | 850000.00 | 850000.00 | 650000.00 | Blue Star Limited
| Total in Figures |  |  |  |  | 20505317.00 |  | 28706618.00 |  | 23107940.00 |  | 26452185.00
Lowest Amount Quoted BY: L K BUILDERS(20505317.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of E and M Installations Tender ID: 2020_AAI_51443_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | L K BUILDERS | 20505317.00 | L1
| 2 | Sterling And Wilson Pvt. Ltd | 23107940.00 | L2
| 3 | Youngmen Traders | 26452185.00 | L3
| 4 | Blue Star Limited | 28706618.00 | L4