## BoQ1
Government eProcurement System Created By: Hirdaya kumar Chaturvedi Created Date/Time: 24-Jul-2020 01:46 PM Tender Title: Replacement of 50 KW CCRs for Runway Edge lights at SVPI Airport, Ahmedabad Tender ID: 2020_AAI_51460_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-Elect)
Name of Work: “Replacement of 50 KW CCR's for Runway Edge lights at SVPI Airport, Ahmedabad.”
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NASU SYSTEMS |  | Manish Electricals |  | Techno Electricals
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply Installation Testing and Commissioning of Indoor type air cooled constant current regulator of microprocessor controlled suitable for operation on 415 Volts /240 V + 10%, 50 Hz input AC supply with 5 steps variation of current output (20, 15.8, 12.4, 10.3, & 8.5 Amps)and able to communicate with PC or PLC controlled system, with digital output ammeter(0‐20 Amps), overcurrent, over voltage, open circuit and earth fault protection and earth leakage meter, two stage earth leakage detector, positive back indication Equipments, LCD display, complete as required for the following rating and confirm to specifications enclosed. 50 KW CCR | 2.00 | Job |  | 450000.00 | 900000.00 | 478600.00 | 957200.00 | 529763.00 | 1059526.00 | 900000.00 | NASU SYSTEMS
2.00 | Dismantling of existing 50 KW Hind rectifier make CCR including disconnection and shifting of the same to AAI Store etc complete as required. | 2.00 | Job |  | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 5000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 918000.00 |  | 967200.00 |  | 1064526.00
Lowest Amount Quoted BY: NASU SYSTEMS(918000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of 50 KW CCRs for Runway Edge lights at SVPI Airport, Ahmedabad Tender ID: 2020_AAI_51460_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NASU SYSTEMS | 918000.00 | L1
| 2 | Manish Electricals | 967200.00 | L2
| 3 | Techno Electricals | 1064526.00 | L3