## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 17-Jul-2020 05:24 PM Tender Title: Supply of day to day electrical Spares for E and M Installations at JPNI Airport Patna Tender ID: 2020_AAI_51583_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Supply of day to day electrical Spares for E & M Installations at JPNI Airport Patna.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | SAURABH ENTERPRISES |  | M/S COOL CONTROL |  | SHREE NURSING TIMBER AND ELECTRIC STORES
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following type of LED lamp/bulb/tube Suitable for 230V, 50Hz, AC Supply.
1.01 | 5 Watt bulb. | 10.00 | Each |  | 105.00 | 1050.00 | 65.00 | 650.00 | 86.00 | 860.00 | 55.00 | 550.00 | 550.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
1.02 | 10 Watt bulb. | 10.00 | Each |  | 130.00 | 1300.00 | 80.00 | 800.00 | 108.00 | 1080.00 | 82.50 | 825.00 | 800.00 | SAURABH ENTERPRISES
1.03 | 15 Watt bulb. | 10.00 | Each |  | 145.00 | 1450.00 | 153.00 | 1530.00 | 205.00 | 2050.00 | 154.00 | 1540.00 | 1450.00 | ABHISHEK ASSOCIATES
2.00 | Supply of following type of Threaded LED end cap bulb Suitable for 230V, 50Hz, AC Supply.
2.01 | 9 Watt bulb. | 50.00 | Each |  | 110.00 | 5500.00 | 69.00 | 3450.00 | 86.00 | 4300.00 | 82.50 | 4125.00 | 3450.00 | SAURABH ENTERPRISES
3.00 | Supply of Focus light of surface mounted ,powder coated,die cast aluminium and anodized aluminium reflector with clear diffuser ,fully adjustable for 230 V ,50Hz ac supply.(make-jaquar or equivalent)
3.01 | 10 watt focus light (model no-LFCL01R010XW) | 30.00 | Each |  | 1940.00 | 58200.00 | 1740.00 | 52200.00 | 1750.00 | 52500.00 | 1100.00 | 33000.00 | 33000.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
4.00 | Supply of usha Quartz Room heater 800w with overheating protection(ivory) for 230 V, 50Hz Ac supply. | 20.00 | Each |  | 1775.00 | 35500.00 | 956.00 | 19120.00 | 720.00 | 14400.00 | 814.00 | 16280.00 | 14400.00 | M/S COOL CONTROL
5.00 | Supply of microtech UPS SEBz 800 VA ,12 V pure sine wave inverter for 230V, 50Hz ac supply. | 6.00 | Each |  | 4090.00 | 24540.00 | 4000.00 | 24000.00 | 2350.00 | 14100.00 | 4400.00 | 26400.00 | 14100.00 | M/S COOL CONTROL
6.00 | Supply of 12V 150Ah inverter flat type battery with stand as per required(make-Exide) | 6.00 | Each |  | 10000.00 | 60000.00 | 10500.00 | 63000.00 | 11100.00 | 66600.00 | 12622.00 | 75732.00 | 60000.00 | ABHISHEK ASSOCIATES
7.00 | Supply of following type of contactors , 240 V/415 V, 50 Hz, Suitable for Inductive loads .
7.01 | 16A DP | 10.00 | Each |  | 200.00 | 2000.00 | 652.00 | 6520.00 | 495.00 | 4950.00 | 491.00 | 4910.00 | 2000.00 | ABHISHEK ASSOCIATES
7.02 | 32A 4P | 10.00 | Each |  | 805.00 | 8050.00 | 1150.00 | 11500.00 | 830.00 | 8300.00 | 2769.00 | 27690.00 | 8050.00 | ABHISHEK ASSOCIATES
7.03 | 63A 4P | 10.00 | Each |  | 1100.00 | 11000.00 | 2772.00 | 27720.00 | 3010.00 | 30100.00 | 5113.00 | 51130.00 | 11000.00 | ABHISHEK ASSOCIATES
8.00 | Supply of following type of contactors , 240 V/415 V, 50 Hz, Suitable for APFC Panel.Make -schneider electrior equivalent (model-LC1E32)
8.01 | 63A 3P | 5.00 | Each |  | 3500.00 | 17500.00 | 6533.00 | 32665.00 | 2310.00 | 11550.00 | 4171.00 | 20855.00 | 11550.00 | M/S COOL CONTROL
9.00 | Supply of following type of MCB Isolators , 240 V/415 V, 50 Hz, Suitable for inductive load.
9.01 | 40A DP | 15.00 | Each |  | 204.00 | 3060.00 | 225.00 | 3375.00 | 270.00 | 4050.00 | 209.00 | 3135.00 | 3060.00 | ABHISHEK ASSOCIATES
9.02 | 63A TP | 15.00 | Each |  | 485.00 | 7275.00 | 528.00 | 7920.00 | 580.00 | 8700.00 | 432.00 | 6480.00 | 6480.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
9.03 | 63A FP | 15.00 | Each |  | 485.00 | 7275.00 | 534.00 | 8010.00 | 680.00 | 10200.00 | 512.00 | 7680.00 | 7275.00 | ABHISHEK ASSOCIATES
9.04 | 100A FP | 15.00 | Each |  | 635.00 | 9525.00 | 534.00 | 8010.00 | 752.00 | 11280.00 | 635.00 | 9525.00 | 8010.00 | SAURABH ENTERPRISES
10.00 | Supply of 600W, 12 Volt LED Power Supply working on 230 Volt,50 Hz, AC Supply with Overcurrent,Overvoltage & Short circuit protection,rainproof, IP 43 protection etc complete as required. | 6.00 | Each |  | 1000.00 | 6000.00 | 1312.00 | 7872.00 | 1210.00 | 7260.00 | 11000.00 | 66000.00 | 6000.00 | ABHISHEK ASSOCIATES
11.00 | Supply of LED indicator lamp suitable for Essential and Non Essential panel.
11.01 | Red | 35.00 | Each |  | 76.00 | 2660.00 | 70.00 | 2450.00 | 49.00 | 1715.00 | 81.00 | 2835.00 | 1715.00 | M/S COOL CONTROL
11.02 | Green | 35.00 | Each |  | 76.00 | 2660.00 | 70.00 | 2450.00 | 49.00 | 1715.00 | 81.00 | 2835.00 | 1715.00 | M/S COOL CONTROL
11.03 | Yellow | 35.00 | Each |  | 76.00 | 2660.00 | 70.00 | 2450.00 | 49.00 | 1715.00 | 81.00 | 2835.00 | 1715.00 | M/S COOL CONTROL
11.04 | Blue | 35.00 | Each |  | 130.00 | 4550.00 | 129.00 | 4515.00 | 49.00 | 1715.00 | 137.00 | 4795.00 | 1715.00 | M/S COOL CONTROL
12.00 | Supply of 20 Watts LED batten type fitting (with tubelight) , Suitable for 230V, 50Hz, AC Supply. Make: crompton or equivalent. | 20.00 | Each |  | 375.00 | 7500.00 | 300.00 | 6000.00 | 390.00 | 7800.00 | 352.00 | 7040.00 | 6000.00 | SAURABH ENTERPRISES
13.00 | Supply of following type of 'C' Series MCBs, 240 V/415 V, 50 Hz, 10 kA Suitable for Motor and other Inductive loads .
13.01 | 10A, SP, MCB | 20.00 | Each |  | 82.00 | 1640.00 | 120.00 | 2400.00 | 230.00 | 4600.00 | 96.00 | 1920.00 | 1640.00 | ABHISHEK ASSOCIATES
13.02 | 20A, SP, MCB | 20.00 | Each |  | 82.00 | 1640.00 | 120.00 | 2400.00 | 250.00 | 5000.00 | 96.00 | 1920.00 | 1640.00 | ABHISHEK ASSOCIATES
13.03 | 32A, SP, MCB | 10.00 | Each |  | 82.00 | 820.00 | 120.00 | 1200.00 | 270.00 | 2700.00 | 96.00 | 960.00 | 820.00 | ABHISHEK ASSOCIATES
13.04 | 40A, DP, MCB | 15.00 | Each |  | 528.00 | 7920.00 | 579.00 | 8685.00 | 650.00 | 9750.00 | 470.00 | 7050.00 | 7050.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
13.05 | 63A, TP, MCB | 20.00 | Each |  | 900.00 | 18000.00 | 954.00 | 19080.00 | 1050.00 | 21000.00 | 728.00 | 14560.00 | 14560.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
13.06 | 100A, FP, MCB | 7.00 | Each |  | 4020.00 | 28140.00 | 4824.00 | 33768.00 | 6100.00 | 42700.00 | 4347.00 | 30429.00 | 28140.00 | ABHISHEK ASSOCIATES
14.00 | Supply of following type of thermal magnetic release MCCB, 415 V AC, Breaking capacity 35 kA,/36KA Ics=Icu =100% etc complete as required.
14.01 | 63A TP | 10.00 | Each |  | 3654.00 | 36540.00 | 3432.00 | 34320.00 | 4210.00 | 42100.00 | 3891.00 | 38910.00 | 34320.00 | SAURABH ENTERPRISES
14.02 | 63A FP | 5.00 | Each |  | 5070.00 | 25350.00 | 4092.00 | 20460.00 | 4850.00 | 24250.00 | 4840.00 | 24200.00 | 20460.00 | SAURABH ENTERPRISES
14.03 | 100A FP | 8.00 | Each |  | 4140.00 | 33120.00 | 4620.00 | 36960.00 | 4915.00 | 39320.00 | 4840.00 | 38720.00 | 33120.00 | ABHISHEK ASSOCIATES
14.04 | 250A FP | 2.00 | Each |  | 13122.00 | 26244.00 | 11418.00 | 22836.00 | 15100.00 | 30200.00 | 11340.00 | 22680.00 | 22680.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
14.05 | 400A FP | 2.00 | Each |  | 20178.00 | 40356.00 | 12909.00 | 25818.00 | 17100.00 | 34200.00 | 13668.00 | 27336.00 | 25818.00 | SAURABH ENTERPRISES
15.00 | Supply of following modular type Switches / Sockets/ Plug Top suitable to work on 230V ± 10%, 50Hz, AC Supply. ISI Marked, Colour - White.
15.01 | 6A/10A 1way Switch. (Modular) | 250.00 | Each |  | 18.00 | 4500.00 | 28.00 | 7000.00 | 40.00 | 10000.00 | 21.00 | 5250.00 | 4500.00 | ABHISHEK ASSOCIATES
15.02 | 16/20A 1way Switch. (modular) | 200.00 | Each |  | 40.00 | 8000.00 | 69.00 | 13800.00 | 70.00 | 14000.00 | 61.00 | 12200.00 | 8000.00 | ABHISHEK ASSOCIATES
15.03 | 6A/10A, socket for 3 pin (Modular) | 250.00 | Each |  | 70.00 | 17500.00 | 71.00 | 17750.00 | 65.00 | 16250.00 | 51.00 | 12750.00 | 12750.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
15.04 | 16/20A , Socket (modular) | 200.00 | Each |  | 70.00 | 14000.00 | 121.00 | 24200.00 | 105.00 | 21000.00 | 82.00 | 16400.00 | 14000.00 | ABHISHEK ASSOCIATES
15.05 | 6A 3Pin Top (Penta) | 200.00 | Each |  | 36.00 | 7200.00 | 33.00 | 6600.00 | 35.00 | 7000.00 | 37.00 | 7400.00 | 6600.00 | SAURABH ENTERPRISES
15.06 | 16A 3Pin Top (Penta) | 200.00 | Each |  | 47.00 | 9400.00 | 44.00 | 8800.00 | 61.00 | 12200.00 | 50.00 | 10000.00 | 8800.00 | SAURABH ENTERPRISES
16.00 | Supply of following size of PVC insulated Multistrands, Copper Conductor Wire suitable to work upto 1100V, AC Supply having length as follows.
16.01 | 1 Sqmm (FRLS single core,Coil of 300 Mtrs) | 4.00 | Coil |  | 1830.00 | 7320.00 | 3000.00 | 12000.00 | 1950.00 | 7800.00 | 1737.00 | 6948.00 | 6948.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
16.02 | 1.5 Sqmm (FRLS single core,Coil of 300 Mtrs) | 4.00 | Coil |  | 2695.00 | 10780.00 | 5000.00 | 20000.00 | 3510.00 | 14040.00 | 2550.00 | 10200.00 | 10200.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
16.03 | 2.5 Sqmm (FRLS single core,Coil of 300 Mtrs) | 4.00 | Coil |  | 4375.00 | 17500.00 | 5500.00 | 22000.00 | 5210.00 | 20840.00 | 3949.00 | 15796.00 | 15796.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
16.04 | 4 Sqmm (FRLS single core,Coil of 200 Mtrs) | 2.00 | Coil |  | 4230.00 | 8460.00 | 6500.00 | 13000.00 | 5230.00 | 10460.00 | 4001.00 | 8002.00 | 8002.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
16.05 | 6 Sqmm (FRLS single core,Coil of 200 Mtrs) | 2.00 | Coil |  | 6238.00 | 12476.00 | 7700.00 | 15400.00 | 7960.00 | 15920.00 | 6026.00 | 12052.00 | 12052.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
16.06 | 10 sq mm(FRLS single core ,coil of 200 Mtrs) | 2.00 | Coil |  | 11585.00 | 23170.00 | 15000.00 | 30000.00 | 13890.00 | 27780.00 | 10152.00 | 20304.00 | 20304.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
17.00 | Supply of following size of PVC insulated unsheathead bright anneales Copper Conductor single core Wire suitable to work upto 1100V, AC Supply having length as follows.
17.01 | 3C X 1.5 Sq mm (length upto 100 Mtrs) | 2.00 | Coil |  | 3228.00 | 6456.00 | 3421.00 | 6842.00 | 3900.00 | 7800.00 | 3111.00 | 6222.00 | 6222.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
17.02 | 3C X 2.5 Sq mm (length upto 100 Mtrs) | 2.00 | Coil |  | 5200.00 | 10400.00 | 5517.00 | 11034.00 | 6230.00 | 12460.00 | 4911.00 | 9822.00 | 9822.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
17.03 | 3C X 4 Sq mm (length upto 100 Mtrs) | 2.00 | Coil |  | 8000.00 | 16000.00 | 8409.00 | 16818.00 | 9280.00 | 18560.00 | 7749.00 | 15498.00 | 15498.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
18.00 | Supply of following Oil Filled Capacitor for fan with wire terminals suitable to work on 230V ± 10%, 50Hz, AC Supply.
18.01 | 2.5 MFD | 100.00 | Each |  | 18.00 | 1800.00 | 20.00 | 2000.00 | 25.00 | 2500.00 | 20.00 | 2000.00 | 1800.00 | ABHISHEK ASSOCIATES
18.02 | 4 MFD | 20.00 | Each |  | 40.00 | 800.00 | 26.00 | 520.00 | 39.00 | 780.00 | 27.00 | 540.00 | 520.00 | SAURABH ENTERPRISES
19.00 | Supply of PVC Tape of 19mm sizes 9mtrs length. | 500.00 | Each |  | 10.00 | 5000.00 | 7.00 | 3500.00 | 7.00 | 3500.00 | 11.00 | 5500.00 | 3500.00 | SAURABH ENTERPRISES, M/S COOL CONTROL
20.00 | Supply of the following size of PVC conduit pipe,ISI markes.
20.01 | 20mm Conduit | 250.00 | Mtr |  | 17.00 | 4250.00 | 12.00 | 3000.00 | 9.00 | 2250.00 | 18.00 | 4500.00 | 2250.00 | M/S COOL CONTROL
20.02 | 25mm Conduit | 200.00 | Mtr |  | 20.00 | 4000.00 | 16.00 | 3200.00 | 14.00 | 2800.00 | 26.00 | 5200.00 | 2800.00 | M/S COOL CONTROL
21.00 | Supply of the following size of PVC cashing caping.
21.01 | 20mm | 150.00 | Mtr |  | 13.00 | 1950.00 | 13.00 | 1950.00 | 10.00 | 1500.00 | 16.00 | 2400.00 | 1500.00 | M/S COOL CONTROL
21.02 | 25mm | 100.00 | Mtr |  | 15.00 | 1500.00 | 16.00 | 1600.00 | 13.00 | 1300.00 | 19.00 | 1900.00 | 1300.00 | M/S COOL CONTROL
22.00 | Supply of the following size of flexible PVC pipe
22.01 | 20 mm | 50.00 | Mtr |  | 8.00 | 400.00 | 6.00 | 300.00 | 7.00 | 350.00 | 24.00 | 1200.00 | 300.00 | SAURABH ENTERPRISES
22.02 | 25mm | 50.00 | Mtr |  | 10.00 | 500.00 | 7.00 | 350.00 | 9.00 | 450.00 | 29.00 | 1450.00 | 350.00 | SAURABH ENTERPRISES
23.00 | Supply of 100W Mini Electronic Fan Regulator(Colour-White) with Rotatory Step suitable for 1200mm/1400 mm sweep ceiling fan operated on 230 V ,50 HZ A/C Supply. | 25.00 | Each |  | 125.00 | 3125.00 | 132.00 | 3300.00 | 195.00 | 4875.00 | 177.00 | 4425.00 | 3125.00 | ABHISHEK ASSOCIATES
24.00 | Supply of following module type pvc Cover Plates with Base Frame suitable to work on 230V ± 10%, 50Hz, AC Supply. ISI Marked, Colour - White.
24.01 | 2 Module | 30.00 | Each |  | 68.00 | 2040.00 | 42.00 | 1260.00 | 50.00 | 1500.00 | 32.00 | 960.00 | 960.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
24.02 | 3 Module | 30.00 | Each |  | 80.00 | 2400.00 | 54.00 | 1620.00 | 60.00 | 1800.00 | 42.00 | 1260.00 | 1260.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
24.03 | 4 Module | 30.00 | Each |  | 95.00 | 2850.00 | 62.00 | 1860.00 | 72.00 | 2160.00 | 45.00 | 1350.00 | 1350.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
24.04 | 6 Module | 30.00 | Each |  | 128.00 | 3840.00 | 87.00 | 2610.00 | 99.00 | 2970.00 | 59.00 | 1770.00 | 1770.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
24.05 | 8 Module | 30.00 | Each |  | 168.00 | 5040.00 | 111.00 | 3330.00 | 125.00 | 3750.00 | 77.00 | 2310.00 | 2310.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
25.00 | Supply of following module type Flush Metal GI Boxes suitable to work on 230V ± 10%, 50Hz, AC Supply. ISI Marked, Colour - White.
25.01 | 2 Module | 20.00 | Each |  | 32.00 | 640.00 | 26.00 | 520.00 | 32.00 | 640.00 | 31.00 | 620.00 | 520.00 | SAURABH ENTERPRISES
25.02 | 3 Module | 20.00 | Each |  | 45.00 | 900.00 | 36.00 | 720.00 | 39.00 | 780.00 | 39.00 | 780.00 | 720.00 | SAURABH ENTERPRISES
25.03 | 4 Module | 20.00 | Each |  | 56.00 | 1120.00 | 43.00 | 860.00 | 45.00 | 900.00 | 49.00 | 980.00 | 860.00 | SAURABH ENTERPRISES
25.04 | 6 Module | 20.00 | Each |  | 75.00 | 1500.00 | 58.00 | 1160.00 | 75.00 | 1500.00 | 75.00 | 1500.00 | 1160.00 | SAURABH ENTERPRISES
25.05 | 8 Module | 20.00 | Each |  | 96.00 | 1920.00 | 75.00 | 1500.00 | 91.00 | 1820.00 | 85.00 | 1700.00 | 1500.00 | SAURABH ENTERPRISES
26.00 | Supply of aluminium lugs for following size as required.
26.01 | 16 sq mm | 50.00 | Each |  | 2.00 | 100.00 | 2.00 | 100.00 | 3.00 | 150.00 | 3.00 | 150.00 | 100.00 | ABHISHEK ASSOCIATES, SAURABH ENTERPRISES
26.02 | 25 sq mm | 100.00 | Each |  | 3.00 | 300.00 | 3.00 | 300.00 | 4.00 | 400.00 | 4.00 | 400.00 | 300.00 | ABHISHEK ASSOCIATES, SAURABH ENTERPRISES
26.03 | 35 sq mm | 50.00 | Each |  | 4.00 | 200.00 | 3.00 | 150.00 | 5.00 | 250.00 | 5.00 | 250.00 | 150.00 | SAURABH ENTERPRISES
26.04 | 50 sq mm | 50.00 | Each |  | 6.00 | 300.00 | 5.00 | 250.00 | 6.00 | 300.00 | 7.00 | 350.00 | 250.00 | SAURABH ENTERPRISES
26.05 | 70 sq mm | 25.00 | Each |  | 10.00 | 250.00 | 7.00 | 175.00 | 9.00 | 225.00 | 11.00 | 275.00 | 175.00 | SAURABH ENTERPRISES
26.06 | 95 sq mm | 25.00 | Each |  | 11.00 | 275.00 | 8.00 | 200.00 | 10.00 | 250.00 | 11.00 | 275.00 | 200.00 | SAURABH ENTERPRISES
26.07 | 120 sq mm | 25.00 | Each |  | 16.00 | 400.00 | 12.00 | 300.00 | 14.00 | 350.00 | 17.00 | 425.00 | 300.00 | SAURABH ENTERPRISES
26.08 | 150 sq mm | 25.00 | Each |  | 22.00 | 550.00 | 15.00 | 375.00 | 15.00 | 375.00 | 21.00 | 525.00 | 375.00 | SAURABH ENTERPRISES, M/S COOL CONTROL
26.09 | 180 sq mm | 25.00 | Each |  | 26.00 | 650.00 | 19.00 | 475.00 | 25.00 | 625.00 | 26.00 | 650.00 | 475.00 | SAURABH ENTERPRISES
26.10 | 225 sq mm | 25.00 | Each |  | 36.00 | 900.00 | 28.00 | 700.00 | 40.00 | 1000.00 | 37.00 | 925.00 | 700.00 | SAURABH ENTERPRISES
26.11 | 240 sq mm | 25.00 | Each |  | 40.00 | 1000.00 | 32.00 | 800.00 | 45.00 | 1125.00 | 45.00 | 1125.00 | 800.00 | SAURABH ENTERPRISES
27.00 | Supply of Copper lugs for following size as required.
27.01 | 10 sq mm | 100.00 | Each |  | 6.00 | 600.00 | 5.00 | 500.00 | 8.00 | 800.00 | 6.00 | 600.00 | 500.00 | SAURABH ENTERPRISES
27.02 | 16 sq mm | 100.00 | Each |  | 9.00 | 900.00 | 7.00 | 700.00 | 12.00 | 1200.00 | 9.00 | 900.00 | 700.00 | SAURABH ENTERPRISES
28.00 | Supply of copper Bottle (reducer) lugs for following size as required.
28.01 | 10 sq mm | 100.00 | Each |  | 13.00 | 1300.00 | 9.00 | 900.00 | 12.00 | 1200.00 | 12.00 | 1200.00 | 900.00 | SAURABH ENTERPRISES
28.02 | 16 sq mm | 100.00 | Each |  | 17.00 | 1700.00 | 13.00 | 1300.00 | 18.00 | 1800.00 | 19.00 | 1900.00 | 1300.00 | SAURABH ENTERPRISES
29.00 | Supply of Aluminium bottle lugs for following size as required.
29.01 | 16 sq mm | 100.00 | Each |  | 7.00 | 700.00 | 6.00 | 600.00 | 8.00 | 800.00 | 8.00 | 800.00 | 600.00 | SAURABH ENTERPRISES
29.02 | 35 sq mm | 100.00 | Each |  | 15.00 | 1500.00 | 10.00 | 1000.00 | 14.00 | 1400.00 | 17.00 | 1700.00 | 1000.00 | SAURABH ENTERPRISES
29.03 | 50 sq mm | 100.00 | Each |  | 30.00 | 3000.00 | 14.00 | 1400.00 | 16.00 | 1600.00 | 19.00 | 1900.00 | 1400.00 | SAURABH ENTERPRISES
29.04 | 70 sq mm | 100.00 | Each |  | 42.00 | 4200.00 | 18.00 | 1800.00 | 21.00 | 2100.00 | 28.00 | 2800.00 | 1800.00 | SAURABH ENTERPRISES
29.05 | 95 sq mm | 100.00 | Each |  | 60.00 | 6000.00 | 28.00 | 2800.00 | 22.00 | 2200.00 | 37.00 | 3700.00 | 2200.00 | M/S COOL CONTROL
30.00 | Supply of following module type pvc surface mounting plastic Box Frame suitable to work on 230V ± 10%, 50Hz, AC Supply. ISI Marked, Colour - White.
30.01 | 2 Module | 10.00 | Each |  | 26.00 | 260.00 | 26.00 | 260.00 | 35.00 | 350.00 | 28.00 | 280.00 | 260.00 | ABHISHEK ASSOCIATES, SAURABH ENTERPRISES
30.02 | 3 Module | 10.00 | Each |  | 33.00 | 330.00 | 33.00 | 330.00 | 45.00 | 450.00 | 35.00 | 350.00 | 330.00 | ABHISHEK ASSOCIATES, SAURABH ENTERPRISES
30.03 | 4 Module | 10.00 | Each |  | 36.00 | 360.00 | 36.00 | 360.00 | 51.00 | 510.00 | 43.00 | 430.00 | 360.00 | ABHISHEK ASSOCIATES, SAURABH ENTERPRISES
30.04 | 6 Module | 10.00 | Each |  | 47.00 | 470.00 | 47.00 | 470.00 | 72.00 | 720.00 | 66.00 | 660.00 | 470.00 | ABHISHEK ASSOCIATES, SAURABH ENTERPRISES
30.05 | 8 Module | 10.00 | Each |  | 66.00 | 660.00 | 67.00 | 670.00 | 75.00 | 750.00 | 93.00 | 930.00 | 660.00 | ABHISHEK ASSOCIATES
30.06 | 12 Module | 10.00 | Each |  | 83.00 | 830.00 | 83.00 | 830.00 | 105.00 | 1050.00 | 126.00 | 1260.00 | 830.00 | ABHISHEK ASSOCIATES, SAURABH ENTERPRISES
31.00 | Supply of LED aviation light comprising of aluminium housing with polycarbonate enclousre to works on 230V,50 Hz,AC supply etc complete as required. Type: BGAV 302 LED, Make: Bajaj. | 15.00 | Each |  | 3400.00 | 51000.00 | 1000.00 | 15000.00 | 2630.00 | 39450.00 | 3025.00 | 45375.00 | 15000.00 | SAURABH ENTERPRISES
32.00 | Supply of jointing kit heat jointing for following size as required.
32.01 | 70-120 sq mm | 6.00 | Each |  | 1200.00 | 7200.00 | 1000.00 | 6000.00 | 1450.00 | 8700.00 | 2338.00 | 14028.00 | 6000.00 | SAURABH ENTERPRISES
32.02 | 150-185 sq mm | 6.00 | Each |  | 1500.00 | 9000.00 | 4200.00 | 25200.00 | 1575.00 | 9450.00 | 3046.00 | 18276.00 | 9000.00 | ABHISHEK ASSOCIATES
32.03 | 240-300 sq mm | 6.00 | Each |  | 2200.00 | 13200.00 | 4400.00 | 26400.00 | 2025.00 | 12150.00 | 3468.00 | 20808.00 | 12150.00 | M/S COOL CONTROL
33.00 | Supplying 4 way, TPN horizontal DB, Double door,surface/ recess mounting, distribution board of sheet steel, dust protected, duly powder painted, interconnections including earthing & cutting the wooden surface etc. as required (But without MCB & Incommer) Cat No.-DHDNTHODDW04, Make: Havells or Equivalent | 5.00 | Each |  | 2200.00 | 11000.00 | 1984.00 | 9920.00 | 2100.00 | 10500.00 | 2840.00 | 14200.00 | 9920.00 | SAURABH ENTERPRISES
34.00 | Supplying and 4 way, SPN DB, Double door,surface/ recess mounting, distribution board of sheet steel, dust protected, duly powder painted, interconnections including earthing& cutting the wooden surface etc. as required (But without MCB & Incommer) Cat No.-DHDNSHODAW04,Make:Havells or equivalent | 5.00 | Each |  | 870.00 | 4350.00 | 800.00 | 4000.00 | 850.00 | 4250.00 | 615.00 | 3075.00 | 3075.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
35.00 | Supplying 8 way, SPN horizontal DB, Double door,surface/ recess mounting, distribution board of sheet steel, dust protected, duly powder painted, interconnections including earthing& cutting the wooden surface etc. as required (But without MCB & Incommer) Cat No.-, DHDNSHCDOW08 Make:Havells or equivalent | 5.00 | Each |  | 960.00 | 4800.00 | 1033.00 | 5165.00 | 1050.00 | 5250.00 | 762.00 | 3810.00 | 3810.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
36.00 | Supplying 12 way, SPN horizontal DB, Double door,surface/ recess mounting, distribution board of sheet steel, dust protected, duly powder painted, interconnections including earthing& cutting the wooden surface etc. as required (But without MCB & Incommer) Cat No.-DHDNSHCDOW12,Make:Havells or equivalent | 5.00 | Each |  | 1135.00 | 5675.00 | 1254.00 | 6270.00 | 1310.00 | 6550.00 | 917.00 | 4585.00 | 4585.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
37.00 | Supply of 450 mm sweep wall fan to works on 230 V, 50Hz,AC supply i/c all accessories etc complete as required. ,Model:V3 Make:Havells or equivalent. | 10.00 | Each |  | 3900.00 | 39000.00 | 6000.00 | 60000.00 | 3130.00 | 31300.00 | 3366.00 | 33660.00 | 31300.00 | M/S COOL CONTROL
38.00 | Supply of light duty 230/250 mm sweep mettalic body exhaust fan for domestic use with metalic structure alongwith louvers ,suitable for use on. 230/240 volts, 50 Hz, single phase, A.C. supply etc. as required .(MAKE-HAVELL OR Equivqlent)Ventil Air - DB | 10.00 | Each |  | 1850.00 | 18500.00 | 1337.00 | 13370.00 | 1420.00 | 14200.00 | 1337.00 | 13370.00 | 13370.00 | SAURABH ENTERPRISES, SHREE NURSING TIMBER AND ELECTRIC STORES
39.00 | supply of pvc Elbow of following size as per required.
39.01 | 20 mm | 50.00 | Each |  | 7.00 | 350.00 | 4.00 | 200.00 | 6.00 | 300.00 | 5.00 | 250.00 | 200.00 | SAURABH ENTERPRISES
39.02 | 25 mm | 50.00 | Each |  | 10.00 | 500.00 | 6.00 | 300.00 | 8.00 | 400.00 | 8.00 | 400.00 | 300.00 | SAURABH ENTERPRISES
40.00 | supply of pvc saddle of following size as per required.
40.01 | 20 mm | 200.00 | Each |  | 8.00 | 1600.00 | 4.00 | 800.00 | 5.00 | 1000.00 | 5.00 | 1000.00 | 800.00 | SAURABH ENTERPRISES
40.02 | 25 mm | 200.00 | Each |  | 10.00 | 2000.00 | 6.00 | 1200.00 | 9.00 | 1800.00 | 7.00 | 1400.00 | 1200.00 | SAURABH ENTERPRISES
41.00 | Supply of Bi-pin halogen lamp 200W, 6.6A suitable for Osram make (model: - 64386) HIRL Runway edge light fittings. | 400.00 | Each |  | 450.00 | 180000.00 | 400.00 | 160000.00 | 395.00 | 158000.00 | 440.00 | 176000.00 | 158000.00 | M/S COOL CONTROL
42.00 | Supply of 400 mm sweep wall fan to works on 230 V, 50Hz,AC supply i/c all accessories etc complete as required., Model: Sameera, Make:Havells or equivalent. | 10.00 | Each |  | 2390.00 | 23900.00 | 3000.00 | 30000.00 | 1800.00 | 18000.00 | 1683.00 | 16830.00 | 16830.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
43.00 | Supply of HT TAPES SCOTCH 23 SELF BONDING (Size: 38 MM X 9.15 M X 0.75 MM) | 10.00 | Roll |  | 550.00 | 5500.00 | 1380.00 | 13800.00 | 1270.00 | 12700.00 | 407.00 | 4070.00 | 4070.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
44.00 | Supply of SPN enclosure with 2Pole & earth metal Plug & socket board of 20A/DP MCB, Make: Havells or equivalent. | 10.00 | Each |  | 570.00 | 5700.00 | 178.00 | 1780.00 | 675.00 | 6750.00 | 587.00 | 5870.00 | 1780.00 | SAURABH ENTERPRISES
45.00 | Supply of timer switches, FM1 240V AC base/DIN mounting Make: L&T or equivalent. (Code:- J648B1) | 8.00 | Each |  | 1460.00 | 11680.00 | 2150.00 | 17200.00 | 1555.00 | 12440.00 | 1285.00 | 10280.00 | 10280.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
| Total in Figures |  |  |  |  | 1140452.00 |  | 1178888.00 |  | 1152165.00 |  | 1208118.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(1140452.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of day to day electrical Spares for E and M Installations at JPNI Airport Patna Tender ID: 2020_AAI_51583_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 1140452.00 | L1
| 2 | M/S COOL CONTROL | 1152165.00 | L2
| 3 | SAURABH ENTERPRISES | 1178888.00 | L3
| 4 | SHREE NURSING TIMBER AND ELECTRIC STORES | 1208118.00 | L4