## BoQ1
Government eProcurement System Created By: Sanjai Kumar Gupta Created Date/Time: 14-Aug-2020 05:33 PM Tender Title: Construction of New Terminal Building and Other Allied structures (Phase I and II) at Patna Airport.SH SITC of Elevators at ATC Cum Technical Block and Residential Quarters and MLCP Tender ID: 2020_AAI_51757_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Construction of New Domestic Terminal Building & other Allied Structures (Phase-I & II) at Patna Airport. SH:SITC of Elevators at ATC Cum Technical Block,MLCP & Residential Quarters.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd(GSTN-NA) |  | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED(GSTN-NA) |  | Escon elevators Pvt Ltd(GSTN-NA) |  | OMEGA ELEVATORS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing & commissioning of Machine Room Less electric traction type Lifts of following capacity and type suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1.0 Mtr/sec, electromagnetic brake system, operating panel with luminous buttons, overload warning indicator,battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX,infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, light fixtures, ventilation fan, etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Devie (MRD) in the event of power failure etc.,as required. The traction motor of machine room less Lift shall be of gearless type and placed inside the Lift hoist way.
1.01 | 8 passengers, 544 KG Capacity, 4 Stops, 4 openings (G+3) and entrance at front side on all the serving floors, duplex mode operations, automatic centre opening frammed glass door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 12mtrs. (Approx). (For Technical, ATC & CNS Block) (L-1). | 6.00 | Each |  | 1638000.00 | 9828000.00 | 2273525.00 | 13641150.00 | 1688000.00 | 10128000.00 | 1494000.00 | 8964000.00 | 8964000.00 | OMEGA ELEVATORS
1.02 | 8 passengers, 544 KG Capacity, 7 Stops, 7 openings (G+6) and entrance at front side on all the serving floors, duplex mode operations, automatic centre opening Stainless Steel Hairline finish door,car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 18.3mtrs. (Approx). (For Residential Block Type- 2, 3, 4 & 5) (L-2). | 8.00 | Each |  | 1559000.00 | 12472000.00 | 1960041.00 | 15680328.00 | 1885000.00 | 15080000.00 | 1557000.00 | 12456000.00 | 12456000.00 | OMEGA ELEVATORS
1.03 | 16 passengers, 1088 KG Capacity, 7 Stops, 7 openings (B+G+5) and entrance at front side on all the serving floors, duplex mode operations, automatic centre opening Stainless Steel Leather/Honeycomb finish door, car enclosure provided with Leather /Honeycomb finish False ceiling Stainless steel Hairline finish with Recess type LED Lights & Silent Cross Air Blower. panel on sides and with travel height of 20.20 mtrs. (Approx). (For Multilevel Car Parking) (L-3). | 3.00 | Each |  | 1840000.00 | 5520000.00 | 2311671.00 | 6935013.00 | 2050000.00 | 6150000.00 | 1837800.00 | 5513400.00 | 5513400.00 | OMEGA ELEVATORS
1.04 | 16 passengers, 1088 KG Capacity, 7 Stops, 7 openings (B+G+5) and entrance at front side on all the serving floors, duplex mode operations, automatic centre opening Stainless Steel Hairline finish door, car enclosure provided with steelless steel hairline finish panel on sides and with travel height of 20.20 mtrs. (Approx) (For Multilevel Car Parking)(L-4). | 1.00 | Each |  | 1840000.00 | 1840000.00 | 2183217.00 | 2183217.00 | 2050000.00 | 2050000.00 | 1837800.00 | 1837800.00 | 1837800.00 | OMEGA ELEVATORS
2.00 | Annual comprehensive maintenance contract for the elevator at S. No. 1.1 for 5 years after the expiry of defect liability period of 1 year as per given time schedule.
2.01 | First Year after expiry of Defect Liability Period | 6.00 | Each/Year |  | 64000.00 | 384000.00 | 62522.00 | 375132.00 | 50000.00 | 300000.00 | 89640.00 | 537840.00 | 300000.00 | Escon elevators Pvt Ltd
2.02 | Second year after expiry of Defect Liability Period | 6.00 | Each/Year |  | 67000.00 | 402000.00 | 65649.00 | 393894.00 | 52000.00 | 312000.00 | 94122.00 | 564732.00 | 312000.00 | Escon elevators Pvt Ltd
2.03 | Third year after expiry of Defect Liability Period | 6.00 | Each/Year |  | 71000.00 | 426000.00 | 68931.00 | 413586.00 | 55000.00 | 330000.00 | 98828.00 | 592968.00 | 330000.00 | Escon elevators Pvt Ltd
2.04 | Fourth year after expiry of Defect Liability Period | 6.00 | Each/Year |  | 74000.00 | 444000.00 | 72377.00 | 434262.00 | 57000.00 | 342000.00 | 103769.00 | 622614.00 | 342000.00 | Escon elevators Pvt Ltd
2.05 | Fifth year after expiry of Defect Liability Period | 6.00 | Each/Year |  | 78000.00 | 468000.00 | 75996.00 | 455976.00 | 59000.00 | 354000.00 | 108957.00 | 653742.00 | 354000.00 | Escon elevators Pvt Ltd
3.00 | Annual comprehensive maintenance contract for the elevator at S. No. 1.2 for 5 years after the expiry of defect liability period of 1 year as per given time schedule.
3.01 | First Year after expiry of Defect Liability Period | 8.00 | Each/Year |  | 60000.00 | 480000.00 | 53902.00 | 431216.00 | 55000.00 | 440000.00 | 93420.00 | 747360.00 | 431216.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
3.02 | Second year after expiry of Defect Liability Period | 8.00 | Each/Year |  | 63000.00 | 504000.00 | 56597.00 | 452776.00 | 58000.00 | 464000.00 | 98091.00 | 784728.00 | 452776.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
3.03 | Third year after expiry of Defect Liability Period | 8.00 | Each/Year |  | 66000.00 | 528000.00 | 59426.00 | 475408.00 | 61000.00 | 488000.00 | 102996.00 | 823968.00 | 475408.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
3.04 | Fourth year after expiry of Defect Liability Period | 8.00 | Each/Year |  | 69000.00 | 552000.00 | 62398.00 | 499184.00 | 63000.00 | 504000.00 | 108146.00 | 865168.00 | 499184.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
3.05 | Fifth year after expiry of Defect Liability Period | 8.00 | Each/Year |  | 73000.00 | 584000.00 | 65518.00 | 524144.00 | 66000.00 | 528000.00 | 113553.00 | 908424.00 | 524144.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
4.00 | Annual comprehensive maintenance contract for the elevator at S. No. 1.3 for 5 years after the expiry of defect liability period of 1 year as per given time schedule.
4.01 | First Year after expiry of Defect Liability Period | 3.00 | Each/Year |  | 72000.00 | 216000.00 | 63571.00 | 190713.00 | 63000.00 | 189000.00 | 110268.00 | 330804.00 | 189000.00 | Escon elevators Pvt Ltd
4.02 | Second year after expiry of Defect Liability Period | 3.00 | Each/Year |  | 76000.00 | 228000.00 | 66750.00 | 200250.00 | 67000.00 | 201000.00 | 115781.00 | 347343.00 | 200250.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
4.03 | Third year after expiry of Defect Liability Period | 3.00 | Each/Year |  | 79000.00 | 237000.00 | 70087.00 | 210261.00 | 69000.00 | 207000.00 | 121570.00 | 364710.00 | 207000.00 | Escon elevators Pvt Ltd
4.04 | Fourth year after expiry of Defect Liability Period | 3.00 | Each/Year |  | 83000.00 | 249000.00 | 73592.00 | 220776.00 | 72000.00 | 216000.00 | 127649.00 | 382947.00 | 216000.00 | Escon elevators Pvt Ltd
4.05 | Fifth year after expiry of Defect Liability Period | 3.00 | Each/Year |  | 88000.00 | 264000.00 | 77271.00 | 231813.00 | 75000.00 | 225000.00 | 134031.00 | 402093.00 | 225000.00 | Escon elevators Pvt Ltd
5.00 | Annual comprehensive maintenance contract for the elevator at S. No. 1.4 for 5 years after the expiry of defect liability period of 1 year as per given time schedule.
5.01 | First Year after expiry of Defect Liability Period | 1.00 | Each/Year |  | 72000.00 | 72000.00 | 60039.00 | 60039.00 | 63000.00 | 63000.00 | 110268.00 | 110268.00 | 60039.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
5.02 | Second year after expiry of Defect Liability Period | 1.00 | Each/Year |  | 76000.00 | 76000.00 | 63041.00 | 63041.00 | 67000.00 | 67000.00 | 115781.00 | 115781.00 | 63041.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
5.03 | Third year after expiry of Defect Liability Period | 1.00 | Each/Year |  | 79000.00 | 79000.00 | 66193.00 | 66193.00 | 69000.00 | 69000.00 | 121570.00 | 121570.00 | 66193.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
5.04 | Fourth year after expiry of Defect Liability Period | 1.00 | Each/Year |  | 83000.00 | 83000.00 | 69503.00 | 69503.00 | 72000.00 | 72000.00 | 127649.00 | 127649.00 | 69503.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
5.05 | Fifth year after expiry of Defect Liability Period | 1.00 | Each/Year |  | 88000.00 | 88000.00 | 72978.00 | 72978.00 | 75000.00 | 75000.00 | 134031.00 | 134031.00 | 72978.00 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED
| Total in Figures |  |  |  |  | 36024000.00 |  | 44280853.00 |  | 38854000.00 |  | 38309940.00
Lowest Amount Quoted BY: Johnson Lifts Pvt Ltd(36024000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Terminal Building and Other Allied structures (Phase I and II) at Patna Airport.SH SITC of Elevators at ATC Cum Technical Block and Residential Quarters and MLCP Tender ID: 2020_AAI_51757_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Johnson Lifts Pvt Ltd | 36024000.00 | L1
| 2 | OMEGA ELEVATORS | 38309940.00 | L2
| 3 | Escon elevators Pvt Ltd | 38854000.00 | L3
| 4 | THYSSENKRUPP ELEVATOR (INDIA) PRIVATE LIMITED | 44280853.00 | L4