## BoQ1
Government eProcurement System Created By: Arun Kumar Created Date/Time: 25-Sep-2020 04:42 PM Tender Title: RMO of Int. and Ext. E.I., Power Supply Tender ID: 2020_AAI_51766_2
TENDER INVITING AUTHORITY: SENIOR MANAGER ENGG(ELECT), RHQ, NR, AAI OPERATIONAL OFFICES, RANGPURI, NEW DELHI.
Name of Work: R.M.O. of Internal & External Electrical installation, Power Supply System including Transformer, HT/LT Panel, AMF Panel, DG Sets etc., Fire Hydrant & Wet Riser System, Fire Alarm & Detection System, Water Supply Pumps, Split, Window, Cassette, Tower type Air-Conditioners & Water coolers at AAI Operational Offices, New Delhi. (2020-21 & 2021-22).
TENDER ID NO: 2020_AAI_51766_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of 11KV/415V Sub-station equipments i/c HT Panel, Transformers, D.G. Sets (2x380 KVA & 2x500 KVA Cummins make), MV Panels & 02 nos. Submersible Pumps located at AAI Operational Offices by deploying following manpower on days as described below including tools & tackles and attending the break-down and preventive maintenance as per Conditions of Contract complete as required:- (Note:- (1) Contractor has to depute the required staff on days as mentioned below & (2) Contractor has to provide Reliever on Weekly Off / Holidays as mentioned below)
1.01 | Electrician cum Operator - Skilled - 06 Nos. (i.e. 02 Nos. round the clock on all days in week & Reliever Shall be Provided on Weekly Off). | 24.00 | MONTH |  | 105000.00 | 2520000.00 | 125000.00 | 3000000.00 | 145000.00 | 3480000.00 | 119184.00 | 2860416.00 | 105000.00 | 2520000.00 | 2520000.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
1.02 | Helper - Unskilled - 09 Nos. (i.e. 03 Nos. round the clock on all days in week & Reliever shall be provided on Weekly Off). | 24.00 | MONTH |  | 124000.00 | 2976000.00 | 149000.00 | 3576000.00 | 177700.00 | 4264800.00 | 137186.00 | 3292464.00 | 142000.00 | 3408000.00 | 2976000.00 | ANAND AND COMPANTY
1.03 | Electrician cum Operator - Skilled - 01 No. (in general shift on all working days except Sunday) | 24.00 | MONTH |  | 17000.00 | 408000.00 | 18000.00 | 432000.00 | 21200.00 | 508800.00 | 19864.00 | 476736.00 | 19864.00 | 476736.00 | 408000.00 | ANAND AND COMPANTY
1.04 | Helper - Unskilled- 02 Nos. (in general shift on all working days except Sunday) | 24.00 | MONTH |  | 32000.00 | 768000.00 | 29000.00 | 696000.00 | 34900.00 | 837600.00 | 32708.00 | 784992.00 | 30600.00 | 734400.00 | 696000.00 | NATIONAL SAFETY ENGINEERS
2.00 | Extra Manpower for misc. works in case of any emergency for following type of manpower as & when required basis :-
2.01 | Electrician (Skilled) | 50.00 | HOUR |  | 10.00 | 500.00 | 80.00 | 4000.00 | 95.00 | 4750.00 | 95.00 | 4750.00 | 80.00 | 4000.00 | 500.00 | ANAND AND COMPANTY
2.02 | Khallasi (Unskilled) | 50.00 | HOUR |  | 10.00 | 500.00 | 65.00 | 3250.00 | 78.00 | 3900.00 | 78.00 | 3900.00 | 75.00 | 3750.00 | 500.00 | ANAND AND COMPANTY
3.00 | Testing of Dielectric strength (BDV) of Transformer oil on yearly basis for 02 nos. 2000 KVA transformers and submission of report from government approved laboratory, including collection of sample from site, transfer to lab complete as required. | 4.00 | JOB |  | 5000.00 | 20000.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 6000.00 | NATIONAL SAFETY ENGINEERS, S. N ELECTRICALS
4.00 | Dehydration & Filtration of Transformer oil with High Vaccum Filtration Machine to achieve BDV up to the level of relavent IS Dielectric strength as required including submission of oil test reports from government approved laboratory after dehydration of oil as and when required. | 7000.00 | LITRE |  | 8.00 | 56000.00 | 4.00 | 28000.00 | 11.00 | 77000.00 | 4.00 | 28000.00 | 6.00 | 42000.00 | 28000.00 | NATIONAL SAFETY ENGINEERS, SRS ENGINEERS
5.00 | Supply and Toping up the transformer oil in conservator tank upto a required level with new treated transformer oil (including replacement of oil seal) as and when required. | 300.00 | LITRE |  | 150.00 | 45000.00 | 80.00 | 24000.00 | 110.00 | 33000.00 | 95.00 | 28500.00 | 110.00 | 33000.00 | 24000.00 | NATIONAL SAFETY ENGINEERS
6.00 | Preventive maintenance, servicing, testing & calibration of the below mentioned different rating LT Air Circut Breakers (L&T make and C&S make) on yearly basis complete as required through OEM/Authorised service dealer as per OEM recommended standards including submission of test/maintenance report.
6.01 | For First Year - 800 A, ACB, 415 V | 15.00 | JOB |  | 2000.00 | 30000.00 | 1200.00 | 18000.00 | 1750.00 | 26250.00 | 2700.00 | 40500.00 | 2500.00 | 37500.00 | 18000.00 | NATIONAL SAFETY ENGINEERS
6.02 | For First Year - 2500 A, ACB, 415 V | 2.00 | JOB |  | 3000.00 | 6000.00 | 1300.00 | 2600.00 | 2250.00 | 4500.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 2600.00 | NATIONAL SAFETY ENGINEERS
6.03 | For First Year - 3200 A, ACB, 415 V | 3.00 | JOB |  | 3000.00 | 9000.00 | 1400.00 | 4200.00 | 2500.00 | 7500.00 | 3200.00 | 9600.00 | 2500.00 | 7500.00 | 4200.00 | NATIONAL SAFETY ENGINEERS
6.04 | For Second Year - 800 A, ACB, 415 V | 15.00 | JOB |  | 2000.00 | 30000.00 | 1300.00 | 19500.00 | 1750.00 | 26250.00 | 2800.00 | 42000.00 | 2500.00 | 37500.00 | 19500.00 | NATIONAL SAFETY ENGINEERS
6.05 | For Second Year - 2500 A, ACB, 415 V | 2.00 | JOB |  | 3000.00 | 6000.00 | 1400.00 | 2800.00 | 2250.00 | 4500.00 | 3100.00 | 6200.00 | 2500.00 | 5000.00 | 2800.00 | NATIONAL SAFETY ENGINEERS
6.06 | For Second Year - 3200 A, ACB, 415 V | 3.00 | JOB |  | 3000.00 | 9000.00 | 1500.00 | 4500.00 | 2500.00 | 7500.00 | 3300.00 | 9900.00 | 2500.00 | 7500.00 | 4500.00 | NATIONAL SAFETY ENGINEERS
7.00 | Lifting & lowering of submersible pump along with column pipe, detaching one length of column pipe from rest of column pipe by opening nut & bolts in this manner taking out entire pump system & lowering of entire pump system in reverse order of above process including chain block & supporting pipes including complete installation, transportation, testing & commissioning/de-commisioning etc. complete as required. | 2.00 | JOB |  | 4500.00 | 9000.00 | 7000.00 | 14000.00 | 1000.00 | 2000.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 2000.00 | S. N ELECTRICALS
8.00 | Rewinding of following pump motors etc. as & when required with super enemelled copper winding wire, varnishing including greasing replacement of bearings/Bush, thrust support plate, repairing /replace of shaft including transporatation charges completed as required. (Dismantle material belongs to the contractor)
8.01 | 5.0 HP, 3 Phase Submersible Pump | 2.00 | JOB |  | 4000.00 | 8000.00 | 9000.00 | 18000.00 | 1000.00 | 2000.00 | 3500.00 | 7000.00 | 500.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
8.02 | 7.5 HP, 3 Phase Submersible Pump | 2.00 | JOB |  | 5000.00 | 10000.00 | 11000.00 | 22000.00 | 1500.00 | 3000.00 | 9000.00 | 18000.00 | 500.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
9.00 | Supply & replacement of following consumable as and when required:-
9.01 | Single Phase Preventer (VSP-2, 415V). | 2.00 | EACH |  | 2000.00 | 4000.00 | 750.00 | 1500.00 | 175.00 | 350.00 | 350.00 | 700.00 | 300.00 | 600.00 | 350.00 | S. N ELECTRICALS
10.00 | Operation & Maintenance of Int. & Ext. Electrical Installations at AAI Operational Offices, Rangpuri, New Delhi. The person attending the complaints shall note down the complaint from complaint register for immediate follow up action by arranging the store & deputing the staff for maintenance with following minimum manpower on days as described below incluing tools & tackles and attending the break-down and preventive maintenance as per Conditions of Contract complete as required: (Note:- 1. Contractor has to depute the required staff on days as mentioned below & 2. Contractor has to provide Reliever on Weekly Off / Holidays as mentioned below)
10.01 | Supervisor - Highly Skilled - 01 Nos. (in general shift on all working days except Sunday) | 24.00 | MONTH |  | 20000.00 | 480000.00 | 18600.00 | 446400.00 | 23500.00 | 564000.00 | 21606.00 | 518544.00 | 23000.00 | 552000.00 | 446400.00 | NATIONAL SAFETY ENGINEERS
10.02 | Electrician - Skilled - 02 No. (in general shift on all working days except Sunday). | 24.00 | MONTH |  | 33000.00 | 792000.00 | 34400.00 | 825600.00 | 42700.00 | 1024800.00 | 39728.00 | 953472.00 | 36000.00 | 864000.00 | 792000.00 | ANAND AND COMPANTY
11.00 | Rewinding of following fans with super enemelled copper winding wire including varnishing, changing of bearing, bush, oiling & greasing, assembling testing, transportation charges etc. complete as & when required.
11.01 | Ceiling Fan upto 1400mm as & when required | 30.00 | EACH |  | 300.00 | 9000.00 | 300.00 | 9000.00 | 150.00 | 4500.00 | 450.00 | 13500.00 | 325.00 | 9750.00 | 4500.00 | S. N ELECTRICALS
11.02 | Pedestal Fan upto 450 mm as & when required | 20.00 | EACH |  | 400.00 | 8000.00 | 450.00 | 9000.00 | 200.00 | 4000.00 | 550.00 | 11000.00 | 400.00 | 8000.00 | 4000.00 | S. N ELECTRICALS
11.03 | Wall Mounted Fan upto 450mm as & when required. | 20.00 | EACH |  | 300.00 | 6000.00 | 450.00 | 9000.00 | 150.00 | 3000.00 | 550.00 | 11000.00 | 500.00 | 10000.00 | 3000.00 | S. N ELECTRICALS
11.04 | Exhaust fan upto 450 mm as & when required. | 50.00 | EACH |  | 500.00 | 25000.00 | 650.00 | 32500.00 | 200.00 | 10000.00 | 650.00 | 32500.00 | 550.00 | 27500.00 | 10000.00 | S. N ELECTRICALS
12.00 | Supplying of following size of PVC casing and capping as per AAI approved make list as required:-
12.01 | 20mm x 12mm | 200.00 | METER |  | 20.00 | 4000.00 | 16.00 | 3200.00 | 20.00 | 4000.00 | 25.00 | 5000.00 | 1.00 | 200.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.02 | 25mm x 16mm | 200.00 | METER |  | 25.00 | 5000.00 | 20.00 | 4000.00 | 25.00 | 5000.00 | 30.00 | 6000.00 | 1.00 | 200.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
13.00 | Supply of 3.15 mfd Capacitors for fans as per AAI approved make. | 100.00 | EACH |  | 30.00 | 3000.00 | 20.00 | 2000.00 | 25.00 | 2500.00 | 25.00 | 2500.00 | 1.00 | 100.00 | 100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
14.00 | Supply of 2.0 mfd Capacitors for fans as per AAI approved make | 50.00 | EACH |  | 30.00 | 1500.00 | 20.00 | 1000.00 | 35.00 | 1750.00 | 20.00 | 1000.00 | 2.00 | 100.00 | 100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
15.00 | Supply of 18/20 watt Extruded Aluminium Retrofit LED Tubelight complete as required as per AAI approved make. | 300.00 | EACH |  | 250.00 | 75000.00 | 450.00 | 135000.00 | 230.00 | 69000.00 | 600.00 | 180000.00 | 250.00 | 75000.00 | 69000.00 | S. N ELECTRICALS
16.00 | Supply of Tubelight Holder. | 300.00 | EACH |  | 20.00 | 6000.00 | 5.00 | 1500.00 | 10.00 | 3000.00 | 15.00 | 4500.00 | 1.00 | 300.00 | 300.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
17.00 | Supply of Uni. 20A & 10A Switch Socket combined unit box as per AAI approved make suitable for operation on 230 V, 50Hz, Single Phase, AC supply. | 200.00 | EACH |  | 200.00 | 40000.00 | 100.00 | 20000.00 | 40.00 | 8000.00 | 135.00 | 27000.00 | 50.00 | 10000.00 | 8000.00 | S. N ELECTRICALS
18.00 | Supply of MCB TPN 'C' Series 63 A, 10 KA as per AAI approved make 'C' Series with short circuit fault indicator and suitable for operation on 240 V, 50Hz, 10kA, Single Phase, AC supply. | 60.00 | EACH |  | 800.00 | 48000.00 | 750.00 | 45000.00 | 1180.00 | 70800.00 | 1250.00 | 75000.00 | 250.00 | 15000.00 | 15000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
19.00 | Supply of Flame Retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of AAI approved make of following size and coil length:-
19.01 | 1 x 1.5 sqmm (90 meter coil of each) | 30.00 | EACH |  | 700.00 | 21000.00 | 1100.00 | 33000.00 | 900.00 | 27000.00 | 1100.00 | 33000.00 | 600.00 | 18000.00 | 18000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
19.02 | 1 x 2.5 sqmm (90 meter coil of each) | 15.00 | EACH |  | 1100.00 | 16500.00 | 1300.00 | 19500.00 | 1250.00 | 18750.00 | 1800.00 | 27000.00 | 800.00 | 12000.00 | 12000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
19.03 | 1 x 4.0 sqmm (90 meter coil of each) | 10.00 | EACH |  | 1200.00 | 12000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 2550.00 | 25500.00 | 800.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
20.00 | Supply of PVC insulated & PVC round sheathed copper conductor (flexible) industrial cable (multicore), 1100V conforming to IS:694/1990 with latest amendments of AAI approved make of following size :
20.01 | 3 x 1.5 sqmm (90 meter coil of each) | 10.00 | EACH |  | 3500.00 | 35000.00 | 4600.00 | 46000.00 | 3000.00 | 30000.00 | 3900.00 | 39000.00 | 1400.00 | 14000.00 | 14000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
20.02 | 3 x 2.5 sqmm (90 meter coil of each) | 7.00 | EACH |  | 5400.00 | 37800.00 | 7400.00 | 51800.00 | 5000.00 | 35000.00 | 6300.00 | 44100.00 | 3000.00 | 21000.00 | 21000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
20.03 | 3 x 4.0 sqmm (90 meter coil of each) | 5.00 | EACH |  | 8000.00 | 40000.00 | 10000.00 | 50000.00 | 7000.00 | 35000.00 | 9500.00 | 47500.00 | 3000.00 | 15000.00 | 15000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.00 | Supply & installation of SR18G microprocessor based protection release suitable for 800 A/ 2500 A/3200 A rating LT Air Circut Breakers (Make- L&T) complete as required. | 4.00 | EACH |  | 20000.00 | 80000.00 | 15000.00 | 60000.00 | 95000.00 | 380000.00 | 24180.00 | 96720.00 | 800.00 | 3200.00 | 3200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.00 | Supply of following battery in charged condition in Buy back of following capacity of AAI approved make:-
22.01 | Lead Acid battery Maintenance Free with at least 02 years warranty, 12 V, 150 AH or equivalent suitable for 380 KVA DG sets. | 4.00 | EACH |  | 13000.00 | 52000.00 | 9000.00 | 36000.00 | 9200.00 | 36800.00 | 8000.00 | 32000.00 | 7000.00 | 28000.00 | 28000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.02 | Lead Acid battery Maintenance Free with at least 02 years warranty​, 12 V, 180 AH or equivalent suitable for 500 KVA DG sets. | 4.00 | EACH |  | 15000.00 | 60000.00 | 10000.00 | 40000.00 | 11700.00 | 46800.00 | 11000.00 | 44000.00 | 9000.00 | 36000.00 | 36000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.03 | Lead Acid Battery each having 2V, 100AH capacity suitable to form a battery bank for HT Auxillary circuit with at least 01 year warranty. | 15.00 | EACH |  | 7000.00 | 105000.00 | 5500.00 | 82500.00 | 2350.00 | 35250.00 | 5000.00 | 75000.00 | 500.00 | 7500.00 | 7500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
23.00 | Operation & Maintenance of Fire Hydrant & Wet Riser system including main pumps, jockey pumps, diesel engine with pump and water supply pumps installed at AAI Operational Offices, New Delhi by deploying following manpower on days as described below incluing tools & tackles and attending the break-down and preventive maintenance as per Conditions of Contract complete as required:- (Note:- 1. Contractor has to depute the required staff on days as mentioned below & 2. Contractor has to provide Reliever on Weekly Off / Holidays as mentioned below)
23.01 | Electrician Cum Operator - Skilled - 03 Nos. (i.e. 01 No. round the clock on all days in week & Reliever Shall be Provided on Weekly Off). | 24.00 | MONTH |  | 50000.00 | 1200000.00 | 65750.00 | 1578000.00 | 71300.00 | 1711200.00 | 57468.00 | 1379232.00 | 54000.00 | 1296000.00 | 1200000.00 | ANAND AND COMPANTY
24.00 | Maintenance of 90 BHP Fire Engine of Kirloskar make from OEM or its Authorised Dealer by conducting periodical preventive maintenance checks, 02 Nos. 'B' checks (including supply and installation of B-check spares) per year at an interval not exceeing 06 months as well as inparting necessary guidelines for conducting routine maintenance in conformity to the recommended service manual/instruction of the OEM, comprising of regular visits (at least 01 per month) by an authorised factory trained Service Engineer & attending the breakdown calls etc. complete as & when required at site complete as required for following two years.
24.01 | For 1st Year (Maintenance & Monthly Visit) | 12.00 | MONTH |  | 2000.00 | 24000.00 | 2500.00 | 30000.00 | 2000.00 | 24000.00 | 5000.00 | 60000.00 | 6000.00 | 72000.00 | 24000.00 | ANAND AND COMPANTY, S. N ELECTRICALS
24.02 | Supply & installation of B-check Spares for 1st Year | 2.00 | JOB |  | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 16000.00 | 32000.00 | 9000.00 | 18000.00 | 7000.00 | 14000.00 | 14000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
24.03 | For 2nd Year (Maintenance & Monthly Visit) | 12.00 | MONTH |  | 2000.00 | 24000.00 | 2500.00 | 30000.00 | 2000.00 | 24000.00 | 5000.00 | 60000.00 | 6500.00 | 78000.00 | 24000.00 | ANAND AND COMPANTY, S. N ELECTRICALS
24.04 | Supply & installation of B-check Spares for 2nd Year | 2.00 | JOB |  | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 16000.00 | 32000.00 | 9000.00 | 18000.00 | 7000.00 | 14000.00 | 14000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
25.00 | Operation & Maintenance of Apollo based Addressable Intelligent Fire Alarm & Detection System comprising of panel with upto date Softwares, Card, Detectors, Batteries, Conventional Fire Alarm Panel, Fire Exit Signage, complete circuit & loop wiring etc. i/c all other associated accessories/ spares for satisfactory operation & making system serviceable, periodically cleaning & testing of Panels, Detectors, Manual Call Points, Response Indicators, Hooter etc. in confirming to OEM specifications, attending the breakdown/faults, checking serviceability & preventive maintenance by providing following manpower in general shift for operation & maintenance of the system upto the satisfaction of Engineer-in-Charge. (Note:- 1. Contractor has to depute the required staff on days as mentioned below & 2. Contractor has to provide Reliever on Weekly Off / Holidays as mentioned below):- (a) Fire Technician/Electrician - Skilled - 03 Nos. (i.e. 01 No. round the clock on all days in week & Reliever Shall be Provided on Weekly Off). | 24.00 | MONTH |  | 52000.00 | 1248000.00 | 65750.00 | 1578000.00 | 71300.00 | 1711200.00 | 57468.00 | 1379232.00 | 54000.00 | 1296000.00 | 1248000.00 | ANAND AND COMPANTY
26.00 | Supply of following materials/spares of AAI Approved make and suitable as per site requirement as and when required:
26.01 | Addressable smoke detector suitable for Apollo Adressable Fire Alarm Panel with builtin LED and mounting base | 10.00 | EACH |  | 1000.00 | 10000.00 | 1900.00 | 19000.00 | 1250.00 | 12500.00 | 1500.00 | 15000.00 | 800.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.02 | Apollo Addressable intelligent addressable programmable sounder | 5.00 | EACH |  | 1500.00 | 7500.00 | 3000.00 | 15000.00 | 3500.00 | 17500.00 | 3800.00 | 19000.00 | 800.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.03 | Apollo Addressable Manual Call Point | 10.00 | EACH |  | 1200.00 | 12000.00 | 2350.00 | 23500.00 | 2450.00 | 24500.00 | 1950.00 | 19500.00 | 1000.00 | 10000.00 | 10000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.04 | Apollo Addressable Control cum Monitor Module | 2.00 | EACH |  | 2800.00 | 5600.00 | 3600.00 | 7200.00 | 4500.00 | 9000.00 | 2100.00 | 4200.00 | 300.00 | 600.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.05 | Apollo SR-65 Smoke Detector with base | 20.00 | EACH |  | 1000.00 | 20000.00 | 550.00 | 11000.00 | 800.00 | 16000.00 | 700.00 | 14000.00 | 400.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.06 | Hooter | 10.00 | EACH |  | 350.00 | 3500.00 | 650.00 | 6500.00 | 1650.00 | 16500.00 | 450.00 | 4500.00 | 200.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.07 | Conventional Manual Call Point | 10.00 | EACH |  | 300.00 | 3000.00 | 450.00 | 4500.00 | 1650.00 | 16500.00 | 300.00 | 3000.00 | 100.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.08 | 12V, 7AH Batteries for Existing Fire Panels. | 10.00 | EACH |  | 3200.00 | 32000.00 | 600.00 | 6000.00 | 700.00 | 7000.00 | 700.00 | 7000.00 | 500.00 | 5000.00 | 5000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
27.00 | Replacement of LED Fire Exit Signages with existing signages complete as and when required. | 5.00 | EACH |  | 1000.00 | 5000.00 | 1600.00 | 8000.00 | 750.00 | 3750.00 | 1000.00 | 5000.00 | 1200.00 | 6000.00 | 3750.00 | S. N ELECTRICALS
28.00 | Supply of dual loop expansion card suitable for Apollo based Addressable Fire Alarm Panel, Model: Series 6000 as and when required. | 2.00 | EACH |  | 40000.00 | 80000.00 | 40000.00 | 80000.00 | 21000.00 | 42000.00 | 48000.00 | 96000.00 | 3000.00 | 6000.00 | 6000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
29.00 | Supply of 08 Zone Motherboard with power supply and battery charger for conventional softchip panel as and when required. | 2.00 | EACH |  | 4000.00 | 8000.00 | 1500.00 | 3000.00 | 16500.00 | 33000.00 | 5900.00 | 11800.00 | 1200.00 | 2400.00 | 2400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
30.00 | Operation & All inclusive Comprehensive Maintenance (AICMC) for the following type & rating of AC units incl. inverter & non inverter ACs of all makes including repair/replacement of all parts like fan motor, capacitor, PCB, supply/ charging/ topping/ replacement of refrigerant also including repair/replacement of faulty compressor as and when required, incluing tools & tackles and attending the break-down and preventive maintenance as per site requirement by deputing 01 No. Skilled AC Technician in general shift on all working days except Sundays complete as required:-
30.01 | 1.5/2.0TR Window type Airconditioners-72 Nos. Rate for First Year | 72.00 | EACH |  | 1500.00 | 108000.00 | 1000.00 | 72000.00 | 1300.00 | 93600.00 | 2000.00 | 144000.00 | 1200.00 | 86400.00 | 72000.00 | NATIONAL SAFETY ENGINEERS
30.02 | 1.5/2.0TR Window type Airconditioners-72 Nos. Rate for Second Year | 72.00 | EACH |  | 1500.00 | 108000.00 | 1050.00 | 75600.00 | 1300.00 | 93600.00 | 2500.00 | 180000.00 | 1300.00 | 93600.00 | 75600.00 | NATIONAL SAFETY ENGINEERS
30.03 | 1.5/2.0 TR Split type Airconditioners-38 Nos. Rate for First Year | 38.00 | EACH |  | 1500.00 | 57000.00 | 1150.00 | 43700.00 | 1500.00 | 57000.00 | 3000.00 | 114000.00 | 1400.00 | 53200.00 | 43700.00 | NATIONAL SAFETY ENGINEERS
30.04 | 1.5/2.0 TR Split type Airconditioners-38 Nos. Rate for Second Year | 38.00 | EACH |  | 1500.00 | 57000.00 | 1250.00 | 47500.00 | 1500.00 | 57000.00 | 3500.00 | 133000.00 | 1400.00 | 53200.00 | 47500.00 | NATIONAL SAFETY ENGINEERS
30.05 | 2.0 TR Cassette type Airconditioners- 21 Nos. Rate for First Year | 21.00 | EACH |  | 1000.00 | 21000.00 | 1350.00 | 28350.00 | 2800.00 | 58800.00 | 5000.00 | 105000.00 | 1700.00 | 35700.00 | 21000.00 | ANAND AND COMPANTY
30.06 | 2.0 TR Cassette type Airconditioners- 21 Nos. Rate for Second Year | 21.00 | EACH |  | 1000.00 | 21000.00 | 1400.00 | 29400.00 | 2800.00 | 58800.00 | 5500.00 | 115500.00 | 1700.00 | 35700.00 | 21000.00 | ANAND AND COMPANTY
30.07 | 3.0 TR Tower/Cassette type Airconditioners - 08 Nos. Rate for First Year | 8.00 | EACH |  | 1000.00 | 8000.00 | 1550.00 | 12400.00 | 4250.00 | 34000.00 | 6000.00 | 48000.00 | 2100.00 | 16800.00 | 8000.00 | ANAND AND COMPANTY
30.08 | 3.0 TR Tower/Cassette type Airconditioners - 08 Nos. Rate for Second Year | 8.00 | EACH |  | 1000.00 | 8000.00 | 1600.00 | 12800.00 | 4250.00 | 34000.00 | 6200.00 | 49600.00 | 2100.00 | 16800.00 | 8000.00 | ANAND AND COMPANTY
30.09 | 4.0 TR Cassette type Airconditioners - 10 Nos. Rate for First Year | 10.00 | EACH |  | 1500.00 | 15000.00 | 1750.00 | 17500.00 | 6000.00 | 60000.00 | 7000.00 | 70000.00 | 3400.00 | 34000.00 | 15000.00 | ANAND AND COMPANTY
30.10 | 4.0 TR Cassette type Airconditioners - 10 Nos. Rate for Second Year | 10.00 | EACH |  | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 6000.00 | 60000.00 | 7200.00 | 72000.00 | 3400.00 | 34000.00 | 15000.00 | ANAND AND COMPANTY
31.00 | Comprehensive Maintenance of 12 nos. Water Coolers of capacity upto 150/150 Ltrs. of all makes i/c repair/replacement of all parts including compressor, gas charging, plumbing work, cleaning of water tank etc. as required (Starting from March 2021) | 19.00 | MONTH |  | 3500.00 | 66500.00 | 950.00 | 18050.00 | 2500.00 | 47500.00 | 5000.00 | 95000.00 | 500.00 | 9500.00 | 9500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
32.00 | I.T.C. of Window type AC units including supply and fixing of wooden frame complete as per site requirement. | 15.00 | EACH |  | 1500.00 | 22500.00 | 900.00 | 13500.00 | 700.00 | 10500.00 | 1000.00 | 15000.00 | 600.00 | 9000.00 | 9000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
33.00 | I.T.C. of Split type AC units including complete copper supply & return piping/insulation, gas charging etc. complete as per site requirement. | 15.00 | EACH |  | 2500.00 | 37500.00 | 2500.00 | 37500.00 | 700.00 | 10500.00 | 2000.00 | 30000.00 | 800.00 | 12000.00 | 10500.00 | S. N ELECTRICALS
34.00 | Supply & replacement of decorative front grill of all makes and as per site requirement for Window type AC units complete as required. | 10.00 | EACH |  | 1000.00 | 10000.00 | 500.00 | 5000.00 | 850.00 | 8500.00 | 2000.00 | 20000.00 | 400.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
35.00 | Providing & installation of insulation on existing refrigerant piping along with protective PVC tape, clamping including dismantling of existing insulation etc. for Split AC units complete as per site requirement. | 100.00 | METER |  | 40.00 | 4000.00 | 400.00 | 40000.00 | 500.00 | 50000.00 | 350.00 | 35000.00 | 180.00 | 18000.00 | 4000.00 | ANAND AND COMPANTY
36.00 | Execution of works as per CPWD schedule of work and specification as & when required.
36.01 | DSR Items Percentage above/below CPWD Schedule of Rates for E&M (2018) works totaling to Rs.5,00,000/- (Item to be executed as per the site requirement) (All DSR items Rate to be taken excluding GST) | 1.00 | JOB |  | 200000.00 | 200000.00 | 400000.00 | 400000.00 | 250000.00 | 250000.00 | 400000.00 | 400000.00 | 250000.00 | 250000.00 | 200000.00 | ANAND AND COMPANTY
| Total in Figures |  |  |  |  | 12349900.00 |  | 14161350.00 |  | 16455100.00 |  | 14685058.00 |  | 12657236.00
Lowest Amount Quoted BY: ANAND AND COMPANTY(12349900.00)

## BOQ Summary
BOQ Summary Details Tender Title: RMO of Int. and Ext. E.I., Power Supply Tender ID: 2020_AAI_51766_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANAND AND COMPANTY | 12349900.00 | L1
| 2 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 12657236.00 | L2
| 3 | NATIONAL SAFETY ENGINEERS | 14161350.00 | L3
| 4 | SRS ENGINEERS | 14685058.00 | L4
| 5 | S. N ELECTRICALS | 16455100.00 | L5