## BoQ1
Government eProcurement System Created By: DOMA JAWALEKAR Created Date/Time: 05-Aug-2020 01:45 PM Tender Title: Annual Maintenance Contract of Fire Detection, Alarm and Fire Hydrant system at Aurangabad Airport for two years 2020-21 and 2021- 22. Tender ID: 2020_AAI_51804_1
Tender Inviting Authority: Asstt. Gen.Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad - 431007 (Maharashtra).
Name of Work: “Annual Maintenance Contract of Fire Detection, Alarm & Fire Hydrant system at Aurangabad Airport for two years 2020-21 and 2021- 22”.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | CENTRE TAP ENGINEERING |  | Reliance Fire Protection Systems |  | Sterling and Wilson Pvt. Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Maintenance of Fire Hydrant including all pumps, panels, cables, piping , Hydrants etc. , intelligent type analogue addressable Fire Alarm system and Sprinkler system including all pumps, panels, cables, piping, sprinklers etc. at Aurangabad Airport for all preventive maintenance and checks as per manufacturers manual including attending to complaints/ Faults/ break down and taking rectification action, ensuring serviceability/ satisfactory working conditions of the system, maintenance of all records, documentation etc. as per the detailed specifications, terms & conditions covered under this contract on all days including sundays and holidays as per requirements of AAI. | 24.00 | Months |  | 153555.00 | 3685320.00 | 149500.00 | 3588000.00 | 166500.00 | 3996000.00 | 190000.00 | 4560000.00 | 174222.00 | 4181328.00 | 3588000.00 | Manish Electricals
2.00 | Annual maintenance of Kirloskar make DG pump set (with specification mentioned under (A)) i/c engine control panel and other accessories of DG pump set. Job includes monthly visits for carrying out preventive maintenance, attending any number of breakdown calls when required, carrying out "B" and "C" check, minor repairs etc. as per manufacturer's recommendations / standard practice and as per the scope of work, complete as required. A) Engine type - 6R1080, Rating - 79 hp, RPM - 1500, governing class - M2. i. For First year. a) AMC Charges including B & C checks (once in a year) for 12 visits in year. | 1.00 | Set |  | 77500.00 | 77500.00 | 20000.00 | 20000.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 105950.00 | 105950.00 | 20000.00 | Manish Electricals
3.00 | Annual maintenance contract of Kirloskar make DG pump set (with specification mentioned under (A)) i/c engine control panel and other accessories of DG pump set. Job includes monthly visits for carrying out preventive maintenance, attending any number of breakdown calls when required, carrying out "B" and "C" check, minor repairs etc. as per manufacturer's recommendations / standard practice and as per the scope of work, complete as required. A) Engine type - 6R1080, Rating - 79 hp, RPM - 1500, governing class - M2. i. For Second year. a) AMC Charges including B & C checks (once in a year) for 12 visits in year. | 1.00 | Set |  | 87500.00 | 87500.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 105950.00 | 105950.00 | 25000.00 | Manish Electricals, CENTRE TAP ENGINEERING, Reliance Fire Protection Systems
4.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) Conventional Smoke detector with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors). | 6.00 | Job |  | 1500.00 | 9000.00 | 2200.00 | 13200.00 | 1000.00 | 6000.00 | 1280.00 | 7680.00 | 3433.00 | 20598.00 | 6000.00 | CENTRE TAP ENGINEERING
5.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Smoke detector with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors). | 10.00 | Job |  | 3500.00 | 35000.00 | 3500.00 | 35000.00 | 2500.00 | 25000.00 | 2950.00 | 29500.00 | 4291.00 | 42910.00 | 25000.00 | CENTRE TAP ENGINEERING
6.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) Conventional multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors). | 6.00 | Job |  | 2000.00 | 12000.00 | 2050.00 | 12300.00 | 1250.00 | 7500.00 | 1350.00 | 8100.00 | 4386.00 | 26316.00 | 7500.00 | CENTRE TAP ENGINEERING
7.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 10.00 | Job |  | 4000.00 | 40000.00 | 3500.00 | 35000.00 | 3000.00 | 30000.00 | 2950.00 | 29500.00 | 4730.00 | 47300.00 | 29500.00 | Reliance Fire Protection Systems
8.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) Conventional Manual call station (Resetable pull / push type) suitable for semi flush mounting, IP 54 for indoor use & IP 65 for outdoor use with inbuilt fault isolator / isolator module with double gang outlet box, equipment for key operated test-reset lock. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or poly carbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications. | 6.00 | Job |  | 1000.00 | 6000.00 | 620.00 | 3720.00 | 1000.00 | 6000.00 | 800.00 | 4800.00 | 5912.00 | 35472.00 | 3720.00 | Manish Electricals
9.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Manual call station (Resetable pull / push type) suitable for semi flush mounting, IP 54 for indoor use & IP 65 for outdoor use with inbuilt fault isolator / isolator module with double gang outlet box, equipment for key operated test-reset lock, electronic or rotary switches for address setting. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or poly carbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications.. | 5.00 | Job |  | 2875.00 | 14375.00 | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 2950.00 | 14750.00 | 10890.00 | 54450.00 | 12500.00 | Manish Electricals, CENTRE TAP ENGINEERING
10.00 | Supply, installation, testing and commissioning of UL / EN listed (Latest Version) Response Indicators for getting fire indications of detectors i/c mounting boxes installed above false ceiling area interconnecting to loop cable etc. as per specification complete as required.. | 10.00 | Job |  | 400.00 | 4000.00 | 450.00 | 4500.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 172.00 | 1720.00 | 1000.00 | Reliance Fire Protection Systems
11.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cum- strobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. | 2.00 | Job |  | 4500.00 | 9000.00 | 4500.00 | 9000.00 | 3000.00 | 6000.00 | 2950.00 | 5900.00 | 9948.00 | 19896.00 | 5900.00 | Reliance Fire Protection Systems
12.00 | Supplying, installation, testing & commissioning of conventional fire alarm panel , 16 X 2 dotmatrix LCD display, suitable for eight zones, complete with visual indications for short circuit fault, open circuit fault, fire condition and all other standard facilities as per IS:2189, complying relevant national fire alarm code for local fire alarm system with mimic diagram for all area/zone covered, complete with all connections. The panel shall have input of 240 volts AC power supply, inbuilt automatic battery charger, 24 volts, 2 X 12 volts, 12 Ah sealed lead acid maintenance free batteries sufficient for 24 hours normal power backup & working, interconnections. The panel shall be UL listed & FM approved and shall be hookup with PA system and along with auto dialer facility etc. as required. | 2.00 | Job |  | 25000.00 | 50000.00 | 18000.00 | 36000.00 | 25000.00 | 50000.00 | 45000.00 | 90000.00 | 209780.00 | 419560.00 | 36000.00 | Manish Electricals
13.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Modular Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel of following loops, with minimum 320 character graphics / LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM) ,The panel should be equiped with loop capacity to take minimum 240 intellegent addressable detectors/ devices (In any combination ) in one loop. Four access levels, capable of taking Protocol Devices, Graphical Display, sufficient numbers of programmable relay controls for controlling ventilation fan, fire pump room, monitoring of fire sprinkler and fire hydrant pump, 230 volts, 50 Hz AC power supply, inbuilt automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hours normal working and then be capable of operating the system for 30 minutes during an emergency / fault conditions along with battery stand as required. The panel shall have facility for seamless integration with PA system (For Giving triger Signal to Start pre-recorded Digital Voice Evacuation from PA system in case of fire ). The panel shall be compatible for Building Management System with open protocol BACNET / MODBUS etc. as per specification, complete as required. a) 5 Loop. | 1.00 | Job |  | 200000.00 | 200000.00 | 90000.00 | 90000.00 | 100000.00 | 100000.00 | 595000.00 | 595000.00 | 603576.00 | 603576.00 | 90000.00 | Manish Electricals
14.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 50.00 | Meter |  | 140.00 | 7000.00 | 120.00 | 6000.00 | 200.00 | 10000.00 | 180.00 | 9000.00 | 444.00 | 22200.00 | 6000.00 | Manish Electricals
15.00 | Supply of 63mm dia., 15mtr. long RRL hose pipe (ISI Marked) with necessary male and female Stainless Steel (Grade 304) couplings duly binded with GI wire, rivets etc. conforming to IS- 636 (Type-A) complete as required. | 195.00 | Meter |  | 500.00 | 97500.00 | 450.00 | 87750.00 | 500.00 | 97500.00 | 5000.00 | 975000.00 | 635.00 | 123825.00 | 87750.00 | Manish Electricals
16.00 | Supplying & fixing 63 mm dia Stainless Steel (Grade 304) short branch pipe with 20 mm nominal internal diameter size nozzle conforming to IS 903 suitable for instantaneous connection to interconnect hose pipe coupling etc. as required. | 20.00 | Each |  | 1200.00 | 24000.00 | 1050.00 | 21000.00 | 1500.00 | 30000.00 | 1800.00 | 36000.00 | 1602.00 | 32040.00 | 21000.00 | Manish Electricals
17.00 | Supply of nozzle,20mm inner diamter,made of SS,screw threads at the inlet connection to match with the threading of 63mm dia branch pipe with inlet end of hexagonal head to facilitate screwing conforming to IS 903 etc. as required. | 20.00 | Each |  | 480.00 | 9600.00 | 450.00 | 9000.00 | 500.00 | 10000.00 | 2200.00 | 44000.00 | 1848.00 | 36960.00 | 9000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 4367795.00 |  | 4007970.00 |  | 4438500.00 |  | 6460230.00 |  | 5880051.00
Lowest Amount Quoted BY: Manish Electricals(4007970.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Fire Detection, Alarm and Fire Hydrant system at Aurangabad Airport for two years 2020-21 and 2021- 22. Tender ID: 2020_AAI_51804_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 4007970.00 | L1
| 2 | ABHISHEK ASSOCIATES | 4367795.00 | L2
| 3 | CENTRE TAP ENGINEERING | 4438500.00 | L3
| 4 | Sterling and Wilson Pvt. Ltd | 5880051.00 | L4
| 5 | Reliance Fire Protection Systems | 6460230.00 | L5