## BoQ1
Government eProcurement System Created By: Chandrashekhar Sharma Created Date/Time: 07-Aug-2020 11:43 AM Tender Title: Provision of Ultra Violet Germicidal Irradiation (UVGI) system for ductable package type air-conditioning units at C.A.Porbandar Tender ID: 2020_AAI_52206_1
Tender Inviting Authority: AGM (E-E), AAI, C.A. Porbandar
Name of Work: : Provision of Ultra Violet Germicidal Irradiation (UVGI) system for ductable package type air-conditioning units at C.A.Porbandar.
Contract No: AAI/POR/AGM(E-E)/e-NIT-03/20-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING |  | Gentech Engineering Services |  | VOLKS ENERGIE PVT LTD |  | b p enterprises
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Fabrication, Supply and Installation of Ultra Violet Germicidal Irradiation System (UVGI) suitable for ductable packaged type air-conditioning units for maintaining Indoor Air Quality through air-stream microbe disinfection with factory fabricated UV modules in strict compliance of tender specifications including microprocessor based control panel with provision of individual ballast for each lamp, isolation transformer, provision of RS 485 port, audiable buzzer, indication lamps, auto door interlocking, interconnection bewtween control panel & UV modules, power supply and control cabling, cable glanding, other safety euqipment & mounting accessories, any minor civil works complete with Testing & Commissioning of the entire system all as required and specified. The whole system shall either be duct/AHU mounted and shall be in compliance with the selection chart based on ISHRAE recommendations. The details of the existing ductable package type air-conditioning units are as under- (Important Note: Tenderers are advisied to check tender technical specifications before quoting the rate).
1.01 | Departure Hall Ductable Package AC Unit, 12000 CFM, 30 TR capacity, Location= TB Terrace, | 2.00 | Each | 100.00 | 105000.00 | 210000.00 | 84000.00 | 168000.00 | 100000.00 | 200000.00 | 135000.00 | 270000.00 | 168000.00 | Gentech Engineering Services
1.02 | Arrival Hall Ductable Package AC Unit, 12000 CFM, 30 TR capacity, Location= TB Terrace, | 3.00 | Each | 100.00 | 105000.00 | 315000.00 | 84000.00 | 252000.00 | 100000.00 | 300000.00 | 135000.00 | 405000.00 | 252000.00 | Gentech Engineering Services
1.03 | Security Hold Ductable Package AC Unit, 7000 CFM, 17 TR capacity, Location= TB Ground Floor. | 1.00 | Each | 100.00 | 80000.00 | 80000.00 | 49000.00 | 49000.00 | 76000.00 | 76000.00 | 80000.00 | 80000.00 | 49000.00 | Gentech Engineering Services
1.04 | Security Hold Ductable Package AC Unit, 4500 CFM, 11 TR capacity, Location= TB Ground Floor. | 1.00 | Each | 100.00 | 80000.00 | 80000.00 | 31500.00 | 31500.00 | 66000.00 | 66000.00 | 47000.00 | 47000.00 | 31500.00 | Gentech Engineering Services
1.05 | VIP lounge high wall mounted stand alone units | 2.00 | Each | 100.00 | 38000.00 | 76000.00 | 50000.00 | 100000.00 | 100000.00 | 200000.00 | 7000.00 | 14000.00 | 14000.00 | b p enterprises
2.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required......(a) Thickness 0.80 mm sheet ) | 80.00 | Sq.Mtr | 100.00 | 1000.00 | 80000.00 | 1200.00 | 96000.00 | 900.00 | 72000.00 | 1250.00 | 100000.00 | 72000.00 | VOLKS ENERGIE PVT LTD
3.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required......(b) Thickness 1.00 mm sheet ) | 40.00 | Sq.Mtr | 100.00 | 1300.00 | 52000.00 | 1500.00 | 60000.00 | 1050.00 | 42000.00 | 1450.00 | 58000.00 | 42000.00 | VOLKS ENERGIE PVT LTD
4.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required......(c) Thickness 1.25 mm sheet ) | 20.00 | Sq.Mtr | 100.00 | 1600.00 | 32000.00 | 1850.00 | 37000.00 | 1250.00 | 25000.00 | 1700.00 | 34000.00 | 25000.00 | VOLKS ENERGIE PVT LTD
5.00 | Supply and fixing of acoustic lining of supply air duct and plenum with 25 mm thick resin bonded glass wool having density of 32 kg/m³, with 25 mm X 25 mm GI section of 1.25 mm thick, at 600 mm centre to centre covered with Reinforced Plastic tissue paper and 0.5 mm thick perforated aluminum sheet fixed to inside surface of ducts with cadmium plated nuts, bolts, stick pins, CPRX compound etc. complete as required and as per specifications. | 40.00 | Sq.Mtr | 100.00 | 700.00 | 28000.00 | 560.00 | 22400.00 | 1500.00 | 60000.00 | 1450.00 | 58000.00 | 22400.00 | Gentech Engineering Services
6.00 | Supplying and fixing 50mm thick aluminium foil faced resin bonded fibre glass insulation (on duct) of density 24 kg/cu.m or mineral wool insulation(non combustible) of density 44 kg/cum after applying two coats of cold setting adhesive (CPRX compound) sealing all joints with self adhesive aluminium tape & covering with 0.63mmx19mm GI wire mesh netting & butting all joints and laced with GI wire complete and finally covered with one layer of tar felt stuck with hot bitumen as per specifications and as required. (for outdoor applications) | 80.00 | Sq.Mtr | 100.00 | 530.00 | 42400.00 | 530.00 | 42400.00 | 1400.00 | 112000.00 | 800.00 | 64000.00 | 42400.00 | CENTRE TAP ENGINEERING, Gentech Engineering Services
7.00 | Dismantling of the existing ducting from site completed with insulation, supports etc. all as reqd. & as per the direction of Engineer-In-Charge. | 100.00 | Sq.Mtr | 100.00 | 45.00 | 4500.00 | 500.00 | 50000.00 | 350.00 | 35000.00 | 300.00 | 30000.00 | 4500.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 999900.00 |  | 908300.00 |  | 1188000.00 |  | 1160000.00
Lowest Amount Quoted BY: Gentech Engineering Services(908300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Ultra Violet Germicidal Irradiation (UVGI) system for ductable package type air-conditioning units at C.A.Porbandar Tender ID: 2020_AAI_52206_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Gentech Engineering Services | 908300.00 | L1
| 2 | CENTRE TAP ENGINEERING | 999900.00 | L2
| 3 | b p enterprises | 1160000.00 | L3
| 4 | VOLKS ENERGIE PVT LTD | 1188000.00 | L4