## BoQ1
Government eProcurement System Created By: Chandrashekhar Sheware Created Date/Time: 14-Aug-2020 12:38 PM Tender Title: PROVISION OF GAS BASED FIRE SUPPRESSION SYSTEM FOR ATC TOWER CUM TECHNICAL BLOCK AT DIU AIRPORT Tender ID: 2020_AAI_52328_1
Tender Inviting Authority: AGM(E-E)
Name of Work: PROVISION OF GAS BASED FIRE SUPPRESSION SYSTEM FOR ATC TOWER CUM TECHNICAL BLOCK AT DIU AIRPORT
Contract No: 2020_AAI_52328_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Yash Energy Pvt. Ltd(GSTN-NA) |  | advent electric technologies pvt. ltd.(GSTN-NA) |  | Lambda Technologies LLP(GSTN-NA) |  | OASIS ENGINEERS(GSTN-NA) |  | Taral Electricals(GSTN-NA) |  | Bharati Fire Engineers(GSTN-NA) |  | Industrial project And Products Co.(GSTN-NA) |  | CENTRE TAP ENGINEERING(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of automatic fire gas, NOVEC 1230, AT 7% design concentration, flooding system comprising of Seamless storage cylinder of following capacity complete with valve assembly, pressure gauge and pressure switch including filling of NOVEC 1230/ HFC-27ea Gas (Hepta fluro propane) and other standard accessories as per NFPA 75/2001/ OEM standards etc as required.
1.01 | 45 ltr cylinder capacity of Novec 1230 as per OEM standards. | 1.00 | Each | 261221.00 | 156312.00 | 156312.00 | 200000.00 | 200000.00 | 240247.00 | 240247.00 | 205000.00 | 205000.00 | 196504.00 | 196504.00 | 214121.00 | 214121.00 | 180000.00 | 180000.00 | 206550.00 | 206550.00 | 156312.00 | Yash Energy Pvt. Ltd
1.02 | 80 ltr cylinder capacity of Novec 1230 as per OEM standards. | 4.00 | Each | 309540.00 | 180752.00 | 723008.00 | 260000.00 | 1040000.00 | 240247.00 | 960988.00 | 240000.00 | 960000.00 | 236176.00 | 944704.00 | 253348.00 | 1013392.00 | 240340.00 | 961360.00 | 226950.00 | 907800.00 | 723008.00 | Yash Energy Pvt. Ltd
1.03 | 120 ltr cylinder capacity of Novec 1230 as per OEM standards. | 2.00 | Each | 607377.00 | 405600.00 | 811200.00 | 500000.00 | 1000000.00 | 269295.00 | 538590.00 | 473600.00 | 947200.00 | 464046.00 | 928092.00 | 472494.50 | 944989.00 | 398760.00 | 797520.00 | 433500.00 | 867000.00 | 538590.00 | Lambda Technologies LLP
2.00 | Supply and fixing of Control head suitable for operating electrically from fire detection and control panel with all accessories complete as per OEM standards etc as required. | 7.00 | Each | 18584.00 | 32240.00 | 225680.00 | 18000.00 | 126000.00 | 40000.00 | 280000.00 | 32000.00 | 224000.00 | 17980.00 | 125860.00 | 26267.63 | 183873.41 | 50514.00 | 353598.00 | 17000.00 | 119000.00 | 119000.00 | CENTRE TAP ENGINEERING
3.00 | Supply and fixing of Manually operated actuator to operate the gas manually from the cylinder with all accessories complete as per OEM standards etc as required. | 7.00 | Each | 3531.00 | 21840.00 | 152880.00 | 4000.00 | 28000.00 | 22000.00 | 154000.00 | 9000.00 | 63000.00 | 17980.00 | 125860.00 | 9011.68 | 63081.76 | 7760.00 | 54320.00 | 3230.00 | 22610.00 | 22610.00 | CENTRE TAP ENGINEERING
4.00 | Supply and fixing of High pressure flexible rubber discharge hose with braided reinforcement complete as per OEM standards etc as required. | 7.00 | Each | 5575.00 | 12573.00 | 88011.00 | 6000.00 | 42000.00 | 2791.00 | 19537.00 | 19500.00 | 136500.00 | 14023.00 | 98161.00 | 9290.77 | 65035.39 | 14228.00 | 99596.00 | 5100.00 | 35700.00 | 19537.00 | Lambda Technologies LLP
5.00 | Supply and fixing of Discharge nozzles designed to provide the proper flow and distribution of gas to flood hazard area at - 180/360 degrees complete as per OEM standards etc as required. | 21.00 | Each | 4181.00 | 4368.00 | 91728.00 | 4500.00 | 94500.00 | 11915.00 | 250215.00 | 6500.00 | 136500.00 | 4872.00 | 102312.00 | 5509.67 | 115703.07 | 5340.00 | 112140.00 | 3825.00 | 80325.00 | 80325.00 | CENTRE TAP ENGINEERING
6.00 | Supply and fixing of Gas discharge pressure switch to trip A.C., electrical equipcomplete as per OEM standards etc as required. | 7.00 | Each | 11615.00 | 15207.00 | 106449.00 | 10500.00 | 73500.00 | 13377.00 | 93639.00 | 13500.00 | 94500.00 | 16962.00 | 118734.00 | 8476.81 | 59337.67 | 17502.00 | 122514.00 | 10625.00 | 74375.00 | 59337.67 | Bharati Fire Engineers
7.00 | Supply and fixing of manual gas release station and Manual gas abort station having manual break glass push button type call points with auxiliary contacts, hammer gland etc. complete in all respect and shall be as per OEM recommendation & standards. | 7.00 | Job | 5575.00 | 3120.00 | 21840.00 | 950.00 | 6650.00 | 3890.00 | 27230.00 | 3500.00 | 24500.00 | 3480.00 | 24360.00 | 866.00 | 6062.00 | 7262.00 | 50834.00 | 2550.00 | 17850.00 | 6062.00 | Bharati Fire Engineers
8.00 | SITC of Fire Alarm gas release panel with built in time relay, auto/manual selector switch, housed in a suitable 16SWG M.S. Sheet panel. The control panel shall have the arrangement for Audio / Visual indications by dual lamps LED's for fire and fault in each zone with lamp test facility. The panel shall be suitable for connected to 4nos. smoke detectors. The control panel shall be working on standby power supply by 2 x 12 volts, 7 AH sealed maintenance free batteries complete with circuit wiring etc., as per IS : 2189 and have Provision for testing each circuit separately including resetting etc. complete in all respect and shall be as per OEM recommendation & standards. | 5.00 | Job | 44718.00 | 22880.00 | 114400.00 | 18000.00 | 90000.00 | 38038.00 | 190190.00 | 40000.00 | 200000.00 | 25520.00 | 127600.00 | 18740.00 | 93700.00 | 36720.00 | 183600.00 | 46750.00 | 233750.00 | 90000.00 | advent electric technologies pvt. ltd.
9.00 | SITC of Fire Alarm gas release panel with built in time relay, auto/manual selector switch, housed in a suitable 16SWG M.S. Sheet panel. The control panel shall have the arrangement for Audio / Visual indications by dual lamps LED's for fire and fault in each zone with lamp test facility. The panel shall be suitable for connected to 8nos. smoke detectors. The control panel shall be working on standby power supply by 2 x 12 volts, 7 AH sealed maintenance free batteries complete with circuit wiring etc., as per IS : 2189 and have Provision for testing each circuit separately including resetting etc. complete in all respect and shall be as per OEM recommendation & standards. | 2.00 | Job | 52848.00 | 22880.00 | 45760.00 | 18000.00 | 36000.00 | 38038.00 | 76076.00 | 50000.00 | 100000.00 | 25520.00 | 51040.00 | 18740.00 | 37480.00 | 36360.00 | 72720.00 | 55250.00 | 110500.00 | 36000.00 | advent electric technologies pvt. ltd.
10.00 | Providing & fixing of M.S. seamless pipe complete with all fittings painting with one coat of red oxide and 2 coats of enamel paint, piping to be fixed on ceiling with MS suspended supports, clamps, anchor fasteners, cutting chases / holes in valve ceiling and making good the same etc. as required. All shall be as per OEM recommendation & standards for the following sizes:- 50 mm | 96.00 | Meter | 833.00 | 4160.00 | 399360.00 | 800.00 | 76800.00 | 2040.00 | 195840.00 | 1300.00 | 124800.00 | 4640.00 | 445440.00 | 1393.84 | 133808.64 | 577.00 | 55392.00 | 850.00 | 81600.00 | 55392.00 | Industrial project And Products Co.
11.00 | Design, Supply, installation, testing and commissioning of analogue addressable type photoelectric smoke Detectors complete with base and other accessories for upcoming ATC tower cum technical block and Terminal building etc. | 86.00 | Each | 1700.00 | 1872.00 | 160992.00 | 2600.00 | 223600.00 | 2924.00 | 251464.00 | 2000.00 | 172000.00 | 2088.00 | 179568.00 | 1650.00 | 141900.00 | 1722.00 | 148092.00 | 3825.00 | 328950.00 | 141900.00 | Bharati Fire Engineers
12.00 | Supply of 2C x 1.5 sq.mm armoured, FRLS, Flexible, Multi strand,copper conductor cable and laying/fixing the same on ceiling/wall/false-ceiling/in pipe/trunking etc connection, testing and commissioning complete as required as per OEM for upcoming ATC tower cum technical block and Terminal building etc. | 840.00 | Meter | 29.00 | 47.00 | 39480.00 | 125.00 | 105000.00 | 83.00 | 69720.00 | 95.00 | 79800.00 | 52.00 | 43680.00 | 83.24 | 69921.60 | 153.00 | 128520.00 | 102.00 | 85680.00 | 39480.00 | Yash Energy Pvt. Ltd
13.00 | Supply, installation, testing and commissioning of flasher hooter sounder as per OEM standard for terminal building etc. | 7.00 | Each | 29.00 | 5824.00 | 40768.00 | 1050.00 | 7350.00 | 2814.00 | 19698.00 | 5100.00 | 35700.00 | 6496.00 | 45472.00 | 3722.00 | 26054.00 | 2841.00 | 19887.00 | 4250.00 | 29750.00 | 7350.00 | advent electric technologies pvt. ltd.
14.00 | Supply, installation, testing and commissioning of resettable analogue addressable manual call point for terminal building etc. | 7.00 | Each | 29.00 | 2912.00 | 20384.00 | 2200.00 | 15400.00 | 3617.00 | 25319.00 | 3200.00 | 22400.00 | 3248.00 | 22736.00 | 3274.00 | 22918.00 | 4953.00 | 34671.00 | 3655.00 | 25585.00 | 15400.00 | advent electric technologies pvt. ltd.
15.00 | Supply, installation, testing and commissioning of analog addressable fire alarm control panel of 1 loop capacity complete with batteries etc. as per OEM standard suitable to connect all Fire detection & alarm devices installed in terminal building etc. | 1.00 | Each | 29.00 | 50440.00 | 50440.00 | 95000.00 | 95000.00 | 114697.00 | 114697.00 | 64000.00 | 64000.00 | 56264.00 | 56264.00 | 43620.00 | 43620.00 | 145600.00 | 145600.00 | 85000.00 | 85000.00 | 43620.00 | Bharati Fire Engineers
| Total in Figures |  |  |  |  | 3248692.00 |  | 3259800.00 |  | 3507450.00 |  | 3589900.00 |  | 3636387.00 |  | 3234997.54 |  | 3520364.00 |  | 3312025.00
Lowest Amount Quoted BY: Bharati Fire Engineers(3234997.54)

## BOQ Summary
BOQ Summary Details Tender Title: PROVISION OF GAS BASED FIRE SUPPRESSION SYSTEM FOR ATC TOWER CUM TECHNICAL BLOCK AT DIU AIRPORT Tender ID: 2020_AAI_52328_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bharati Fire Engineers | 3234997.54 | L1
| 2 | Yash Energy Pvt. Ltd | 3248692.00 | L2
| 3 | advent electric technologies pvt. ltd. | 3259800.00 | L3
| 4 | CENTRE TAP ENGINEERING | 3312025.00 | L4
| 5 | Lambda Technologies LLP | 3507450.00 | L5
| 6 | Industrial project And Products Co. | 3520364.00 | L6
| 7 | OASIS ENGINEERS | 3589900.00 | L7
| 8 | Taral Electricals | 3636387.00 | L8