## BoQ1
Government eProcurement System Created By: SUNIL GUPTA Created Date/Time: 24-Jul-2020 11:39 AM Tender Title: Comprehensive Maintenance of Split Type A.C., Cassette Type AC, Water Tender ID: 2020_AAI_52408_1
Tender Inviting Authority: AGM (E E), AAI, CA Rajkot.
Name of Work: Comprehensive Maintenance of Split Type A.C., Cassette Type AC, Water Coolers & Centralized Reverse Osmosis System (200 & 25 LPH capacity) for Two Years (2020-2022) at C.A. Rajkot.
Contract No: AAI/RAJ/AGM(E-E)/NIT-03/20-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING |  | Rudraksha Enterprise
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive maintenance of 1.5 ton split type A/C (including compressor) for one month as per the special condition attached. (No. of AC 12 X 24 months = 288) | 288.00 | Each |  | 250.00 | 72000.00 | 250.00 | 72000.00 | 72000.00 | CENTRE TAP ENGINEERING, Rudraksha Enterprise
2.00 | Comprehensive maintenance of 1.5 ton split type A/C (without compressor) for one month as per the special condition attached. (No. of AC 39 X 24 months = 936) | 936.00 | Each |  | 150.00 | 140400.00 | 125.00 | 117000.00 | 117000.00 | Rudraksha Enterprise
3.00 | Comprehensive maintenance of 2 ton split type A/C (including compressor) for one month as per special condition attached. (No. of AC 21 X 24 months = 504) | 504.00 | Each |  | 350.00 | 176400.00 | 225.00 | 113400.00 | 113400.00 | Rudraksha Enterprise
4.00 | Comprehensive maintenance of 2 ton split type A/C (without compressor) for one month as per special condition attached. (No. of AC 18 X 24 months = 432) | 432.00 | Each |  | 300.00 | 129600.00 | 150.00 | 64800.00 | 64800.00 | Rudraksha Enterprise
5.00 | Comprehensive maintenance of 3 ton 3 phase tower type split A/C (including compressor) for one month as per special condition attached. (No. of AC 4 X 24 months = 96) | 96.00 | Each |  | 450.00 | 43200.00 | 180.00 | 17280.00 | 17280.00 | Rudraksha Enterprise
6.00 | Comprehensive maintenance of 3 ton 3 phase cassette type A/C (including compressor) for one month as per special condition attached. (No. of AC 7 X 24 months = 168) | 168.00 | Each |  | 450.00 | 75600.00 | 185.00 | 31080.00 | 31080.00 | Rudraksha Enterprise
7.00 | Comprehensive maintenance of 4 ton 3 phase tower type split A/C (including compressor) for one month as per special condition attached. (No. of AC 9 X 24 months = 216) | 216.00 | Each |  | 500.00 | 108000.00 | 300.00 | 64800.00 | 64800.00 | Rudraksha Enterprise
8.00 | Comprehensive maintenance of 4 ton 3 phase cassette type A/C (including compressor) for one month as per special condition attached. (No. of AC 20 X 24 months = 480) | 480.00 | Each |  | 550.00 | 264000.00 | 300.00 | 144000.00 | 144000.00 | Rudraksha Enterprise
9.00 | Comprehensive maintenance of Water Coolers of various capacities / make for one month as per the special condition attached. (No. of WC 9 X 24 months = 216) | 216.00 | Each |  | 250.00 | 54000.00 | 175.00 | 37800.00 | 37800.00 | Rudraksha Enterprise
10.00 | Installation, Testing, Commissioning of split type AC of 1.5 / 2.0 TR. capacity including all necessary connections, gas charging (as per requirement) and making interconnection wiring between indoor & outdoor units etc. complete as per the instructions of engineer in charge. | 10.00 | Each |  | 2000.00 | 20000.00 | 800.00 | 8000.00 | 8000.00 | Rudraksha Enterprise
11.00 | Dismantling of 1.5 / 2.0 TR A/C including all necessary connections, wiring between indoor and outdoor units etc. complete as per the instructions of engineer in charge. | 10.00 | Each |  | 1000.00 | 10000.00 | 200.00 | 2000.00 | 2000.00 | Rudraksha Enterprise
12.00 | Supply and fixing of copper pipe and nitrile insulation for 1.5 / 2.0 TR AC complete as per the instructions of engineer in charge, etc. as required. | 20.00 | Mtr |  | 500.00 | 10000.00 | 600.00 | 12000.00 | 10000.00 | CENTRE TAP ENGINEERING
13.00 | Supply and fixing of stand for 1.5 / 2.0 TR AC outdoor unit : a) Floor mounting stand | 5.00 | Each |  | 500.00 | 2500.00 | 700.00 | 3500.00 | 2500.00 | CENTRE TAP ENGINEERING
14.00 | Supply and fixing of stand for 1.5 / 2.0 TR AC outdoor unit : b) Wall mounting stand | 5.00 | Each |  | 500.00 | 2500.00 | 700.00 | 3500.00 | 2500.00 | CENTRE TAP ENGINEERING
15.00 | Servicing i/c. replacing minor spare of RAJ make air cooler, installed at CISF barrack as per direction of E.I.C. (No. of Air Cooler 50 X 2 times = 100, as and when required.) | 100.00 | Each |  | 350.00 | 35000.00 | 400.00 | 40000.00 | 35000.00 | CENTRE TAP ENGINEERING
16.00 | Supply spare of RAJ air cooler (As and when required). A) Air cooler electric motor 1/8 HP ( i/c ) | 20.00 | Each |  | 1000.00 | 20000.00 | 1500.00 | 30000.00 | 20000.00 | CENTRE TAP ENGINEERING
17.00 | Supply spare of RAJ air cooler (As and when required). b) Air cooler pump medium | 20.00 | Each |  | 800.00 | 16000.00 | 400.00 | 8000.00 | 8000.00 | Rudraksha Enterprise
18.00 | Supply spare of RAJ air cooler (As and when required). c) Air cooler swing motor | 20.00 | Each |  | 500.00 | 10000.00 | 150.00 | 3000.00 | 3000.00 | Rudraksha Enterprise
19.00 | Supply spare of RAJ air cooler (As and when required). d) Air cooler fan 16" | 20.00 | Each |  | 150.00 | 3000.00 | 400.00 | 8000.00 | 3000.00 | CENTRE TAP ENGINEERING
20.00 | Supply spare of RAJ air cooler (As and when required). e) Air cooler outer net ice cool | 20.00 | Each |  | 400.00 | 8000.00 | 250.00 | 5000.00 | 5000.00 | Rudraksha Enterprise
21.00 | Comprehensive Maintenance of 2 nos. X 200 LPH capacity centralized R.O. Plant complete with all accessories including consumable and all spare parts but excluding the R.O. membrane. Complaints and breakdown should be attended on priority. | 24.00 | Months |  | 12000.00 | 288000.00 | 4000.00 | 96000.00 | 96000.00 | Rudraksha Enterprise
22.00 | Operation of 200 LPH R.O. plant on all days including Sundays days and holidays in one shift. | 24.00 | Months |  | 20000.00 | 480000.00 | 22500.00 | 540000.00 | 480000.00 | CENTRE TAP ENGINEERING
23.00 | Supply of RO membrane compatible for BOQ item no.21. | 2.00 | Each |  | 15000.00 | 30000.00 | 17000.00 | 34000.00 | 30000.00 | CENTRE TAP ENGINEERING
24.00 | Comprehensive maintenance of ION Exchange Make 5 nos. X 25 LPH R.O. unit including consumable items and all spare parts i/c. membrane etc. complete as required. | 24.00 | Months |  | 5000.00 | 120000.00 | 2000.00 | 48000.00 | 48000.00 | Rudraksha Enterprise
25.00 | Comprehensive maintenance of 2 nos. of storage type water cooler with inbuilt RO of capacity of 40 Ltr/hr with rotary compressor & having 80 Ltr storage capacity etc. complete as required. (Consumable RO Filter not included in this scope) | 24.00 | Months |  | 2000.00 | 48000.00 | 1500.00 | 36000.00 | 36000.00 | Rudraksha Enterprise
26.00 | Supply of RO membrane for 80 PSS RO (Product code : GWPDPCR8000000) | 16.00 | Each |  | 2500.00 | 40000.00 | 2200.00 | 35200.00 | 35200.00 | Rudraksha Enterprise
27.00 | Supply of 10" PF candle for 80 PSS RO (Product code : GWPDPCR8000000) | 8.00 | Each |  | 450.00 | 3600.00 | 400.00 | 3200.00 | 3200.00 | Rudraksha Enterprise
28.00 | Supply of 10" AC Block for 80 PSS RO (Product code : GWPDPCR8000000) | 8.00 | Each |  | 500.00 | 4000.00 | 450.00 | 3600.00 | 3600.00 | Rudraksha Enterprise
29.00 | Submission of water portability report (i/c. Chemical & Bacteriaological) from govt. lab / approved govt. lab of sample collected from the location as per instruction of E.I.C. Report to be submitted once in three month. | 8.00 | Each |  | 1500.00 | 12000.00 | 1100.00 | 8800.00 | 8800.00 | Rudraksha Enterprise
| Total in Figures |  |  |  |  | 2225800.00 |  | 1589960.00
Lowest Amount Quoted BY: Rudraksha Enterprise(1589960.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance of Split Type A.C., Cassette Type AC, Water Tender ID: 2020_AAI_52408_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rudraksha Enterprise | 1589960.00 | L1
| 2 | CENTRE TAP ENGINEERING | 2225800.00 | L2