## BoQ1
Government eProcurement System Created By: SACHIN KUMAR MITTAL Created Date/Time: 28-Jul-2020 03:23 PM Tender Title: ARMO of HVAC Plant at R. G. Bhawan and Expansion Building, New Delhi. SH- Providing Comprehensive Maintenance Services of 3 x 250 TR Central AC Plant along with BMS Year - 2020-21 and 2021-22. Tender ID: 2020_AAI_52421_1
Tender Inviting Authority: AGM (Engg.-Elect.)-II, IMU, CHQ, Rajiv Gandhi Bhawan, New Delhi-110003
Name of Work: ARMO of HVAC Plant at R.G.Bhawan &Expansion Building, New Delhi. .SH: Providing Comprehensive Maintenance Services of 3 x 250 TR Central AC Plant along with BMS. (For Two Years, 2020-21 & 2021-22).
Tender ID: 2020_AAI_52421_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNOWMEX ENGINEERS LIMITED |  | Skyline Airconditioning Engineers Pvt. Ltd. |  | Supertech Engineers |  | Welcome Engineers |  | Blue Star Limited
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Comprehensive maintenance services (preventive & breakdown) of the high side of Central Air conditioning plant comprising of 3X250 TR ( Mc Quay make) water cooled screw chillers installed for A&B block of R.G. Bhawan including attending breakdown, check/repair/overhaul the Chiller equipments as per special condition of Contract. Job also includes to replace its worn out parts as recommended by OEM, replenishing refrigerant, testing & replacing of compressor oil as per manufactures recommendation etc as required and as specified in special conditions of contract. NOTE: BEFORE QUOTING THE RATE, PLEASE REFER TO CLAUSE 1 (b) OF SPCIAL CONDITIONS OF CONTRACT. | 24.00 | Month |  | 59000.00 | 1416000.00 | 10000.00 | 240000.00 | 80000.00 | 1920000.00 | 40500.00 | 972000.00 | 97192.00 | 2332608.00 | 240000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
2.00 | Providing Comprehensive maintenance services (preventive & breakdown) of the 3X250 TR ( Mc Quay make) Central Air conditioning plant (Except chillers) comprising of all machinery equipments cooling towers, AHUs, L.T Panels , In line fans, FCU's, etc installed in A.C plant room and A&B block of R.G. Bhawan. Job also includes operation & maintenance of 3x 250 TR HVAC plant normally from 8 AM to 6 PM by deploying manpower as specified in special conditions of Contract. | 24.00 | Month |  | 99500.00 | 2388000.00 | 198000.00 | 4752000.00 | 112000.00 | 2688000.00 | 135000.00 | 3240000.00 | 139270.00 | 3342480.00 | 2388000.00 | SNOWMEX ENGINEERS LIMITED
3.00 | Providing Comprehensive maintenance services (preventive & breakdown) of the Building Management System associated with Central Air conditioning plant of 3X250 TR installed for A&B block of R.G. Bhawan including attending breakdown, check/repair/overhaul the BMS System as per special condition of Contract. Job also includes operation & maintenance of BMS system normally from 8 AM to 6 PM by deploying manpower as specified in special conditions of Contract. NOTE: BEFORE QUOTING THE RATE, PLEASE REFER TO CLAUSE 1 (c) OF SPCIAL CONDITIONS OF CONTRACT. | 24.00 | Month |  | 19639.00 | 471336.00 | 5000.00 | 120000.00 | 80000.00 | 1920000.00 | 12600.00 | 302400.00 | 77932.00 | 1870368.00 | 120000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
4.00 | Rates for extra hours for operation of AC plant as mentioned in item no. 3
4.01 | Senior Mechanic/BMS Operator | 30.00 | Hr. |  | 10.00 | 300.00 | 80.00 | 2400.00 | 115.00 | 3450.00 | 81.00 | 2430.00 | 130.00 | 3900.00 | 300.00 | SNOWMEX ENGINEERS LIMITED
4.02 | AC Mechanic/AC operator/ Electrician | 60.00 | Hr. |  | 5.00 | 300.00 | 80.00 | 4800.00 | 96.00 | 5760.00 | 81.00 | 4860.00 | 102.00 | 6120.00 | 300.00 | SNOWMEX ENGINEERS LIMITED
4.03 | Khallasi/Helper | 60.00 | Hr. |  | 5.00 | 300.00 | 80.00 | 4800.00 | 80.00 | 4800.00 | 81.00 | 4860.00 | 85.00 | 5100.00 | 300.00 | SNOWMEX ENGINEERS LIMITED
5.00 | Supplying, fixing, testing and commissioning of supply air diffusers of powder coated aluminium with aluminium volume control dampers with anti smudge ring & removable core. | 3.00 | sq.mtr. |  | 5.00 | 15.00 | 1150.00 | 3450.00 | 5000.00 | 15000.00 | 6300.00 | 18900.00 | 2800.00 | 8400.00 | 15.00 | SNOWMEX ENGINEERS LIMITED
6.00 | Supplying, fixing, testing and commissioning of Return air diffusers of powder coated aluminium without volume control dampers with anti smudge ring & removable core. | 3.00 | sq.mtr. |  | 5.00 | 15.00 | 1150.00 | 3450.00 | 4000.00 | 12000.00 | 6300.00 | 18900.00 | 2800.00 | 8400.00 | 15.00 | SNOWMEX ENGINEERS LIMITED
7.00 | Supplying, fixing, testing and commissioning of powder coated extruded aluminium Supply Air Grills with aluminium volume control dampers as per specifications. | 3.00 | sq.mtr. |  | 5.00 | 15.00 | 1150.00 | 3450.00 | 5000.00 | 15000.00 | 6300.00 | 18900.00 | 2000.00 | 6000.00 | 15.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Supplying, fixing, testing and commissioning of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required. | 3.00 | sq.mtr. |  | 5.00 | 15.00 | 1150.00 | 3450.00 | 3500.00 | 10500.00 | 6300.00 | 18900.00 | 2000.00 | 6000.00 | 15.00 | SNOWMEX ENGINEERS LIMITED
9.00 | Supply, installation, balancing and commissioning of site fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as and when required.
9.01 | Thickness 0.63 mm sheet | 10.00 | sq.mtr. |  | 5.00 | 50.00 | 1150.00 | 11500.00 | 750.00 | 7500.00 | 900.00 | 9000.00 | 3000.00 | 30000.00 | 50.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 4276346.00 |  | 5149300.00 |  | 6602010.00 |  | 4611150.00 |  | 7619376.00
Lowest Amount Quoted BY: SNOWMEX ENGINEERS LIMITED(4276346.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of HVAC Plant at R. G. Bhawan and Expansion Building, New Delhi. SH- Providing Comprehensive Maintenance Services of 3 x 250 TR Central AC Plant along with BMS Year - 2020-21 and 2021-22. Tender ID: 2020_AAI_52421_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SNOWMEX ENGINEERS LIMITED | 4276346.00 | L1
| 2 | Welcome Engineers | 4611150.00 | L2
| 3 | Skyline Airconditioning Engineers Pvt. Ltd. | 5149300.00 | L3
| 4 | Supertech Engineers | 6602010.00 | L4
| 5 | Blue Star Limited | 7619376.00 | L5