## BoQ1
Government eProcurement System Created By: Nilmani Deb Barman Created Date/Time: 06-Aug-2020 03:13 PM Tender Title: O and M of Lagoons and CMC of IRP STP Lagoons Colony Electrical Installations etc First Re Call Tender ID: 2020_AAI_52426_1
Tender Inviting Authority: Airports Authority Of India
Name of Work: “RMO other Electrical & Mechanical Installations at NSCBI Airport, Kolkata during 2020-2022. Sub Head: O & M of Lagoons and CMC of IRP, STP, Lagoons, Colony Electrical Installations etc (First Re-Call).
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SOM ENGINEERING WORKS |  | Sterling And Wilson Pvt. Ltd |  | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Package-A;-(AMC & Comprehensive Maintainance of Lagoons) Operation & periodical maintainance of self priming diesel operated pumps units of Lagoon No. 1 & 2 having discharge capacity of 1000 Cumtr/Hr involving operations, repairs and maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records / documents etc by providing manpower in three shift including Sundays and holidays as per tender specifications, terms & conditions.
1.01 | 1st Year | 12.00 | Months |  | 202015.00 | 2424180.00 | 170000.00 | 2040000.00 | 240000.00 | 2880000.00 | 2040000.00 | Sterling And Wilson Pvt. Ltd
1.02 | 2nd Year | 12.00 | Months |  | 202015.00 | 2424180.00 | 170000.00 | 2040000.00 | 240000.00 | 2880000.00 | 2040000.00 | Sterling And Wilson Pvt. Ltd
2.00 | Operation of Self priming centrifugal pumps units having discharge capacity of 800 Cumtr/Hr installed at Lagoon- 4 /watch tower no-2 pump room in one shift with 8 hours per shift by proving one operator (skilled) as on required as per the instruction of Engg-in- Charge.
2.01 | 1st Year | 600.00 | Shifts |  | 866.00 | 519600.00 | 800.00 | 480000.00 | 763.00 | 457800.00 | 457800.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
2.02 | 2nd Year | 600.00 | Shifts |  | 866.00 | 519600.00 | 800.00 | 480000.00 | 763.00 | 457800.00 | 457800.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
3.00 | Periodical preventive maintenance of 7 Nos 38 HP deisel engine installed in operational area by OEM's i. e M/s Kirloskar i/c visit as on when required basis , attending breakdown maintenance calls (excluding spares ) and submission of service report etc. complete required.
3.01 | 1st Year | 4.00 | Jobs |  | 80000.00 | 320000.00 | 40000.00 | 160000.00 | 40000.00 | 160000.00 | 160000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD, Sterling And Wilson Pvt. Ltd
3.02 | 2nd Year | 4.00 | Jobs |  | 80000.00 | 320000.00 | 40000.00 | 160000.00 | 40000.00 | 160000.00 | 160000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD, Sterling And Wilson Pvt. Ltd
4.00 | Breakdown maintainance/ overhauling charges of 38 HP deisel engine by OEM i.e M/s Kirloskar but excluding spares as on when required as per instructions of Engg-in-Charge.
4.01 | 1st Year | 1.00 | Job |  | 20000.00 | 20000.00 | 8000.00 | 8000.00 | 30000.00 | 30000.00 | 8000.00 | Sterling And Wilson Pvt. Ltd
4.02 | 2nd Year | 1.00 | Job |  | 20000.00 | 20000.00 | 8000.00 | 8000.00 | 30000.00 | 30000.00 | 8000.00 | Sterling And Wilson Pvt. Ltd
5.00 | Breakdown maintainance/ overhauling charges but of 38 HP pump model no-APM 350/40 by OEM i.e M/s Kirloskar but excluding spares as on when required as per instructions of Engg-in-Charge.
5.01 | 1st Year | 1.00 | Job |  | 20000.00 | 20000.00 | 10000.00 | 10000.00 | 15000.00 | 15000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
5.02 | 2nd Year | 1.00 | Job |  | 20000.00 | 20000.00 | 10000.00 | 10000.00 | 15000.00 | 15000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
6.00 | Supply of following spares suitable for 38 HP Kirloskar make pump motor set with model no-APM 350/40for as on when required as per instructions of Engg-in-Charge.(1st Year)
6.01 | Vaccum Unit (Part No -SYSYEMPP1) | 1.00 | No |  | 690228.00 | 690228.00 | 315000.00 | 315000.00 | 100000.00 | 100000.00 | 100000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
6.02 | Set of Filter for auto priming vaccum unit | 2.00 | Nos |  | 88358.00 | 176716.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 30000.00 | Sterling And Wilson Pvt. Ltd
6.03 | Pump Shaft (Part No-180) | 2.00 | Nos |  | 43649.00 | 87298.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 20000.00 | Sterling And Wilson Pvt. Ltd
7.00 | Supply of following spares suitable for 38 HP Kirloskar make pump motor set with model no-APM 350/40for as on when required as per instructions of Engg-in-Charge.(2nd Year)
7.01 | Vaccum Unit (Part No -SYSYEMPP1) | 1.00 | No |  | 690228.00 | 690228.00 | 315000.00 | 315000.00 | 100000.00 | 100000.00 | 100000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
7.02 | Set of Filter for auto priming vaccum unit | 2.00 | Nos |  | 88358.00 | 176716.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 30000.00 | Sterling And Wilson Pvt. Ltd
7.03 | Pump Shaft (Part No-180) | 2.00 | Nos |  | 43649.00 | 87298.00 | 10000.00 | 20000.00 | 12000.00 | 24000.00 | 20000.00 | Sterling And Wilson Pvt. Ltd
8.00 | Package-B;-( Comprehensive Maintainance of IRP & Borewells) Complete re-winding/repairing of burnt out 3 Phase 40 HP Pump induction motor of following capacity by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper.
8.01 | 1st Year | 12.00 | Jobs |  | 100.00 | 1200.00 | 25000.00 | 300000.00 | 8000.00 | 96000.00 | 1200.00 | SOM ENGINEERING WORKS
8.02 | 2nd Year | 12.00 | Jobs |  | 1000.00 | 12000.00 | 25000.00 | 300000.00 | 7500.00 | 90000.00 | 12000.00 | SOM ENGINEERING WORKS
9.00 | Complete re-winding/repairing of burnt out 3 Phase 30 HP Pump induction motor of following capacity by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper.
9.01 | 1st Year | 6.00 | Jobs |  | 100.00 | 600.00 | 25000.00 | 150000.00 | 6500.00 | 39000.00 | 600.00 | SOM ENGINEERING WORKS
9.02 | 2nd Year | 6.00 | Jobs |  | 1000.00 | 6000.00 | 25000.00 | 150000.00 | 6500.00 | 39000.00 | 6000.00 | SOM ENGINEERING WORKS
10.00 | Complete re-winding/repairing of burnt out 3 Phase 20 HP Pump induction Motors of following capacity by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper.
10.01 | 1st Year | 3.00 | Jobs |  | 10000.00 | 30000.00 | 20000.00 | 60000.00 | 6000.00 | 18000.00 | 18000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
10.02 | 2nd Year | 3.00 | Jobs |  | 15000.00 | 45000.00 | 20000.00 | 60000.00 | 6000.00 | 18000.00 | 18000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
11.00 | Complete repairing/rectification of 3 Phase 40 HP Pump centrifugal pump of following capacity by providing/replacement of necessary spares and lathe works as per site requirement and condition etc.complete as required.
11.01 | 1st Year | 12.00 | Jobs |  | 100.00 | 1200.00 | 26000.00 | 312000.00 | 5000.00 | 60000.00 | 1200.00 | SOM ENGINEERING WORKS
11.02 | 2nd Year | 12.00 | Jobs |  | 100.00 | 1200.00 | 26000.00 | 312000.00 | 5000.00 | 60000.00 | 1200.00 | SOM ENGINEERING WORKS
12.00 | Complete repairing/rectification of 3 Phase 30 HP Pump centrifugal pump of following capacity by providing/replacement of necessary spares and lathe works as per site requirement and condition etc.complete as required.
12.01 | 1st Year | 6.00 | Jobs |  | 1000.00 | 6000.00 | 25000.00 | 150000.00 | 4500.00 | 27000.00 | 6000.00 | SOM ENGINEERING WORKS
12.02 | 2nd Year | 6.00 | Jobs |  | 1000.00 | 6000.00 | 25000.00 | 150000.00 | 4500.00 | 27000.00 | 6000.00 | SOM ENGINEERING WORKS
13.00 | Complete repairing/rectification of 3 Phase 20 HP centrifugal pump of following capacity by providing/replacement of necessary spares and lathe works as per site requirement and condition etc.complete as required.
13.01 | 1st Year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 18000.00 | 54000.00 | 4000.00 | 12000.00 | 12000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
13.02 | 2nd Year | 3.00 | Jobs |  | 6000.00 | 18000.00 | 18000.00 | 54000.00 | 4000.00 | 12000.00 | 12000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
14.00 | Lowering and lifting of following capacity submersible pump motors set from existing deep tube well i/c dismentalling and reinstalltion of the same etc. complete . as required. a) 15 HP to 30 HP
14.01 | 1st Year | 10.00 | Jobs |  | 9000.00 | 90000.00 | 8000.00 | 80000.00 | 4000.00 | 40000.00 | 40000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
14.02 | 2nd Year | 10.00 | Jobs |  | 10000.00 | 100000.00 | 8000.00 | 80000.00 | 4000.00 | 40000.00 | 40000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
15.00 | Lowering and lifting of following capacity submersible pump motors set from existing deep tube well i/c dismentalling and reinstalltion of the same etc. complete . as required. b) 10 HP to 12.5 HP
15.01 | 1st Year | 6.00 | Jobs |  | 8000.00 | 48000.00 | 6500.00 | 39000.00 | 4000.00 | 24000.00 | 24000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
15.02 | 2nd Year | 6.00 | Jobs |  | 8500.00 | 51000.00 | 6500.00 | 39000.00 | 4000.00 | 24000.00 | 24000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
16.00 | Lowering and lifting of following capacity submersible pump motors set from existing deep tube well i/c dismentalling and reinstalltion of the same etc. complete . as required. c) 2 HP to 7.5 HP
16.01 | 1st Year | 4.00 | Jobs |  | 5500.00 | 22000.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 12000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
16.02 | 2nd Year | 4.00 | Jobs |  | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 12000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
17.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. a) 25 HP
17.01 | 1st Year | 1.00 | Job |  | 100.00 | 100.00 | 22500.00 | 22500.00 | 9000.00 | 9000.00 | 100.00 | SOM ENGINEERING WORKS
17.02 | 2nd Year | 1.00 | Job |  | 100.00 | 100.00 | 22500.00 | 22500.00 | 9000.00 | 9000.00 | 100.00 | SOM ENGINEERING WORKS
18.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. a) 20 HP
18.01 | 1st Year | 3.00 | Jobs |  | 15000.00 | 45000.00 | 18500.00 | 55500.00 | 6000.00 | 18000.00 | 18000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
18.02 | 2nd Year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 18500.00 | 55500.00 | 6000.00 | 18000.00 | 15000.00 | SOM ENGINEERING WORKS
19.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. b) 15 HP
19.01 | 1st Year | 3.00 | Jobs |  | 100.00 | 300.00 | 17500.00 | 52500.00 | 5000.00 | 15000.00 | 300.00 | SOM ENGINEERING WORKS
19.02 | 2nd Year | 3.00 | Jobs |  | 12000.00 | 36000.00 | 17500.00 | 52500.00 | 5000.00 | 15000.00 | 15000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
20.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. c) 12.5 HP
20.01 | 1st Year | 6.00 | Jobs |  | 100.00 | 600.00 | 13500.00 | 81000.00 | 3000.00 | 18000.00 | 600.00 | SOM ENGINEERING WORKS
20.02 | 2nd Year | 6.00 | Jobs |  | 100.00 | 600.00 | 13500.00 | 81000.00 | 3000.00 | 18000.00 | 600.00 | SOM ENGINEERING WORKS
21.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. d) 10 HP
21.01 | 1st Year | 1.00 | Job |  | 10000.00 | 10000.00 | 12500.00 | 12500.00 | 5000.00 | 5000.00 | 5000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
21.02 | 2nd Year | 1.00 | Job |  | 100.00 | 100.00 | 12500.00 | 12500.00 | 5000.00 | 5000.00 | 100.00 | SOM ENGINEERING WORKS
22.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. e) 7.5 HP
22.01 | 1st Year | 1.00 | Job |  | 8000.00 | 8000.00 | 9500.00 | 9500.00 | 4000.00 | 4000.00 | 4000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
22.02 | 2nd Year | 1.00 | Job |  | 7000.00 | 7000.00 | 9500.00 | 9500.00 | 4000.00 | 4000.00 | 4000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
23.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. f) 2 to 5 HP
23.01 | 1st Year | 2.00 | Jobs |  | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
23.02 | 2nd Year | 2.00 | Jobs |  | 100.00 | 200.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 200.00 | SOM ENGINEERING WORKS
24.00 | Dismantling complete overhauling, repairing, remetaling, machining, balancing of impeller, shaft, housing cover etc. for following capacity Booster pump painting and reassembling etc. a) 40 HP
24.01 | 1st Year | 6.00 | Jobs |  | 100.00 | 600.00 | 30000.00 | 180000.00 | 9000.00 | 54000.00 | 600.00 | SOM ENGINEERING WORKS
24.02 | 2nd Year | 6.00 | Jobs |  | 100.00 | 600.00 | 30000.00 | 180000.00 | 9500.00 | 57000.00 | 600.00 | SOM ENGINEERING WORKS
25.00 | Dismantling complete overhauling, repairing, remetaling, machining, balancing of impeller, shaft, housing cover etc. for following capacity Booster pump painting and reassembling etc. a) 30HP
25.01 | 1st Year | 3.00 | Jobs |  | 100.00 | 300.00 | 22500.00 | 67500.00 | 9000.00 | 27000.00 | 300.00 | SOM ENGINEERING WORKS
25.02 | 2nd Year | 3.00 | Jobs |  | 100.00 | 300.00 | 22500.00 | 67500.00 | 9000.00 | 27000.00 | 300.00 | SOM ENGINEERING WORKS
26.00 | Dismantling complete overhauling, repairing, remetaling, machining, balancing of impeller, shaft, housing cover etc. for following capacity Booster pump painting and reassembling etc. b) 20 HP
26.01 | 1st Year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 19500.00 | 58500.00 | 8000.00 | 24000.00 | 15000.00 | SOM ENGINEERING WORKS
26.02 | 2nd Year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 19500.00 | 58500.00 | 8000.00 | 24000.00 | 15000.00 | SOM ENGINEERING WORKS
27.00 | Replacement of pump shaft i/c metaling machining of impeller, housing cover etc. as reqd., for the following pumps: a) 40 HP
27.01 | 1st Year | 6.00 | Jobs |  | 100.00 | 600.00 | 26500.00 | 159000.00 | 5000.00 | 30000.00 | 600.00 | SOM ENGINEERING WORKS
27.02 | 2nd Year | 6.00 | Jobs |  | 100.00 | 600.00 | 26500.00 | 159000.00 | 5500.00 | 33000.00 | 600.00 | SOM ENGINEERING WORKS
28.00 | Replacement of pump shaft i/c metaling machining of impeller, housing cover etc. as reqd., for the following pumps: a) 30 HP
28.01 | 1st Year | 3.00 | Jobs |  | 100.00 | 300.00 | 19500.00 | 58500.00 | 5000.00 | 15000.00 | 300.00 | SOM ENGINEERING WORKS
28.02 | 2nd Year | 3.00 | Jobs |  | 100.00 | 300.00 | 19500.00 | 58500.00 | 5000.00 | 15000.00 | 300.00 | SOM ENGINEERING WORKS
29.00 | Replacement of pump shaft i/c metaling machining of impeller, housing cover etc. as reqd., for the following pumps: b) 20 HP
29.01 | 1st Year | 3.00 | Jobs |  | 100.00 | 300.00 | 16500.00 | 49500.00 | 4800.00 | 14400.00 | 300.00 | SOM ENGINEERING WORKS
29.02 | 2nd Year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 16500.00 | 49500.00 | 5500.00 | 16500.00 | 15000.00 | SOM ENGINEERING WORKS
30.00 | Complete re-winding of burnt out following capacity motor suitable for Air Blower meant for IRP plant of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 5 HP
30.01 | 1st Year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 9500.00 | 28500.00 | 4000.00 | 12000.00 | 12000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
30.02 | 2nd Year | 3.00 | Jobs |  | 100.00 | 300.00 | 9500.00 | 28500.00 | 4000.00 | 12000.00 | 300.00 | SOM ENGINEERING WORKS
31.00 | Complete re-winding of burnt out following capacity motor suitable for Air Blower meant for IRP plant of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 1.5 HP
31.01 | 1st Year | 2.00 | Jobs |  | 100.00 | 200.00 | 6500.00 | 13000.00 | 3500.00 | 7000.00 | 200.00 | SOM ENGINEERING WORKS
31.02 | 2nd Year | 2.00 | Jobs |  | 100.00 | 200.00 | 6500.00 | 13000.00 | 3000.00 | 6000.00 | 200.00 | SOM ENGINEERING WORKS
32.00 | Complete re-winding of burnt out following capacity motor suitable for Air Compressor meant for IRP plant of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 10HP to 12.5HP
32.01 | 1st Year | 4.00 | Jobs |  | 5000.00 | 20000.00 | 16500.00 | 66000.00 | 5000.00 | 20000.00 | 20000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD, SOM ENGINEERING WORKS
32.02 | 2nd Year | 4.00 | Jobs |  | 100.00 | 400.00 | 16500.00 | 66000.00 | 5000.00 | 20000.00 | 400.00 | SOM ENGINEERING WORKS
33.00 | Complete re-winding of burnt out following capacity motor suitable for Air Compressor meant for IRP plant of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 7.5HP
33.01 | 1st Year | 2.00 | Jobs |  | 200.00 | 400.00 | 11500.00 | 23000.00 | 5500.00 | 11000.00 | 400.00 | SOM ENGINEERING WORKS
33.02 | 2nd Year | 2.00 | Jobs |  | 200.00 | 400.00 | 11500.00 | 23000.00 | 6000.00 | 12000.00 | 400.00 | SOM ENGINEERING WORKS
34.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size gate valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. a) 6 inch dia Gate Valve
34.01 | 1st Year | 2.00 | Jobs |  | 200.00 | 400.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 400.00 | SOM ENGINEERING WORKS
34.02 | 2nd Year | 2.00 | Jobs |  | 200.00 | 400.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 400.00 | SOM ENGINEERING WORKS
35.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size gate valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. a) 5 inch dia Gate Valve
35.01 | 1st Year | 2.00 | Jobs |  | 200.00 | 400.00 | 2200.00 | 4400.00 | 3500.00 | 7000.00 | 400.00 | SOM ENGINEERING WORKS
35.02 | 2nd Year | 2.00 | Jobs |  | 200.00 | 400.00 | 2200.00 | 4400.00 | 3500.00 | 7000.00 | 400.00 | SOM ENGINEERING WORKS
36.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size gate valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. b) 4 inch dia Gate Valve
36.01 | 1st Year | 2.00 | Jobs |  | 200.00 | 400.00 | 1800.00 | 3600.00 | 3000.00 | 6000.00 | 400.00 | SOM ENGINEERING WORKS
36.02 | 2nd Year | 2.00 | Jobs |  | 200.00 | 400.00 | 1800.00 | 3600.00 | 3000.00 | 6000.00 | 400.00 | SOM ENGINEERING WORKS
37.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size gate valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. c) 3 inch dia Gate valve.
37.01 | 1st Year | 2.00 | Jobs |  | 200.00 | 400.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 400.00 | SOM ENGINEERING WORKS
37.02 | 2nd Year | 2.00 | Jobs |  | 200.00 | 400.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 400.00 | SOM ENGINEERING WORKS
38.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size butterfly valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. a) 6 inch dia Butterfly Valve
38.01 | 1st Year | 2.00 | Jobs |  | 200.00 | 400.00 | 2750.00 | 5500.00 | 4500.00 | 9000.00 | 400.00 | SOM ENGINEERING WORKS
38.02 | 2nd Year | 2.00 | Jobs |  | 200.00 | 400.00 | 2750.00 | 5500.00 | 4000.00 | 8000.00 | 400.00 | SOM ENGINEERING WORKS
39.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size butterfly valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. b) 5 inch dia butterfly valve
39.01 | 1st Year | 3.00 | Jobs |  | 100.00 | 300.00 | 2250.00 | 6750.00 | 3600.00 | 10800.00 | 300.00 | SOM ENGINEERING WORKS
39.02 | 2nd Year | 3.00 | Jobs |  | 100.00 | 300.00 | 2250.00 | 6750.00 | 3600.00 | 10800.00 | 300.00 | SOM ENGINEERING WORKS
40.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size butterfly valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. c) 4 inch dia butterfly valve
40.01 | 1st Year | 20.00 | Jobs |  | 2500.00 | 50000.00 | 1800.00 | 36000.00 | 3000.00 | 60000.00 | 36000.00 | Sterling And Wilson Pvt. Ltd
40.02 | 2nd Year | 20.00 | Jobs |  | 3000.00 | 60000.00 | 1800.00 | 36000.00 | 3000.00 | 60000.00 | 36000.00 | Sterling And Wilson Pvt. Ltd
41.00 | Complete dismantling, Repairing, Overhauling and re-installation of all damage Gate valve and Non-retun valve for various boewell of Submarsible pump and Booster pump of IRP i/c providing necessary accessories (if required) complete as reqd. d) 3 inch dia butterfly valve
41.01 | 1st Year | 2.00 | Jobs |  | 100.00 | 200.00 | 1500.00 | 3000.00 | 1400.00 | 2800.00 | 200.00 | SOM ENGINEERING WORKS
41.02 | 2nd Year | 2.00 | Jobs |  | 100.00 | 200.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 200.00 | SOM ENGINEERING WORKS
42.00 | Rectification of borewell star-delta/DOL starter panel by replacing the following spares as on required basis and as per the instruction of Engg-in-Charge etc. complete as required.(1st Year)
42.01 | a) 4P MNX-40/MNX-50 Power Contactor | 10.00 | Nos |  | 7268.00 | 72680.00 | 3100.00 | 31000.00 | 4000.00 | 40000.00 | 31000.00 | Sterling And Wilson Pvt. Ltd
42.02 | b) 4P ML-2/ML-3 Power Contactor | 10.00 | Nos |  | 9671.00 | 96710.00 | 3000.00 | 30000.00 | 3000.00 | 30000.00 | 30000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD, Sterling And Wilson Pvt. Ltd
42.03 | c) ML-2/ML-3 relay | 20.00 | Nos |  | 5117.00 | 102340.00 | 2750.00 | 55000.00 | 2000.00 | 40000.00 | 40000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
42.04 | d) Timer switch suitable to site requirement. | 20.00 | Nos |  | 4838.00 | 96760.00 | 2500.00 | 50000.00 | 1500.00 | 30000.00 | 30000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
42.05 | e) Over load relay as suitable to site requirement. | 5.00 | Nos |  | 6147.00 | 30735.00 | 3200.00 | 16000.00 | 1300.00 | 6500.00 | 6500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
42.06 | f) Rotary Switch as suitable to site requirement | 5.00 | Nos |  | 3690.00 | 18450.00 | 2100.00 | 10500.00 | 500.00 | 2500.00 | 2500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
42.07 | g) 3 Phase Ammeter as suitable to site requirement. | 3.00 | Nos |  | 3600.00 | 10800.00 | 1200.00 | 3600.00 | 1400.00 | 4200.00 | 3600.00 | Sterling And Wilson Pvt. Ltd
42.08 | h) 3 Voltmeter as suitable to site requirement. | 3.00 | Nos |  | 3510.00 | 10530.00 | 1400.00 | 4200.00 | 1400.00 | 4200.00 | 4200.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD, Sterling And Wilson Pvt. Ltd
43.00 | Rectification of borewell star-delta/DOL starter panel by replacing the following spares as on required basis and as per the instruction of Engg-in-Charge etc. complete as required.(2nd Year)
43.01 | a) 4P MNX-40/MNX-50 Power Contactor | 10.00 | Nos |  | 8123.00 | 81230.00 | 3100.00 | 31000.00 | 4000.00 | 40000.00 | 31000.00 | Sterling And Wilson Pvt. Ltd
43.02 | b) ML-2/ML-3 Power Contactor | 10.00 | Nos |  | 10764.00 | 107640.00 | 3000.00 | 30000.00 | 3200.00 | 32000.00 | 30000.00 | Sterling And Wilson Pvt. Ltd
43.03 | c) ML-2/ML-3 relay | 20.00 | Nos |  | 5760.00 | 115200.00 | 2750.00 | 55000.00 | 2000.00 | 40000.00 | 40000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
43.04 | d) Timer switch as suitable to site requirement. | 20.00 | Nos |  | 5450.00 | 109000.00 | 2500.00 | 50000.00 | 1500.00 | 30000.00 | 30000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
43.05 | e) Over load relay as suitable to site requirement. | 5.00 | Nos |  | 6930.00 | 34650.00 | 3200.00 | 16000.00 | 1300.00 | 6500.00 | 6500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
43.06 | f) Rotary Switch as suitable to site requirement | 5.00 | Nos |  | 4185.00 | 20925.00 | 2100.00 | 10500.00 | 500.00 | 2500.00 | 2500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
43.07 | g) 3 Phase Ammeter as suitable to site requirement. | 3.00 | Nos |  | 4095.00 | 12285.00 | 1200.00 | 3600.00 | 1400.00 | 4200.00 | 3600.00 | Sterling And Wilson Pvt. Ltd
43.08 | h) 3 Voltmeter as suitable to site requirement. | 3.00 | Nos |  | 4005.00 | 12015.00 | 1400.00 | 4200.00 | 1400.00 | 4200.00 | 4200.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD, Sterling And Wilson Pvt. Ltd
44.00 | PACKAGE - C (Comprehensive maintenance of STP) Dismantling the damaged Sub-mersible pump-motor suitable for raw sewage and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. a) 12.5 HP
44.01 | 1st Year | 2.00 | Jobs |  | 25000.00 | 50000.00 | 12500.00 | 25000.00 | 6000.00 | 12000.00 | 12000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
44.02 | 2nd Year | 2.00 | Jobs |  | 4000.00 | 8000.00 | 12500.00 | 25000.00 | 6000.00 | 12000.00 | 8000.00 | SOM ENGINEERING WORKS
45.00 | Complete re-winding of burnt out Motors for following capacity suitable for raw sewage ariation tank by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 25 HP
45.01 | 1st Year | 2.00 | Jobs |  | 25000.00 | 50000.00 | 18500.00 | 37000.00 | 6500.00 | 13000.00 | 13000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
45.02 | 2nd Year | 2.00 | Jobs |  | 5000.00 | 10000.00 | 18500.00 | 37000.00 | 7000.00 | 14000.00 | 10000.00 | SOM ENGINEERING WORKS
46.00 | Complete re-winding and overhauling of burnt out Raw Sewage Centrifugal pump motor set for following capacity of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 20 HP Pump
46.01 | 1st Year | 2.00 | Jobs |  | 100.00 | 200.00 | 17000.00 | 34000.00 | 6000.00 | 12000.00 | 200.00 | SOM ENGINEERING WORKS
46.02 | 2nd Year | 2.00 | Jobs |  | 100.00 | 200.00 | 17000.00 | 34000.00 | 6000.00 | 12000.00 | 200.00 | SOM ENGINEERING WORKS
47.00 | Complete re-winding and overhauling of burnt out Raw Sewage Centrifugal pump motor set for following capacity of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 10 HP Pump
47.01 | 1st Year | 3.00 | Jobs |  | 500.00 | 1500.00 | 12500.00 | 37500.00 | 5500.00 | 16500.00 | 1500.00 | SOM ENGINEERING WORKS
47.02 | 2nd Year | 3.00 | Jobs |  | 500.00 | 1500.00 | 12500.00 | 37500.00 | 5500.00 | 16500.00 | 1500.00 | SOM ENGINEERING WORKS
48.00 | Complete re-winding and overhauling of burnt out Raw Sewage Centrifugal pump motor set for following capacity of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 7.5 HP Pump
48.01 | 1st Year | 3.00 | Jobs |  | 1000.00 | 3000.00 | 9500.00 | 28500.00 | 5000.00 | 15000.00 | 3000.00 | SOM ENGINEERING WORKS
48.02 | 2nd Year | 3.00 | Jobs |  | 2000.00 | 6000.00 | 9500.00 | 28500.00 | 5000.00 | 15000.00 | 6000.00 | SOM ENGINEERING WORKS
49.00 | Complete re-winding and overhauling of burnt out Raw Sewage Centrifugal pump motor set for following capacity of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 5 HP Pump
49.01 | 1st Year | 4.00 | Jobs |  | 1000.00 | 4000.00 | 7750.00 | 31000.00 | 5000.00 | 20000.00 | 4000.00 | SOM ENGINEERING WORKS
49.02 | 2nd Year | 4.00 | Jobs |  | 500.00 | 2000.00 | 7750.00 | 31000.00 | 5000.00 | 20000.00 | 2000.00 | SOM ENGINEERING WORKS
50.00 | Dewatering of sewage water from scrapper unit, screen chamber, Areator chamber, wet well of filter pump, inlet chamber of raw sewage pump house etc as required.
50.01 | 1st Year | 750.00 | Cu.M |  | 20.00 | 15000.00 | 450.00 | 337500.00 | 2.00 | 1500.00 | 1500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
50.02 | 2nd Year | 750.00 | Cu.M |  | 30.00 | 22500.00 | 450.00 | 337500.00 | 3.00 | 2250.00 | 2250.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
51.00 | Removal of sludge from drying bed, scrapper chamber, Aerator chamber, wet well of filtrate pump, inlet chamber of raw sewage pump house etc as required.
51.01 | 1st Year | 1750.00 | Cu.M |  | 1.00 | 1750.00 | 300.00 | 525000.00 | 30.00 | 52500.00 | 1750.00 | SOM ENGINEERING WORKS
51.02 | 2nd Year | 1750.00 | Cu.M |  | 90.00 | 157500.00 | 300.00 | 525000.00 | 40.00 | 70000.00 | 70000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
52.00 | Filling of filler media (sand) of different size in drying bed etc as required. a) Fine sand
52.01 | 1st Year | 350.00 | Cu.M |  | 1.00 | 350.00 | 300.00 | 105000.00 | 200.00 | 70000.00 | 350.00 | SOM ENGINEERING WORKS
52.02 | 2nd Year | 350.00 | Cu.M |  | 1000.00 | 350000.00 | 300.00 | 105000.00 | 250.00 | 87500.00 | 87500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
53.00 | Filling of filler media (sand) of different size in drying bed etc as required. b) Course sand
53.01 | 1st Year | 200.00 | Cu.M |  | 1.00 | 200.00 | 300.00 | 60000.00 | 120.00 | 24000.00 | 200.00 | SOM ENGINEERING WORKS
53.02 | 2nd Year | 200.00 | Cu.M |  | 1000.00 | 200000.00 | 300.00 | 60000.00 | 200.00 | 40000.00 | 40000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
54.00 | Dismantling the damage cage portion of the scraper unit and fabricating the same with MS angle of size 75mm X 75mm X 10mm, MS plate of size 6000mm X 250mm X 10mm and MS strip of size 30mm X 5mm X 100mm by welding i/c supply & fixing of special type neoprine rubber, Nut, Bolt and Washer etc as required.
54.01 | 1st Year | 1.00 | Job |  | 100.00 | 100.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 100.00 | SOM ENGINEERING WORKS
54.02 | 2nd Year | 1.00 | Job |  | 10000.00 | 10000.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 10000.00 | SOM ENGINEERING WORKS
55.00 | Supply & Fixing of 150mm dia double flanged butterfly valve (KIRLOSKAR/AAI approved make) to the discharge line of drying beds etc as required.
55.01 | 1st Year | 6.00 | Nos |  | 100.00 | 600.00 | 3500.00 | 21000.00 | 4000.00 | 24000.00 | 600.00 | SOM ENGINEERING WORKS
55.02 | 2nd Year | 6.00 | Nos |  | 100.00 | 600.00 | 3500.00 | 21000.00 | 4000.00 | 24000.00 | 600.00 | SOM ENGINEERING WORKS
56.00 | Supply & Fixing of 200mm dia double flanged butterfly valve (KIRLOSKAR/AAI approved make) to the discharge line of drying beds etc as required.
56.01 | 1st Year | 8.00 | Nos |  | 100.00 | 800.00 | 3500.00 | 28000.00 | 4500.00 | 36000.00 | 800.00 | SOM ENGINEERING WORKS
56.02 | 2nd Year | 8.00 | Nos |  | 100.00 | 800.00 | 3500.00 | 28000.00 | 4500.00 | 36000.00 | 800.00 | SOM ENGINEERING WORKS
57.00 | Package-D (Comprehensive Maintainance of Colony) Disconnecting,dismantling & removing of different sizes of burnt-out/defective fans from existing location and then rewinding with suitable size of super enamelled copper wire, varnishining,baking & re-assembling the fan i/c painting the fan,overhauling, re-installation,testing etc. i/c replacement of G. M Bush,Ball Bearing, complete as required.
58.00 | i) 12" to 18" sweep, AC 230 V Exhaust Fan
58.01 | 1st Year | 100.00 | Nos |  | 637.00 | 63700.00 | 1100.00 | 110000.00 | 500.00 | 50000.00 | 50000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
58.02 | 2nd Year | 100.00 | Nos |  | 650.00 | 65000.00 | 1100.00 | 110000.00 | 500.00 | 50000.00 | 50000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
59.00 | ii) 48"/56" sweep, AC 230 V ceiling fan
59.01 | 1st Year | 300.00 | Nos |  | 510.00 | 153000.00 | 800.00 | 240000.00 | 450.00 | 135000.00 | 135000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
59.02 | 2nd Year | 300.00 | Nos |  | 520.00 | 156000.00 | 800.00 | 240000.00 | 450.00 | 135000.00 | 135000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
60.00 | iii) 12" to 18" sweep, AC 230 V Exhaust Fan i/c replacement of Static Shaft.
60.01 | 1st Year | 50.00 | Nos |  | 314.00 | 15700.00 | 1350.00 | 67500.00 | 190.00 | 9500.00 | 9500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
60.02 | 2nd Year | 50.00 | Nos |  | 320.00 | 16000.00 | 1350.00 | 67500.00 | 190.00 | 9500.00 | 9500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
61.00 | iv) 48"/56" sweep, AC 230 V ceiling fan i/c replacement Static Shaft.
61.01 | 1st Year | 80.00 | Nos |  | 196.00 | 15680.00 | 1650.00 | 132000.00 | 175.00 | 14000.00 | 14000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
61.02 | 2nd Year | 80.00 | Nos |  | 200.00 | 16000.00 | 1650.00 | 132000.00 | 175.00 | 14000.00 | 14000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
62.00 | Replacement of old resistance type defective ragulator by new ragulator as per requirment.
62.01 | 1st Year | 250.00 | Nos |  | 167.00 | 41750.00 | 100.00 | 25000.00 | 80.00 | 20000.00 | 20000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
62.02 | 2nd Year | 250.00 | Nos |  | 170.00 | 42500.00 | 100.00 | 25000.00 | 80.00 | 20000.00 | 20000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
63.00 | Reparing of existing Gysers of different capacity by replacing the following with new spare i/c dismantaling, re-installtion, disconnection & re-connection of power supply i/c testing, commissioning etc complete as required.
64.00 | i) Heating element
64.01 | 1st Year | 20.00 | Nos |  | 1098.00 | 21960.00 | 400.00 | 8000.00 | 700.00 | 14000.00 | 8000.00 | Sterling And Wilson Pvt. Ltd
64.02 | 2nd Year | 20.00 | Nos |  | 1120.00 | 22400.00 | 400.00 | 8000.00 | 700.00 | 14000.00 | 8000.00 | Sterling And Wilson Pvt. Ltd
65.00 | ii) Thermostat
65.01 | 1st Year | 20.00 | Nos |  | 813.00 | 16260.00 | 900.00 | 18000.00 | 300.00 | 6000.00 | 6000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
65.02 | 2nd Year | 20.00 | Nos |  | 829.00 | 16580.00 | 900.00 | 18000.00 | 300.00 | 6000.00 | 6000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
66.00 | iii) Indicator lamp
66.01 | 1st Year | 25.00 | Nos |  | 108.00 | 2700.00 | 200.00 | 5000.00 | 49.00 | 1225.00 | 1225.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
66.02 | 2nd Year | 25.00 | Nos |  | 110.00 | 2750.00 | 200.00 | 5000.00 | 49.00 | 1225.00 | 1225.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
67.00 | iv) Connecting tube
67.01 | 1st Year | 25.00 | Nos |  | 206.00 | 5150.00 | 150.00 | 3750.00 | 130.00 | 3250.00 | 3250.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
67.02 | 2nd Year | 25.00 | Nos |  | 210.00 | 5250.00 | 150.00 | 3750.00 | 130.00 | 3250.00 | 3250.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
68.00 | The execution of Delhi Schedule of Rates (E&M) 2018 of estimated amount of Rs 1,00,000.00 Items mentioned in Chapter 1 to Chapter 17 including Appendix-I & II as when required basis for repair/maintenance/ addition / alteration etc.of internal and External Electrical installations. [Quoting in the Rate 10% below the Estimated amount of Rs 1,50,000.00 means amount will be Rs.1,35,000/-. Similarly Quoting in the Rate 10% above the Estimated amount of Rs 1,00,000.00 means amount will be Rs. 1,65,000/- (Note: Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR-2018) (For 1st Year) | 1.00 | Job |  | 90026.00 | 90026.00 | 90000.00 | 90000.00 | 30000.00 | 30000.00 | 30000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
69.00 | The execution of Delhi Schedule of Rates (E&M) 2018 of estimated amount of Rs 1,00,000.00 Items mentioned in Chapter 1 to Chapter 17 including Appendix-I & II as when required basis for repair/maintenance/ addition / alteration etc.of internal and External Electrical installations. [Quoting in the Rate 10% below the Estimated amount of Rs 1,60,000.00 means amount will be Rs.1.34,,000/-. Similarly Quoting in the Rate 10% above the Estimated amount of Rs 1,00,000.00 means amount will be Rs. 1,,66,000/- (Note: Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR-2018) (For 2nd Year) | 1.00 | Job |  | 96000.00 | 96000.00 | 90000.00 | 90000.00 | 30000.00 | 30000.00 | 30000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
| Total in Figures |  |  |  |  | 12020000.00 |  | 14852600.00 |  | 10486400.00
Lowest Amount Quoted BY: GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD(10486400.00)

## BOQ Summary
BOQ Summary Details Tender Title: O and M of Lagoons and CMC of IRP STP Lagoons Colony Electrical Installations etc First Re Call Tender ID: 2020_AAI_52426_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD | 10486400.00 | L1
| 2 | SOM ENGINEERING WORKS | 12020000.00 | L2
| 3 | Sterling And Wilson Pvt. Ltd | 14852600.00 | L3