## BoQ1
Government eProcurement System Created By: SACHIN KUMAR MITTAL Created Date/Time: 28-Jul-2020 02:31 PM Tender Title: ARMO of HVAC Plant at R.G. Bhawan and Expansion Building, New Delhi. SH-Providing Comprehensive Maintenance Services of 3 x 225 TR Central AC Plant along with BMS Year - 2020-21 and 2021-22 Tender ID: 2020_AAI_52521_1
Tender Inviting Authority: AGM (Engg.-Elect.)-II, IMU, CHQ, Rajiv Gandhi Bhawan, New Delhi-110003
Name of Work: ARMO of HVAC Plant at R.G.Bhawan & Expansion Building, New Delhi. .SH: Providing Comprehensive Maintenance Services of 3 x 225 TR Central AC Plant along with BMS.(Year - 2020-21 & 2021-22).
Tender ID: 2020_AAI_52521__1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNOWMEX ENGINEERS LIMITED |  | Skyline Airconditioning Engineers Pvt. Ltd. |  | Supertech Engineers |  | Welcome Engineers |  | Blue Star Limited
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Comprehensive maintenance services (preventive & breakdown) of the high side of Central Air conditioning plant comprising of 3X225 TR ( York make) water cooled screw chillers installed for C block of R.G. Bhawan including attending breakdown, check/repair/overhaul the Chiller equipments as per special condition of Contract. Job also includes to replace its worn out parts as recommended by OEM, replenishing refrigerant, testing & replacing of compressor oil as per manufactures recommendation etc as required and as specified in special conditions of contract. NOTE: BEFORE QUOTING THE RATE, PLEASE REFER TO CLAUSE 1 (b) OF SPECIAL CONDITIONS OF CONTRACT. | 24.00 | Month |  | 80000.00 | 1920000.00 | 10000.00 | 240000.00 | 120000.00 | 2880000.00 | 45000.00 | 1080000.00 | 92753.00 | 2226072.00 | 240000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
2.00 | Providing Comprehensive maintenance services (preventive & breakdown) of the 3X225 TR ( York make) Central Air conditioning plant (Except chillers) comprising of all machinery equipments cooling towers, AHUs, L.T Panels , In line fans, FCU's, etc installed in A.C plant room and A&B block of R.G. Bhawan. Job also includes operation & maintenance of 3x 225 TR HVAC plant normally from 8 AM to 6 PM by deploying manpower as specified in special conditions of Contract. | 24.00 | Month |  | 104500.00 | 2508000.00 | 218000.00 | 5232000.00 | 117400.00 | 2817600.00 | 135000.00 | 3240000.00 | 160000.00 | 3840000.00 | 2508000.00 | SNOWMEX ENGINEERS LIMITED
3.00 | Providing Comprehensive maintenance services (preventive & breakdown) of the Building Management System associated with Central Air conditioning plant of 3X225 TR installed for C block of R.G. Bhawan including attending breakdown, check/repair/overhaul the BMS System as per special condition of Contract. Job also includes operation & maintenance of BMS system normally from 8 AM to 6 PM by deploying manpower as specified in special conditions of Contract. NOTE: BEFORE QUOTING THE RATE, PLEASE REFER TO CLAUSE 1 (c) OF SPCIAL CONDITIONS OF CONTRACT. | 24.00 | Month |  | 17000.00 | 408000.00 | 5000.00 | 120000.00 | 85000.00 | 2040000.00 | 27000.00 | 648000.00 | 82390.00 | 1977360.00 | 120000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
4.00 | Rates for extra hours for operation of AC plant as mentioned in item no. 3
4.01 | Senior Mechanic/BMS Operator | 30.00 | Hr. |  | 10.00 | 300.00 | 80.00 | 2400.00 | 115.00 | 3450.00 | 81.00 | 2430.00 | 130.00 | 3900.00 | 300.00 | SNOWMEX ENGINEERS LIMITED
4.02 | AC Mechanic/AC operator/ Electrician | 60.00 | Hr. |  | 10.00 | 600.00 | 80.00 | 4800.00 | 96.00 | 5760.00 | 81.00 | 4860.00 | 102.00 | 6120.00 | 600.00 | SNOWMEX ENGINEERS LIMITED
4.03 | Khallasi/Helper | 60.00 | Hr. |  | 10.00 | 600.00 | 80.00 | 4800.00 | 80.00 | 4800.00 | 81.00 | 4860.00 | 85.00 | 5100.00 | 600.00 | SNOWMEX ENGINEERS LIMITED
5.00 | Supplying, fixing, testing and commissioning of supply air diffusers of powder coated aluminium with aluminium volume control dampers with anti smudge ring & removable core. | 3.00 | sq.mtr. |  | 10.00 | 30.00 | 7400.00 | 22200.00 | 5000.00 | 15000.00 | 6300.00 | 18900.00 | 2800.00 | 8400.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
6.00 | Supplying, fixing, testing and commissioning of Return air diffusers of powder coated aluminium without volume control dampers with anti smudge ring & removable core. | 3.00 | sq.mtr. |  | 10.00 | 30.00 | 7400.00 | 22200.00 | 4000.00 | 12000.00 | 6300.00 | 18900.00 | 2800.00 | 8400.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
7.00 | Supplying, fixing, testing and commissioning of powder coated extruded aluminium Supply Air Grills with aluminium volume control dampers as per specifications. | 3.00 | sq.mtr. |  | 10.00 | 30.00 | 7400.00 | 22200.00 | 5000.00 | 15000.00 | 6300.00 | 18900.00 | 2000.00 | 6000.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Supplying, fixing, testing and commissioning of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required. | 3.00 | sq.mtr. |  | 10.00 | 30.00 | 7400.00 | 22200.00 | 3500.00 | 10500.00 | 6300.00 | 18900.00 | 2000.00 | 6000.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
9.00 | Supply, installation, balancing and commissioning of site fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as and when required.
9.01 | Thickness 0.63 mm sheet | 10.00 | sq.mtr. |  | 10.00 | 100.00 | 1250.00 | 12500.00 | 750.00 | 7500.00 | 900.00 | 9000.00 | 3000.00 | 30000.00 | 100.00 | SNOWMEX ENGINEERS LIMITED
10.00 | Upgradation of BMS software(Webs Ax) from old version to latest version including replacement of router/Jace web 600 complete with testing and commissioning as required. | 1.00 | Job |  | 50000.00 | 50000.00 | 550000.00 | 550000.00 | 175000.00 | 175000.00 | 630000.00 | 630000.00 | 600000.00 | 600000.00 | 50000.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 4887720.00 |  | 6255300.00 |  | 7986610.00 |  | 5694750.00 |  | 8717352.00
Lowest Amount Quoted BY: SNOWMEX ENGINEERS LIMITED(4887720.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of HVAC Plant at R.G. Bhawan and Expansion Building, New Delhi. SH-Providing Comprehensive Maintenance Services of 3 x 225 TR Central AC Plant along with BMS Year - 2020-21 and 2021-22 Tender ID: 2020_AAI_52521_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SNOWMEX ENGINEERS LIMITED | 4887720.00 | L1
| 2 | Welcome Engineers | 5694750.00 | L2
| 3 | Skyline Airconditioning Engineers Pvt. Ltd. | 6255300.00 | L3
| 4 | Supertech Engineers | 7986610.00 | L4
| 5 | Blue Star Limited | 8717352.00 | L5