## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 18-Aug-2020 11:49 AM Tender Title: Annual Maintenance job contract of Electrical and Mechanical Installations of New Domestic Terminal building T 1 and it s Power House and Integrated Office Complex and it s Power House at B P I Airport Bhubaneswar Tender ID: 2020_AAI_52705_1
Tender Inviting Authority: Asst. General Manager Engg ( E) -1, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Annual Maintenance job contract of Electrical and Mechanical Installations of New Domestic Terminal building(T-1) and it's Power House, and Integrated Office Complex and it's Power House at B.P.I Airport, Bhubaneswar.
Contract No: 2020_AAI_52705_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-NA) |  | Sterling And Wilson Pvt. Ltd(GSTN-NA) |  | S. N ELECTRICALS(GSTN-NA) |  | TECHSUPPORT(GSTN-NA) |  | Techno Electricals(GSTN-NA) |  | Youngmen Traders(GSTN-NA) |  | Manish Electricals(GSTN-NA) |  | VOLTECH O AND M SERVICES PVT LTD(GSTN-NA) |  | ABHISHEK ASSOCIATES(GSTN-NA) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-NA) |  | Blue Star Limited(GSTN-NA) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operational and Periodical Maintenance of 11KV substation,4x750KVA DG sets, Operation of self driven battery operated Articulating Crawler type Boom Lift on requirement basis for maintenance works Electrical and Mechanical installations of New Domestic Terminal building and Integrated Office Complex involving operations, repairs and maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records / documents etc as per the detailed specifications, terms and conditions covered under this contract round the clock on all days including Sundays and holidays as per tender specifications, terms & conditions. | 24.00 | Month |  | 700408.00 | 16809792.00 | 776000.00 | 18624000.00 | 749000.00 | 17976000.00 | 843482.00 | 20243568.00 | 786693.00 | 18880632.00 | 760000.00 | 18240000.00 | 761209.00 | 18269016.00 | 809103.86 | 19418492.64 | 788539.00 | 18924936.00 | 925000.00 | 22200000.00 | 818804.00 | 19651296.00 | 750000.00 | 18000000.00 | 16809792.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.00 | Operation and preventive maintenance services of WTP of comprising of all machinery equipment installed in WTP building including, pumps, air compressors, ACF & MMF filters, softeners, hydropneumetic system, electrical panel and all accessories etc. | 24.00 | Month |  | 74000.00 | 1776000.00 | 48000.00 | 1152000.00 | 66800.00 | 1603200.00 | 87133.00 | 2091192.00 | 93285.00 | 2238840.00 | 70000.00 | 1680000.00 | 78124.00 | 1874976.00 | 71168.66 | 1708047.84 | 79763.00 | 1914312.00 | 94000.00 | 2256000.00 | 82068.00 | 1969632.00 | 63000.00 | 1512000.00 | 1152000.00 | Sterling And Wilson Pvt. Ltd
3.00 | Operation of baggage handling system (departure & arrival conveyor systems) of NDTB (T1) including maintaining of records /documents in three shifts (8hrs per shift) on all days including Sundays and holidays complete as required as per tender specifications, terms and conditions. | 24.00 | Month |  | 152974.00 | 3671376.00 | 90000.00 | 2160000.00 | 133600.00 | 3206400.00 | 129699.00 | 3112776.00 | 147585.00 | 3542040.00 | 140000.00 | 3360000.00 | 136893.00 | 3285432.00 | 142337.31 | 3416095.44 | 143521.00 | 3444504.00 | 165000.00 | 3960000.00 | 143619.00 | 3446856.00 | 134000.00 | 3216000.00 | 2160000.00 | Sterling And Wilson Pvt. Ltd
4.00 | Deployment of one senior Supervisor on all working days (except Sunday) in General Shift for monitoring and supervising the ongoing works of all the sites under this contract and submit record on daily basis and assist to Engineering- In- charge for day to day maintenance works. | 24.00 | Month |  | 25500.00 | 612000.00 | 26200.00 | 628800.00 | 25150.00 | 603600.00 | 26811.00 | 643464.00 | 30000.00 | 720000.00 | 26000.00 | 624000.00 | 25730.00 | 617520.00 | 29792.89 | 715029.36 | 25920.00 | 622080.00 | 30850.00 | 740400.00 | 26308.00 | 631392.00 | 26500.00 | 636000.00 | 603600.00 | S. N ELECTRICALS
5.00 | Visit of authorized/ specialised service engineer for preventive maintenance checks/fault identification & rectification of sudhir make essential, nonessential panel, APFC panel including checking of synchronization system & its logic operation ,command for all four DG sets and panel including checking of control wiring and submit the reports etc as required by Engg-In-Charge. | 3.00 | Job |  | 12000.00 | 36000.00 | 10000.00 | 30000.00 | 4750.00 | 14250.00 | 25000.00 | 75000.00 | 8000.00 | 24000.00 | 20000.00 | 60000.00 | 8000.00 | 24000.00 | 2500.00 | 7500.00 | 20000.00 | 60000.00 | 5000.00 | 15000.00 | 15000.00 | 45000.00 | 15000.00 | 45000.00 | 7500.00 | VOLTECH O AND M SERVICES PVT LTD
6.00 | Dehydration and filtration of 11/0.433KV transformer at site including testing for BDV before and after dehydration and filtration and submission of test reports etc. as required in accordance to the maintenance schedules, recommendation of the OEM, equipment specification & special condition complete etc as required. | 3426.00 | ltr |  | 12.00 | 41112.00 | 9.00 | 30834.00 | 11.00 | 37686.00 | 5.40 | 18500.40 | 11.00 | 37686.00 | 10.00 | 34260.00 | 12.00 | 41112.00 | 4.00 | 13704.00 | 10.00 | 34260.00 | 9.00 | 30834.00 | 10.00 | 34260.00 | 10.00 | 34260.00 | 13704.00 | VOLTECH O AND M SERVICES PVT LTD
7.00 | Repair/ servicing/ testing of Power Transformer by arresting the oil leakage from HT terminals/ studs/ top cover, fins by replacing the HV bushing ,radiator gaskets, washers,conservator tank etc. and making the transformer serviceable complete as required. | 4.00 | Job |  | 12000.00 | 48000.00 | 15000.00 | 60000.00 | 4500.00 | 18000.00 | 22000.00 | 88000.00 | 6500.00 | 26000.00 | 40000.00 | 160000.00 | 15000.00 | 60000.00 | 8400.00 | 33600.00 | 20000.00 | 80000.00 | 8000.00 | 32000.00 | 25000.00 | 100000.00 | 15000.00 | 60000.00 | 18000.00 | S. N ELECTRICALS
8.00 | Topping of new transformer oil as per the site requirement | 600.00 | ltr |  | 96.00 | 57600.00 | 150.00 | 90000.00 | 110.00 | 66000.00 | 49.00 | 29400.00 | 145.00 | 87000.00 | 150.00 | 90000.00 | 200.00 | 120000.00 | 63.00 | 37800.00 | 110.00 | 66000.00 | 200.00 | 120000.00 | 110.00 | 66000.00 | 140.00 | 84000.00 | 29400.00 | TECHSUPPORT
9.00 | Annual maintenance contract of Rockwell automation make (model : Allen Bradley) Micrologix 1400 PLC for automatic operation of 4 nos. of D.G. sets (AMF panel with synchronization).including control circuit from DG Sets to AMF panels, AMF panels, and other LT panels in Sub-Station. | 1.00 | Job |  | 35000.00 | 35000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 180000.00 | 180000.00 | 15752.00 | 15752.00 | 40000.00 | 40000.00 | 36000.00 | 36000.00 | 8000.00 | 8000.00 | 120000.00 | 120000.00 | 80000.00 | 80000.00 | 153350.00 | 153350.00 | 50000.00 | 50000.00 | 8000.00 | VOLTECH O AND M SERVICES PVT LTD
10.00 | Calibration of MICRO PROCESSER RELAY of follwing model installed at HT/LT panel and submission of report complete as required.
10.01 | MJT-314 of make EASUNROLLE | 5.00 | Each |  | 4500.00 | 22500.00 | 2100.00 | 10500.00 | 2500.00 | 12500.00 | 5000.00 | 25000.00 | 3000.00 | 15000.00 | 3000.00 | 15000.00 | 4000.00 | 20000.00 | 840.00 | 4200.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 4500.00 | 22500.00 | 5000.00 | 25000.00 | 4200.00 | VOLTECH O AND M SERVICES PVT LTD
11.00 | Calibration of Electromagnetic Relay of follwing model installed at HT/LT panel and submission of report complete as required. a) 5B3 of make EASUNROLLE & ERL b) REJ 601of makeABB c) MC31A-nX of make L&T d) REVERSE POWER RELAY-MRP11 of make L&T e) MC12A of make L&T | 16.00 | Each |  | 5000.00 | 80000.00 | 3000.00 | 48000.00 | 2000.00 | 32000.00 | 3000.00 | 48000.00 | 3525.00 | 56400.00 | 4000.00 | 64000.00 | 5000.00 | 80000.00 | 3500.00 | 56000.00 | 7500.00 | 120000.00 | 1000.00 | 16000.00 | 4000.00 | 64000.00 | 20000.00 | 320000.00 | 16000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.00 | Calibration of MICRO PROCESSER RELAY of follwing model installed at HT/LT panel and submission of report complete as required.
12.01 | L & T make Air Circuit Breaker - 1250A FP, EDO/MDO complete as required - 19 Nos. | 24.00 | Job |  | 4000.00 | 96000.00 | 2615.38 | 62769.12 | 1000.00 | 24000.00 | 4000.00 | 96000.00 | 2750.00 | 66000.00 | 13800.00 | 331200.00 | 2500.00 | 60000.00 | 1645.00 | 39480.00 | 19000.00 | 456000.00 | 19000.00 | 456000.00 | 3800.00 | 91200.00 | 2500.00 | 60000.00 | 24000.00 | S. N ELECTRICALS
12.02 | L & T make Air Circuit Breaker - 2000 A, FP, EDO complete as required - 05 Nos. | 24.00 | Job |  | 4800.00 | 115200.00 | 2175.00 | 52200.00 | 1000.00 | 24000.00 | 4000.00 | 96000.00 | 3250.00 | 78000.00 | 4000.00 | 96000.00 | 3500.00 | 84000.00 | 1750.00 | 42000.00 | 5000.00 | 120000.00 | 5000.00 | 120000.00 | 4200.00 | 100800.00 | 3500.00 | 84000.00 | 24000.00 | S. N ELECTRICALS
12.03 | L & T make Air Circuit Breaker - 4000 A, FP, EDO complete as required Out-going - 03 Nos. | 24.00 | Job |  | 6500.00 | 156000.00 | 2785.00 | 66840.00 | 1000.00 | 24000.00 | 4000.00 | 96000.00 | 3500.00 | 84000.00 | 2600.00 | 62400.00 | 4000.00 | 96000.00 | 1890.00 | 45360.00 | 3000.00 | 72000.00 | 3000.00 | 72000.00 | 4500.00 | 108000.00 | 4000.00 | 96000.00 | 24000.00 | S. N ELECTRICALS
13.00 | Rewinding the following with copper winding wires of required size and heat varnishing etc. as required including less for dismantled copper wire etc. as and when required.
13.01 | Ceiling fans upto 1400 mm | 80.00 | Each |  | 400.00 | 32000.00 | 590.00 | 47200.00 | 350.00 | 28000.00 | 900.00 | 72000.00 | 325.00 | 26000.00 | 700.00 | 56000.00 | 400.00 | 32000.00 | 280.00 | 22400.00 | 300.00 | 24000.00 | 500.00 | 40000.00 | 300.00 | 24000.00 | 200.00 | 16000.00 | 16000.00 | PAN POLAR ENGINEERS PVT. LTD.
13.02 | Exhaust fans upto 450 mm | 40.00 | Each |  | 650.00 | 26000.00 | 400.00 | 16000.00 | 325.00 | 13000.00 | 800.00 | 32000.00 | 375.00 | 15000.00 | 500.00 | 20000.00 | 600.00 | 24000.00 | 245.00 | 9800.00 | 300.00 | 12000.00 | 500.00 | 20000.00 | 550.00 | 22000.00 | 200.00 | 8000.00 | 8000.00 | PAN POLAR ENGINEERS PVT. LTD.
13.03 | Wall Fans | 30.00 | Each |  | 600.00 | 18000.00 | 835.00 | 25050.00 | 340.00 | 10200.00 | 800.00 | 24000.00 | 325.00 | 9750.00 | 900.00 | 27000.00 | 600.00 | 18000.00 | 245.00 | 7350.00 | 300.00 | 9000.00 | 500.00 | 15000.00 | 450.00 | 13500.00 | 200.00 | 6000.00 | 6000.00 | PAN POLAR ENGINEERS PVT. LTD.
13.04 | Replacement of ball bearing for above fans. | 60.00 | Each |  | 120.00 | 7200.00 | 275.00 | 16500.00 | 73.57 | 4414.20 | 400.00 | 24000.00 | 85.00 | 5100.00 | 300.00 | 18000.00 | 120.00 | 7200.00 | 175.00 | 10500.00 | 100.00 | 6000.00 | 350.00 | 21000.00 | 200.00 | 12000.00 | 200.00 | 12000.00 | 4414.20 | S. N ELECTRICALS
14.00 | Lifting & lowering of submersible motor pump set up to 10.0 HP capacities from underground borewell including dismantling & re-fitting of pump, discharge pipe, steel rope, clamp etc. upto a depth of 400 feet complete as required. | 4.00 | Each |  | 9000.00 | 36000.00 | 3000.00 | 12000.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 2250.00 | 9000.00 | 8000.00 | 32000.00 | 6000.00 | 24000.00 | 3500.00 | 14000.00 | 4000.00 | 16000.00 | 7500.00 | 30000.00 | 5000.00 | 20000.00 | 7000.00 | 28000.00 | 9000.00 | Techno Electricals
15.00 | Repairing,rewinding & complete overhauling of submersible pump motor from upto 10 h.p. Job includes transportation of motor, dismantling and rewinding with the same gauge insulated copper wire including replacement of all the internal worn-out/ defective parts i.e. bushes, impellers, sleeves, upper and lower bush sets, thrust bearings, oil seals, rotor grinding and balancing , assembling, testing, transportation etc. complete as required | 2.00 | Each |  | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 20000.00 | 40000.00 | 3000.00 | 6000.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 5250.00 | 10500.00 | 7500.00 | 15000.00 | 20000.00 | 40000.00 | 7500.00 | 15000.00 | 7000.00 | 14000.00 | 5000.00 | S. N ELECTRICALS
16.00 | Repair of earth pit by providing necessary mason enclosure with cover plate having locking arrangement and funnel as per CPWD/ AAI specification. | 15.00 | Nos |  | 3650.00 | 54750.00 | 1180.00 | 17700.00 | 450.00 | 6750.00 | 3000.00 | 45000.00 | 500.00 | 7500.00 | 1000.00 | 15000.00 | 500.00 | 7500.00 | 12000.00 | 180000.00 | 1000.00 | 15000.00 | 2000.00 | 30000.00 | 2200.00 | 33000.00 | 2000.00 | 30000.00 | 6750.00 | S. N ELECTRICALS
17.00 | Rate for each one rupee value of work executed from the DSR-2018 (Electrical) Schedule & cost worked out on the basis of DSR-2018 (Electrical) rates. {For example, if the quoted rate for this item is Rs.0.90, then for executing DSR-2018 (Electrical) schedule works of value Rs.1,00,000.00 at DSR-2016 (Electrical) rates, the quoted amount will be Rs.90,000.00. And if quoted rate for this item is Rs.1.25, then quoted amount for the same will be Rs.1,25,000.00} | 100000.00 | Each |  | 1.00 | 100000.00 | .70 | 70000.00 | .60 | 60000.00 | .85 | 85000.00 | .85 | 85000.00 | .85 | 85000.00 | .80 | 80000.00 | .90 | 90000.00 | .85 | 85000.00 | 1.10 | 110000.00 | .90 | 90000.00 | .25 | 25000.00 | 25000.00 | PAN POLAR ENGINEERS PVT. LTD.
| Total in Figures |  |  |  |  | 23850530.00 |  | 23241393.12 |  | 23800000.20 |  | 27182900.40 |  | 26034700.00 |  | 25125860.00 |  | 24870756.00 |  | 25889859.28 |  | 26223592.00 |  | 30409234.00 |  | 26713786.00 |  | 24361260.00
Lowest Amount Quoted BY: Sterling And Wilson Pvt. Ltd(23241393.12)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance job contract of Electrical and Mechanical Installations of New Domestic Terminal building T 1 and it s Power House and Integrated Office Complex and it s Power House at B P I Airport Bhubaneswar Tender ID: 2020_AAI_52705_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sterling And Wilson Pvt. Ltd | 23241393.12 | L1
| 2 | S. N ELECTRICALS | 23800000.20 | L2
| 3 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 23850530.00 | L3
| 4 | PAN POLAR ENGINEERS PVT. LTD. | 24361260.00 | L4
| 5 | Manish Electricals | 24870756.00 | L5
| 6 | Youngmen Traders | 25125860.00 | L6
| 7 | VOLTECH O AND M SERVICES PVT LTD | 25889859.28 | L7
| 8 | Techno Electricals | 26034700.00 | L8
| 9 | ABHISHEK ASSOCIATES | 26223592.00 | L9
| 10 | Blue Star Limited | 26713786.00 | L10
| 11 | TECHSUPPORT | 27182900.40 | L11
| 12 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 30409234.00 | L12