## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 18-Aug-2020 11:20 AM Tender Title: Operation and Comprehensive Maintenance service contract for 3 x 390 TR Air Conditioning Plant of T1 building 3 x 110 TR Air Conditioning Plant of T2 Building and Comprehensive maintenance of Split and Ductable Ac s at B P I Airport Bhubaneswar Tender ID: 2020_AAI_52707_1
Tender Inviting Authority: Asst. General Manager Engg ( E ) -1, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Operation & Comprehensive Maintenance service contract for 3 x390 TR Air-conditioning Plant of T1 building, 3 x 110 TR Air-conditioning plant of T2 Building and Comprehensive maintenance of Split and Ductable Acs at B.P.I Airport, Bhubaneswar.
Contract No: 2020_AAI_52707_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Supertech Engineers(GSTN-NA) |  | V Save Electronics Pvt Ltd(GSTN-NA) |  | Blue Star Ltd(GSTN-NA) |  | ANOOP REFRIGERATION(GSTN-NA) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-NA) |  | FREEZECO PVT LTD(GSTN-NA) |  | VOLTAS LIMITED(GSTN-NA) |  | Sterling And Wilson Pvt. Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance contract for HVAC System of 3x390TR plants Job I/C 3nos cooling tower, Primary/secondary pumps ,AHUs,Ventilating inline fans, Main HVAC panels with VFDs and all starter panels, BMS & air curtain in NTB(T-1) includes attending to complaints, repairs/rectification action, Supply & Replacement of all type of required Spares/accessories/ parts consumables, Rewinding works, Servicing & Overhauls,descaling if required, Periodic inspections, Schedule/ Preventive/Breakdown Maintenance as per detailed specification of terms and condition & scope of work covered under this contract as per site conditions etc. complete as required. | 24.00 | Month |  | 85000.00 | 2040000.00 | 121250.00 | 2910000.00 | 97500.00 | 2340000.00 | 97500.00 | 2340000.00 | 60000.00 | 1440000.00 | 140000.00 | 3360000.00 | 76000.00 | 1824000.00 | 117605.57 | 2822533.68 | 1440000.00 | PAN POLAR ENGINEERS PVT. LTD.
2.00 | Operation and daily maintenance of HVAC plant of 3X390TR I/C 3nos cooling tower, Primary/secondary pumps ,AHUs,Ventilating inline fans, Main HVAC panels with VFDs and all starter panels, BMS & air curtain in NTB(T-1) and service block area with maintaining of records /documents on all days in three shifts including Sundays and holidays as required, as per detailed specification of terms and condition and as per direction of EIC as specified. | 24.00 | Month |  | 266000.00 | 6384000.00 | 175000.00 | 4200000.00 | 277500.00 | 6660000.00 | 265376.65 | 6369039.60 | 265000.00 | 6360000.00 | 275000.00 | 6600000.00 | 385000.00 | 9240000.00 | 218356.80 | 5240563.20 | 4200000.00 | V Save Electronics Pvt Ltd
3.00 | Operation of 3X110TR Central AC Plant including maintenance of records /documents on all days in two shifts (16 Hrs) including Sundays and Holidays as required as per AAI specification, terms & conditions. | 24.00 | Month |  | 137000.00 | 3288000.00 | 173000.00 | 4152000.00 | 175750.00 | 4218000.00 | 133992.48 | 3215819.52 | 140000.00 | 3360000.00 | 55000.00 | 1320000.00 | 95000.00 | 2280000.00 | 138000.00 | 3312000.00 | 1320000.00 | FREEZECO PVT LTD
4.00 | All inclusive Comprehensive maintenance of 3x110 TR Central Air-Conditioning system complete including chillers, compressors, motors, pumps, piping, cooling tower, AHU's & their control panels etc. as per recommendations of OEM/ AAI specifications, terms & conditions. | 24.00 | Month |  | 18500.00 | 444000.00 | 37125.00 | 891000.00 | 22000.00 | 528000.00 | 27500.00 | 660000.00 | 17000.00 | 408000.00 | 40000.00 | 960000.00 | 21600.00 | 518400.00 | 40440.00 | 970560.00 | 408000.00 | PAN POLAR ENGINEERS PVT. LTD.
5.00 | Annual comprehensive maintenance of 1.5 ton Split type air-conditioning units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 130.00 | Each |  | 10200.00 | 1326000.00 | 5900.00 | 767000.00 | 1100.00 | 143000.00 | 1575.00 | 204750.00 | 3450.00 | 448500.00 | 3000.00 | 390000.00 | 100.00 | 13000.00 | 1500.00 | 195000.00 | 13000.00 | VOLTAS LIMITED
6.00 | Annual comprehensive maintenance of 2.0 ton Split type air-conditioning units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 53.00 | Each |  | 10700.00 | 567100.00 | 6400.00 | 339200.00 | 1400.00 | 74200.00 | 2100.00 | 111300.00 | 4600.00 | 243800.00 | 5000.00 | 265000.00 | 200.00 | 10600.00 | 2000.00 | 106000.00 | 10600.00 | VOLTAS LIMITED
7.00 | Annual comprehensive maintenance of 3.0 ton Split type air-conditioning (Cassette/Floormounted/Highwall/MRU) units of all makes installed at various locations including, repair / replacement of defective compressors / motors /PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 23.00 | Each |  | 11000.00 | 253000.00 | 9000.00 | 207000.00 | 2500.00 | 57500.00 | 3150.00 | 72450.00 | 6500.00 | 149500.00 | 6000.00 | 138000.00 | 400.00 | 9200.00 | 3300.00 | 75900.00 | 9200.00 | VOLTAS LIMITED
8.00 | Annual comprehensive maintenance of 4.0 ton Split type air-conditioning (Cassette/Floormounted/Highwall) units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 1.00 | Each |  | 11000.00 | 11000.00 | 9000.00 | 9000.00 | 2000.00 | 2000.00 | 4200.00 | 4200.00 | 8000.00 | 8000.00 | 8200.00 | 8200.00 | 1000.00 | 1000.00 | 6500.00 | 6500.00 | 1000.00 | VOLTAS LIMITED
9.00 | Annual comprehensive maintenance of 5.5 ton Ductable Split air-conditioning units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 4.00 | Each |  | 16500.00 | 66000.00 | 14850.00 | 59400.00 | 2500.00 | 10000.00 | 5250.00 | 21000.00 | 15000.00 | 60000.00 | 12000.00 | 48000.00 | 2000.00 | 8000.00 | 9775.00 | 39100.00 | 8000.00 | VOLTAS LIMITED
10.00 | Annual comprehensive maintenance of 40/80 ltr WaterCooler units of all makes installed at various locations including, repair / replacement of defective compressors / motors /PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 25.00 | Each |  | 9700.00 | 242500.00 | 5900.00 | 147500.00 | 2500.00 | 62500.00 | 1000.00 | 25000.00 | 5900.00 | 147500.00 | 3000.00 | 75000.00 | 1500.00 | 37500.00 | 3000.00 | 75000.00 | 25000.00 | ANOOP REFRIGERATION
11.00 | Annual comprehensive maintenance of 150/150 ltr WaterCooler units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 4.00 | Each |  | 10200.00 | 40800.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 1500.00 | 6000.00 | 7000.00 | 28000.00 | 3750.00 | 15000.00 | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 6000.00 | ANOOP REFRIGERATION
12.00 | Supply and fixing of copper refrigerant piping of following size comprising suction and discharge pipes complete with suitable size PVC FR Cu wire & nitrile rubber insulation sleeves, brazing including providing of clamps etc.
12.01 | Size 1/2" & 1/4" for 1.5 TR Air-conditioning complete as required. | 120.00 | Mtr |  | 600.00 | 72000.00 | 600.00 | 72000.00 | 450.00 | 54000.00 | 380.00 | 45600.00 | 400.00 | 48000.00 | 400.00 | 48000.00 | 200.00 | 24000.00 | 400.00 | 48000.00 | 24000.00 | VOLTAS LIMITED
12.02 | Size 5/8" & 3/8" for 2.0/3.0 TR Air-conditioning complete as required. | 120.00 | Mtr |  | 650.00 | 78000.00 | 650.00 | 78000.00 | 550.00 | 66000.00 | 580.00 | 69600.00 | 500.00 | 60000.00 | 500.00 | 60000.00 | 250.00 | 30000.00 | 500.00 | 60000.00 | 30000.00 | VOLTAS LIMITED
13.00 | Supply and fixing of 25 mm PVC drain pipe connection from indoor to outside of wall including bends,water seal materials & necessary accessories on surface / recess for drain water outlets of AC units etc. complete as required. | 80.00 | Mtr |  | 75.00 | 6000.00 | 110.00 | 8800.00 | 70.00 | 5600.00 | 70.00 | 5600.00 | 15.00 | 1200.00 | 80.00 | 6400.00 | 80.00 | 6400.00 | 135.00 | 10800.00 | 1200.00 | PAN POLAR ENGINEERS PVT. LTD.
14.00 | Dismentalling of 1.5/2.0 ton split A/Cs of different make and handedover to AAI store/ shift to other location within Airport permises in good condition etc complete as required. | 20.00 | Job |  | 750.00 | 15000.00 | 750.00 | 15000.00 | 500.00 | 10000.00 | 1000.00 | 20000.00 | 250.00 | 5000.00 | 350.00 | 7000.00 | 10.00 | 200.00 | 200.00 | 4000.00 | 200.00 | VOLTAS LIMITED
15.00 | Installation ,testing and commissioning of 1.5/2.0 ton split A/Cs of Different make including gas charging, pressure testing and minor civil works etc complete as required | 20.00 | Job |  | 1500.00 | 30000.00 | 1000.00 | 20000.00 | 800.00 | 16000.00 | 2000.00 | 40000.00 | 2500.00 | 50000.00 | 700.00 | 14000.00 | 800.00 | 16000.00 | 1300.00 | 26000.00 | 14000.00 | FREEZECO PVT LTD
| Total in Figures |  |  |  |  | 14863400.00 |  | 13899900.00 |  | 14254800.00 |  | 13210359.12 |  | 12817500.00 |  | 13314600.00 |  | 14026300.00 |  | 13003956.88
Lowest Amount Quoted BY: PAN POLAR ENGINEERS PVT. LTD.(12817500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Comprehensive Maintenance service contract for 3 x 390 TR Air Conditioning Plant of T1 building 3 x 110 TR Air Conditioning Plant of T2 Building and Comprehensive maintenance of Split and Ductable Ac s at B P I Airport Bhubaneswar Tender ID: 2020_AAI_52707_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PAN POLAR ENGINEERS PVT. LTD. | 12817500.00 | L1
| 2 | Sterling And Wilson Pvt. Ltd | 13003956.88 | L2
| 3 | ANOOP REFRIGERATION | 13210359.12 | L3
| 4 | FREEZECO PVT LTD | 13314600.00 | L4
| 5 | V Save Electronics Pvt Ltd | 13899900.00 | L5
| 6 | VOLTAS LIMITED | 14026300.00 | L6
| 7 | Blue Star Ltd | 14254800.00 | L7
| 8 | Supertech Engineers | 14863400.00 | L8