## BoQ1
Government eProcurement System Created By: Dinesh Gaurawat Created Date/Time: 03-Sep-2020 04:29 PM Tender Title: Supply Installation Testing and Commissioning SITC OF UPS FOR CNS EQUIPMENTS AT UDAIPUR AIRPORT Tender ID: 2020_AAI_52841_1
Tender Inviting Authority: JT.GM (CNS) M.P.Airport ,Udaipur
Name of Work: Supply, Installation, Testing & Commissioning (SITC) OF UPS FOR CNS EQUIPMENTS AT UDAIPUR AIRPORT.
Contract No: AAI/VAUD/CNS/2020/P180/UPS
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.(GSTN-NA) |  | POWERTEC ENGINEERS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Items
1.01 | 10 KVA 3 phase online UPS in Main & Hot Standby Configuration with Battery Bank : battery back-up time of 30 minutes using 12V,42AH(Min.) VRLA Sealed Maintenance Free Batteries on full load. Battery make : preferably EXIDE/QUANTA/AMARON.Battery Cabinet/Battery Rack for Battery Housing with cover and interconnectors. | 2.00 | Nos |  | 287000.00 | 574000.00 | 235000.00 | 470000.00 | 470000.00 | POWERTEC ENGINEERS
1.02 | 5 KVA online UPS in Main & Hot Standby Configuration with Battery Bank : battery back-up time of 30 minutes using 12V,26AH (min) VRLA Sealed Maintenance Free Batteries on full load. Battery must be proBattery make : preferably EXIDE/QUANTA/AMARON. Battery Cabinet/Battery Rack for Battery Housing with cover and interconnectors. | 2.00 | Nos |  | 98000.00 | 196000.00 | 115000.00 | 230000.00 | 196000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
1.03 | 3 KVA online UPS in Main & Hot Standby Configuration with with Battery Bank : battery back-up time of 30 minutes using 12V,26AH (min) VRLA Sealed Maintenance Free Batteries on full load. Battery must be proBattery make : preferably EXIDE/QUANTA/AMARON. Battery Cabinet/Battery Rack for Battery Housing with cover and interconnectors. | 4.00 | Nos |  | 49500.00 | 198000.00 | 56900.00 | 227600.00 | 198000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
1.04 | 2 KVA online UPS in Main & Hot Standby Configuration with with Battery Bank : battery back-up time of 30 minutes using 12V,26AH (min) VRLA Sealed Maintenance Free Batteries on full load. Battery must be proBattery make : preferably EXIDE/QUANTA/AMARON. Battery Cabinet/Battery Rack for Battery Housing with cover and interconnectors. | 4.00 | Nos |  | 40000.00 | 160000.00 | 48100.00 | 192400.00 | 160000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
1.05 | Installation, testing and Commissioning | 1.00 | job |  | 10000.00 | 10000.00 | 12222.00 | 12222.00 | 10000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
1.06 | CAMC cost for first year | 1.00 | job |  | 69000.00 | 69000.00 | 30000.00 | 30000.00 | 30000.00 | POWERTEC ENGINEERS
1.07 | CAMC cost for second year | 1.00 | job |  | 70000.00 | 70000.00 | 30000.00 | 30000.00 | 30000.00 | POWERTEC ENGINEERS
1.08 | CAMC cost for Third year | 1.00 | job |  | 71000.00 | 71000.00 | 30000.00 | 30000.00 | 30000.00 | POWERTEC ENGINEERS
| Total in Figures |  |  |  |  | 1348000.00 |  | 1222222.00
Lowest Amount Quoted BY: POWERTEC ENGINEERS(1222222.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply Installation Testing and Commissioning SITC OF UPS FOR CNS EQUIPMENTS AT UDAIPUR AIRPORT Tender ID: 2020_AAI_52841_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | POWERTEC ENGINEERS | 1222222.00 | L1
| 2 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. | 1348000.00 | L2