## BoQ1
Government eProcurement System Created By: Shyamashis Das Created Date/Time: 08-Sep-2020 04:47 PM Tender Title: Annual Comprehensive Maintenance of OTIS make lift installed at Control Tower,Ranchi SH-SITC of new LIFT at ATC Control Tower against replacement of old existing lift at B.M. Airport,Ranchi Tender ID: 2020_AAI_53028_1
Tender Inviting Authority: AGM (Engg.-Elect.), AAI, B.M.Airport, Ranchi.
Name of Work: : Annual Comprehensive Maintenance of OTIS make lift installed at Control Tower,Ranchi SH: SITC of new LIFT at ATC Control Tower against replacement of old existing lift at B.M. Airport,Ranchi.
Contract No: 2020_AAI_53028_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd(GSTN-NA) |  | L T ELEVATOR PVT LTD(GSTN-NA) |  | VIRTUAL ELEVATORS PRIVATE LIMITED(GSTN-NA) |  | AROHI ELEVATORS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:-I SITC OF LIFT AFTER DISMENTAL OF OLD LIST Design ,fabrication and SITC of stainless steel microprocessor based lift of minimum 08(544 kg) passengers in the existing well of old ATC tower with 04 stops (G+3, travell height 12 mtrs approx)) having intigrated automatic rescue device, variable Voltage and Variable Frequency type (V3F) control with suitable speed, microprocessor based full collective control, operating panel with luminous botton, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom system, infra-red rays sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator with braille botton in car and at all floors with Up/Down direction, light fixtures, ventilation fans etc. complete with all accessories suitable for a travel from Ground +3 floor with travel height of approximately 12.0 Mtrs,in conformation to the Technical Specification and as directed by the Engineer-in-charge .The elevator shall have 04 Stop and 04 Opening with the openings on the same side. The traction machine shall be of geared type and placed directly above hoist way .The elevator system shall have battery operated suitable automatic rescue device on the event of power failure. The elevator system shall generally conform to the latest revision of IS:4666, IS:3534, IS:1860, IS:2365 & Indian Electric Rules, Local lift rules and shall consider any other codes / standards, regulations laws, bylaws, guiding lift installation and constructional features and followed by necessary valid licence issued by the state lift inspectorate. | 1.00 | Job | 1389831.00 | 1195000.00 | 1195000.00 | 1230000.00 | 1230000.00 | 1100000.00 | 1100000.00 | 1400000.00 | 1400000.00 | 1100000.00 | VIRTUAL ELEVATORS PRIVATE LIMITED
2.00 | Dismantelling of old lift including all minor and major civil works, electrical works and any other works etc which is necessary for installation of new lift after replacing the existing old lift and as per special condition of contract and instruction of EIC. | 1.00 | Job | 226000.00 | 55000.00 | 55000.00 | 80000.00 | 80000.00 | 100000.00 | 100000.00 | 50000.00 | 50000.00 | 50000.00 | AROHI ELEVATORS PRIVATE LIMITED
3.00 | SH – 2 COMPREHENSIVE MAINTENANCE CMC after DLP (defect liability period) of 01 years
3.01 | 1st year after DLP | 1.00 | Job | 69492.00 | 49000.00 | 49000.00 | 72000.00 | 72000.00 | 60000.00 | 60000.00 | 50000.00 | 50000.00 | 49000.00 | Johnson Lifts Pvt Ltd
3.02 | 2nd year after DLP | 1.00 | Job | 74356.00 | 52000.00 | 52000.00 | 72000.00 | 72000.00 | 66000.00 | 66000.00 | 55000.00 | 55000.00 | 52000.00 | Johnson Lifts Pvt Ltd
3.03 | 3rd year after DLP | 1.00 | Job | 79561.00 | 55000.00 | 55000.00 | 72000.00 | 72000.00 | 73000.00 | 73000.00 | 61000.00 | 61000.00 | 55000.00 | Johnson Lifts Pvt Ltd
| Total in Figures |  |  |  |  | 1406000.00 |  | 1526000.00 |  | 1399000.00 |  | 1616000.00
Lowest Amount Quoted BY: VIRTUAL ELEVATORS PRIVATE LIMITED(1399000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Comprehensive Maintenance of OTIS make lift installed at Control Tower,Ranchi SH-SITC of new LIFT at ATC Control Tower against replacement of old existing lift at B.M. Airport,Ranchi Tender ID: 2020_AAI_53028_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VIRTUAL ELEVATORS PRIVATE LIMITED | 1399000.00 | L1
| 2 | Johnson Lifts Pvt Ltd | 1406000.00 | L2
| 3 | L T ELEVATOR PVT LTD | 1526000.00 | L3
| 4 | AROHI ELEVATORS PRIVATE LIMITED | 1616000.00 | L4