## BoQ1
Government eProcurement System Created By: Vijender Singh Created Date/Time: 21-Aug-2020 02:11 PM Tender Title: Annual Operation and Maintenance job service contract of electrical and mechanical installations at Shimla Airport 2020-22 Tender ID: 2020_AAI_53132_1
Tender Inviting Authority: <Sr. Manager (Engg.-Elect), AAI, Shimla Airport>
Name of Work: < Annual Operation & Maintenance job service contract of electrical and mechanical installations at Shimla Airport (2020-22)>
Contract No: <AAI_SML_ EE_2020-22/02>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N ELECTRICALS(GSTN-NA) |  | M/S B.A.G ENTERPRISES(GSTN-NA) |  | NATIONAL SAFETY ENGINEERS(GSTN-NA) |  | Techno Electricals(GSTN-NA) |  | Manish Electricals(GSTN-NA) |  | Anil Kumar Sharma(GSTN-NA) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH - I : OPERATION AND MAINTENANCE (MANPOWER) Periodical maintenance and operation of electrical and mechanical installations involving repairs and maintenance ,attending to complaints /faults/breakdowns and taking rectification action ensuring serviceability /satisfactory working condition of the systems i/c preventive maintenance of all electrical installations like DG sets, HT panels, Transformer, LT panels, OCB, installed at power house, pump sets I/c GLF system ,perimeter /street lighting and internal and external electrification etc. with making proper records/documentation etc. as per the detailed specification, terms and conditions covered under this contract on all days including Sundays and holidays on 3 (Three) shift basis and also as and when required basis etc. as required. a) Electrician -01 No. (Skilled) in each shift b) Khallasi - -01 No. (1 no semi skilled and 02 nos Unskilled) in each shift c) Computer Operator - 01 No (Skilled) in general Shift | 24.00 | Months |  | 211196.84 | 5068724.22 | 161999.00 | 3887976.00 | 162000.00 | 3888000.00 | 169858.00 | 4076592.00 | 165000.00 | 3960000.00 | 150000.00 | 3600000.00 | 191786.00 | 4602864.00 | 3600000.00 | Anil Kumar Sharma
2.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis (a) Skilled | 50.00 | Hrs |  | 74.00 | 3700.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 87.00 | 4350.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 121.00 | 6050.00 | 2500.00 | Anil Kumar Sharma
3.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis (b) Semi-Skilled | 50.00 | Hrs |  | 61.00 | 3050.00 | 80.00 | 4000.00 | 82.00 | 4100.00 | 75.00 | 3750.00 | 70.00 | 3500.00 | 50.00 | 2500.00 | 121.00 | 6050.00 | 2500.00 | Anil Kumar Sharma
4.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis (c) Un-skilled | 50.00 | Hrs |  | 53.00 | 2650.00 | 80.00 | 4000.00 | 71.00 | 3550.00 | 62.00 | 3100.00 | 60.00 | 3000.00 | 50.00 | 2500.00 | 111.00 | 5550.00 | 2500.00 | Anil Kumar Sharma
5.00 | SH - I : OPERATION AND MAINTENANCE [ JOB WORK- PART-II (HT AND LT PANEL, TRANSFORMER, CCR) ] Repairing, overhauling of 400/600Amp 11 KV oil circuit breaker (3 Nos.) of ALSTOM make, cleaning of arch chamber, polishing contacts, springs & other mechanical parts etc carrying of the following tests & preventive maintenance alongwith of the test reports etc complete as required up to satisfaction of Engineer-In-Charge. (a) General inspection (b) Wiring check including control cirucuit and indications (c) IR test between poles, between pole to earth between male and female contacts (d) Continuity of power contacts. (e) Continuity of auxiliary contacts (f) Resistance measurement of tripping coil (g) Closing, tripping and inter- locking testing (h) Tripping through relay operation | 2.00 | Job |  | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 17700.00 | 35400.00 | 12500.00 | 25000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 18000.00 | 36000.00 | 2000.00 | M/S B.A.G ENTERPRISES
6.00 | Inspection, servicing, setting, calibration and testing of IDMT relays for 11 KV panel (set of 3 over current plus 1 earth fault) I/c carrying out the following and submitting test reports. (a) General inspection (b) Wiring check (c) IR value test (d) Continuity of plug shifting taps and plug bridge shorting contacts (e) Secondary injection test including pick up current of IDMT element etc. | 2.00 | Set |  | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 3540.00 | 7080.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 15000.00 | 30000.00 | 2000.00 | M/S B.A.G ENTERPRISES
7.00 | Inspection, servicing , setting, calibration and testing of auxiliary and tripping relays (Type-VAA/VAX/VAJH) including carrying out the following and submitting test reports (a) General inspection (b) Wiring check (c) IR value test (d) Tripping check | 2.00 | Job |  | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 2360.00 | 4720.00 | 750.00 | 1500.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 12000.00 | 24000.00 | 1500.00 | Techno Electricals
8.00 | Inspection, Testing & preventive maintenance of CTs in 11 KV panel (set of 3 CTs - RYB) including carrying out the following and submitting test reports (a) General inspection (b) IR value test - primary to secondary, primary to earth, secondary to earth (c) Polarity test (d) Ratio test by primary injection (e) Secondary circuit wiring check (f) Knee point voltage measurement | 2.00 | Set |  | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 2360.00 | 4720.00 | 1500.00 | 3000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 12000.00 | 24000.00 | 2000.00 | M/S B.A.G ENTERPRISES
9.00 | Inspection, Testing & preventive maintenance of Voltage transformer including carrying out the following and submitting test reports. (a) General inspection (b) IR value test - primary to secondary, primary to earth, secondary to earth (c) Polarity test (d) Ratio test by primary injection (e) Secondary circuit wiring check | 2.00 | Set |  | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 3540.00 | 7080.00 | 1500.00 | 3000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 12000.00 | 24000.00 | 2000.00 | M/S B.A.G ENTERPRISES
10.00 | Inspection, servicing & testing of 250 KVA distribution transformer 11KV/433V including carrying out the following and submitting test reports. (a) General inspection (b) IR value test - primary to secondary + earth,Secondary to primary+earth, Primary to secondary. (c) Voltage ratio check at all tap position (d) Magnetising current measurement (e) Magnetic balance test at top tap position (f) Vector group test (g) Bucholtz relay operation - Alarm & trip (h) OTI operation - Alarm & trip (i) WTI operation - Alarm & trip (j) Tap changer operation check (j) Cleaning of transformer and topping the tested transformer oil (oil will be supplied by AAI) (k) Replacement of silica gel | 4.00 | Job |  | 1500.00 | 6000.00 | 1200.00 | 4800.00 | 5900.00 | 23600.00 | 5000.00 | 20000.00 | 6000.00 | 24000.00 | 3000.00 | 12000.00 | 15000.00 | 60000.00 | 4800.00 | M/S B.A.G ENTERPRISES
11.00 | Dehydration and filtration of transformer oil at site includnig testing the BDV and acidity before and after testing and submission of test reports etc. as required for following Transformers. (i) 250 KVA Transformer (App. 240 Ltr.) | 4.00 | Job |  | 10000.00 | 40000.00 | 2000.00 | 8000.00 | 11800.00 | 47200.00 | 4000.00 | 16000.00 | 10000.00 | 40000.00 | 2500.00 | 10000.00 | 10800.00 | 43200.00 | 8000.00 | M/S B.A.G ENTERPRISES
12.00 | Supply of Transformer oil of specified break down strength and grade etc as required. | 100.00 | Ltr |  | 110.00 | 11000.00 | 100.00 | 10000.00 | 236.00 | 23600.00 | 150.00 | 15000.00 | 170.00 | 17000.00 | 190.00 | 19000.00 | 130.00 | 13000.00 | 10000.00 | M/S B.A.G ENTERPRISES
13.00 | Inspection, servicing & testing of 630 Amp LT circuit breakers including carrying out the following test and preventive mainteannce alongwith submission of the test reports (a) General inspection (b) Wiring cheking including control and indications (c) IR test between poles, between pole to earth between male and female contacts (d) Continuity of power contacts. (e) Continuity of auxiliary contacts (f) Resistance measurement of tripping coil (g) Closing, tripping and inter- locking testing (h) Tripping through relay operation (i) Secondary injection test of In-bult thermal and magnetic release and calibration of the same | 6.00 | Job |  | 1500.00 | 9000.00 | 1000.00 | 6000.00 | 7080.00 | 42480.00 | 3000.00 | 18000.00 | 6000.00 | 36000.00 | 2000.00 | 12000.00 | 12000.00 | 72000.00 | 6000.00 | M/S B.A.G ENTERPRISES
14.00 | Calibration of CCR & sensitivity of relay on 4KW to 30 KW CCR of Youyang make including complete check and submitting reports etc, as required. | 4.00 | Job |  | 2500.00 | 10000.00 | 1100.00 | 4400.00 | 5900.00 | 23600.00 | 7000.00 | 28000.00 | 9000.00 | 36000.00 | 500.00 | 2000.00 | 11000.00 | 44000.00 | 2000.00 | Anil Kumar Sharma
15.00 | SH - I : OPERATION AND MAINTENANCE [ JOB WORK- PART-III (AC, Water Cooler)] Annual Comprehensive Maintenance of following Air-conditioner i/c providing and fixing all necessary consumable and spares i/c replacing of faulty compressor, periodical preventive maintenance etc. as per maintenance schedule for below mentioned period as per special condition of contract. a) Split Type, 1.5 - 2.0 TR, Single Phase (17 Nos x 24 Months = 408 Nos) | 408.00 | Each |  | 150.00 | 61200.00 | 100.00 | 40800.00 | 295.00 | 120360.00 | 175.00 | 71400.00 | 300.00 | 122400.00 | 500.00 | 204000.00 | 250.00 | 102000.00 | 40800.00 | M/S B.A.G ENTERPRISES
16.00 | Annual Comprehensive Maintenance of following Air-conditioner i/c providing and fixing all necessary consumable and spares i/c replacing of faulty compressor, periodical preventive maintenance etc. as per maintenance schedule for below mentioned period as per special condition of contract. b) Tower Type, 2.5 TR, Three Phase (02 Nos x 24 Months = 48Nos) | 48.00 | Each |  | 200.00 | 9600.00 | 150.00 | 7200.00 | 390.00 | 18720.00 | 200.00 | 9600.00 | 1200.00 | 57600.00 | 600.00 | 28800.00 | 750.00 | 36000.00 | 7200.00 | M/S B.A.G ENTERPRISES
17.00 | Annual comprehensive maintenance of water cooler of capacity 40/80 Ltr/Hr i/c providing and fixing all necessary consumable and spares i/c replacing of faulty compressor, periodical preventive maintenance etc. as per maintenance schedule for below mentioned period as per special condition of contract. a) [5 Nos x 24 Month] = 120 Nos | 120.00 | Each |  | 350.00 | 42000.00 | 100.00 | 12000.00 | 295.00 | 35400.00 | 225.00 | 27000.00 | 400.00 | 48000.00 | 500.00 | 60000.00 | 625.00 | 75000.00 | 12000.00 | M/S B.A.G ENTERPRISES
18.00 | Annual Comprehensive Maintenance of water purifier of following capacity for one year i/c providing and fixing all necessary consumable and spares i/c periodical preventive maintenance etc. as per maintenance schedule for below mentioned period as per special condition of contract. a) [ 05 Nos x 24 Month = 120 Nos) | 120.00 | Each |  | 350.00 | 42000.00 | 105.00 | 12600.00 | 295.00 | 35400.00 | 245.00 | 29400.00 | 500.00 | 60000.00 | 500.00 | 60000.00 | 625.00 | 75000.00 | 12600.00 | M/S B.A.G ENTERPRISES
19.00 | Dismantling of following Capacity Split type Air Conditioner from different locations in Airport etc. as required. ( Job includes dismatling the indoor, outdoor unit, piping etc. safely and handed over to Site-In-Charge) [Vehicle will be provided by AAI for Transporting the units up to Store] a) 1.5 - 2.5 TR, Single Phase | 1.00 | Job |  | 1000.00 | 1000.00 | 200.00 | 200.00 | 1200.00 | 1200.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 200.00 | M/S B.A.G ENTERPRISES
20.00 | Installation of following Capacity Split type Air Conditioner in different locations of Airport etc. as required. ( Job includes Installating the indoor, outdoor unit, copper piping maximum up to 15 feet , gas topup etc.) [Vehicle will be provided by AAI for Transporting the units upto installing location] a) 1.5 - 2.5 TR, Single Phase | 1.00 | Job |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 3540.00 | 3540.00 | 1750.00 | 1750.00 | 4000.00 | 4000.00 | 7000.00 | 7000.00 | 7500.00 | 7500.00 | 500.00 | M/S B.A.G ENTERPRISES
21.00 | SH - I : OPERATION AND MAINTENANCE [ JOB WORK- PART-IV (FIRE ALARM SYSTEM) "Comprehensive maintenance(Once in 02 months) contract of fire alarm & detection system at Airport terminal building for periodical inspection and routine maintenance of the system (job includes carrying out Quarterly service visit and submit the inspection report also attending break down calls, checking & replacing defective smoke and multi detector, response indicator, manual call point, hooters, panel components, wiring etc. as per site requirement. Details of installed equipment / Elements are a) analogue addressable type Photoelectric Smoke Detector - 93 Nos b) resettable analogue addressable manual call point – 08 Nos c) analogue addressable Fire alarm control panel with auto dailer &battery backup – 01 No d) Hooter/sounder – 09 Nos e) Response Indicator- 41 Nos f) multidetector-14 Nos " | 1.00 | Job |  | 5000.00 | 5000.00 | 18000.00 | 18000.00 | 3540.00 | 3540.00 | 45000.00 | 45000.00 | 10000.00 | 10000.00 | 4000.00 | 4000.00 | 45000.00 | 45000.00 | 3540.00 | NATIONAL SAFETY ENGINEERS
22.00 | "Comprehensive maintenance(Once in 02 months) contract of fire alarm & detection system at NAVAIDS for periodical inspection and routine maintenance of the system (job includes carrying out quarterly service visit and submit the inspection report also attending break down calls, checking & replacing defective detector, hooters, panel components, Details of installed equipment / Elements are a) analogue addressable type Photoelectric Smoke Detector –10 Nos b) 10 zone fire alarm control panel complete with battery backup – 01 Nos c) Hooter/sounder-2 Nos d) resettable analogue addressable manual call point -02 Nos" | 12.00 | Job |  | 5000.00 | 60000.00 | 2000.00 | 24000.00 | 2360.00 | 28320.00 | 3000.00 | 36000.00 | 10000.00 | 120000.00 | 4000.00 | 48000.00 | 15000.00 | 180000.00 | 24000.00 | M/S B.A.G ENTERPRISES
23.00 | SH -II (PAINTING, REPAIRING & REWINDING WORKS) Rewinding of the following with copper wire of required size i/c to and fro transportation etc. complete as required. (Dismantle Material belongs to contractor). a) Ceiling Fan / Wall Fan | 10.00 | Job |  | 150.00 | 1500.00 | 100.00 | 1000.00 | 472.00 | 4720.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 600.00 | 6000.00 | 350.00 | 3500.00 | 1000.00 | M/S B.A.G ENTERPRISES
24.00 | Rewinding of the following with copper wire of required size i/c to and fro transportation etc. complete as required. (Dismantle Material belongs to contractor). b) Exhaust Fan / Air Circulators | 15.00 | Job |  | 150.00 | 2250.00 | 150.00 | 2250.00 | 590.00 | 8850.00 | 400.00 | 6000.00 | 600.00 | 9000.00 | 700.00 | 10500.00 | 750.00 | 11250.00 | 2250.00 | M/S B.A.G ENTERPRISES, S. N ELECTRICALS
25.00 | Repairing and Overhauling of 3-5 HP pump motor sets (job i/c supply and replacing defective bearing/ bushing / gland dori, alignment the shaft complete etc. as required i/c transportation from site to contractor's workshop & back to site. (Dismantle Material belongs to contractor). | 2.00 | Job |  | 250.00 | 500.00 | 500.00 | 1000.00 | 4130.00 | 8260.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 10000.00 | 20000.00 | 4500.00 | 9000.00 | 500.00 | S. N ELECTRICALS
26.00 | Supply & replacing the defective bearing / bush set for the following i/c to and fro transportation etc. complete as required. (a) Ceiling Fan / Wall Fan | 10.00 | Job |  | 75.00 | 750.00 | 100.00 | 1000.00 | 295.00 | 2950.00 | 85.00 | 850.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 350.00 | 3500.00 | 750.00 | S. N ELECTRICALS
27.00 | Supply & replacing the defective bearing / bush set for the following i/c to and fro transportation etc. complete as required. (b) Exhaust Fan/Air Circulators | 15.00 | Job |  | 75.00 | 1125.00 | 100.00 | 1500.00 | 354.00 | 5310.00 | 100.00 | 1500.00 | 150.00 | 2250.00 | 200.00 | 3000.00 | 350.00 | 5250.00 | 1125.00 | S. N ELECTRICALS
28.00 | Supply & replacing the Heater Rod/ Coil, Heat Proof Wire with sleeve of different make Room Heaters i/c to and fro transportation etc. complete as required. | 30.00 | Job |  | 100.00 | 3000.00 | 100.00 | 3000.00 | 354.00 | 10620.00 | 750.00 | 22500.00 | 300.00 | 9000.00 | 150.00 | 4500.00 | 900.00 | 27000.00 | 3000.00 | M/S B.A.G ENTERPRISES, S. N ELECTRICALS
29.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make including pole boxes, cleaning of surface etc., as required including rewriting the identification Serial Number. (a) Street Light Pole of length not exceeding 5 Mtr. | 16.00 | Job |  | 150.00 | 2400.00 | 500.00 | 8000.00 | 354.00 | 5664.00 | 300.00 | 4800.00 | 200.00 | 3200.00 | 300.00 | 4800.00 | 1500.00 | 24000.00 | 2400.00 | S. N ELECTRICALS
30.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of approved make to given an even shade including, cleaning the surface with detergent, etc. removing old paints etc. as required. (a) HIRL/MIRL fittings. | 134.00 | Nos |  | 200.00 | 26800.00 | 200.00 | 26800.00 | 120.00 | 16080.00 | 75.00 | 10050.00 | 100.00 | 13400.00 | 100.00 | 13400.00 | 1000.00 | 134000.00 | 10050.00 | Techno Electricals
31.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of approved make to given an even shade including, cleaning the surface with detergent, etc. removing old paints etc. as required. (b) Painting of PAPI Units. | 8.00 | Nos |  | 150.00 | 1200.00 | 200.00 | 1600.00 | 236.00 | 1888.00 | 250.00 | 2000.00 | 1000.00 | 8000.00 | 1000.00 | 8000.00 | 1000.00 | 8000.00 | 1200.00 | S. N ELECTRICALS
32.00 | Spary painting of sheet metal enclosures of electrical equipments such as feeder pilars, distribution boards, electrical panel, frame etc. including cleaning the surface and two coats of grey or any other colour of approved make including rewritting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as required. | 75.00 | Sqm |  | 150.00 | 11250.00 | 20.00 | 1500.00 | 115.00 | 8625.00 | 175.00 | 13125.00 | 200.00 | 15000.00 | 200.00 | 15000.00 | 250.00 | 18750.00 | 1500.00 | M/S B.A.G ENTERPRISES
33.00 | Excavation the ground for locating the fault removing the cable from the trench, detecting the fault, relaying the cable and making the ground as per original. a) Upto 25 Sq.mm (LT Cable) | 100.00 | Mtr |  | 85.00 | 8500.00 | 30.00 | 3000.00 | 115.00 | 11500.00 | 155.00 | 15500.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 1000.00 | 100000.00 | 3000.00 | M/S B.A.G ENTERPRISES
34.00 | Excavation the ground for locating the fault removing the cable from the trench, detecting the fault, relaying the cable and making the ground as per original. b) Above 25 Sq.mm and upto 120 Sq.mm Cable (LT Cable) | 50.00 | Mtr |  | 95.00 | 4750.00 | 40.00 | 2000.00 | 135.00 | 6750.00 | 155.00 | 7750.00 | 300.00 | 15000.00 | 250.00 | 12500.00 | 1500.00 | 75000.00 | 2000.00 | M/S B.A.G ENTERPRISES
35.00 | Excavation the ground for locating the fault removing the cable from the trench, detecting the fault, relaying the cable and making the ground as per original. c) Upto 25 Sq.mm HT Cable | 50.00 | Mtr |  | 110.00 | 5500.00 | 70.00 | 3500.00 | 177.00 | 8850.00 | 155.00 | 7750.00 | 300.00 | 15000.00 | 250.00 | 12500.00 | 1500.00 | 75000.00 | 3500.00 | M/S B.A.G ENTERPRISES
36.00 | SH- III SUPPLY OF MATERIALS - SPARES [GENERAL ITEMS] Supply of copper wound ballast 250 W HPSV/MH VPIT mercury type | 6.00 | Each |  | 1250.00 | 7500.00 | 600.00 | 3600.00 | 944.00 | 5664.00 | 250.00 | 1500.00 | 1500.00 | 9000.00 | 1200.00 | 7200.00 | 750.00 | 4500.00 | 1500.00 | Techno Electricals
37.00 | Supply of copper wound Ballast 40 Watt HPSV/MH | 10.00 | Each |  | 1250.00 | 12500.00 | 500.00 | 5000.00 | 472.00 | 4720.00 | 250.00 | 2500.00 | 2000.00 | 20000.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 2000.00 | Anil Kumar Sharma
38.00 | Supply of 250W lamp HPSV/MH SON | 14.00 | Each |  | 450.00 | 6300.00 | 900.00 | 12600.00 | 590.00 | 8260.00 | 325.00 | 4550.00 | 1500.00 | 21000.00 | 800.00 | 11200.00 | 750.00 | 10500.00 | 4550.00 | Techno Electricals
39.00 | Supply of Starter 40W (make havells or equivalent) | 24.00 | Each |  | 7.00 | 168.00 | 10.00 | 240.00 | 15.00 | 360.00 | 25.00 | 600.00 | 20.00 | 480.00 | 20.00 | 480.00 | 15.00 | 360.00 | 168.00 | S. N ELECTRICALS
40.00 | Supply of Cordless bell with remote suitable for 230V, 50 Hz single phase AC supply equivalent to Anchor 22740 | 2.00 | Each |  | 180.00 | 360.00 | 300.00 | 600.00 | 413.00 | 826.00 | 650.00 | 1300.00 | 250.00 | 500.00 | 500.00 | 1000.00 | 750.00 | 1500.00 | 360.00 | S. N ELECTRICALS
41.00 | Supply of PVC Blanking Plate for MCB DB | 40.00 | Each |  | 5.00 | 200.00 | 10.00 | 400.00 | 18.00 | 720.00 | 20.00 | 800.00 | 10.00 | 400.00 | 50.00 | 2000.00 | 11.00 | 440.00 | 200.00 | S. N ELECTRICALS
42.00 | Supply of PVC Canopy for Ceiling Fans | 10.00 | Each |  | 5.00 | 50.00 | 10.00 | 100.00 | 59.00 | 590.00 | 75.00 | 750.00 | 25.00 | 250.00 | 50.00 | 500.00 | 30.00 | 300.00 | 50.00 | S. N ELECTRICALS
43.00 | Supply of follwing type Plastic Capacitors with wire terminals for fans and motor run suitable for 230V/415V, 50 Hz AC supply. Capacitor 2.25 MFD, 230V, Wire Terminal | 2.00 | Each |  | 25.00 | 50.00 | 10.00 | 20.00 | 35.00 | 70.00 | 40.00 | 80.00 | 25.00 | 50.00 | 100.00 | 200.00 | 25.00 | 50.00 | 20.00 | M/S B.A.G ENTERPRISES
44.00 | Capacitor 15 MFD | 5.00 | Each |  | 25.00 | 125.00 | 8.00 | 40.00 | 59.00 | 295.00 | 55.00 | 275.00 | 300.00 | 1500.00 | 150.00 | 750.00 | 45.00 | 225.00 | 40.00 | M/S B.A.G ENTERPRISES
45.00 | PVC Casing caping of size 20*12mm [ISI Marked] (Precision or equivalent) | 50.00 | Mtr |  | 20.00 | 1000.00 | 30.00 | 1500.00 | 24.00 | 1200.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 30.00 | 1500.00 | 25.00 | 1250.00 | 1000.00 | S. N ELECTRICALS
46.00 | PVC Casing caping of size 25*12mm [ISI Marked] (Precision or equivalent) | 80.00 | Mtr |  | 25.00 | 2000.00 | 35.00 | 2800.00 | 30.00 | 2400.00 | 50.00 | 4000.00 | 60.00 | 4800.00 | 30.00 | 2400.00 | 25.00 | 2000.00 | 2000.00 | S. N ELECTRICALS, ROSHAN REFRIGERATION AND ELECTRICALS
47.00 | PVC Casing caping of size 2 Inch Box Type 50x50mm [ISI Marked] (Precision or equivalent) | 30.00 | Mtr |  | 65.00 | 1950.00 | 60.00 | 1800.00 | 59.00 | 1770.00 | 400.00 | 12000.00 | 200.00 | 6000.00 | 50.00 | 1500.00 | 25.00 | 750.00 | 750.00 | ROSHAN REFRIGERATION AND ELECTRICALS
48.00 | PVC channel Cable duct 75mmx 50mm [ISI Marked] (Precision or equivalent) | 30.00 | Mtr |  | 95.00 | 2850.00 | 40.00 | 1200.00 | 118.00 | 3540.00 | 120.00 | 3600.00 | 400.00 | 12000.00 | 50.00 | 1500.00 | 25.00 | 750.00 | 750.00 | ROSHAN REFRIGERATION AND ELECTRICALS
49.00 | Supply of Wall Mounting Fan, 400 mm sweep (Model : Havells Platina or Equivalent] | 5.00 | Each |  | 1870.00 | 9350.00 | 1800.00 | 9000.00 | 3540.00 | 17700.00 | 3500.00 | 17500.00 | 3800.00 | 19000.00 | 1400.00 | 7000.00 | 2550.00 | 12750.00 | 7000.00 | Anil Kumar Sharma
50.00 | Supply of Padestal Fan, 400 mm sweep (Model : Havells Sprint HS or euivalent) | 5.00 | Each |  | 2800.00 | 14000.00 | 2200.00 | 11000.00 | 4130.00 | 20650.00 | 4000.00 | 20000.00 | 3500.00 | 17500.00 | 2500.00 | 12500.00 | 7500.00 | 37500.00 | 11000.00 | M/S B.A.G ENTERPRISES
51.00 | Supply of Exhaust fan Blade Sweep 300MM, 1400RPM,Robust metal body with front protection guard.(Model : Havells Turbo Force SP or euivalent | 5.00 | Each |  | 3200.00 | 16000.00 | 1500.00 | 7500.00 | 236.00 | 1180.00 | 5000.00 | 25000.00 | 2600.00 | 13000.00 | 3500.00 | 17500.00 | 3500.00 | 17500.00 | 1180.00 | NATIONAL SAFETY ENGINEERS
52.00 | Supply of heat Piller heater 1500 W | 10.00 | Each |  | 1150.00 | 11500.00 | 2500.00 | 25000.00 | 1180.00 | 11800.00 | 2000.00 | 20000.00 | 3000.00 | 30000.00 | 4000.00 | 40000.00 | 3500.00 | 35000.00 | 11500.00 | S. N ELECTRICALS
53.00 | Supply of Heater Rod up to 2 feet length | 40.00 | Each |  | 150.00 | 6000.00 | 120.00 | 4800.00 | 354.00 | 14160.00 | 2500.00 | 100000.00 | 600.00 | 24000.00 | 5000.00 | 200000.00 | 100.00 | 4000.00 | 4000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
54.00 | Supply of Ignitor for HPSV lamp 70/250/400 Watt sodium vapour or metal halide lamp suitalbe for operation of 250V 50Hz AC supply. | 12.00 | Each |  | 150.00 | 1800.00 | 50.00 | 600.00 | 354.00 | 4248.00 | 750.00 | 9000.00 | 300.00 | 3600.00 | 500.00 | 6000.00 | 495.00 | 5940.00 | 600.00 | M/S B.A.G ENTERPRISES
55.00 | Supply of Pilot Lamp with Integral circuit LED [indicator R,Y,B] | 30.00 | Each |  | 75.00 | 2250.00 | 60.00 | 1800.00 | 142.00 | 4260.00 | 300.00 | 9000.00 | 150.00 | 4500.00 | 200.00 | 6000.00 | 470.00 | 14100.00 | 1800.00 | M/S B.A.G ENTERPRISES
56.00 | Supply of integrated LED Pilot Lamp [indicator R,Y,B] | 20.00 | Each |  | 75.00 | 1500.00 | 60.00 | 1200.00 | 118.00 | 2360.00 | 300.00 | 6000.00 | 120.00 | 2400.00 | 100.00 | 2000.00 | 99.00 | 1980.00 | 1200.00 | M/S B.A.G ENTERPRISES
57.00 | Supply of follwing type of LED luminare having required power consumption and required lumen output as per manufacturers technical specification approved Supply of 2 X 2 size LED luminare of 43 W (model-BCTBLS 43W ZT WH ) or Equivalent as approved by Engineer in charge | 2.00 | Each |  | 2400.00 | 4800.00 | 1500.00 | 3000.00 | 4720.00 | 9440.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 950.00 | 1900.00 | 1900.00 | ROSHAN REFRIGERATION AND ELECTRICALS
58.00 | Supply of LED T8 Tubelight of 18 W (model-BLRB 18W CWC WH ) or Equivalent as approved by Engineer in charge | 5.00 | Each |  | 230.00 | 1150.00 | 300.00 | 1500.00 | 590.00 | 2950.00 | 650.00 | 3250.00 | 900.00 | 4500.00 | 200.00 | 1000.00 | 750.00 | 3750.00 | 1000.00 | Anil Kumar Sharma
59.00 | Supply of LED luminare of size 1X1 18W Tubelight of 18 W (model-BCTBLS 18 WH ) or Equivalent as approved by Engineer in charge | 3.00 | Each |  | 185.00 | 555.00 | 800.00 | 2400.00 | 2360.00 | 7080.00 | 2500.00 | 7500.00 | 400.00 | 1200.00 | 200.00 | 600.00 | 500.00 | 1500.00 | 555.00 | S. N ELECTRICALS
60.00 | Supply of LED luminare of 2' X 2' size of 36 W (model -BCTBLS 36 ZT WH) or Equivalent as approved by Engineer in charge | 2.00 | Each |  | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 4720.00 | 9440.00 | 2500.00 | 5000.00 | 900.00 | 1800.00 | 300.00 | 600.00 | 1475.00 | 2950.00 | 600.00 | Anil Kumar Sharma
61.00 | Supply of LED Downlightner of 15W (Make Bajaj, BZSLO 15W DOVEE PRO) or Equivalent as approved by Engineer in charge | 4.00 | Each |  | 450.00 | 1800.00 | 900.00 | 3600.00 | 1416.00 | 5664.00 | 850.00 | 3400.00 | 2000.00 | 8000.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 1800.00 | S. N ELECTRICALS
62.00 | Supply of LED luminare of 1' X 1' size of 15 W Downlight (model-EDGEPROSQDLR15WLED857S) or Equivalent as approved by Engineer in charge | 4.00 | Each |  | 450.00 | 1800.00 | 1000.00 | 4000.00 | 2950.00 | 11800.00 | 850.00 | 3400.00 | 2500.00 | 10000.00 | 300.00 | 1200.00 | 5100.00 | 20400.00 | 1200.00 | Anil Kumar Sharma
63.00 | Supply of LED luminare of type post top lantern (make-RUBYPT25WLED757PSYMTOPC 9405) or Equivalent as approved by Engineer in charge | 2.00 | Each |  | 3800.00 | 7600.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 1800.00 | 3600.00 | 1200.00 | 2400.00 | 2400.00 | ROSHAN REFRIGERATION AND ELECTRICALS
64.00 | Supply of AC MCB/ Isolator/ RCCB having fixed time/curent characteristices for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240 V / 415 V 50 Hz AC supply having facility for termination of almunimum cable and fixing arrangements on steel monting rail conforming to IS : 8828 / 78 with amendment no 1 x and mounting rail to IS : 11039/83 tide top hat section rail TH 35-7-5 of following rating : 6-32A SP MCB, C series | 10.00 | Each |  | 110.00 | 1100.00 | 150.00 | 1500.00 | 236.00 | 2360.00 | 150.00 | 1500.00 | 3000.00 | 30000.00 | 190.00 | 1900.00 | 155.00 | 1550.00 | 1100.00 | S. N ELECTRICALS
65.00 | 63A SPN MCB, C Series | 2.00 | Each |  | 435.00 | 870.00 | 300.00 | 600.00 | 354.00 | 708.00 | 400.00 | 800.00 | 1200.00 | 2400.00 | 500.00 | 1000.00 | 1111.00 | 2222.00 | 600.00 | M/S B.A.G ENTERPRISES
66.00 | 6-32 A MCB SPN, C series | 3.00 | Each |  | 385.00 | 1155.00 | 200.00 | 600.00 | 400.00 | 1200.00 | 750.00 | 2250.00 | 600.00 | 1800.00 | 400.00 | 1200.00 | 599.00 | 1797.00 | 600.00 | M/S B.A.G ENTERPRISES
67.00 | MCB TPN 63A, C series | 3.00 | Each |  | 1100.00 | 3300.00 | 500.00 | 1500.00 | 1180.00 | 3540.00 | 1250.00 | 3750.00 | 900.00 | 2700.00 | 1500.00 | 4500.00 | 5360.00 | 16080.00 | 1500.00 | M/S B.A.G ENTERPRISES
68.00 | 100 A TPN Isolator | 3.00 | Each |  | 850.00 | 2550.00 | 800.00 | 2400.00 | 1062.00 | 3186.00 | 2500.00 | 7500.00 | 1200.00 | 3600.00 | 1000.00 | 3000.00 | 795.00 | 2385.00 | 2385.00 | ROSHAN REFRIGERATION AND ELECTRICALS
69.00 | 40A RCCB, 300mA Senstivity, DP | 3.00 | Each |  | 1100.00 | 3300.00 | 1200.00 | 3600.00 | 3540.00 | 10620.00 | 3500.00 | 10500.00 | 3000.00 | 9000.00 | 1500.00 | 4500.00 | 3570.00 | 10710.00 | 3300.00 | S. N ELECTRICALS
70.00 | 63A RCCB, 300mA Senstivity, DP | 3.00 | Each |  | 1100.00 | 3300.00 | 1800.00 | 5400.00 | 3776.00 | 11328.00 | 4000.00 | 12000.00 | 3000.00 | 9000.00 | 3500.00 | 10500.00 | 3570.00 | 10710.00 | 3300.00 | S. N ELECTRICALS
71.00 | 40A RCCB, 300mA Senstivity, FP | 2.00 | Each |  | 1100.00 | 2200.00 | 2000.00 | 4000.00 | 5310.00 | 10620.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 2700.00 | 5400.00 | 3559.00 | 7118.00 | 2200.00 | S. N ELECTRICALS
72.00 | 63A RCCB, 300mA Senstivity, FP | 2.00 | Each |  | 1100.00 | 2200.00 | 2100.00 | 4200.00 | 5900.00 | 11800.00 | 5500.00 | 11000.00 | 3000.00 | 6000.00 | 2900.00 | 5800.00 | 3559.00 | 7118.00 | 2200.00 | S. N ELECTRICALS
73.00 | PVC Pipe 20 mm [ISI Marked] (Make Precision or equivalent) | 50.00 | Mtr |  | 60.00 | 3000.00 | 30.00 | 1500.00 | 35.00 | 1750.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 30.00 | 1500.00 | 20.00 | 1000.00 | 1000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
74.00 | PVC Pipe 25 mm [ISI Marked] (Make Precision or equivalent) | 50.00 | Mtr |  | 65.00 | 3250.00 | 40.00 | 2000.00 | 40.00 | 2000.00 | 40.00 | 2000.00 | 60.00 | 3000.00 | 40.00 | 2000.00 | 20.00 | 1000.00 | 1000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
75.00 | PVC Pipe 32 mm [ISI Marked] (Make Precision or equivalent) | 30.00 | Mtr |  | 70.00 | 2100.00 | 50.00 | 1500.00 | 47.00 | 1410.00 | 55.00 | 1650.00 | 70.00 | 2100.00 | 50.00 | 1500.00 | 25.00 | 750.00 | 750.00 | ROSHAN REFRIGERATION AND ELECTRICALS
76.00 | PVC Pipe Flexible 25 mm dia ISI Marked | 30.00 | Mtr |  | 10.00 | 300.00 | 60.00 | 1800.00 | 30.00 | 900.00 | 40.00 | 1200.00 | 80.00 | 2400.00 | 60.00 | 1800.00 | 25.00 | 750.00 | 300.00 | S. N ELECTRICALS
77.00 | Supply of 3 pin top 5/6 Amp, 240 volt, AC Supply. (Make : Anchor Code no. 39571/51348 or equivalent) | 15.00 | Each |  | 15.00 | 225.00 | 50.00 | 750.00 | 40.00 | 600.00 | 65.00 | 975.00 | 30.00 | 450.00 | 90.00 | 1350.00 | 115.00 | 1725.00 | 225.00 | S. N ELECTRICALS
78.00 | Supply of 3 pin Top 15/16 Amp, 240 volt, AC Supply. (Make : Anchor Code no. 39582/51395 or equivalent) | 15.00 | Each |  | 10.00 | 150.00 | 70.00 | 1050.00 | 88.00 | 1320.00 | 85.00 | 1275.00 | 75.00 | 1125.00 | 150.00 | 2250.00 | 215.00 | 3225.00 | 150.00 | S. N ELECTRICALS
79.00 | Supply of 6A Switch (Colour White) equivalent to Make Anchor Code no. 38014 or equivalent) | 30.00 | Each |  | 25.00 | 750.00 | 20.00 | 600.00 | 35.00 | 1050.00 | 40.00 | 1200.00 | 25.00 | 750.00 | 60.00 | 1800.00 | 45.00 | 1350.00 | 600.00 | M/S B.A.G ENTERPRISES
80.00 | Supply of 16A Switch (Colour White) equivalent to Make Anchor Code no. 38014 or equivalent) | 30.00 | Each |  | 15.00 | 450.00 | 22.00 | 660.00 | 77.00 | 2310.00 | 85.00 | 2550.00 | 75.00 | 2250.00 | 150.00 | 4500.00 | 145.00 | 4350.00 | 450.00 | S. N ELECTRICALS
81.00 | Supply of 6A, 2 in 1 Socket as per IS 3854/88, 240V-50Hz AC supply equivalent to Anchor Penta Delux-14304. | 20.00 | Each |  | 110.00 | 2200.00 | 15.00 | 300.00 | 47.00 | 940.00 | 65.00 | 1300.00 | 90.00 | 1800.00 | 100.00 | 2000.00 | 190.00 | 3800.00 | 300.00 | M/S B.A.G ENTERPRISES
82.00 | Supply of 20A & 10A, Universal Socket as per IS 3854/88, 240V-50Hz AC supply equivalent to Anchor Penta Delux-14307. | 20.00 | Each |  | 110.00 | 2200.00 | 30.00 | 600.00 | 95.00 | 1900.00 | 125.00 | 2500.00 | 120.00 | 2400.00 | 100.00 | 2000.00 | 235.00 | 4700.00 | 600.00 | M/S B.A.G ENTERPRISES
83.00 | Power Strip with 4 universal socket with shutter & individual switch and indicator (Make Anchor Code 22568) | 2.00 | Each |  | 110.00 | 220.00 | 100.00 | 200.00 | 472.00 | 944.00 | 450.00 | 900.00 | 300.00 | 600.00 | 100.00 | 200.00 | 1350.00 | 2700.00 | 200.00 | Anil Kumar Sharma, M/S B.A.G ENTERPRISES
84.00 | Supply of following size of copper conductor PVC insulated flexible, heat resistant flame retardent grade wires suitable for domestic and industrial purpose. Conferming to IS:694 3 core 1.5 sqmm FRLS round Copper Conductor wire (Roll of 100mtr) | 1.00 | Each |  | 5400.00 | 5400.00 | 2000.00 | 2000.00 | 5900.00 | 5900.00 | 4500.00 | 4500.00 | 6900.00 | 6900.00 | 1500.00 | 1500.00 | 4700.00 | 4700.00 | 1500.00 | Anil Kumar Sharma
85.00 | 1 core 6.0 sqmm FRLS round Copper Conductor wire (Roll of 100mtr) | 1.00 | Each |  | 12000.00 | 12000.00 | 3000.00 | 3000.00 | 5310.00 | 5310.00 | 6500.00 | 6500.00 | 5800.00 | 5800.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 3000.00 | M/S B.A.G ENTERPRISES
86.00 | SH- III SUPPLY OF MATERIALS - SPARES [RUNWAY ITEMS] Supply of Essna Connector for 6 sqmm runway Cable | 50.00 | Each |  | 250.00 | 12500.00 | 200.00 | 10000.00 | 1416.00 | 70800.00 | 450.00 | 22500.00 | 480.00 | 24000.00 | 500.00 | 25000.00 | 1500.00 | 75000.00 | 10000.00 | M/S B.A.G ENTERPRISES
87.00 | Supply of Essna Connector for 16 sqmm runway Cable | 10.00 | Each |  | 250.00 | 2500.00 | 250.00 | 2500.00 | 2000.00 | 20000.00 | 450.00 | 4500.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 2500.00 | 25000.00 | 2500.00 | M/S B.A.G ENTERPRISES, S. N ELECTRICALS
88.00 | Supply of BI-PIN Holder for 45-200W , 6.6A | 10.00 | Each |  | 850.00 | 8500.00 | 100.00 | 1000.00 | 353.00 | 3530.00 | 285.00 | 2850.00 | 480.00 | 4800.00 | 1000.00 | 10000.00 | 999.00 | 9990.00 | 1000.00 | M/S B.A.G ENTERPRISES
89.00 | Supply of Islolating transformer of 20/6.6 A, 200W | 10.00 | Each |  | 2400.00 | 24000.00 | 1000.00 | 10000.00 | 2950.00 | 29500.00 | 3000.00 | 30000.00 | 5500.00 | 55000.00 | 5000.00 | 50000.00 | 999.00 | 9990.00 | 9990.00 | ROSHAN REFRIGERATION AND ELECTRICALS
90.00 | Supply of Islolating transformer of 20/6.6 A, 45W | 10.00 | Each |  | 2400.00 | 24000.00 | 1000.00 | 10000.00 | 2360.00 | 23600.00 | 3000.00 | 30000.00 | 4000.00 | 40000.00 | 5000.00 | 50000.00 | 999.00 | 9990.00 | 9990.00 | ROSHAN REFRIGERATION AND ELECTRICALS
91.00 | Supply of Islolating transformer of 6.6/6.6 A, 200W | 10.00 | Each |  | 2400.00 | 24000.00 | 1000.00 | 10000.00 | 3540.00 | 35400.00 | 4500.00 | 45000.00 | 5500.00 | 55000.00 | 5000.00 | 50000.00 | 549.00 | 5490.00 | 5490.00 | ROSHAN REFRIGERATION AND ELECTRICALS
92.00 | Supply of Halogen lamp for runway light, 150W, 6.6A,(Model -Philips 6292 or Equivalent) | 30.00 | Each |  | 650.00 | 19500.00 | 900.00 | 27000.00 | 1180.00 | 35400.00 | 650.00 | 19500.00 | 900.00 | 27000.00 | 600.00 | 18000.00 | 2100.00 | 63000.00 | 18000.00 | Anil Kumar Sharma
93.00 | Supply of Halogen lamp for runway light, 45W, 6.6A,(Model -Philips 6134 or Equivalent) | 30.00 | Each |  | 550.00 | 16500.00 | 1000.00 | 30000.00 | 1062.00 | 31860.00 | 545.00 | 16350.00 | 450.00 | 13500.00 | 600.00 | 18000.00 | 1100.00 | 33000.00 | 13500.00 | Manish Electricals
94.00 | SH- III SUPPLY OF MATERIALS [ T & P ] Supply of following type heavy duty self supported Platform Aluminum ladder made from 10 SWG Jindal / Hindalco/ approved make Aluminum "C" section size 66 x 33 x 3.15 mm with 1 inch Aluminum non slip corrugated step with shock proof rubber shoes, working platformetc. as required. a) Height 12 feet Twins step type as approved by Engineer In charge. | 1.00 | Each |  | 6500.00 | 6500.00 | 10000.00 | 10000.00 | 29500.00 | 29500.00 | 18500.00 | 18500.00 | 60000.00 | 60000.00 | 10000.00 | 10000.00 | 6000.00 | 6000.00 | 6000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
95.00 | Supply of following type heavy duty self supported Platform Aluminum ladder made from 10 SWG Jindal / Hindalco/ approved make Aluminum "C" section size 66 x 33 x 3.15 mm with 1 inch Aluminum non slip corrugated step with shock proof rubber shoes, working platformetc. as required. b) Height 6 feet Twin Step ladder Model no. AA-3 or equivalent as approved by Engineer In charge. | 1.00 | Each |  | 3100.00 | 3100.00 | 6000.00 | 6000.00 | 10620.00 | 10620.00 | 16580.00 | 16580.00 | 60000.00 | 60000.00 | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 2000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
96.00 | Supply of following type heavy duty self supported Platform Aluminum ladder made from 10 SWG Jindal / Hindalco/ approved make Aluminum "C" section size 66 x 33 x 3.15 mm with 1 inch Aluminum non slip corrugated step with shock proof rubber shoes, working platformetc. as required. Supply of insulated Electrical mat for voltage upto 33 KV | 20.00 | Mtr |  | 850.00 | 17000.00 | 800.00 | 16000.00 | 649.00 | 12980.00 | 1252.00 | 25040.00 | 1200.00 | 24000.00 | 3000.00 | 60000.00 | 650.00 | 13000.00 | 12980.00 | NATIONAL SAFETY ENGINEERS
97.00 | SH- IV DSR ITEM: Complete items of CPWD Schedule of Rates (Electrical- 2018). (Rates Shall be quoted in multipules e.g. 0.99 or 1.01% Above / Below) . The rate may be quoted in the following manner. (i) If quoted amount is Rs 45000 then the percentage will be considered as 10% below of DSR 2018. (ii) If quoted amount is Rs 50000 then the percentage will be considered as 0% above/ below.of DSR 2018. (iii) If quoted amount is Rs 55000 then the percentage will be considered as 10% above of DSR 2018. (iv) The Rate will be Inclusive of GST. | 50000.00 | INR |  | .50 | 25000.00 | 1.80 | 90000.00 | 1.14 | 57000.00 | .80 | 40000.00 | 1.00 | 50000.00 | .80 | 40000.00 | .90 | 45000.00 | 25000.00 | S. N ELECTRICALS
| Total in Figures |  |  |  |  | 5814927.22 |  | 4490186.00 |  | 5068710.00 |  | 5175442.00 |  | 5476205.00 |  | 4989930.00 |  | 6592959.00
Lowest Amount Quoted BY: M/S B.A.G ENTERPRISES(4490186.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance job service contract of electrical and mechanical installations at Shimla Airport 2020-22 Tender ID: 2020_AAI_53132_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S B.A.G ENTERPRISES | 4490186.00 | L1
| 2 | Anil Kumar Sharma | 4989930.00 | L2
| 3 | NATIONAL SAFETY ENGINEERS | 5068710.00 | L3
| 4 | Techno Electricals | 5175442.00 | L4
| 5 | Manish Electricals | 5476205.00 | L5
| 6 | S. N ELECTRICALS | 5814927.22 | L6
| 7 | ROSHAN REFRIGERATION AND ELECTRICALS | 6592959.00 | L7