## BoQ1
Government eProcurement System Created By: VENKATESWARA RAO CH Created Date/Time: 25-Sep-2020 04:10 PM Tender Title: Provision of Electrical works for Evacuation arrangement of power from 1MWp capacity solar project at TSSPDCL Substation and Solar Power plant Tender ID: 2020_AAI_53205_1
Tender Inviting Authority: Asst.General Manager(E-E), AAI, Begumpet Airport.
Name of Work: SITC of 1 MWp Grid (33 KV) Connected Solar Photo Voltaic Power Plant & Comprehensive, Operation and Maintenance for (12) Twelve years at Hyderabad Airport, Begumpet. SH: Provision of Electrical works for Evacuation arrangement of power from 1MWp capacity solar project at TSSPDCL Substation & Solar Power plant.
Contract No: 2020_AAI_53205_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VVRR ELECTRICALS(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of PSCC Poles 11 Mts 365 Kgs ( TSSPDCL Materials Code: PLS00013). | 14.00 | Each |  | 13200.00 | 184800.00 | 184800.00 | VVRR ELECTRICALS
2.00 | Supply of AAA conductor 100 Sq.mm (TSSPDCL Materials Code: CDR00004). | 500.00 | Mtr |  | 58.00 | 29000.00 | 29000.00 | VVRR ELECTRICALS
3.00 | Supply of 33KV "V" Cros Arms without Clamp (TSSPDCL Materials Code:FBR30004). | 14.00 | Each |  | 1540.00 | 21560.00 | 21560.00 | VVRR ELECTRICALS
4.00 | Supply of 33KV GI Pins ( TSSPDCL Materials Code: HWR00003). | 21.00 | Each |  | 100.00 | 2100.00 | 2100.00 | VVRR ELECTRICALS
5.00 | Supply of 33KV Polymer Insulators (B & S) ( TSSPDCL Materials Code: INS30007). | 42.00 | Each |  | 425.00 | 17850.00 | 17850.00 | VVRR ELECTRICALS
6.00 | Supply of 33KV Metal parts ( B&S) (TSSPDCL Materials Code: HWR00004). | 42.00 | Set |  | 200.00 | 8400.00 | 8400.00 | VVRR ELECTRICALS
7.00 | Supply of GI Earth Pipe 40 mm (TSSPDCL Materials Code: EMT00020). | 12.00 | Each |  | 1250.00 | 15000.00 | 15000.00 | VVRR ELECTRICALS
8.00 | Supply of TOP Fitting ( TSSPDCL Materials Code:FBR30013). | 14.00 | Each |  | 255.00 | 3570.00 | 3570.00 | VVRR ELECTRICALS
9.00 | Supply of MS Flat 50X6 mm ( TSSPDCL Materials Code: MST00014). | 200.00 | Kg |  | 58.00 | 11600.00 | 11600.00 | VVRR ELECTRICALS
10.00 | MS Channel 100X50 mm ) (TSSPDCL Material Code: MST00012). | 500.00 | Kg |  | 58.00 | 29000.00 | 29000.00 | VVRR ELECTRICALS
11.00 | Supply of 33KV Pin Insultors (TSSPDCL Materials Code: INS30001). | 21.00 | Each |  | 475.00 | 9975.00 | 9975.00 | VVRR ELECTRICALS
12.00 | Supply of RS Joist 175X85mm (TSSPDCL Materials Code: MST00032). | 7000.00 | Kg |  | 58.00 | 406000.00 | 406000.00 | VVRR ELECTRICALS
13.00 | Supplying of 33KV 3X300 Heat Shrinkable Out door end terminal kit (TSSPDCL Materials Code: SCB10114). | 12.00 | Each |  | 22600.00 | 271200.00 | 271200.00 | VVRR ELECTRICALS
14.00 | Excavation of Hard Pit w/o blast 0.76X0.76X1.83M (TSSPDCL Service code: SWR11039) | 4.00 | Each |  | 2500.00 | 10000.00 | 10000.00 | VVRR ELECTRICALS
15.00 | Excavation of Pit Hard ( 2.6"X2.6"X6.0") ( TSSPDCL Service Code : SWR10112) | 10.00 | Each |  | 1500.00 | 15000.00 | 15000.00 | VVRR ELECTRICALS
16.00 | Erection of 12 Meter Box pole. (TSSPDCL Service Code: SWR11267). | 14.00 | Each |  | 2500.00 | 35000.00 | 35000.00 | VVRR ELECTRICALS
17.00 | Erection of 11 M long PSCC Pole. (TSSPDCL Service Code: SWR10978). | 14.00 | Each |  | 2000.00 | 28000.00 | 28000.00 | VVRR ELECTRICALS
18.00 | Horizontal Cut point for 33 kv line ( TSSPDCL Service Code: SWR10981). | 6.00 | Each |  | 750.00 | 4500.00 | 4500.00 | VVRR ELECTRICALS
19.00 | Erection of Lines-Providing of earthing.( TSSPDCL Service Code: SWR10357). | 12.00 | Each |  | 350.00 | 4200.00 | 4200.00 | VVRR ELECTRICALS
20.00 | Painting of RS Joist (1C RO, 2C Al. Paint) (TSSPDCL Service Code: SWR10640). | 5.00 | Each |  | 1120.00 | 5600.00 | 5600.00 | VVRR ELECTRICALS
21.00 | Fabrication of 175X85/150X75mm RS joist ( TSSPDCL Service Code: SWR10642). | 7.00 | Each |  | 1500.00 | 10500.00 | 10500.00 | VVRR ELECTRICALS
22.00 | Mass concreting of supports incl. cement. (TSSPDCL Service Code: SWR10356). | 3.22 | Cum |  | 3500.00 | 11270.00 | 11270.00 | VVRR ELECTRICALS
23.00 | Jointing of 33KV 3X300 Heat Shrinkable Out door end terminal kit (TSSPDCL Service Code: SWR10387). | 12.00 | Each |  | 2500.00 | 30000.00 | 30000.00 | VVRR ELECTRICALS
24.00 | Supply of RS Joist 150 X 150mm (TSSPDCL Materials Code: SMT00029). | 3520.00 | Kg |  | 58.00 | 204160.00 | 204160.00 | VVRR ELECTRICALS
25.00 | Supply of MS Flat 75X8MM (TSSPDCL Materials Code: SMT00015). | 1500.00 | Kg |  | 58.00 | 87000.00 | 87000.00 | VVRR ELECTRICALS
26.00 | Supply of MS Flat 50X6 MM (TSSPDCL Materials Code: SMT00014). | 1000.00 | Kg |  | 58.00 | 58000.00 | 58000.00 | VVRR ELECTRICALS
27.00 | Supply of LT PVC Cu Contr Cable 10 Core 2.5 Sq.mm (TSSPDCL Materials Code: CBP00006). | 100.00 | Mtr |  | 266.00 | 26600.00 | 26600.00 | VVRR ELECTRICALS
28.00 | Supply of LT PVC Cu Contr Cable 4 Core 2.5 Sq.mm (TSSPDCL Materials Code: CBP00002) | 100.00 | Mtr |  | 120.00 | 12000.00 | 12000.00 | VVRR ELECTRICALS
29.00 | Supply of LT PVC Cu Contr Cable 2 Core 2.5 Sq.mm (TSSPDCL Materials Code: CBP00001) | 100.00 | Mtr |  | 77.00 | 7700.00 | 7700.00 | VVRR ELECTRICALS
30.00 | Supply of 33 KV 24V FED VCB WITH CTS & CR PANEL (TSSPDCL Materials Code: BRK30019) | 1.00 | Each |  | 460000.00 | 460000.00 | 460000.00 | VVRR ELECTRICALS
31.00 | Supply of 24V 40AH Battery with charger (TSSPDCL Materials Code: BAT00027). | 1.00 | Each |  | 28500.00 | 28500.00 | 28500.00 | VVRR ELECTRICALS
32.00 | Supply of 33KV 800A D/B AB Switch with insulators (TSSPDCL Materials Code: ABS30004). | 3.00 | Each |  | 45000.00 | 135000.00 | 135000.00 | VVRR ELECTRICALS
33.00 | Supply of HT Pilfer proof Boxes (TSSPDCL Materials Code: BXS00026). | 3.00 | Each |  | 7500.00 | 22500.00 | 22500.00 | VVRR ELECTRICALS
34.00 | Supply of CI Earth pipe 50mm Dia 2 Mtrs long (TSSPDCL Materials Code: EMT00007). | 6.00 | Each |  | 4500.00 | 27000.00 | 27000.00 | VVRR ELECTRICALS
35.00 | Supply of G.I Wire 4mm (No.8) (TSSPDCL Materials Code: WRS00005). | 50.00 | Kg |  | 58.00 | 2900.00 | 2900.00 | VVRR ELECTRICALS
36.00 | Supply of GI Bolts & Nuts 5/8 X 3" (TSSPDCL Materials Code: BNT00068) | 400.00 | Kg |  | 104.00 | 41600.00 | 41600.00 | VVRR ELECTRICALS
37.00 | Supply of ACSR Conductor Panther (TSSPDCL Materials Code: CDR00010) | 120.00 | Mtr |  | 200.00 | 24000.00 | 24000.00 | VVRR ELECTRICALS
38.00 | 33kv Lightning Arrestores Station Type (TSSPDCL Materials Code: LAS00004) | 6.00 | Each |  | 4200.00 | 25200.00 | 25200.00 | VVRR ELECTRICALS
39.00 | Supply of MS Channel 100 X 50 mm (TSSPDCL Materials Code: MST00012) | 2700.00 | Kg |  | 58.00 | 156600.00 | 156600.00 | VVRR ELECTRICALS
40.00 | Supply of HT Tri Open Access 33KV 25/1A IP:15min (TSSPDCL Materials Code: MHT30043) | 3.00 | Each |  | 122000.00 | 366000.00 | 366000.00 | VVRR ELECTRICALS
41.00 | Supply of 33KV 1Ph PTs 30VA Burden 0.2 Class (TSSPDCL Materials Code:ITR30061) | 6.00 | Each |  | 34500.00 | 207000.00 | 207000.00 | VVRR ELECTRICALS
42.00 | Supply of 33KV Meetering CT's 100/1A 0.2 Class (TSSPDCL Materials Code:ITR30055). | 6.00 | Each |  | 33500.00 | 201000.00 | 201000.00 | VVRR ELECTRICALS
43.00 | Mass concreting of supports incl. cement. (TSSPDCL Sevice Code: SWR10356). | 8.00 | Cum |  | 4200.00 | 33600.00 | 33600.00 | VVRR ELECTRICALS
44.00 | Con of Plinth for 33 KV VCB 1.8 X 1.8 X 0.75m (TSSPDCL Service Code: SWR10732) | 1.00 | Each |  | 25000.00 | 25000.00 | 25000.00 | VVRR ELECTRICALS
45.00 | Erection of 33KV VCB ( TSSPDCL Service Code: SWR10460) | 1.00 | Each |  | 25000.00 | 25000.00 | 25000.00 | VVRR ELECTRICALS
46.00 | Erection of 33KV LA stn type including Earthing (TSSPDCL Service Code: SWR10396) | 2.00 | Set |  | 3000.00 | 6000.00 | 6000.00 | VVRR ELECTRICALS
47.00 | Loading of 33/11 KV CTs/PTs ( TSSPDCL Service Code: SWR10200) | 12.00 | Each |  | 500.00 | 6000.00 | 6000.00 | VVRR ELECTRICALS
48.00 | Unloading of 33/11 KV CTs/PTs ( TSSPDCL Service Code: SWR10518) | 12.00 | Each |  | 500.00 | 6000.00 | 6000.00 | VVRR ELECTRICALS
49.00 | Erection of 33KV CTs ( TSSPDCL Service Code: SWR10399) | 2.00 | Set |  | 2000.00 | 4000.00 | 4000.00 | VVRR ELECTRICALS
50.00 | Erection of 33 KV single phase PTs (TSSPDCL Service Code: SWR10401) | 2.00 | Set |  | 2000.00 | 4000.00 | 4000.00 | VVRR ELECTRICALS
51.00 | Erection and commissioning of Battery Charger etc,. | 1.00 | Each |  | 2500.00 | 2500.00 | 2500.00 | VVRR ELECTRICALS
52.00 | Laying 4 core/10 core, 2.5 sq.mm control (TSSPDCL Service Code: SWR20666) | .30 | KM |  | 25000.00 | 7500.00 | 7500.00 | VVRR ELECTRICALS
53.00 | Supply and fixing of water tape. | 5.00 | Each |  | 550.00 | 2750.00 | 2750.00 | VVRR ELECTRICALS
54.00 | Cable trench with cover including sand fill. | 30.00 | Mtr |  | 2700.00 | 81000.00 | 81000.00 | VVRR ELECTRICALS
55.00 | Excavation of Pit For VCB. | 5.29 | Cum |  | 750.00 | 3969.00 | 3969.00 | VVRR ELECTRICALS
56.00 | Complete Civil work-entire Substation (cleaning/leveling site, provision of 20/40 mm chips other misc works) | 1.00 | LS |  | 50000.00 | 50000.00 | 50000.00 | VVRR ELECTRICALS
57.00 | LOADING of RS Joists 150 X 150 mm/Rail Pole (TSSPDCL Service Code: SWR10205) | 8.00 | Each |  | 250.00 | 2000.00 | 2000.00 | VVRR ELECTRICALS
58.00 | Unloading of RS Joists 150 X 150 mm/Rail Pol (TSSPDCL Service Code: SWR10523) | 8.00 | Each |  | 250.00 | 2000.00 | 2000.00 | VVRR ELECTRICALS
59.00 | Erection of RS Joist 150 X 150 mm (TSSPDCL Service Code:SWR10348) | 8.00 | Each |  | 2500.00 | 20000.00 | 20000.00 | VVRR ELECTRICALS
60.00 | Excavation of Pit ( 2.6" X 2.6" X 6.0") ( TSSPDCL Service Code: SWR10107) | 8.00 | Each |  | 800.00 | 6400.00 | 6400.00 | VVRR ELECTRICALS
61.00 | Erection of 33KV AB Switch including earthing (TSSPDCL Service Code: SWR10392) | 3.00 | Each |  | 2500.00 | 7500.00 | 7500.00 | VVRR ELECTRICALS
62.00 | Erection of lines-Providing of earthing.(TSSPDCL Service code: SWR10357). | 6.00 | Each |  | 650.00 | 3900.00 | 3900.00 | VVRR ELECTRICALS
63.00 | Painting of RS Joist (1C RO, 2C Al. Paint) (TSSPDCL Service Code: SWR10640). | 8.00 | Each |  | 1120.00 | 8960.00 | 8960.00 | VVRR ELECTRICALS
64.00 | Security fencing for switchyard (size 10X20 Sqft). | 1.00 | LS |  | 150000.00 | 150000.00 | 150000.00 | VVRR ELECTRICALS
65.00 | Erection-Metering panel at consumer (TSSPDCL Service Code: SWR11271). | 3.00 | Each |  | 3500.00 | 10500.00 | 10500.00 | VVRR ELECTRICALS
66.00 | Supply of MS Chaneel 100X50 mm ( TSSPDCL Materials Code: MST00012) | 400.00 | Kg |  | 58.00 | 23200.00 | 23200.00 | VVRR ELECTRICALS
67.00 | Supply of 33 Kv Polymer Insulators ( B&S) ( TSSPDCL Materials Code: INS30007) | 24.00 | Each |  | 425.00 | 10200.00 | 10200.00 | VVRR ELECTRICALS
68.00 | Supply of 33KV Metal Parts (B&S) ( TSSPDCL Materials Code: HWR00004) | 24.00 | Set |  | 200.00 | 4800.00 | 4800.00 | VVRR ELECTRICALS
69.00 | Supply of LT PVC Cu Control cable 10 Core 2.5 Sq.mm (TSSPDCL Materials Code: CBP00006) | 750.00 | Mtr |  | 266.00 | 199500.00 | 199500.00 | VVRR ELECTRICALS
70.00 | Supply of LT PVC Cu Control Cable 4 Core 2.5 Sq.mm (TSSPDCL Materials Code:CBP00002) | 750.00 | Mtr |  | 120.00 | 90000.00 | 90000.00 | VVRR ELECTRICALS
71.00 | Supply of LT PVC Cu Control cable 2 Core 2.5 Sq.mm ( TSSPDCL Materials Code: CBP00001) | 100.00 | Mtr |  | 77.00 | 7700.00 | 7700.00 | VVRR ELECTRICALS
72.00 | Supply of 33 KV 800A D/B AB Switch with insulators (TSSPDCL Materials Code: ABS30004) | 2.00 | Each |  | 45000.00 | 90000.00 | 90000.00 | VVRR ELECTRICALS
73.00 | Supply of HT Pilfer prof Boxes ( TSSPDCL Materials Code: BXS00026) | 2.00 | Each |  | 7500.00 | 15000.00 | 15000.00 | VVRR ELECTRICALS
74.00 | Supply of CI Earth pipe 50mm Dia 2 Mtrs long (TSSPDCL Materials Code: EMT00007). | 5.00 | Each |  | 4500.00 | 22500.00 | 22500.00 | VVRR ELECTRICALS
75.00 | Supply of G.I Wire 4mm (No.8) (TSSPDCL Materials Code: WRS00005). | 50.00 | kg |  | 55.00 | 2750.00 | 2750.00 | VVRR ELECTRICALS
76.00 | Supply of GI Bolts & Nuts 5/8 X 3" (TSSPDCL Materials Code: BNT00068) | 100.00 | kg |  | 104.00 | 10400.00 | 10400.00 | VVRR ELECTRICALS
77.00 | Supply of MS Flat 100X16 (TSSPDCL Materials Code:MST00047) | 450.00 | Kg |  | 58.00 | 26100.00 | 26100.00 | VVRR ELECTRICALS
78.00 | Supply of GI Flat 100X16 ( TSSPDCL Materials Code: MST00048) | 630.00 | Kg |  | 70.00 | 44100.00 | 44100.00 | VVRR ELECTRICALS
79.00 | Supply of 33KV Lightning Arrestors Station Type (TSSPDCL Materials Code:LAS00004) | 3.00 | Each |  | 4200.00 | 12600.00 | 12600.00 | VVRR ELECTRICALS
80.00 | Supply of MS Flat 50X6 mm (TSSPDCL Materials Code: MST00014). | 450.00 | Kg |  | 58.00 | 26100.00 | 26100.00 | VVRR ELECTRICALS
81.00 | Supply of MS Flat 75X8 (TSSPDCL Materials Code: SMT00015). | 1200.00 | Kg |  | 58.00 | 69600.00 | 69600.00 | VVRR ELECTRICALS
82.00 | Supply of ACSR Conductor Zebra (TSSPDCL Materials Code: CDR00011) | 100.00 | Mtr |  | 315.00 | 31500.00 | 31500.00 | VVRR ELECTRICALS
83.00 | Supply of DCP type 50 Kg Fire Extingusher (TSSPDCL Materials Code: CTH10212) | 2.00 | Each |  | 15625.00 | 31250.00 | 31250.00 | VVRR ELECTRICALS
84.00 | Supply of 33KV 1ph PTs, 10 VA Burden 0.2 Class (TSSPDCL Materials Code: ITR30061) | 6.00 | Each |  | 34500.00 | 207000.00 | 207000.00 | VVRR ELECTRICALS
85.00 | Supply of 33KV Metering CTs 25/1A 0.2S Class (TSSPDCL Materials Code: ITR30055) | 6.00 | Each |  | 33500.00 | 201000.00 | 201000.00 | VVRR ELECTRICALS
86.00 | Supply of HT Tri Open Access 33KV 25/1A, IP: 15min (TSSPDCL Materials Code: MHT30043) | 3.00 | Each |  | 122000.00 | 366000.00 | 366000.00 | VVRR ELECTRICALS
87.00 | Erection of 33 KV VCB ( TSSPDCL Service Code: SWR10460) | 1.00 | Each |  | 25000.00 | 25000.00 | 25000.00 | VVRR ELECTRICALS
88.00 | Concreting of Structures & provd base. | 5.73 | Cum |  | 4200.00 | 24049.20 | 24049.20 | VVRR ELECTRICALS
89.00 | Erection of 33KV LA type including earthing (TSSPDCL Service Code: SWR10396) | 1.00 | Set |  | 3000.00 | 3000.00 | 3000.00 | VVRR ELECTRICALS
90.00 | Loading of 33/11 KV CTs/PTs (TSSPDCL Service Code: SWR10200) | 6.00 | Each |  | 500.00 | 3000.00 | 3000.00 | VVRR ELECTRICALS
91.00 | Unloading of 33/11 KV CTs/PTs (TSSPDCL Service Code: SWR10518) | 6.00 | Each |  | 500.00 | 3000.00 | 3000.00 | VVRR ELECTRICALS
92.00 | Loading 33 KV PTs. | 6.00 | Each |  | 500.00 | 3000.00 | 3000.00 | VVRR ELECTRICALS
93.00 | Unloading 33 KV PTs. | 6.00 | Each |  | 500.00 | 3000.00 | 3000.00 | VVRR ELECTRICALS
94.00 | Erection of 33 KV CTs ( TSSPDCL Service Code: SWR10399) | 2.00 | Set |  | 2000.00 | 4000.00 | 4000.00 | VVRR ELECTRICALS
95.00 | Erection of 33KV single phase PTs (TSSPDCL Service Code:SWR10401) | 2.00 | Set |  | 2000.00 | 4000.00 | 4000.00 | VVRR ELECTRICALS
96.00 | Con of Plinth HTTVR meter 0.6 x 0.3 x 0.9M (TSSPDCL Service Code: SWR10734) | 2.00 | Each |  | 1000.00 | 2000.00 | 2000.00 | VVRR ELECTRICALS
97.00 | Erection of battery & Battery chargers ( TSSPDCL Service Code: SWR21001) | 1.00 | Each |  | 2500.00 | 2500.00 | 2500.00 | VVRR ELECTRICALS
98.00 | Ref-Laying 2 core 2.5 Sq.mm control cable. | 100.00 | RMT |  | 30.00 | 3000.00 | 3000.00 | VVRR ELECTRICALS
99.00 | Supply and fixing of water taps. | 5.00 | Each |  | 550.00 | 2750.00 | 2750.00 | VVRR ELECTRICALS
100.00 | Cable trench with cover including sand fill ( TSSPDCL Service Code: SWR21747) | 30.00 | Mtr |  | 2700.00 | 81000.00 | 81000.00 | VVRR ELECTRICALS
101.00 | Erection of 33KV Twin feeder C & R panel (TSSPDCL Service Code: SWR10934) | 1.00 | Each |  | 3000.00 | 3000.00 | 3000.00 | VVRR ELECTRICALS
102.00 | Excavation of Pit For VCB. | 5.29 | Cum |  | 1000.00 | 5292.00 | 5292.00 | VVRR ELECTRICALS
103.00 | Complete Civil work-entire Substation. | 1.00 | LS |  | 50000.00 | 50000.00 | 50000.00 | VVRR ELECTRICALS
104.00 | Erection of lines- Providing of earthing (TSSPDCL Service Code: SWR10357) | 5.00 | Each |  | 650.00 | 3250.00 | 3250.00 | VVRR ELECTRICALS
105.00 | Erection of 33KV AB Switch including earthing (TSSPDCL Service Code: SWR10392) | 2.00 | Each |  | 2500.00 | 5000.00 | 5000.00 | VVRR ELECTRICALS
106.00 | Const retairing wall with weld mesh (TSSPDCL Service Code: SWR30304) | 30.00 | Mtr |  | 2500.00 | 75000.00 | 75000.00 | VVRR ELECTRICALS
107.00 | Supp & spread gravel for switch yard. | 50.00 | Sq.m |  | 850.00 | 42500.00 | 42500.00 | VVRR ELECTRICALS
108.00 | PCC 1:3:6 using 40 mm metal (TSSPDCL Service Code: SWR30007) | 5.30 | Cum |  | 4200.00 | 22260.00 | 22260.00 | VVRR ELECTRICALS
109.00 | Erection- Metering panel at consumer (TSSPDCL Service Code: SWR11271) | 2.00 | Each |  | 3500.00 | 7000.00 | 7000.00 | VVRR ELECTRICALS
110.00 | Laying control cable 10x2.5 Sq.mm Cu, cable (TSSPDCL Service Code: SWR21301) | 1.50 | LS |  | 3000.00 | 4500.00 | 4500.00 | VVRR ELECTRICALS
| Total in Figures |  |  |  |  | 5597865.20
Lowest Amount Quoted BY: VVRR ELECTRICALS(5597865.20)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Electrical works for Evacuation arrangement of power from 1MWp capacity solar project at TSSPDCL Substation and Solar Power plant Tender ID: 2020_AAI_53205_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VVRR ELECTRICALS | 5597865.20 | L1