## BoQ1
Government eProcurement System Created By: SYED TANWEER ASHRAF Created Date/Time: 02-Sep-2020 03:40 PM Tender Title: Annual Operation and Comprehensive Maintenance Contract of 3x350TR AC plant for the year 2020-22 at Gaya Airport Gaya Tender ID: 2020_AAI_53230_1
Tender Inviting Authority: AGM ( Engg. Elect), AAI, Gaya Airport, Gaya
Name of Work: <Annual Operation & Comprehensive Maintenance Contract of 3x350TR AC plant for the year 2020-2022 at Gaya Airport, Gaya >
Contract No: <0631-2210043>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AIRTECH ENGINEERS(GSTN-NA) |  | SUVIDHA ENGINEERS INDIA PVT LTD(GSTN-NA) |  | Supertech Engineers(GSTN-NA) |  | ANOOP REFRIGERATION(GSTN-NA) |  | Zamzam Refrigeration and airconditioning(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual comprehensive maintenance contract of 3 x 350 TR (TRANE MAKE) Centrifugal type Central A.C. plant, 03 Nos. of 100 HP Chiller pumps, 03 Nos. of 60 HP Condenser Pumps, 10 Nos. of AHUs, AHU panels, 01 No. of Control Panel, 02 Nos. of LT panels, FCUs & 03 Nos. Cooling towers and all related installations comprising checks, quarterly, half yearly and annual servicing & over hauling, attending breakdown, supply and replacement of defective parts and consumables as per the need basis at site to keep the plant serviceable and as per special cum particular specifications as required.
1.10 | (a) 1st Year | 12.00 | Month | 263.00 | 50000.00 | 600000.00 | 80480.00 | 965760.00 | 55000.00 | 660000.00 | 94500.00 | 1134000.00 | 12000.00 | 144000.00 | 144000.00 | Zamzam Refrigeration and airconditioning
1.20 | (b) 2nd Year | 12.00 | Month | 351.00 | 50000.00 | 600000.00 | 80480.00 | 965760.00 | 60000.00 | 720000.00 | 94500.00 | 1134000.00 | 12000.00 | 144000.00 | 144000.00 | Zamzam Refrigeration and airconditioning
2.00 | Operation and day to day maintenance of 3x350 TR (TRANE MAKE) AC plant including AHU`s, FCU`s etc & maintaining the desired cooling level in Terminal Building on all dyas including Sundays and holidays and to keep all records, operation log books, maintenance log book etc as per special cum particular specification etc as required. (i) Operator (Skilled)-3Nos. (ii) Khallasi (Un-Skilled)-1 No. | 24.00 | Month | 352.00 | 84000.00 | 2016000.00 | 87114.00 | 2090736.00 | 83500.00 | 2004000.00 | 68608.80 | 1646611.20 | 133000.00 | 3192000.00 | 1646611.20 | ANOOP REFRIGERATION
3.00 | Providing additional manpower for operation of HVAC plant require after operation of scheduled duty hrs in case of extension of watch hour or any other requirement etc. complete as required by deploying (i) operator-01 Nos and (ii) Helper - 01 Nos on hourly basis. | 500.00 | Hrs | 10.00 | 100.00 | 50000.00 | 148.00 | 74000.00 | 65.00 | 32500.00 | 126.63 | 63315.00 | 50.00 | 25000.00 | 25000.00 | Zamzam Refrigeration and airconditioning
| Total in Figures |  |  |  |  | 3266000.00 |  | 4096256.00 |  | 3416500.00 |  | 3977926.20 |  | 3505000.00
Lowest Amount Quoted BY: AIRTECH ENGINEERS(3266000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Comprehensive Maintenance Contract of 3x350TR AC plant for the year 2020-22 at Gaya Airport Gaya Tender ID: 2020_AAI_53230_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AIRTECH ENGINEERS | 3266000.00 | L1
| 2 | Supertech Engineers | 3416500.00 | L2
| 3 | Zamzam Refrigeration and airconditioning | 3505000.00 | L3
| 4 | ANOOP REFRIGERATION | 3977926.20 | L4
| 5 | SUVIDHA ENGINEERS INDIA PVT LTD | 4096256.00 | L5