## BoQ1
Government eProcurement System Created By: RAM MOHAN S Created Date/Time: 20-Aug-2020 12:09 PM Tender Title: ARMO 2020-21 SH- Supply of Electrical Maintenance Materials for NATS, NITB and OTB at Mangaluru International Airport. Tender ID: 2020_AAI_53542_1
Tender Inviting Authority: Asst. Gen. Manager (Engg E), AAI Mangaluru, Airport.
Name of Work: ARMO 2020-21 SH: Supply of Electrical Maintenance Materials for NATS, NITB & OTB at Mangaluru International Airport.
Tender ID 2020_AAI_53542_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bafna Electric Corp(GSTN-NA) |  | SRI VASUKI POWER SYSTEMS PVT LTD(GSTN-NA) |  | guru electricals(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of ISI marked 36W 4 feet T8 conventional flourscent lamp cool daylight suitable for use with 230 Volts 50 Hz (Make: Crompton, Model No: FTL 36 Super Saver) or equivalent as per list of approved makes. | 100.00 | Each | 0.00 | 39.00 | 3900.00 | 50.00 | 5000.00 | 35.00 | 3500.00 | 3500.00 | guru electricals
2.00 | Supply of ISI marked 14W 2 feet T5 lamp suitable for G5 basecap cool daylight suitable for use with 230 Volts 50 Hz (Make: Crompton, Model No: Energylux 14W T5) or equivalent as per list of approved makes. | 30.00 | Each | 0.00 | 95.00 | 2850.00 | 125.00 | 3750.00 | 80.00 | 2400.00 | 2400.00 | guru electricals
3.00 | Supply of ISI marked 28W 4 feet T5 lamp suitable for G5 basecap cool daylight suitable for use with 230 Volts 50 Hz (Make: Crompton, Model No: Energylux 28W T5) or equivalent as per list of approved makes. | 55.00 | Each | 0.00 | 80.00 | 4400.00 | 75.00 | 4125.00 | 85.00 | 4675.00 | 4125.00 | SRI VASUKI POWER SYSTEMS PVT LTD
4.00 | Supply of 14W cool day light LED bulb with B22 base suitable for use with 230 Volts 50 Hz complete as required as per list of approved makes. | 120.00 | Each | 0.00 | 175.00 | 21000.00 | 275.00 | 33000.00 | 185.00 | 22200.00 | 21000.00 | Bafna Electric Corp
5.00 | Supply of ISI marked 1.5 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Red colour (90 meter coil) | 450.00 | Metre | 0.00 | 12.00 | 5400.00 | 12.50 | 5625.00 | 16.00 | 7200.00 | 5400.00 | Bafna Electric Corp
6.00 | Supply of ISI marked 1.5 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Yellow colour (90 meter coil) | 450.00 | Metre | 0.00 | 12.00 | 5400.00 | 12.50 | 5625.00 | 16.00 | 7200.00 | 5400.00 | Bafna Electric Corp
7.00 | Supply of ISI marked 1.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Blue colour (90 meter coil) | 450.00 | Metre | 0.00 | 12.00 | 5400.00 | 12.50 | 5625.00 | 16.00 | 7200.00 | 5400.00 | Bafna Electric Corp
8.00 | Supply of ISI marked 1.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Black colour (90 meter coil) | 270.00 | Metre | 0.00 | 12.00 | 3240.00 | 12.50 | 3375.00 | 16.00 | 4320.00 | 3240.00 | Bafna Electric Corp
9.00 | Supply of ISI marked 2.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Red colour (90 meter coil) | 270.00 | Metre | 0.00 | 18.00 | 4860.00 | 20.00 | 5400.00 | 27.00 | 7290.00 | 4860.00 | Bafna Electric Corp
10.00 | Supply of ISI marked 2.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Yellow colour (90 meter coil) | 270.00 | Metre | 0.00 | 18.00 | 4860.00 | 20.00 | 5400.00 | 27.00 | 7290.00 | 4860.00 | Bafna Electric Corp
11.00 | Supply of ISI marked 2.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Blue colour (90 meter coil) | 270.00 | Metre | 0.00 | 18.00 | 4860.00 | 20.00 | 5400.00 | 27.00 | 7290.00 | 4860.00 | Bafna Electric Corp
12.00 | Supply of ISI marked 2.5 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Black colour (90 meter coil) | 270.00 | Metre | 0.00 | 18.00 | 4860.00 | 20.00 | 5400.00 | 27.00 | 7290.00 | 4860.00 | Bafna Electric Corp
13.00 | Supply of ISI marked 3C x 4 Sq.mm PVC insulated & FR PVC round sheathed copper flexible industrial cable of 1100V grade confirming to IS 694 amendments upto date etc complete as required. | 100.00 | Metre | 0.00 | 90.00 | 9000.00 | 95.00 | 9500.00 | 120.00 | 12000.00 | 9000.00 | Bafna Electric Corp
14.00 | Supply of ISI marked 6 Amps Piano type One Way switch suitable to use with 230V 50 Hz supply as required as per list of approved makes. | 70.00 | Each | 0.00 | 13.00 | 910.00 | 20.00 | 1400.00 | 15.00 | 1050.00 | 910.00 | Bafna Electric Corp
15.00 | Supply of ISI marked 6 Amps 3 pin piano type socket outlet suitable to use with 230V 50 Hz supply as required as per list of approved makes. | 40.00 | Each | 0.00 | 31.00 | 1240.00 | 35.00 | 1400.00 | 30.00 | 1200.00 | 1200.00 | guru electricals
16.00 | Supply of ISI marked 6 Amps, 3 Pin Plug Top suitable to use with 230V 50 Hz supply as required as per list of approved makes. | 25.00 | Each | 0.00 | 46.00 | 1150.00 | 25.00 | 625.00 | 55.00 | 1375.00 | 625.00 | SRI VASUKI POWER SYSTEMS PVT LTD
17.00 | Supply of ISI marked 15/20Amps Piano type One Way switch with two fixing holes suitable to use with 230V 50 Hz supply as required as per list of approved makes. | 40.00 | Each | 0.00 | 66.00 | 2640.00 | 40.00 | 1600.00 | 70.00 | 2800.00 | 1600.00 | SRI VASUKI POWER SYSTEMS PVT LTD
18.00 | Supply of ISI marked 16 Amps, 3 pin piano type power socket suitable to use with 230V 50 Hz supply as required as per list of approved makes. | 25.00 | Each | 0.00 | 71.00 | 1775.00 | 60.00 | 1500.00 | 70.00 | 1750.00 | 1500.00 | SRI VASUKI POWER SYSTEMS PVT LTD
19.00 | Supply of ISI marked 16 Amps, 3 pin Plug Top suitable to use with 230V 50 Hz supply as required as per list of approved makes. | 25.00 | Each | 0.00 | 62.00 | 1550.00 | 40.00 | 1000.00 | 75.00 | 1875.00 | 1000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
20.00 | Supply of ISI marked modular type one way switch 6 Amps (Make: Honeywell MK, Item code: CW501WHI) or equivalent as per list of apporved make. | 20.00 | Each | 0.00 | 67.00 | 1340.00 | 80.00 | 1600.00 | 100.00 | 2000.00 | 1340.00 | Bafna Electric Corp
21.00 | Supply of ISI marked modular type one way socket 6 Amps (Make: Honeywell MK, Item code: CW420WHI) or equivalent as per list of apporved make. | 20.00 | Each | 0.00 | 108.00 | 2160.00 | 140.00 | 2800.00 | 160.00 | 3200.00 | 2160.00 | Bafna Electric Corp
22.00 | Supply of ISI marked modular type one way switch 16 Amps (Make: Honeywell MK, Item code: CW411WHI) or equivalent as per list of apporved make. | 10.00 | Each | 0.00 | 110.00 | 1100.00 | 130.00 | 1300.00 | 160.00 | 1600.00 | 1100.00 | Bafna Electric Corp
23.00 | Supply of ISI marked modular type one way socket 6/16Amps (Make: Honeywell MK, Item code: CW424WHI) or equivalent as per list of apporved make. | 10.00 | Each | 0.00 | 169.00 | 1690.00 | 225.00 | 2250.00 | 250.00 | 2500.00 | 1690.00 | Bafna Electric Corp
24.00 | Supply of ISI marked single pole MCB, 16 Amps, 230V, C series, breaking capacity of 10kA as per list of approved makes. | 45.00 | Each | 0.00 | 109.00 | 4905.00 | 150.00 | 6750.00 | 110.00 | 4950.00 | 4905.00 | Bafna Electric Corp
25.00 | Supply of ISI marked single pole MCB, C series, 32 Amps, 230V, breaking capacity of 10kA as per list of approved makes. | 25.00 | Each | 0.00 | 109.00 | 2725.00 | 150.00 | 3750.00 | 110.00 | 2750.00 | 2725.00 | Bafna Electric Corp
26.00 | Supply of ISI marked double pole MCB, C series, 63 Amps, 230/415V, breaking capacity of 10kA as per list of approved makes. | 10.00 | Each | 0.00 | 615.00 | 6150.00 | 720.00 | 7200.00 | 592.00 | 5920.00 | 5920.00 | guru electricals
27.00 | Supply of ISI marked four pole MCB, C series, 32 Amps, 415V, breaking capacity of 10kA as per list of approved makes. | 10.00 | Each | 0.00 | 803.00 | 8030.00 | 975.00 | 9750.00 | 794.00 | 7940.00 | 7940.00 | guru electricals
28.00 | Supply of ISI marked four pole MCB, C series, 40 Amps, 415V, breaking capacity of 10kA as per list of approved makes. | 25.00 | Each | 0.00 | 1165.00 | 29125.00 | 1350.00 | 33750.00 | 1104.00 | 27600.00 | 27600.00 | guru electricals
29.00 | Supply of ISI marked four pole MCB, C series, 63 Amps, 415V, breaking capacity of 10kA as per list of approved makes. | 25.00 | Each | 0.00 | 1200.00 | 30000.00 | 1350.00 | 33750.00 | 1127.00 | 28175.00 | 28175.00 | guru electricals
30.00 | Supply of ISI marked RCCB two pole, 63 Amps, 230 Volts, 300mA sensitivity, breaking capacity of 10kA as per list of approved makes. | 15.00 | Each | 0.00 | 2115.00 | 31725.00 | 2500.00 | 37500.00 | 1897.00 | 28455.00 | 28455.00 | guru electricals
31.00 | Supply of ISI marked RCCB four pole, 25 Amps, 415 Volts, 300mA sensitivity, breaking capacity of 10kA as per list of approved makes. | 5.00 | Each | 0.00 | 1475.00 | 7375.00 | 3500.00 | 17500.00 | 1811.00 | 9055.00 | 7375.00 | Bafna Electric Corp
32.00 | Supply of ISI marked RCCB four pole, 63Amps, 415 Volts, 300mA sensitivity, breaking capacity of 10kA as per list of approved makes. | 15.00 | Each | 0.00 | 2250.00 | 33750.00 | 4000.00 | 60000.00 | 1960.00 | 29400.00 | 29400.00 | guru electricals
33.00 | Supply of cylindrical type 32 Amps HRC Fuse link, rated voltage 415 V, breaking capacity 80KA,gG, having dimesions (14x51), conforms to IEC 60269-2, IS 13703 part 2 (Make: C&S) or equivalent as per list of approved makes. | 10.00 | Each | 0.00 | 85.00 | 850.00 | 75.00 | 750.00 | 60.00 | 600.00 | 600.00 | guru electricals
34.00 | Supply of ISI marked DIN type 63 Amps HRC Fuse link, size 00, gG, rated voltage 415 V, breaking capacity 80KA (Make: C&S) or equivalent as per list of approved makes. | 10.00 | Each | 0.00 | 170.00 | 1700.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 1700.00 | Bafna Electric Corp
35.00 | Supply of Red coloured LED type Indication Lamp dia 22.5mm with operating voltage 240V AC for panels as required as per list of approved makes. | 115.00 | Each | 0.00 | 112.00 | 12880.00 | 250.00 | 28750.00 | 100.00 | 11500.00 | 11500.00 | guru electricals
36.00 | Supply of Yellow coloured LED Indication Lamp dia 22.5mm with operating voltage 240V AC for panels as required as per list of approved makes. | 75.00 | Each | 0.00 | 112.00 | 8400.00 | 250.00 | 18750.00 | 100.00 | 7500.00 | 7500.00 | guru electricals
37.00 | Supply of Blue coloured LED Indication Lamp dia 22.5mm with operating voltage 240V AC for panels as required as per list of approved makes. | 75.00 | Each | 0.00 | 160.00 | 12000.00 | 250.00 | 18750.00 | 140.00 | 10500.00 | 10500.00 | guru electricals
38.00 | Supply of Green coloured LED Indication Lamp dia 22.5mm with operating voltage 240V AC for Panels as required as per list of approved makes. | 85.00 | Each | 0.00 | 112.00 | 9520.00 | 250.00 | 21250.00 | 100.00 | 8500.00 | 8500.00 | guru electricals
39.00 | Supply of Illuminated Red colour spring return push button for Panels as required as per list of approved makes. | 20.00 | Each | 0.00 | 315.00 | 6300.00 | 500.00 | 10000.00 | 150.00 | 3000.00 | 3000.00 | guru electricals
40.00 | Supply of Illuminated Green colour spring return push button for Panels as required as per list of approved makes. | 20.00 | Each | 0.00 | 315.00 | 6300.00 | 500.00 | 10000.00 | 150.00 | 3000.00 | 3000.00 | guru electricals
41.00 | Supply of 6A, 3 pole, 2 way Cam Operared Rotary Changeover switch with center off 60 deg (Make: L&T, Cat No: 61027) or equivalent as required as per list of approved makes. | 20.00 | Each | 0.00 | 205.00 | 4100.00 | 200.00 | 4000.00 | 220.00 | 4400.00 | 4000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
42.00 | Supply of 36 watt ballast suitable for recess mounted T8/T12 fluorescent tubelight fixture with all accessories complete as required (Make: Havells, Order No. LHBF27904025) or equivalent as per list of approved makes. | 70.00 | Each | 0.00 | 260.00 | 18200.00 | 200.00 | 14000.00 | 145.00 | 10150.00 | 10150.00 | guru electricals
43.00 | Supply of 2x28 watt ballast suitable for recess mounted T5 fluorescent tubelight fixture with all accessories complete as required (Make: Havells, Order No. LHBT01228033) or equivalent as per list of approved makes. | 25.00 | Each | 0.00 | 465.00 | 11625.00 | 450.00 | 11250.00 | 330.00 | 8250.00 | 8250.00 | guru electricals
44.00 | Supply of 1x28 watt ballast suitable for recess mounted T5 fluorescent tubelight fixture with all accessories complete as required (Make: Havells, Order No. LHBT03128032) or equivalent as per list of approved makes. | 10.00 | Each | 0.00 | 405.00 | 4050.00 | 250.00 | 2500.00 | 185.00 | 1850.00 | 1850.00 | guru electricals
45.00 | Supply of 1x18 watt electronic ballast suitable for 2 pin type CFL light fixture with all accessories complete as required (Make: Bajaj, Cat.Ref no. 530882 BJHF 118) or equivalent as per list of approved makes. | 30.00 | Each | 0.00 | 205.00 | 6150.00 | 250.00 | 7500.00 | 145.00 | 4350.00 | 4350.00 | guru electricals
46.00 | Supply of 2x18 watt electronic ballast suitable for 2 pin type CFL light fixture with all accessories complete as required (Make: Bajaj, Cat.Ref no. 530255 BJHFS 218) or equivalent as per list of approved makes. | 35.00 | Each | 0.00 | 330.00 | 11550.00 | 350.00 | 12250.00 | 350.00 | 12250.00 | 11550.00 | Bafna Electric Corp
47.00 | Supply of 25 KVAR, 3 pole AC Capacitor duty contactor (Make: C&S, Ref. TC1-D25K11) or equivalent as per list of approved makes. | 13.00 | Each | 0.00 | 2800.00 | 36400.00 | 3800.00 | 49400.00 | 3130.00 | 40690.00 | 36400.00 | Bafna Electric Corp
48.00 | Supply of 50 KVAR, 3 pole AC Capacitor duty contactor (Make: C&S, Ref. TC1-D50K12) or equivalent as per list of approved makes. | 4.00 | Each | 0.00 | 7620.00 | 30480.00 | 10000.00 | 40000.00 | 7950.00 | 31800.00 | 30480.00 | Bafna Electric Corp
49.00 | Supply of 33.3 KVAR, 3 pole AC Capacitor duty contactor (Make: C&S, Ref. TC1-D33K12) or equivalent as per list of approved makes. | 4.00 | Each | 0.00 | 5200.00 | 20800.00 | 2000.00 | 8000.00 | 5200.00 | 20800.00 | 8000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
50.00 | Supply of ISI marked 25 KVAR, 3 phase, 440V, 50Hz Square type heavy duty NPCB impregnant capacitor (Make: EPCOS, Model: SquareCap EHDLL) series B32459L5025A11 or equivalent as per list of approved makes. | 5.00 | Each | 0.00 | 5500.00 | 27500.00 | 4500.00 | 22500.00 | 4650.00 | 23250.00 | 22500.00 | SRI VASUKI POWER SYSTEMS PVT LTD
51.00 | Supply of ISI marked 50 KVAR, 3 phase, 440V, 50Hz Square type heavy duty NPCB impregnant capacitor (Make: EPCOS, Model: SquareCap EHDLL) series B32459L5050A11 or equivalent as per list of approved makes. | 5.00 | Each | 0.00 | 10900.00 | 54500.00 | 8500.00 | 42500.00 | 9250.00 | 46250.00 | 42500.00 | SRI VASUKI POWER SYSTEMS PVT LTD
52.00 | Supply of Ignitor for HPSV/MH Lamp suitable for use with 70/150/250/400W HPSV & MH Lamp suitable to work at 230 Volts at 50 Hz (Make: Bajaj, Product Code: 20123, BJ-IGN-SV/MH SI) or equivalent as per list of approved makes. | 50.00 | Each | 0.00 | 250.00 | 12500.00 | 200.00 | 10000.00 | 275.00 | 13750.00 | 10000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
53.00 | Supply of 70W Open Construction Integrated Electromagnetic Ballast, with enamelled copper wire, terminal block with tapping for 220/240 volts, suitable to work at 230 Volts 50 Hz suitable for use with HPSV/MH lamps (Make: Bajaj, Product Code: 169408, BJOS 70SV/MH) or equivalent as per list of approved makes. | 50.00 | Each | 0.00 | 450.00 | 22500.00 | 600.00 | 30000.00 | 745.00 | 37250.00 | 22500.00 | Bafna Electric Corp
54.00 | Supply of LED driver suitable for use with LED strips suitable to operate in 90 to 240V, 50 Hz AC input, output 12V DC, 2A with overload, overvoltage, shortcircuit protection. | 20.00 | Each | 0.00 | 600.00 | 12000.00 | 350.00 | 7000.00 | 200.00 | 4000.00 | 4000.00 | guru electricals
55.00 | Supply of EIC make digital meter having range 20A/6-40Vdc, Class 1% of FSD suitable for panels (Make: EIC, Model: DCVA) or equivalent as per list of approved makes. | 1.00 | Each | 0.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 1400.00 | 1400.00 | 1400.00 | guru electricals
56.00 | Supply of 24 HRS analogue type time switch suitable to operate at 240V, 50 Hz AC supply with one set of change over switches and with minimum 150 Hours power reserve, suitable for mounting on DIN rail (Make: L&T, Cat No.: J648B1) or equivalent as per list of approved makes. | 5.00 | Each | 0.00 | 1490.00 | 7450.00 | 1750.00 | 8750.00 | 2000.00 | 10000.00 | 7450.00 | Bafna Electric Corp
57.00 | Supply of automatic transfer switch (ATS) with controller for rated ampere 125A, Up 440 Volts, 50Hz, four pole with enclosure comply with IS/IEC:60947-6-1 suitable for automatic and manual operation as required (Make Havells, Cat. No.: IHYFCDE125) or equivalent as per list of approved makes. | 1.00 | Each | 0.00 | 37500.00 | 37500.00 | 40000.00 | 40000.00 | 45000.00 | 45000.00 | 37500.00 | Bafna Electric Corp
58.00 | Supply of 18 watt 4 pin (G24q) type cool day light CFL suitable to work at 230 Volts 50 Hz (Make: Wipro, Model: Smartlite) or equivalent as per list of approved makes. | 20.00 | Each | 0.00 | 120.00 | 2400.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 2000.00 | guru electricals
59.00 | Supply of Batten Holder 6A, with metal ring suitable for use with 240V, 50Hz supply white/ivory colour as per list of approved makes. | 25.00 | Each | 0.00 | 45.00 | 1125.00 | 50.00 | 1250.00 | 25.00 | 625.00 | 625.00 | guru electricals
60.00 | Supply of G5 type tubelight holder suitable for T5 tubelight base to fix in the existing batten as required. | 30.00 | Each | 0.00 | 30.00 | 900.00 | 30.00 | 900.00 | 15.00 | 450.00 | 450.00 | guru electricals
61.00 | Supply of metal oxide Lightning Arrestors of 9KV, 5KA porcelain type, 50Hz, BIL 75 KVP, MCOV 7.65KV, Morestor type: LMD suitable for dry type transformer as required (Make: LAMCO) or equivalent as per list of approved makes. | 3.00 | Each | 0.00 | 1100.00 | 3300.00 | 1000.00 | 3000.00 | 600.00 | 1800.00 | 1800.00 | guru electricals
62.00 | Supply of Thermal Overload Relays Direct Mounting trip class 10, Suitable for Contactor Rating of 40 Amps (Make: C&S, Ref. TR2-D40355) or equivalent as per list of approved makes. | 4.00 | Each | 0.00 | 1475.00 | 5900.00 | 1800.00 | 7200.00 | 1950.00 | 7800.00 | 5900.00 | Bafna Electric Corp
63.00 | Supply of DIN type 125 Amps HRC Fuse link, size 00, 100kA, gG, HN type rated voltage 415 V, breaking capacity 100kA conforms to IEC 60269-2, IS 13703 part 2, (Make: L&T, Cat.No. SF94030) or equivalent as per list of approved makes. | 4.00 | Each | 0.00 | 345.00 | 1380.00 | 250.00 | 1000.00 | 350.00 | 1400.00 | 1000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
64.00 | Supply of single phase electronic energy meter in polycarbonate body with LCD type display in accuracy class 1.0 of rating 5-30A, 240V, 50Hz, only kWh compact meter with pilfer proof meter box with sealing screw provision complete as required suitable for residential use (Make L&T, Cat. no. WM101BC5DL0) or equivalent as per list of approved makes. | 10.00 | Each | 0.00 | 1050.00 | 10500.00 | 1250.00 | 12500.00 | 1100.00 | 11000.00 | 10500.00 | Bafna Electric Corp
65.00 | Supply of three phase electronic energy meter in polycarbonate body with counter type display in accuracy class 1.0 of rating 10-60A, 3x240V, 50Hz with transparent box complete as required suitable for residential/commercial use (Make L&T, Cat. no. WM301BC7D10) or equivalent as per list of approved makes. | 3.00 | Each | 0.00 | 3030.00 | 9090.00 | 3000.00 | 9000.00 | 3600.00 | 10800.00 | 9000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
| Total in Figures |  |  |  |  | 661720.00 |  | 785400.00 |  | 661365.00
Lowest Amount Quoted BY: guru electricals(661365.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO 2020-21 SH- Supply of Electrical Maintenance Materials for NATS, NITB and OTB at Mangaluru International Airport. Tender ID: 2020_AAI_53542_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | guru electricals | 661365.00 | L1
| 2 | Bafna Electric Corp | 661720.00 | L2
| 3 | SRI VASUKI POWER SYSTEMS PVT LTD | 785400.00 | L3