## BoQ1
Government eProcurement System Created By: SREEDHAR P V Created Date/Time: 17-Aug-2020 03:34 PM Tender Title: Annual Maintenance Contract (2020-22) of Electrical and Mechanical installations at GAGAN Bangalore Tender ID: 2020_AAI_53551_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work:Annual Maintenance Contract (2020-22) of Electrical & Mechanical installations at GAGAN, Bangalore.
Contract No: ­2020_AAI_53551_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GLOBAL TECH SERVICES(GSTN-NA) |  | KALKI ELECTRICALS(GSTN-NA) |  | SRI VASUKI POWER SYSTEMS PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head-1
1.10 | Job Contract for round the clock Operation and maintenance of electrical & mechanical installations at GAGAN, Bangalore with min. Man power, as per the deployment mentioned in the special conditions of contract , detailed scope of work, and AAI requirement on all days including sundays and holidays etc. complete as required. | 24.00 | Months |  | 216777.00 | 5202648.00 | 222000.00 | 5328000.00 | 223240.42 | 5357770.08 | 5202648.00 | GLOBAL TECH SERVICES
2.00 | Sub Head-II Painting of Panel, Poles and Fire Hydrant Boxes, Rewinding
2.10 | Painting of electrical LT indoor,Outdoor panels,Fire hydrant boxes,Exposed Fire hydrant pipe line, Diesel pipe line,Exposed Water ,pumps , earth pit covers etc located in powerhouse, AC Plant, switch rooms ,fire pump room, pump room etc., with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc , of required color to give an even shade complete as required. | 500.00 | Sqmeter |  | 20.00 | 10000.00 | 120.00 | 60000.00 | 100.00 | 50000.00 | 10000.00 | GLOBAL TECH SERVICES
2.20 | Painting of Street Light poles of 7.5 mtr height and approx with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc , of required color to give an even shade complete as required. | 34.00 | Jobs |  | 500.00 | 17000.00 | 400.00 | 13600.00 | 250.00 | 8500.00 | 8500.00 | SRI VASUKI POWER SYSTEMS PVT LTD
2.30 | Following Servicing of of Kirloskar Primo, Mc. No. U26AA39-11L-235, 3.7KW, 1430 RPM, 7.5A, 400V pump,motor etc as and when required including removing and fixing of motor etc. as required.
2.40 | Rewinding of Motor | 1.00 | Job |  | 3800.00 | 3800.00 | 2200.00 | 2200.00 | 2700.00 | 2700.00 | 2200.00 | KALKI ELECTRICALS
2.50 | Servicing of pumps including replacement of all associated accessories like bearing, shaft work etc complete as required. | 1.00 | Job |  | 3000.00 | 3000.00 | 800.00 | 800.00 | 1900.00 | 1900.00 | 800.00 | KALKI ELECTRICALS
2.60 | Following Servicing of submersible 7.5 HP bore well motor, pump etc as and when required including lifting of bore well motor pump and lowering after servicing etc as required
2.70 | Rewinding of Submersible Motor | 1.00 | Job |  | 5200.00 | 5200.00 | 4000.00 | 4000.00 | 3800.00 | 3800.00 | 3800.00 | SRI VASUKI POWER SYSTEMS PVT LTD
2.80 | Servicing of pumps including replacement of all associated accessories like bearing, shaft work etc complete as required. | 1.00 | Job |  | 4200.00 | 4200.00 | 2000.00 | 2000.00 | 2260.00 | 2260.00 | 2000.00 | KALKI ELECTRICALS
2.90 | Lifting of Borewell motor pump and Reinstallation by lowering pump etc.as required. | 1.00 | Job |  | 9000.00 | 9000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 2000.00 | KALKI ELECTRICALS
3.00 | Sub Head-III : Supply of spares as and when required
3.10 | FUSES
3.20 | Supply of cyllindrical Type of 2 Amps HRC Fuses suitable for operation on 230 Volts,50 Hz, AC System as requireds. ( As per sample or equivalent) | 2.00 | Each |  | 150.00 | 300.00 | 90.00 | 180.00 | 80.00 | 160.00 | 160.00 | SRI VASUKI POWER SYSTEMS PVT LTD
3.30 | Supply of following rating HRC Fuses suitable for operation on 230 Volts,50 Hz, AC System as required.( As per sample or equivalent)
3.40 | 4 Amps | 5.00 | Each |  | 200.00 | 1000.00 | 90.00 | 450.00 | 80.00 | 400.00 | 400.00 | SRI VASUKI POWER SYSTEMS PVT LTD
3.50 | 10 Amps | 5.00 | Each |  | 400.00 | 2000.00 | 100.00 | 500.00 | 80.00 | 400.00 | 400.00 | SRI VASUKI POWER SYSTEMS PVT LTD
4.00 | SWITCH ,SOCKET , PVC BOXES & PLATES
4.10 | 5/6/10 Amps one way switch | 5.00 | Each |  | 50.00 | 250.00 | 40.00 | 200.00 | 45.00 | 225.00 | 200.00 | KALKI ELECTRICALS
4.20 | 15/16/20Amps One switch | 5.00 | Each |  | 60.00 | 300.00 | 100.00 | 500.00 | 80.00 | 400.00 | 300.00 | GLOBAL TECH SERVICES
4.30 | 5/6/10 Amps Socket | 5.00 | Each |  | 100.00 | 500.00 | 80.00 | 400.00 | 75.00 | 375.00 | 375.00 | SRI VASUKI POWER SYSTEMS PVT LTD
4.40 | 15/16/20 Amps Socket | 5.00 | Each |  | 150.00 | 750.00 | 110.00 | 550.00 | 120.00 | 600.00 | 550.00 | KALKI ELECTRICALS
4.50 | 6 Module PVC Box | 5.00 | Each |  | 250.00 | 1250.00 | 60.00 | 300.00 | 70.00 | 350.00 | 300.00 | KALKI ELECTRICALS
4.60 | 12 Module PVC Box | 5.00 | Each |  | 350.00 | 1750.00 | 80.00 | 400.00 | 90.00 | 450.00 | 400.00 | KALKI ELECTRICALS
4.70 | 6 Module PVC Plate | 5.00 | Each |  | 100.00 | 500.00 | 60.00 | 300.00 | 75.00 | 375.00 | 300.00 | KALKI ELECTRICALS
4.80 | 12 Module PVC Plate | 3.00 | Each |  | 120.00 | 360.00 | 80.00 | 240.00 | 140.00 | 420.00 | 240.00 | KALKI ELECTRICALS
5.00 | Supplying of following sizes ISI marked PVC insulated, single core, FRLS grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
5.10 | 1.5 Sq. mm (90Mtr Roll) | 3.00 | Roll |  | 1200.00 | 3600.00 | 1200.00 | 3600.00 | 1000.00 | 3000.00 | 3000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.20 | 2.5 Sq. mm (90Mtr Roll) | 3.00 | Roll |  | 1900.00 | 5700.00 | 2000.00 | 6000.00 | 1380.00 | 4140.00 | 4140.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.30 | 4.0 Sq.mm (90Mtr Roll) | 3.00 | Roll |  | 2500.00 | 7500.00 | 2600.00 | 7800.00 | 2000.00 | 6000.00 | 6000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.40 | 6.0 Sq.mm (90Mtr Roll) | 3.00 | Roll |  | 3800.00 | 11400.00 | 3800.00 | 11400.00 | 2750.00 | 8250.00 | 8250.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.50 | 25 x 15mm Casing capping | 30.00 | Meter |  | 10.00 | 300.00 | 36.00 | 1080.00 | 30.00 | 900.00 | 300.00 | GLOBAL TECH SERVICES
5.60 | Supply of DOL Starter suitable for 7.5HP Relay range 13-22A | 1.00 | Each |  | 1000.00 | 1000.00 | 900.00 | 900.00 | 1750.00 | 1750.00 | 900.00 | KALKI ELECTRICALS
6.00 | SH-IV Annual Maintenance of Water Purifier
6.10 | All Inclusive Comprehensive Maintenance for 24 months through manufacturers/authorized service dealers/water purifier agencies of Following capacity RO purifier inlusive of adding antiscalant chemicals to avoid scaling of pipelines and when required replacement of prefilter cattridge once in three months, any other components such as membrane or any kind of filter complete, maintaining the required taste and required TDS level (30 to 120) and including providing test reports for the same, etc complete as required.
6.20 | 50LPH | 4.00 | Each |  | 5000.00 | 20000.00 | 8000.00 | 32000.00 | 7284.00 | 29136.00 | 20000.00 | GLOBAL TECH SERVICES
6.30 | 15 LPH | 9.00 | Each |  | 4000.00 | 36000.00 | 5000.00 | 45000.00 | 12100.00 | 108900.00 | 36000.00 | GLOBAL TECH SERVICES
7.00 | SH-V DSR Item
7.10 | Execution of items under CPWD DSR-2019 as and when required for approximate lumpsum amount of Rs 100000/-. | 100000.00 | % |  | 1.00 | 100000.00 | .90 | 90000.00 | 0.00 | 0.00 | 0.00 | SRI VASUKI POWER SYSTEMS PVT LTD
| Total in Figures |  |  |  |  | 5449308.00 |  | 5614400.00 |  | 5596161.08
Lowest Amount Quoted BY: GLOBAL TECH SERVICES(5449308.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract (2020-22) of Electrical and Mechanical installations at GAGAN Bangalore Tender ID: 2020_AAI_53551_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GLOBAL TECH SERVICES | 5449308.00 | L1
| 2 | SRI VASUKI POWER SYSTEMS PVT LTD | 5596161.08 | L2
| 3 | KALKI ELECTRICALS | 5614400.00 | L3