## BoQ1
Government eProcurement System Created By: Chandrashekhar Sharma Created Date/Time: 29-Oct-2020 11:27 AM Tender Title: Operation and Maintenance contract for the E and Tender ID: 2020_AAI_53557_2
Tender Inviting Authority: Asstt. General Manager (E-E)
Name of Work: “Operation & Maintenance contract for the E & M Installations i/c supply of GLF spares at C.A. Keshod for 2 years ( 2020-22)."
Contract No: 2020_AAI_53557_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Periodical Maintenance of E&M Installations at Terminal Building, Power House & other ancillary buildings, AAI residential colony complete with operation & maintenance of DG sets, Pumps, GLF installations comprising runway edge, taxiways, apron edge lighting, approach lighting, PAPI system, CCR panels, apron high mast lighting all as required to ensure un-interrupted services including minor repairing works as detailed in the technical specifications, terms & conditions of the contract by deputing sufficient manpower round the clock in one shift/General shift for attending to complaints/faults/breakdowns, ensuring serviceability & satisfactory working condition of the system, preventive maintnenance, upkeeping of maintenance records/documentation etc.,on all working days including Sundays and holidays and also as & when required basis. | 24.00 | Months |  | 60125.00 | 1443000.00 | 60000.00 | 1440000.00 | 56943.00 | 1366632.00 | 64200.00 | 1540800.00 | 1366632.00 | Manish Electricals
2.00 | Annual Comprehensive maintenance contract including repair/replacement of all parts of various makes of A/C units at different locations in Airport premises complete as required as specified for following capacity & type (Each one Set/Job per month).
2.10 | 1.0 Ton Split type (1-Ø,50Hz) (2 Nos. X 24 months = 24 jobs.) | 48.00 | Job |  | 100.00 | 4800.00 | 200.00 | 9600.00 | 300.00 | 14400.00 | 300.00 | 14400.00 | 4800.00 | Techno Electricals
2.20 | 1.5 Ton Split type (1-Ø,50Hz) (11 Nos.X 24 months + 4 Nos.x16 months) = 328 jobs.) | 328.00 | Job |  | 125.00 | 41000.00 | 200.00 | 65600.00 | 300.00 | 98400.00 | 300.00 | 98400.00 | 41000.00 | Techno Electricals
2.30 | 2 Ton Split type (1-Ø,50Hz) (2 Nos.X 24 months = 48 jobs.) | 48.00 | Job |  | 125.00 | 6000.00 | 250.00 | 12000.00 | 350.00 | 16800.00 | 450.00 | 21600.00 | 6000.00 | Techno Electricals
2.40 | 5 Ton Cassette type (3-Ø,50Hz) (5 nos. X 24 months = 120 jobs.) | 120.00 | Job |  | 150.00 | 18000.00 | 450.00 | 54000.00 | 700.00 | 84000.00 | 500.00 | 60000.00 | 18000.00 | Techno Electricals
3.00 | Annual comprehensive maintenance contract including repair/replacement of all parts for Voltas/Usha make water Cooler at different locations in airport premises complete as per site requirement for following capacity & make (Each one Set/Job per month).
3.10 | 40/50/80 ltrs water Cooler (Usha make) (5Nos. x 24 months= 120 Jobs) | 72.00 | Job |  | 250.00 | 18000.00 | 400.00 | 28800.00 | 300.00 | 21600.00 | 200.00 | 14400.00 | 14400.00 | Yash Energy Pvt. Ltd
3.20 | 150/150 ltrs water Cooler (Blue Star make) (1 Nos. x 16 months= 16 Jobs) | 16.00 | Job |  | 250.00 | 4000.00 | 500.00 | 8000.00 | 500.00 | 8000.00 | 300.00 | 4800.00 | 4000.00 | Techno Electricals
4.00 | Annual Comprehensive maintenance contract including consumable items and all spare parts i/c. membrane etc. of all makes of RO unit at different locations in airport premises complete as per site requirement for following type & capacity (Each Job per month)
4.10 | 25/40 LPH RO unit (5 Nos. x 24 months = 120 Job) | 120.00 | Job |  | 200.00 | 24000.00 | 300.00 | 36000.00 | 250.00 | 30000.00 | 300.00 | 36000.00 | 24000.00 | Techno Electricals
4.20 | 50 LPH RO unit ( 1 No. x 16 months = 1 JOB) | 16.00 | Job |  | 300.00 | 4800.00 | 500.00 | 8000.00 | 400.00 | 6400.00 | 400.00 | 6400.00 | 4800.00 | Techno Electricals
5.00 | Dismantling, Shifting & Reinstallation of 1.5 / 2.0 /5.0 Ton Capacity of all makes & types of A/C unit in airport premises (Job i/c piping work upto 2 feet, Gas charging etc complete as required ). | 4.00 | Job |  | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 4950.00 | 19800.00 | 4000.00 | Techno Electricals
6.00 | Servicing, repairing, rewinding and replacement of defective part like bearings, bushing etc. and also transporting from site to contractors workshop & back to site, testing and commissioning etc. complete as per site requirement for the following motors ( Dismantle material belongs to Contractor)
6.10 | Ceiling Fan/Wall Fan (1-Phase, 50Hz, 240V AC) | 10.00 | Job |  | 100.00 | 1000.00 | 250.00 | 2500.00 | 450.00 | 4500.00 | 321.00 | 3210.00 | 1000.00 | Techno Electricals
6.20 | Exhaust fan Up to 450 mm (1-Phase, 50Hz,240V AC ) | 4.00 | Job |  | 100.00 | 400.00 | 400.00 | 1600.00 | 600.00 | 2400.00 | 321.00 | 1284.00 | 400.00 | Techno Electricals
6.30 | 3 HP to 5 HP pump motor sets (3-Phase, 50Hz,415V AC ) | 2.00 | Job |  | 200.00 | 400.00 | 450.00 | 900.00 | 700.00 | 1400.00 | 535.00 | 1070.00 | 400.00 | Techno Electricals
7.00 | Servicing, repairing and replacement of defective part like Relay, PCB etc. of Electronic voltage stabilizer for AC units including transportation from site to contractor's workshop & back to site. (Dismantle Material belongs to contractor). | 4.00 | Job |  | 100.00 | 400.00 | 3500.00 | 14000.00 | 3000.00 | 12000.00 | 1620.00 | 6480.00 | 400.00 | Techno Electricals
8.00 | Calibration of CCR & Sensitivity of relay on 4 KW to 20 KW CCR of NASU/AMA make CCR including submitting reports etc., complete as required. | 9.00 | Job |  | 3000.00 | 27000.00 | 1800.00 | 16200.00 | 1500.00 | 13500.00 | 6480.00 | 58320.00 | 13500.00 | Manish Electricals
9.00 | Calibration of PAPI Clinometer etc. complete as required. | 2.00 | Job |  | 1785.00 | 3570.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 11340.00 | 22680.00 | 3570.00 | Techno Electricals
10.00 | Inspection, servicing, setting, testing, adjustment, calibration and submission of calibration certificate of following instruments including minor repairs etc. Complete as per site requirement.
10.10 | Electronic IDMT Relay | 2.00 | Job |  | 1700.00 | 3400.00 | 1000.00 | 2000.00 | 500.00 | 1000.00 | 1080.00 | 2160.00 | 1000.00 | Manish Electricals
10.20 | Voltmeter Digital suitable for AC supply. | 14.00 | Job |  | 200.00 | 2800.00 | 200.00 | 2800.00 | 300.00 | 4200.00 | 540.00 | 7560.00 | 2800.00 | Techno Electricals, CENTRE TAP ENGINEERING
10.30 | Ammeter Digital suitable for AC supply. | 14.00 | Job |  | 200.00 | 2800.00 | 200.00 | 2800.00 | 300.00 | 4200.00 | 540.00 | 7560.00 | 2800.00 | Techno Electricals, CENTRE TAP ENGINEERING
10.40 | Digital Power Factor (Cos Ø) Meter/frequency meter | 16.00 | Job |  | 200.00 | 3200.00 | 300.00 | 4800.00 | 500.00 | 8000.00 | 648.00 | 10368.00 | 3200.00 | Techno Electricals
11.00 | Painting of light poles with aluminium paint of (2 coats) of approved brand and make, along with one coat of primer, including cleaning the surface all as required. Painting of each pole will be treated as one job. | 57.00 | Job |  | 250.00 | 14250.00 | 250.00 | 14250.00 | 400.00 | 22800.00 | 892.00 | 50844.00 | 14250.00 | Techno Electricals, CENTRE TAP ENGINEERING
12.00 | Decoration of Terminal building facia with LED serial lighting and RGB pattern lighting on special occasions/nationally important days/festivals as per the requirements shown below - (i) Minimum no. of LED serial lighting - not less than 5000 LED lights. (ii) Pixel Chaser light batten running linearly on the top of the building, ATC tower, entry gate walls for a length of not more than 350 m. (iii) Halogen focus lights (Green or Yellow) for trees around terminal building - 10 Nos. Type of Decoration will be as per the theme of occasions and upto the statisfaction of the Engineer In-charge/Airport Director.
12.10 | Independence day /Republic day / AAI foundation day / Christmas / New Year (Starting from 18.00 hrs. on the Day before the Occasions to till 06.00 hrs on the day after the Occasions) Each occasion in an year shall be treated as one Job. | 4.00 | Job |  | 11125.00 | 44500.00 | 8500.00 | 34000.00 | 15000.00 | 60000.00 | 15750.00 | 63000.00 | 34000.00 | CENTRE TAP ENGINEERING
13.00 | Execution of Complete items of CPWD Delhi schedule of rates (E&M) 2018.[Up to a Ceiling limit of Rs. 60,000 without GST]. The materials used for executing the DSR items shall be as per the approved make list of AAI, as enclosed with the tender document. | 60000.00 | Select |  | .20 | 48000.00 | .50 | 30000.00 | .20 | 48000.00 | .35 | 39000.00 | 30000.00 | CENTRE TAP ENGINEERING
14.00 | Supply of HT insulation tape roll of size 19mmX 0.9mm of length not less then 9 Mtr | 3.00 | Each |  | 1000.00 | 3000.00 | 300.00 | 900.00 | 300.00 | 900.00 | 699.00 | 2097.00 | 900.00 | CENTRE TAP ENGINEERING, Manish Electricals
15.00 | Supply of LT insulation tape roll of colour red,green,blue and black of length not less then 9 Mtr per roll | 20.00 | Each |  | 20.00 | 400.00 | 9.00 | 180.00 | 20.00 | 400.00 | 12.00 | 240.00 | 180.00 | CENTRE TAP ENGINEERING
16.00 | Supply of 3/9/12 W LED bulb suitable for operation on 230 V, 50Hz, AC AC supply complete etc as required. (Make: Havells, Code: LHLDEUHEML8R009 or Equivalent) | 60.00 | Each |  | 300.00 | 18000.00 | 200.00 | 12000.00 | 150.00 | 9000.00 | 227.00 | 13620.00 | 9000.00 | Manish Electricals
17.00 | 200 W 6.6 A bipin runway halogen lamp | 50.00 | Each |  | 550.00 | 27500.00 | 800.00 | 40000.00 | 850.00 | 42500.00 | 437.00 | 21850.00 | 21850.00 | Yash Energy Pvt. Ltd
18.00 | Lamp holder for runway/taxiway halogen lamps | 50.00 | Each |  | 250.00 | 12500.00 | 500.00 | 25000.00 | 450.00 | 22500.00 | 495.00 | 24750.00 | 12500.00 | Techno Electricals
19.00 | Clear lens suitable for AMA MK-III PAPI Unit (Make- AMA) | 3.00 | Each |  | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 2097.00 | 6291.00 | 6000.00 | Techno Electricals
20.00 | Red filter suitable for AMA MK-III PAPI Unit (Make- AMA) | 3.00 | Each |  | 4500.00 | 13500.00 | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 2330.00 | 6990.00 | 6000.00 | CENTRE TAP ENGINEERING
21.00 | Aluminium Reflector suitable for AMA MK-III PAPI Unit (Make- AMA) | 6.00 | Each |  | 1750.00 | 10500.00 | 1500.00 | 9000.00 | 3500.00 | 21000.00 | 2563.00 | 15378.00 | 9000.00 | CENTRE TAP ENGINEERING
22.00 | Air Filter suitable for AMA MK-III PAPI Unit (Make- AMA) | 6.00 | Each |  | 1750.00 | 10500.00 | 1000.00 | 6000.00 | 1500.00 | 9000.00 | 2097.00 | 12582.00 | 6000.00 | CENTRE TAP ENGINEERING
23.00 | Upper Breakable Coupling (Upper Breakable Point + Upper Leg Plate) suitable for AMA MK-III PAPI Unit (Make- AMA) | 6.00 | Each |  | 2500.00 | 15000.00 | 1000.00 | 6000.00 | 2000.00 | 12000.00 | 1747.00 | 10482.00 | 6000.00 | CENTRE TAP ENGINEERING
24.00 | Lower breakable coupling for AMA make PAPI | 6.00 | Each |  | 2500.00 | 15000.00 | 500.00 | 3000.00 | 1000.00 | 6000.00 | 874.00 | 5244.00 | 3000.00 | CENTRE TAP ENGINEERING
25.00 | Upper leg pipe (LH threaded) for AMA make PAPI | 6.00 | Each |  | 2500.00 | 15000.00 | 500.00 | 3000.00 | 1500.00 | 9000.00 | 1514.00 | 9084.00 | 3000.00 | CENTRE TAP ENGINEERING
26.00 | Lower Leg Pipe for AMA make PAPI | 6.00 | Each |  | 2500.00 | 15000.00 | 500.00 | 3000.00 | 1500.00 | 9000.00 | 1514.00 | 9084.00 | 3000.00 | CENTRE TAP ENGINEERING
27.00 | Locking Nut for upper pipe (RH threaded) for AMA make PAPI | 6.00 | Each |  | 550.00 | 3300.00 | 500.00 | 3000.00 | 400.00 | 2400.00 | 2097.00 | 12582.00 | 2400.00 | Manish Electricals
28.00 | Locking Nut for lower pipe(LH threaded) for AMA make PAPI | 6.00 | Each |  | 550.00 | 3300.00 | 500.00 | 3000.00 | 400.00 | 2400.00 | 2097.00 | 12582.00 | 2400.00 | Manish Electricals
29.00 | Threaded adjustment sleeves (Middle Nut) for AMA make PAPI | 2.00 | Each |  | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 8852.00 | 17704.00 | 3000.00 | CENTRE TAP ENGINEERING
30.00 | Supply of TDS meter | 1.00 | Each |  | 1750.00 | 1750.00 | 300.00 | 300.00 | 600.00 | 600.00 | 990.00 | 990.00 | 300.00 | CENTRE TAP ENGINEERING
31.00 | Digital Clamp Meter/ Tongtester suitable for DC/AC/TRMS (Make-Meco, Model-1080-TRMS) | 1.00 | Each |  | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 4252.00 | 4252.00 | 1500.00 | CENTRE TAP ENGINEERING
32.00 | Digital Insulation Tester with DC test voltage-500 V, 0-200 M ohms Range, and Resolution-0.1 M ohms (Make-Meco, Model-DIT 99C) | 1.00 | Each |  | 3500.00 | 3500.00 | 1300.00 | 1300.00 | 1500.00 | 1500.00 | 1747.00 | 1747.00 | 1300.00 | CENTRE TAP ENGINEERING
33.00 | Supply of Earth Tester set | 1.00 | Each |  | 4252.00 | 4252.00 | 1500.00 | 1500.00 | 4500.00 | 4500.00 | 15725.00 | 15725.00 | 1500.00 | CENTRE TAP ENGINEERING
34.00 | Supply of driver for existing LED signage board Suitable to operate inbuilt dual circuit having variable current 2.8 A to 6.6 Amp with auto changeover facility. The driver should be able to drive LED strips of 0.5 Watts Osram LED's assembled on aluminium PCB of size 700mm X 20mm and having 11 LED's per PCB for boards. from 5 strips to 20 strips. | 5.00 | Each |  | 325.00 | 1625.00 | 2200.00 | 11000.00 | 4000.00 | 20000.00 | 3494.00 | 17470.00 | 1625.00 | Techno Electricals
35.00 | Supply of LED strip with high luminous long life typically 50,000 hrs type, 0.5 watts Osram LED's assembled on aluminum PCB of size 700mm X 20mm X 2mm and having 11 LED's per PCB for boards. (make- Poshdecor) At one end single non-reversible jack to be provided for easy replacement of LED without tools at site. | 10.00 | Each |  | 950.00 | 9500.00 | 800.00 | 8000.00 | 1200.00 | 12000.00 | 699.00 | 6990.00 | 6990.00 | Yash Energy Pvt. Ltd
36.00 | Supply of loop wire with non-reversible male jack of length 1 Mtr each for LED strips. | 4.00 | Each |  | 400.00 | 1600.00 | 600.00 | 2400.00 | 400.00 | 1600.00 | 466.00 | 1864.00 | 1600.00 | Techno Electricals, Manish Electricals
37.00 | 1000 W Halogen Lamp for High mast | 5.00 | Each |  | 500.00 | 2500.00 | 200.00 | 1000.00 | 90.00 | 450.00 | 466.00 | 2330.00 | 450.00 | Manish Electricals
38.00 | Supply of 12 V, 180 Ah SMF lead acid batteries for DG Set | 2.00 | Each |  | 15250.00 | 30500.00 | 15000.00 | 30000.00 | 16000.00 | 32000.00 | 16307.00 | 32614.00 | 30000.00 | CENTRE TAP ENGINEERING
39.00 | Supply of PAPI calibration stick holder/bracket with cover all as reqd. (as per sample) | 2.00 | Each |  | 1250.00 | 2500.00 | 650.00 | 1300.00 | 500.00 | 1000.00 | 11648.00 | 23296.00 | 1000.00 | Manish Electricals
40.00 | Supply of halogen lamp holder suitable for AMA make PAPI unit complete with insulated leads etc. as reqd. (as per sample) | 9.00 | Each |  | 560.00 | 5040.00 | 450.00 | 4050.00 | 450.00 | 4050.00 | 460.00 | 4140.00 | 4050.00 | CENTRE TAP ENGINEERING, Manish Electricals
41.00 | Supply of following Plug in type relays suitable for 20/4 KW CCR
41.10 | 24 VDC | 2.00 | Each |  | 400.00 | 800.00 | 600.00 | 1200.00 | 350.00 | 700.00 | 1013.00 | 2026.00 | 700.00 | Manish Electricals
41.20 | 48 VDC suitable for 11 pin socket | 2.00 | Each |  | 400.00 | 800.00 | 100.00 | 200.00 | 400.00 | 800.00 | 1165.00 | 2330.00 | 200.00 | CENTRE TAP ENGINEERING
41.30 | 240 VAC | 2.00 | Each |  | 400.00 | 800.00 | 850.00 | 1700.00 | 350.00 | 700.00 | 1281.00 | 2562.00 | 700.00 | Manish Electricals
42.00 | Supply of TI 300 Trip indication fuses for 20/4 KW CCR. | 2.00 | Each |  | 750.00 | 1500.00 | 900.00 | 1800.00 | 600.00 | 1200.00 | 1456.00 | 2912.00 | 1200.00 | Manish Electricals
43.00 | Supply of following High speed Semi-conductor Protection Fuses :
43.10 | GS 1000/100 ( (Suitable for 20 KW CCR ) | 2.00 | Each |  | 750.00 | 1500.00 | 1200.00 | 2400.00 | 900.00 | 1800.00 | 1864.00 | 3728.00 | 1500.00 | Techno Electricals
43.20 | GSB 50 (Suitable for 4 KW) | 2.00 | Each |  | 750.00 | 1500.00 | 1000.00 | 2000.00 | 900.00 | 1800.00 | 1572.00 | 3144.00 | 1500.00 | Techno Electricals
44.00 | Supply of following HRC Fuse Link :
44.10 | 100 Amps (2 Nos each for 20 KW CCR) | 2.00 | Each |  | 700.00 | 1400.00 | 1000.00 | 2000.00 | 600.00 | 1200.00 | 1572.00 | 3144.00 | 1200.00 | Manish Electricals
44.20 | 32 Amps (Suitable for 20 KW & 4 KW CCR) | 2.00 | Each |  | 700.00 | 1400.00 | 900.00 | 1800.00 | 300.00 | 600.00 | 1281.00 | 2562.00 | 600.00 | Manish Electricals
45.00 | Power Transistors MJ11016 suitable for all rating of CCRs. | 2.00 | Each |  | 500.00 | 1000.00 | 850.00 | 1700.00 | 1200.00 | 2400.00 | 1107.00 | 2214.00 | 1000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 1968787.00 |  | 2016080.00 |  | 2109232.00 |  | 2406736.00
Lowest Amount Quoted BY: Techno Electricals(1968787.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance contract for the E and Tender ID: 2020_AAI_53557_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 1968787.00 | L1
| 2 | CENTRE TAP ENGINEERING | 2016080.00 | L2
| 3 | Manish Electricals | 2109232.00 | L3
| 4 | Yash Energy Pvt. Ltd | 2406736.00 | L4