## BoQ1
Government eProcurement System Created By: Pankaj Tiwari Created Date/Time: 14-Aug-2020 11:57 AM Tender Title: AAI/WR/JBP/AGM(E-E)/eNIT-01/ Tender ID: 2020_AAI_53577_1
Tender Inviting Authority: Pankaj Kumar Tiwari, AGM(Engg.-Elect.), AAI, Jabalpur Airport
Name of Work: Periodical Maintenance & Operation of Electrical , Mechanical& Fire Fighting Installations at Jabalpur Airport.( For Year 2020-22)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Zamzam Refrigeration and airconditioning(GSTN-NA) |  | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-NA) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-NA) |  | ABHISHEK ASSOCIATES(GSTN-NA) |  | M/s CGPL ELECTROMECH PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Routine maintenance of all the Electrical and Mechanical installations of Power House, Switch Rooms, Fire Fighting Installations & AAI Ofices etc. as per the list of Installations attached (Except New VRV AHU, VRF & GLF system) by deploying adequate manpower on all days as mentioned in the special conditions of contract complete as per direction of Engineer- Incharge. (For the 1st year) | 12.00 | Month |  | 250000.00 | 3000000.00 | 173665.00 | 2083980.00 | 175021.00 | 2100252.00 | 189888.00 | 2278656.00 | 172492.00 | 2069904.00 | 2069904.00 | M/s CGPL ELECTROMECH PVT LTD
2.00 | Routine maintenance of all the Electrical and Mechanical installations of Power House, Switch Rooms, Fire Fighting Installations & AAI Ofices etc. as per the list of Installations attached (Except New VRV AHU, VRF & GLF system) by deploying adequate manpower on all days as mentioned in the special conditions of contract complete as per direction of Engineer- Incharge. (For the 2nd year) | 12.00 | Month |  | 250000.00 | 3000000.00 | 173665.00 | 2083980.00 | 175021.00 | 2100252.00 | 189888.00 | 2278656.00 | 175500.00 | 2106000.00 | 2083980.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
3.00 | Dehydration AND FILTERATION of transformer Oil at site by bringing the Dehydration/ filtration Machine at Airport P/H including testing BDV and acidity before and after Dehydration and Filtration submitting of test report as required for 02 Nos 500 KVA, 33/0.433 KV Transformers (for the 1st year) | 1600.00 | Ltr |  | 20.00 | 32000.00 | 14.00 | 22400.00 | 17.00 | 27200.00 | 10.00 | 16000.00 | 9.00 | 14400.00 | 14400.00 | M/s CGPL ELECTROMECH PVT LTD
4.00 | Dehydration AND FILTERATION of transformer Oil at site by bringing the Dehydration/ filtration Machine at Airport P/H including testing BDV and acidity before and after Dehydration and Filtration submitting of test report as required for 02 Nos 500 KVA, 33/0.433 KV Transformers(for the 2nd year) | 1600.00 | Ltr |  | 20.00 | 32000.00 | 14.00 | 22400.00 | 17.00 | 27200.00 | 10.00 | 16000.00 | 9.00 | 14400.00 | 14400.00 | M/s CGPL ELECTROMECH PVT LTD
5.00 | Testing/ calibration of HT/LT Panel IDMT Relays type CDG-31 of GEC Alstom make (02 over Current +01 Earth fault Relay) COMPLETE BY RELAY TESTING SET at Airport Power house and submitting the test certificate complete as required.(for the 1st year) | 6.00 | Each |  | 8000.00 | 48000.00 | 4100.00 | 24600.00 | 1500.00 | 9000.00 | 3500.00 | 21000.00 | 1500.00 | 9000.00 | 9000.00 | ROSHAN REFRIGERATION AND ELECTRICALS, M/s CGPL ELECTROMECH PVT LTD
6.00 | Testing/ calibration of HT/LT Panel IDMT Relays type CDG-31 of GEC Alstom make (02 over Current +01 Earth fault Relay) COMPLETE BY RELAY TESTING SET at Airport Power house and submitting the test certificate complete as required. (For the 2nd year) | 6.00 | Each |  | 8000.00 | 48000.00 | 4100.00 | 24600.00 | 1500.00 | 9000.00 | 3500.00 | 21000.00 | 1500.00 | 9000.00 | 9000.00 | ROSHAN REFRIGERATION AND ELECTRICALS, M/s CGPL ELECTROMECH PVT LTD
7.00 | Testing/ calibration of Trip circuit supervision Relay Type VAX MK.II FOR HT panel GEC Alstom make COMPLETE BY RELAY TESTING SET at Airport Power house and submitting the test certificate complete as required.(For the 1st year) | 3.00 | Each |  | 10000.00 | 30000.00 | 2850.00 | 8550.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 4500.00 | ROSHAN REFRIGERATION AND ELECTRICALS, M/s CGPL ELECTROMECH PVT LTD, ABHISHEK ASSOCIATES
8.00 | Testing/ calibration of Trip circuit supervision Relay Type VAX MK.II FOR HT panel GEC Alstom make COMPLETE BY RELAY TESTING SET at Airport Power house and submitting the test certificate complete as required.(For the 2nd year) | 3.00 | Each |  | 10000.00 | 30000.00 | 2850.00 | 8550.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 4500.00 | ROSHAN REFRIGERATION AND ELECTRICALS, M/s CGPL ELECTROMECH PVT LTD, ABHISHEK ASSOCIATES
9.00 | Testing / calibration of Tripping Relay Type VAJ for HT Panel GEC Alstom make complete by Relay Testing set at the Airport Power house and submitting the test certificate complete as required.(For the 1st year) | 3.00 | Each |  | 10000.00 | 30000.00 | 2500.00 | 7500.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 4500.00 | ROSHAN REFRIGERATION AND ELECTRICALS, M/s CGPL ELECTROMECH PVT LTD, ABHISHEK ASSOCIATES
10.00 | Testing / calibration of Tripping Relay Type VAJ for HT Panel GEC Alstom make complete by Relay Testing set at the Airport Power house and submitting the test certificate complete as required.(For the 2nd year) | 3.00 | Each |  | 10000.00 | 30000.00 | 2500.00 | 7500.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 4500.00 | ROSHAN REFRIGERATION AND ELECTRICALS, M/s CGPL ELECTROMECH PVT LTD, ABHISHEK ASSOCIATES
11.00 | Testing/ calibration of Auxiliary Relay Type VAA for HT Panel GEC Alstom make complete by Relay Testing Set at the Airport Power house and submitting the test certificate complete as required.(For the 1st year) | 6.00 | Each |  | 10000.00 | 60000.00 | 2600.00 | 15600.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 9000.00 | ROSHAN REFRIGERATION AND ELECTRICALS, M/s CGPL ELECTROMECH PVT LTD, ABHISHEK ASSOCIATES
12.00 | Testing/ calibration of Auxiliary Relay Type VAA for HT Panel GEC Alstom make complete by Relay Testing Set at the Airport Power house and submitting the test certificate complete as required.(For the 2nd year) | 6.00 | Each |  | 10000.00 | 60000.00 | 2600.00 | 15600.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 9000.00 | ROSHAN REFRIGERATION AND ELECTRICALS, M/s CGPL ELECTROMECH PVT LTD, ABHISHEK ASSOCIATES
13.00 | Overhauling and Servicing of L&T make ACB’S of model CN-CS 800C of C- Power Series Capacity 800 A by OEM or their authorized services dealer as per manufacturers reccomandation and job includes supply of maintenance kit consist of grease, cleanent, Dusters, Scrubbers, and hardware required to carry out correct maintenance of ACB’s etc. as required.(For the 1st year) | 3.00 | Each |  | 7500.00 | 22500.00 | 7500.00 | 22500.00 | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 3500.00 | 10500.00 | 10500.00 | M/s CGPL ELECTROMECH PVT LTD
14.00 | Overhauling and Servicing of L&T make ACB’S of model CN-CS 800C of C- Power Series Capacity 800 A by OEM or their authorized services dealer as per manufacturers reccomandation and job includes supply of maintenance kit consist of grease, cleanent, Dusters, Scrubbers, and hardware required to carry out correct maintenance of ACB’s etc. as required.(For the 2nd year) | 3.00 | Each |  | 7500.00 | 22500.00 | 7500.00 | 22500.00 | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 3600.00 | 10800.00 | 10800.00 | M/s CGPL ELECTROMECH PVT LTD
15.00 | Overhauling, Servicing & control wiring correction of Seimens make VCB’S Type 3AH3 Capacity 36KV, 1250 Amp by OEM or equivalent services dealer and job includes supply of maintenance kit consist of grease, cleanent, Dusters, Scrubbers, and hardware required to carry out correct maintenance of VCB’s, replacement of damage door handle , free replacement all moveable Defective parts, Submission of Insulation Resistance (IR) ,Contact Resistance Measurement (CRM) & IR of Voccume bottle test report etc. as required.(For the 1st year) | 3.00 | Each |  | 15000.00 | 45000.00 | 9000.00 | 27000.00 | 11000.00 | 33000.00 | 12000.00 | 36000.00 | 10500.00 | 31500.00 | 27000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
16.00 | Overhauling, Servicing & control wiring correction of Seimens make VCB’S Type 3AH3 Capacity 36KV, 1250 Amp by OEM or equivalent services dealer and job includes supply of maintenance kit consist of grease, cleanent, Dusters, Scrubbers, and hardware required to carry out correct maintenance of VCB’s,Submission of Insulation Resistance (IR) and Contact Resistance Measurement (CRM) & IR of Voccume bottle test report test report, free replacement all moveable Defective parts etc. as required.(For the 2nd year) | 3.00 | Each |  | 15000.00 | 45000.00 | 9000.00 | 27000.00 | 11000.00 | 33000.00 | 12000.00 | 36000.00 | 10500.00 | 31500.00 | 27000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
17.00 | Rewinding of 3 HP Submersible Pump moter with suitable gauge copper wire i.c varnishing, baking etc as required i.e. transportation from site to contractors workshop & back to site. Credit towards Dismaintled copper winding to be considered while quoting the tender. | 4.00 | Each |  | 10000.00 | 40000.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 8000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
18.00 | Rewinding of 5 HP Pump moter sets (submersible/ mono block ) with suitable gauge copper wire i.c varnishing, baking etc as required i.e. transportation from site to contractors workshop & back to site. Credit towards Dismaintled copper winding to be considered while quoting the tender. | 2.00 | Each |  | 12000.00 | 24000.00 | 7000.00 | 14000.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 3200.00 | 6400.00 | 5000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
19.00 | Rewinding of 7.5 HP Pump moter sets (submersible) with suitable gauge copper wire i.c varnishing, baking etc as required i.e. transportation from site to contractors workshop & back to site. Credit towards Dismaintled copper winding to be considered while quoting the tender. | 2.00 | Each |  | 15000.00 | 30000.00 | 9500.00 | 19000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 6000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
20.00 | Rewinding of 15 HP Pump moter sets (mono block ) with suitable gauge copper wire i.c varnishing, baking etc as required i.e. transportation from site to contractors workshop & back to site. Credit towards Dismaintled copper winding to be considered while quoting the tender. | 2.00 | Each |  | 25000.00 | 50000.00 | 12000.00 | 24000.00 | 5500.00 | 11000.00 | 8000.00 | 16000.00 | 7800.00 | 15600.00 | 11000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
21.00 | Lowering & lifting of submersible pump sets from borewell (Depth 400 to 450 feet) upto 10 HP complete as required at site. | 4.00 | Job |  | 12000.00 | 48000.00 | 8500.00 | 34000.00 | 5500.00 | 22000.00 | 4000.00 | 16000.00 | 6500.00 | 26000.00 | 16000.00 | ABHISHEK ASSOCIATES
22.00 | Lighting & decoration arrangement by LED (Pleasant colourfull) on Occasion of National Festival/ Depawali /New Year /AAI Foundation day on Terminal building ,ATC Tower & Power House Including Loading ,Unloading ,Transporting & installation etc complete to the satisfaction of EIC (for the 1st year). | 11.00 | Job |  | 3000.00 | 33000.00 | 10000.00 | 110000.00 | 9500.00 | 104500.00 | 20000.00 | 220000.00 | 10500.00 | 115500.00 | 33000.00 | Zamzam Refrigeration and airconditioning
23.00 | Lighting & decoration arrangement by LED (Pleasant colourfull) on Occasion of National Festival/ Depawali /New Year /AAI Foundation day on Terminal building ,ATC Tower & Power House Including Loading ,Unloading ,Transporting & installation etc complete to the satisfaction of EIC (for the 2nd year). | 11.00 | Job |  | 3000.00 | 33000.00 | 10000.00 | 110000.00 | 9500.00 | 104500.00 | 20000.00 | 220000.00 | 10500.00 | 115500.00 | 33000.00 | Zamzam Refrigeration and airconditioning
24.00 | Painting of 8 Meter height street light pole with 2 coats of aluminium paint complete as required. | 66.00 | Job |  | 1000.00 | 66000.00 | 1000.00 | 66000.00 | 900.00 | 59400.00 | 550.00 | 36300.00 | 650.00 | 42900.00 | 36300.00 | ABHISHEK ASSOCIATES
25.00 | Supply of KOEL CARE Premium Genuine oil 50 Litres CAN ( Part No. 82.060.10.0.50) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 2.00 | Each |  | 15000.00 | 30000.00 | 14000.00 | 28000.00 | 10711.86 | 21423.72 | 15144.00 | 30288.00 | 12500.00 | 25000.00 | 21423.72 | ROSHAN REFRIGERATION AND ELECTRICALS
26.00 | Supply of KOEL CARE Premium Genuine oil 5 Litres CAN ( Part No. 82.00.10.0.05) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 2.00 | Each |  | 1500.00 | 3000.00 | 1250.00 | 2500.00 | 1223.73 | 2447.46 | 1560.00 | 3120.00 | 1250.00 | 2500.00 | 2447.46 | ROSHAN REFRIGERATION AND ELECTRICALS
27.00 | Supply of KOEL CARE Genuine coolant Premix 26 LTR CAN ( Part No. 82.020.35.1.26) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 2.00 | Each |  | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 2880.51 | 5761.02 | 4079.00 | 8158.00 | 3300.00 | 6600.00 | 5761.02 | ROSHAN REFRIGERATION AND ELECTRICALS
28.00 | Supply of Spinon fule Filter assly( Part No. DV8040.24.0.00) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 2.00 | Each |  | 5000.00 | 10000.00 | 4650.00 | 9300.00 | 1392.37 | 2784.74 | 1972.00 | 3944.00 | 1700.00 | 3400.00 | 2784.74 | ROSHAN REFRIGERATION AND ELECTRICALS
29.00 | Supply of Fuel Filter Cartridge ( Part No. DV0.020.03.0.00) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 4.00 | Each |  | 5000.00 | 20000.00 | 4650.00 | 18600.00 | 2657.63 | 10630.52 | 3716.00 | 14864.00 | 3050.00 | 12200.00 | 10630.52 | ROSHAN REFRIGERATION AND ELECTRICALS
30.00 | Supply of Lube oil Filter ( Part No. DV0.014.11.0.00) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 2.00 | Each |  | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 1110.17 | 2220.34 | 1553.00 | 3106.00 | 1350.00 | 2700.00 | 2220.34 | ROSHAN REFRIGERATION AND ELECTRICALS
31.00 | Supply of Lube oil Filter ( Part No. DV0.020.27.0.00) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 2.00 | Each |  | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 1110.17 | 2220.34 | 11331.00 | 22662.00 | 1350.00 | 2700.00 | 2220.34 | ROSHAN REFRIGERATION AND ELECTRICALS
32.00 | Supply of Air Filter Primary (Part No:-F6.404.27.0.00) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 2.00 | Each |  | 25000.00 | 50000.00 | 3100.00 | 6200.00 | 2869.49 | 5738.98 | 4064.00 | 8128.00 | 3400.00 | 6800.00 | 5738.98 | ROSHAN REFRIGERATION AND ELECTRICALS
33.00 | Supply of Air Filter Safety (Part No:-F6.404.28.0.00) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 2.00 | Each |  | 25000.00 | 50000.00 | 3100.00 | 6200.00 | 2063.56 | 4127.12 | 1496.00 | 2992.00 | 1250.00 | 2500.00 | 2500.00 | M/s CGPL ELECTROMECH PVT LTD
34.00 | Supply of V wrapped Belt SPB AR 1170 (Part No:- DV2.016.1.0.00) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 1.00 | Each |  | 4500.00 | 4500.00 | 900.00 | 900.00 | 2161.02 | 2161.02 | 3060.00 | 3060.00 | 2510.00 | 2510.00 | 900.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
35.00 | Supply of V Belt - BX58 PITCH 1520 LONG (Part No:-DV0.016.08.0.00) for servicing of 500 KVA KOEL Make D.G. Set under warrantee period as & when required. | 1.00 | Each |  | 4500.00 | 4500.00 | 900.00 | 900.00 | 2043.22 | 2043.22 | 2894.00 | 2894.00 | 2400.00 | 2400.00 | 900.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
36.00 | Execution of works as per CPWD DSR 2018 ( E& M) & Latest CPWD Specifications . CPWD DSR ( E&M) 2018 items of Chapter 1 to 10, 14 & 17. Rate shall be quoted as mentioned in clause 37 of GTT. (For first Year) | 200000.00 | Percentage |  | .50 | 100000.00 | 1.00 | 200000.00 | .62 | 124000.00 | .90 | 180000.00 | .80 | 160000.00 | 100000.00 | Zamzam Refrigeration and airconditioning
37.00 | Execution of works as per CPWD DSR 2018 ( E& M) & Latest CPWD Specifications . CPWD DSR ( E&M) 2018 items of Chapter 1 to 10, 14 & 17. Rate shall be quoted as mentioned in clause 37 of GTT. (For second Year) | 200000.00 | Percentage |  | .50 | 100000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | .90 | 180000.00 | .80 | 160000.00 | 100000.00 | Zamzam Refrigeration and airconditioning
| Total in Figures |  |  |  |  | 7257000.00 |  | 5317860.00 |  | 5110862.48 |  | 5785828.00 |  | 5075214.00
Lowest Amount Quoted BY: M/s CGPL ELECTROMECH PVT LTD(5075214.00)

## BOQ Summary
BOQ Summary Details Tender Title: AAI/WR/JBP/AGM(E-E)/eNIT-01/ Tender ID: 2020_AAI_53577_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s CGPL ELECTROMECH PVT LTD | 5075214.00 | L1
| 2 | ROSHAN REFRIGERATION AND ELECTRICALS | 5110862.48 | L2
| 3 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 5317860.00 | L3
| 4 | ABHISHEK ASSOCIATES | 5785828.00 | L4
| 5 | Zamzam Refrigeration and airconditioning | 7257000.00 | L5