## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 11-Sep-2020 04:34 PM Tender Title: ARMO of E and M Installations of New Terminal Building and New power House at Civil Airport Jammu for the year 2020-21 2021-22 Tender ID: 2020_AAI_53703_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work: ARMO of E&M Installations of New Terminal Building and New Power House at Civil Airport Jammu for the year 2020-21,2021-22.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anil Kumar Sharma(GSTN-NA) |  | ABHISHEK ASSOCIATES(GSTN-NA) |  | ANOOP REFRIGERATION(GSTN-NA) |  | NATIONAL SAFETY ENGINEERS(GSTN-NA) |  | M/S B.A.G ENTERPRISES(GSTN-NA) |  | S. N ELECTRICALS(GSTN-NA) |  | ASHWANI REFRIGERATION AND ELECTRICALS(GSTN-NA) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-NA) |  | SRS ENGINEERS(GSTN-NA) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-NA) |  | M/s K.N.Construction(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head -I: MAINTENANCE OF E&M INSTALLATIONS Periodical Maintenance of Electrical & Mechanical Installations of New TB of all areas involving repairs & maintenance & attending to complaints /faults/breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, carrying out preventive maintenance as per schedule attached, maintenance of records/documentations etc., as per the detailed specifications, terms & conditions covered under this contract on all days including sundays & holidays etc as required. 1.Contractor has to depute the manpower as mentioned below. 2. Contractor has to provide Reliever for Weekly Offs / Holidays for below mentioned staffs as per the requirement)".
1.10 | Shift Engineers(Highly Skilled-Sr. Supervisor)-03 Nos(1No.in each shift) | 24.00 | Job | 101978.00 | 65000.00 | 1560000.00 | 94111.00 | 2258664.00 | 92105.86 | 2210540.64 | 95000.00 | 2280000.00 | 70000.00 | 1680000.00 | 90608.00 | 2174592.00 | 100999.00 | 2423976.00 | 85000.00 | 2040000.00 | 83254.00 | 1998096.00 | 81523.11 | 1956554.64 | 91010.00 | 2184240.00 | 1560000.00 | Anil Kumar Sharma
1.20 | For DG sets at New Power house 1)DG operators(Skilled)-03 Nos(1No.in each shift) | 24.00 | Job | 79574.00 | 65000.00 | 1560000.00 | 74666.00 | 1791984.00 | 69743.25 | 1673838.00 | 74000.00 | 1776000.00 | 60000.00 | 1440000.00 | 70417.00 | 1690008.00 | 79574.00 | 1909776.00 | 77000.00 | 1848000.00 | 65389.00 | 1569336.00 | 63313.74 | 1519529.76 | 71503.00 | 1716072.00 | 1440000.00 | M/S B.A.G ENTERPRISES
1.30 | New Terminal building ,New Power house and CISF Barrack Chatha 1)Wireman(Skilled)-04 Nos (1No.in each 02 shift in new PH and CISF Barrack Chatha, 2 No.in General shift in new TB) 2)Helper(Un-Skilled)-06Nos(1No.in 03 shift in new PH and CISF Barrack Chatha,1 No.in two shift in NTB, One in General Shift in NTB) | 24.00 | Job | 226843.00 | 166500.00 | 3996000.00 | 210777.00 | 5058648.00 | 198358.50 | 4760604.00 | 200000.00 | 4800000.00 | 176000.00 | 4224000.00 | 191007.00 | 4584168.00 | 119999.00 | 2879976.00 | 206000.00 | 4944000.00 | 185211.00 | 4445064.00 | 180448.86 | 4330772.64 | 213998.00 | 5135952.00 | 2879976.00 | ASHWANI REFRIGERATION AND ELECTRICALS
1.40 | Escalator and Elevator Operator(SHA/ARR)(Semi-Skilled)- 1)03 Nos(1No.in each two shift, one no. in general shift.) | 24.00 | Job | 68078.00 | 54000.00 | 1296000.00 | 54888.00 | 1317312.00 | 59507.55 | 1428181.20 | 60000.00 | 1440000.00 | 60000.00 | 1440000.00 | 57213.00 | 1373112.00 | 65999.00 | 1583976.00 | 64000.00 | 1536000.00 | 56379.00 | 1353096.00 | 54134.64 | 1299231.36 | 57748.00 | 1385952.00 | 1296000.00 | Anil Kumar Sharma
2.00 | Providing of Documentation Assistant/Computer Operator(Skilled)(1No in General Shift) for maintenance of office records/documentations etc., as per the detailed specifications, terms & conditions covered under this contract on working days excluding sundays etc as reqd. | 24.00 | Job | 22383.00 | 18000.00 | 432000.00 | 25444.00 | 610656.00 | 20148.05 | 483553.20 | 21000.00 | 504000.00 | 18000.00 | 432000.00 | 22309.00 | 535416.00 | 20999.00 | 503976.00 | 24000.00 | 576000.00 | 20295.00 | 487080.00 | 23104.58 | 554509.92 | 21793.00 | 523032.00 | 432000.00 | M/S B.A.G ENTERPRISES, Anil Kumar Sharma
3.00 | Sub head -II: Electrical spares Supply of Single core copper conductor (Flexible)Industrial cables FRLS-H compound insulated (unsheathed) 1100Volts conforming to IS:694 as per approved make list.
3.10 | 1.50 Sqmm Single core ( 180 Mtr coil) | 5.00 | Each | 2913.00 | 1900.00 | 9500.00 | 2070.00 | 10350.00 | 2095.60 | 10478.00 | 2500.00 | 12500.00 | 1000.00 | 5000.00 | 2076.00 | 10380.00 | 2913.00 | 14565.00 | 1200.00 | 6000.00 | 2350.00 | 11750.00 | 2092.42 | 10462.10 | 2194.00 | 10970.00 | 5000.00 | M/S B.A.G ENTERPRISES
3.20 | 2.50 Sqmm Single core ( 180 Mtr coil) | 5.00 | Each | 4757.00 | 3000.00 | 15000.00 | 3360.00 | 16800.00 | 3422.40 | 17112.00 | 4400.00 | 22000.00 | 1300.00 | 6500.00 | 2952.00 | 14760.00 | 4757.00 | 23785.00 | 1700.00 | 8500.00 | 3750.00 | 18750.00 | 3390.50 | 16952.50 | 3514.00 | 17570.00 | 6500.00 | M/S B.A.G ENTERPRISES
3.30 | 4.00 Sqmm Single core ( 180 Mtr coil) | 5.00 | Each | 6946.00 | 4400.00 | 22000.00 | 4870.00 | 24350.00 | 4997.20 | 24986.00 | 6500.00 | 32500.00 | 1800.00 | 9000.00 | 4282.00 | 21410.00 | 6946.00 | 34730.00 | 3500.00 | 17500.00 | 5450.00 | 27250.00 | 4914.61 | 24573.05 | 5203.00 | 26015.00 | 9000.00 | M/S B.A.G ENTERPRISES
3.40 | 6.00 Sqmm Single core ( 180 Mtr coil) | 5.00 | Each | 10463.00 | 6500.00 | 32500.00 | 7185.00 | 35925.00 | 7526.80 | 37634.00 | 10000.00 | 50000.00 | 2500.00 | 12500.00 | 7675.00 | 38375.00 | 9999.00 | 49995.00 | 7000.00 | 35000.00 | 8150.00 | 40750.00 | 7252.45 | 36262.25 | 7832.00 | 39160.00 | 12500.00 | M/S B.A.G ENTERPRISES
4.00 | Supply of Multicore Round PVC insulated round Sheathed, Copper Conductor (flexible) industrial cable, 1100 Volts, conforming to IS: 694 as per approved make list.
4.10 | 3core * 1.5 Sqmm ( 100 Mtr Coil) | 2.00 | Each | 5029.00 | 3000.00 | 6000.00 | 4130.00 | 8260.00 | 3617.70 | 7235.40 | 4000.00 | 8000.00 | 3500.00 | 7000.00 | 4120.00 | 8240.00 | 5029.00 | 10058.00 | 3500.00 | 7000.00 | 3550.00 | 7100.00 | 5170.88 | 10341.76 | 4040.00 | 8080.00 | 6000.00 | Anil Kumar Sharma
4.20 | 3core * 2.5 Sqmm ( 100 Mtr Coil) | 2.00 | Each | 8106.00 | 5000.00 | 10000.00 | 6645.00 | 13290.00 | 5831.10 | 11662.20 | 6500.00 | 13000.00 | 5500.00 | 11000.00 | 5664.00 | 11328.00 | 8106.00 | 16212.00 | 6000.00 | 12000.00 | 5650.00 | 11300.00 | 8319.21 | 16638.42 | 6490.00 | 12980.00 | 10000.00 | Anil Kumar Sharma
5.00 | Supply of 6 A 3 Pin Plug Top suitable for 240 V, 50 Hz supply. (Model no:Crabtree ACAGXXW063 or Equivalent as per approved make list.) | 50.00 | Each | 93.00 | 20.00 | 1000.00 | 85.00 | 4250.00 | 110.00 | 5500.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 56.00 | 2800.00 | 93.00 | 4650.00 | 25.00 | 1250.00 | 60.00 | 3000.00 | 129.16 | 6458.00 | 66.00 | 3300.00 | 1000.00 | Anil Kumar Sharma
6.00 | Supply of 16 A 3 Pin Plug Top suitable for 240 V, 50 Hz supply. (Model no:Crabtree ACAGXXW163 or Equivalent as per approved make list.) | 50.00 | Each | 129.00 | 80.00 | 4000.00 | 119.00 | 5950.00 | 110.00 | 5500.00 | 120.00 | 6000.00 | 70.00 | 3500.00 | 75.00 | 3750.00 | 129.00 | 6450.00 | 40.00 | 2000.00 | 85.00 | 4250.00 | 134.97 | 6748.50 | 88.00 | 4400.00 | 2000.00 | PAN POLAR ENGINEERS PVT. LTD.
7.00 | Supply of modular Plate of Two Module suitable for crabtree Athena switch/Socket (Make:Crabtree Athena Model:ACAPNCWV02 or Equivalent as per approved make list. | 20.00 | Each | 86.00 | 70.00 | 1400.00 | 79.00 | 1580.00 | 51.35 | 1027.00 | 100.00 | 2000.00 | 60.00 | 1200.00 | 55.00 | 1100.00 | 86.00 | 1720.00 | 40.00 | 800.00 | 62.00 | 1240.00 | 29.71 | 594.20 | 96.00 | 1920.00 | 594.20 | Metropolitan Infrabuild Development And Services Pvt Ltd
8.00 | Supply of modular Plate of Three Module suitable for crabtree Athena switch/Socket (Make:Crabtree Athena Model:ACAPNCWV03 or Equivalent as per approved make list. | 20.00 | Each | 98.00 | 100.00 | 2000.00 | 91.00 | 1820.00 | 45.00 | 900.00 | 140.00 | 2800.00 | 70.00 | 1400.00 | 65.00 | 1300.00 | 89.00 | 1780.00 | 55.00 | 1100.00 | 65.00 | 1300.00 | 43.27 | 865.40 | 107.00 | 2140.00 | 865.40 | Metropolitan Infrabuild Development And Services Pvt Ltd
9.00 | Supply of modular Plate of Six Module suitable for crabtree Athena switch/Socket (Make:Crabtree Athena Model:ACAPNCWV06 or Equivalent as per approved make list. | 5.00 | Each | 164.00 | 100.00 | 500.00 | 153.00 | 765.00 | 59.00 | 295.00 | 250.00 | 1250.00 | 100.00 | 500.00 | 108.00 | 540.00 | 164.00 | 820.00 | 60.00 | 300.00 | 105.00 | 525.00 | 71.68 | 358.40 | 205.00 | 1025.00 | 295.00 | ANOOP REFRIGERATION
10.00 | Supply of modular Plate of Eight Module suitable for crabtree Athena switch/Socket (Make:Crabtree Athena Model:ACAPNCWV08 or Equivalent as per approved make list. | 20.00 | Each | 210.00 | 200.00 | 4000.00 | 195.00 | 3900.00 | 84.00 | 1680.00 | 325.00 | 6500.00 | 130.00 | 2600.00 | 138.00 | 2760.00 | 210.00 | 4200.00 | 75.00 | 1500.00 | 130.00 | 2600.00 | 94.29 | 1885.80 | 228.00 | 4560.00 | 1500.00 | PAN POLAR ENGINEERS PVT. LTD.
11.00 | Supply of 4 Pole power contactor MCX 04 type(40Amp AC Rating) ,suitable to operate suitable to operate on 415v,50Hz AC Supply .(Model no: L&T CS97012 or Equivalent as per approved make list.) Complete as required as per EIC. | 1.00 | Each | 2012.00 | 900.00 | 900.00 | 1720.00 | 1720.00 | 17834.00 | 17834.00 | 1300.00 | 1300.00 | 2786.00 | 2786.00 | 2000.00 | 2000.00 | 2012.00 | 2012.00 | 1500.00 | 1500.00 | 1400.00 | 1400.00 | 1009.81 | 1009.81 | 3800.00 | 3800.00 | 900.00 | Anil Kumar Sharma
12.00 | Supply of following storage type lead acid batteries for DG sets as per approved make list.
12.10 | 12V, 180Ah, 25 plate capacity lead acid battery( With 18 month warranty). | 8.00 | Each | 15956.00 | 12500.00 | 100000.00 | 17000.00 | 136000.00 | 14500.00 | 116000.00 | 14000.00 | 112000.00 | 11000.00 | 88000.00 | 18500.00 | 148000.00 | 9999.00 | 79992.00 | 12000.00 | 96000.00 | 14000.00 | 112000.00 | 15264.60 | 122116.80 | 21000.00 | 168000.00 | 79992.00 | ASHWANI REFRIGERATION AND ELECTRICALS
12.20 | 12V, 130 Ah, 25 plate capacity lead acid battery( With 18 month warranty). | 1.00 | Each | 11819.00 | 8000.00 | 8000.00 | 12000.00 | 12000.00 | 13024.00 | 13024.00 | 11000.00 | 11000.00 | 10000.00 | 10000.00 | 15500.00 | 15500.00 | 11851.00 | 11851.00 | 8000.00 | 8000.00 | 9500.00 | 9500.00 | 11859.42 | 11859.42 | 17000.00 | 17000.00 | 8000.00 | PAN POLAR ENGINEERS PVT. LTD., Anil Kumar Sharma
13.00 | Supply of 2.5 mfd rating capacitor suitable for 1200mm celling fan and operate on 220V 50HZ AC supply as per approved make list. | 20.00 | Each | 54.00 | 30.00 | 600.00 | 50.00 | 1000.00 | 62.25 | 1245.00 | 40.00 | 800.00 | 30.00 | 600.00 | 30.00 | 600.00 | 54.00 | 1080.00 | 30.00 | 600.00 | 15.00 | 300.00 | 58.71 | 1174.20 | 66.00 | 1320.00 | 300.00 | SRS ENGINEERS
14.00 | Supply of 20 Amp Switch socket Combined with box suitable to operate on 230v,50Hz AC Supply complete as required as per EIC .(Make: Anchor Penta model no.39996 or Equivalent as per approved make list.) | 30.00 | Each | 154.00 | 120.00 | 3600.00 | 117.00 | 3510.00 | 450.00 | 13500.00 | 250.00 | 7500.00 | 150.00 | 4500.00 | 145.00 | 4350.00 | 154.00 | 4620.00 | 200.00 | 6000.00 | 115.00 | 3450.00 | 100.75 | 3022.50 | 195.00 | 5850.00 | 3022.50 | Metropolitan Infrabuild Development And Services Pvt Ltd
15.00 | Supply of 06 Amp Switch socket Combined with box suitable to operate on 230v,50Hz AC Supply complete as required as per EIC .(Make: Anchor Penta model no.38820 or Equivalent as per approved make list). | 15.00 | Each | 79.00 | 60.00 | 900.00 | 61.00 | 915.00 | 450.00 | 6750.00 | 125.00 | 1875.00 | 100.00 | 1500.00 | 100.00 | 1500.00 | 79.00 | 1185.00 | 70.00 | 1050.00 | 90.00 | 1350.00 | 51.66 | 774.90 | 166.00 | 2490.00 | 774.90 | Metropolitan Infrabuild Development And Services Pvt Ltd
16.00 | Supply of extension cord with 04 universal socket with Master Power On/ Off Switch with LED Indicator having surge protection fuse at input with minimum cord length 1.5 Mtr.suitable to operate on 230v,50Hz AC Supply complete as required as per EIC.(Make: Anchor model no.22047 or Equivalent as per approved make list). | 30.00 | Each | 374.00 | 450.00 | 13500.00 | 326.00 | 9780.00 | 500.00 | 15000.00 | 380.00 | 11400.00 | 250.00 | 7500.00 | 312.00 | 9360.00 | 374.00 | 11220.00 | 200.00 | 6000.00 | 450.00 | 13500.00 | 341.63 | 10248.90 | 440.00 | 13200.00 | 6000.00 | PAN POLAR ENGINEERS PVT. LTD.
17.00 | Supply of following size Aluminium Reducer terminal complete as required as per EIC.(Bullet type Lugs))(Make Dowells or equivalent as per approved make list)
17.10 | 10 Sqmm. | 30.00 | Each | 6.00 | 7.00 | 210.00 | 13.00 | 390.00 | 10.00 | 300.00 | 10.00 | 300.00 | 30.00 | 900.00 | 50.00 | 1500.00 | 6.00 | 180.00 | 7.00 | 210.00 | 10.00 | 300.00 | 4.59 | 137.70 | 77.00 | 2310.00 | 137.70 | Metropolitan Infrabuild Development And Services Pvt Ltd
17.20 | 16 Sqmm. | 30.00 | Each | 7.00 | 14.00 | 420.00 | 18.00 | 540.00 | 12.00 | 360.00 | 15.00 | 450.00 | 30.00 | 900.00 | 50.00 | 1500.00 | 8.00 | 240.00 | 12.00 | 360.00 | 15.00 | 450.00 | 6.46 | 193.80 | 11.00 | 330.00 | 193.80 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.00 | Supply of following size Aluminium terminal for Conductors complete as required as per EIC.( Eye Lugs))(Make Dowells or equivalent as per approved make list)
18.10 | 10 Sqmm. | 30.00 | Each | 2.00 | 2.50 | 75.00 | 4.00 | 120.00 | 5.00 | 150.00 | 10.00 | 300.00 | 5.00 | 150.00 | 12.00 | 360.00 | 2.00 | 60.00 | 7.00 | 210.00 | 2.00 | 60.00 | 1.89 | 56.70 | 8.00 | 240.00 | 56.70 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.20 | 16 Sqmm. | 30.00 | Each | 4.00 | 3.60 | 108.00 | 6.00 | 180.00 | 6.00 | 180.00 | 15.00 | 450.00 | 7.00 | 210.00 | 16.00 | 480.00 | 4.00 | 120.00 | 10.00 | 300.00 | 4.00 | 120.00 | 2.18 | 65.40 | 14.00 | 420.00 | 65.40 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.30 | 35 Sqmm. | 15.00 | Each | 6.00 | 6.00 | 90.00 | 10.00 | 150.00 | 8.00 | 120.00 | 20.00 | 300.00 | 9.00 | 135.00 | 20.00 | 300.00 | 6.00 | 90.00 | 10.00 | 150.00 | 10.00 | 150.00 | 3.77 | 56.55 | 17.00 | 255.00 | 56.55 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.40 | 50 Sqmm. | 15.00 | Each | 9.00 | 9.00 | 135.00 | 16.00 | 240.00 | 11.00 | 165.00 | 25.00 | 375.00 | 9.00 | 135.00 | 35.00 | 525.00 | 9.00 | 135.00 | 12.00 | 180.00 | 15.00 | 225.00 | 5.73 | 85.95 | 14.00 | 210.00 | 85.95 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.50 | 70 Sqmm. | 15.00 | Each | 14.00 | 14.00 | 210.00 | 23.00 | 345.00 | 14.00 | 210.00 | 30.00 | 450.00 | 10.00 | 150.00 | 55.00 | 825.00 | 14.00 | 210.00 | 12.00 | 180.00 | 25.00 | 375.00 | 8.57 | 128.55 | 15.00 | 225.00 | 128.55 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.60 | 95 Sqmm. | 30.00 | Each | 15.00 | 15.00 | 450.00 | 26.00 | 780.00 | 15.00 | 450.00 | 35.00 | 1050.00 | 12.00 | 360.00 | 75.00 | 2250.00 | 15.00 | 450.00 | 15.00 | 450.00 | 28.00 | 840.00 | 9.46 | 283.80 | 26.00 | 780.00 | 283.80 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.70 | 120 Sqmm | 30.00 | Each | 21.00 | 21.00 | 630.00 | 37.00 | 1110.00 | 21.00 | 630.00 | 40.00 | 1200.00 | 15.00 | 450.00 | 100.00 | 3000.00 | 21.00 | 630.00 | 15.00 | 450.00 | 30.00 | 900.00 | 13.25 | 397.50 | 33.00 | 990.00 | 397.50 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.80 | 150 Sq mm. | 30.00 | Each | 27.00 | 27.00 | 810.00 | 47.00 | 1410.00 | 27.00 | 810.00 | 50.00 | 1500.00 | 15.00 | 450.00 | 120.00 | 3600.00 | 27.00 | 810.00 | 18.00 | 540.00 | 35.00 | 1050.00 | 17.15 | 514.50 | 57.00 | 1710.00 | 450.00 | M/S B.A.G ENTERPRISES
18.90 | 185 Sqmm. | 30.00 | Each | 33.00 | 34.00 | 1020.00 | 60.00 | 1800.00 | 34.00 | 1020.00 | 50.00 | 1500.00 | 22.00 | 660.00 | 145.00 | 4350.00 | 33.00 | 990.00 | 20.00 | 600.00 | 40.00 | 1200.00 | 21.44 | 643.20 | 13.00 | 390.00 | 390.00 | M/s K.N.Construction
19.00 | 240 Sqmm. | 30.00 | Each | 57.00 | 58.00 | 1740.00 | 101.00 | 3030.00 | 58.00 | 1740.00 | 50.00 | 1500.00 | 25.00 | 750.00 | 200.00 | 6000.00 | 57.00 | 1710.00 | 20.00 | 600.00 | 50.00 | 1500.00 | 36.63 | 1098.90 | 13.00 | 390.00 | 390.00 | M/s K.N.Construction
20.00 | Supply of Plastic insulation self adhesive tape of 1.8 cm Width and 7.5 Mtr. Length of following colours complete as required as per approved make list as per EIC.(Make Anchor GRIP Model No.1728 or equivalent as per approved make list)
20.10 | Red | 60.00 | Each | 12.00 | 50.00 | 3000.00 | 10.00 | 600.00 | 16.00 | 960.00 | 13.00 | 780.00 | 10.00 | 600.00 | 4.00 | 240.00 | 12.00 | 720.00 | 8.00 | 480.00 | 9.00 | 540.00 | 8.22 | 493.20 | 8.00 | 480.00 | 240.00 | S. N ELECTRICALS
20.20 | Blue | 60.00 | Each | 12.00 | 50.00 | 3000.00 | 10.00 | 600.00 | 16.00 | 960.00 | 13.00 | 780.00 | 10.00 | 600.00 | 4.00 | 240.00 | 12.00 | 720.00 | 8.00 | 480.00 | 9.00 | 540.00 | 8.22 | 493.20 | 8.00 | 480.00 | 240.00 | S. N ELECTRICALS
20.30 | Yellow | 60.00 | Each | 12.00 | 50.00 | 3000.00 | 10.00 | 600.00 | 16.00 | 960.00 | 13.00 | 780.00 | 10.00 | 600.00 | 4.00 | 240.00 | 12.00 | 720.00 | 8.00 | 480.00 | 9.00 | 540.00 | 8.22 | 493.20 | 8.00 | 480.00 | 240.00 | S. N ELECTRICALS
20.40 | Black | 60.00 | Each | 12.00 | 50.00 | 3000.00 | 10.00 | 600.00 | 16.00 | 960.00 | 13.00 | 780.00 | 10.00 | 600.00 | 4.00 | 240.00 | 12.00 | 720.00 | 8.00 | 480.00 | 9.00 | 540.00 | 8.22 | 493.20 | 8.00 | 480.00 | 240.00 | S. N ELECTRICALS
20.50 | Green | 60.00 | Each | 12.00 | 50.00 | 3000.00 | 10.00 | 600.00 | 16.00 | 960.00 | 13.00 | 780.00 | 10.00 | 600.00 | 4.00 | 240.00 | 12.00 | 720.00 | 8.00 | 480.00 | 9.00 | 540.00 | 8.22 | 493.20 | 8.00 | 480.00 | 240.00 | S. N ELECTRICALS
21.00 | SH-3:Yearly maintenance of ACB's , VCB's and Dehydration and top up of Transformer oil at New Power House. Carring out yearly maintainance of different capacity(800 to 3200 Amps) ACBs of LT Panel through authorised service dealer of OEM or equivalent by overhanding,cleaning of contacts with CRC,greasing, calibration of tripping mahcanism, testing & submitting the report etc. complete as required. | 52.00 | Each | 3535.00 | 2000.00 | 104000.00 | 12000.00 | 624000.00 | 2600.00 | 135200.00 | 7000.00 | 364000.00 | 300.00 | 15600.00 | 2000.00 | 104000.00 | 1999.00 | 103948.00 | 3500.00 | 182000.00 | 3000.00 | 156000.00 | 3180.69 | 165395.88 | 9000.00 | 468000.00 | 15600.00 | M/S B.A.G ENTERPRISES
22.00 | Carring out yearly maintainance of 630 Amp capacity 33KV HT VCBs of HT Panel through authorised service dealer of OEM or equivalent by overhanding,cleaning of contacts with CRC,greasing, calibration of tripping mahcanism, testing & submitting the report etc. complete as required. | 6.00 | Each | 8080.00 | 2500.00 | 15000.00 | 20000.00 | 120000.00 | 8000.00 | 48000.00 | 10000.00 | 60000.00 | 500.00 | 3000.00 | 2800.00 | 16800.00 | 9090.00 | 54540.00 | 5000.00 | 30000.00 | 7500.00 | 45000.00 | 7272.00 | 43632.00 | 20500.00 | 123000.00 | 3000.00 | M/S B.A.G ENTERPRISES
23.00 | Supply of Insulating transformer Mineral oil"TRUOIL"(Or equivalent) For 2 MVA Capacity Transformer installed at New Power House. | 210.00 | Ltr | 106.00 | 200.00 | 42000.00 | 130.00 | 27300.00 | 240.00 | 50400.00 | 130.00 | 27300.00 | 75.00 | 15750.00 | 110.00 | 23100.00 | 108.00 | 22680.00 | 140.00 | 29400.00 | 140.00 | 29400.00 | 106.00 | 22260.00 | 600.00 | 126000.00 | 15750.00 | M/S B.A.G ENTERPRISES
24.00 | De-hydration / centrifuging & tesing of transformer oil by using filteration machine for installed transformer 2 nos. (each 2 MVA capacity) to get desired di-electric strength of oil upto 60 KV BDV etc. as required. | 10000.00 | Ltr | 9.00 | 8.00 | 80000.00 | 18.00 | 180000.00 | 17.00 | 170000.00 | 12.00 | 120000.00 | 7.00 | 70000.00 | 11.00 | 110000.00 | 8.00 | 80000.00 | 10.00 | 100000.00 | 7.00 | 70000.00 | 9.00 | 90000.00 | 25.00 | 250000.00 | 70000.00 | M/S B.A.G ENTERPRISES, SRS ENGINEERS
25.00 | SH-4: Attending problem in PLC of LT panel at New Power House Visiting charges for synchronizing panel by authorise service engineer of M/s Power and instrumentation(Guj.) Limited,Ahmedabad by relay setting of master and slave selection by deputing factory engineer for the same and shall co-ordinate with relay manufacturer for relay setting on phone. | 6.00 | Days | 10100.00 | 4000.00 | 24000.00 | 7500.00 | 45000.00 | 10000.00 | 60000.00 | 20000.00 | 120000.00 | 2000.00 | 12000.00 | 17000.00 | 102000.00 | 5555.00 | 33330.00 | 10000.00 | 60000.00 | 9000.00 | 54000.00 | 9090.00 | 54540.00 | 35000.00 | 210000.00 | 12000.00 | M/S B.A.G ENTERPRISES
26.00 | Visiting charge for synchronizing panel by authorise service engineer of M/s Power and instrumentation(Guj.) Limited,Ahmedabad by realy setting of master and slave selection by deputing original relay manufacturer engineer for the same. | 2.00 | Days | 17170.00 | 15000.00 | 30000.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 2000.00 | 4000.00 | 15000.00 | 30000.00 | 17170.00 | 34340.00 | 8000.00 | 16000.00 | 4000.00 | 8000.00 | 16311.50 | 32623.00 | 25000.00 | 50000.00 | 4000.00 | M/S B.A.G ENTERPRISES
27.00 | Visiting charge for any modification required in PLC programming by deputing PLC manufacturer engineer of M/s Power and instrumentation(Guj.) Limited,Ahmedabad for the same. | 2.00 | Days | 17170.00 | 15000.00 | 30000.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 2000.00 | 4000.00 | 15000.00 | 30000.00 | 17170.00 | 34340.00 | 8000.00 | 16000.00 | 4000.00 | 8000.00 | 16311.50 | 32623.00 | 25000.00 | 50000.00 | 4000.00 | M/S B.A.G ENTERPRISES
28.00 | SH-5: Miscellaneous Petty Works Execution of the item of works as per requirement of site from the CPWD schedule of rates(DSR-2018)As per CPWD specification complete as required(Total amount od Rs.1,00,000(Exclusive of GST) is kept for DSR items-2018) Percentage above or below CPWD schedule of rates E&M 2018. (Item will be executed as per requirement) (If bidder wants to quote above 10% then write 1.10 similarly if bidder wants to quote below 10% write 0.90)in rate column. | 100000.00 | above | 1.00 | .50 | 50000.00 | 1.00 | 100000.00 | .77 | 77000.00 | 1.00 | 100000.00 | 1.41 | 141000.00 | .80 | 80000.00 | .45 | 45000.00 | .25 | 25000.00 | .90 | 90000.00 | 1.10 | 110000.00 | .65 | 65000.00 | 25000.00 | PAN POLAR ENGINEERS PVT. LTD.
| Total in Figures |  |  |  |  | 9475298.00 |  | 12468824.00 |  | 11455614.64 |  | 12011000.00 |  | 9667186.00 |  | 11177139.00 |  | 10000008.00 |  | 11621130.00 |  | 10594257.00 |  | 10500147.66 |  | 12641678.00
Lowest Amount Quoted BY: Anil Kumar Sharma(9475298.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations of New Terminal Building and New power House at Civil Airport Jammu for the year 2020-21 2021-22 Tender ID: 2020_AAI_53703_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anil Kumar Sharma | 9475298.00 | L1
| 2 | M/S B.A.G ENTERPRISES | 9667186.00 | L2
| 3 | ASHWANI REFRIGERATION AND ELECTRICALS | 10000008.00 | L3
| 4 | Metropolitan Infrabuild Development And Services Pvt Ltd | 10500147.66 | L4
| 5 | SRS ENGINEERS | 10594257.00 | L5
| 6 | S. N ELECTRICALS | 11177139.00 | L6
| 7 | ANOOP REFRIGERATION | 11455614.64 | L7
| 8 | PAN POLAR ENGINEERS PVT. LTD. | 11621130.00 | L8
| 9 | NATIONAL SAFETY ENGINEERS | 12011000.00 | L9
| 10 | ABHISHEK ASSOCIATES | 12468824.00 | L10
| 11 | M/s K.N.Construction | 12641678.00 | L11