## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 13-Oct-2020 04:14 PM Tender Title: Replacement of old storage water cooler cum purifier with new RO UV based integrated water cooler Tender ID: 2020_AAI_53912_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work: Replacement of old storage water cooler cum purifier with new RO+UV based integrated water cooler cum purifier at different locations of NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HITECH SWEET WATER TECH PVT LTD(GSTN-07AAACH7432C1ZZ) |  | Swajal Water Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
2.00 | SH:I
3.00 | Supply, Installation Testing and commissioning of RO+UV based 80 Ltr. Storage Integrated Water cooler cum purifier and Iron Remover (20" Ironil) as per following specifications at different places as required including dismantling of old machines complete as required . 1) Water Storage Capacity:- 80Ltrs 2) Cooling Capacity:- 60Ltrs/hrs 3) RO Water Flow Rate:- 50Ltrs/hrs 4) Rated Voltage:- 230V±10% AC 5) Running Current:- 4.5± 10% 6) Power in Watts:-700W±10% 7) Compressor Make:- Kirloskar / Emerson or equivalent 8) Refrigerent:-HFCR134A 9) Thermal Insulation for StorageTank: PUF 10) No. of Faucets Cold: 2 Nos. 11) Bottom Legs:- Rubbers 12) No. of stages for filter cum purifier:- i) Sediment purification, ii) Pre Carbon Block Filter, iii) Anti Scalant Filter, iv) Sediment Filter,v) RO Membrane, vi) Pre Carbon Block Filter, vii) Alkaline Filter, viii) UV Filter, ix) Iron remover minimum 20" Ant-oxidant Alkaline filteration or Anti Scalent. 13) RO Membrane Ratings - 4Nos. X 80 GPD, Auto Flush, every start/stop 14) Storage Tank Material:- SS304 / 0.8mm. 15) Outer material (Front):- SS304 / 0.8mm. 16) Type of Product Consumption:- Concealed 17) Type of Insulation:- Indoor Make: Eureka Forbes / Blue Star / Blue Mount / Kent or equivalent | 35.00 | Each | 0.00 | 125000.00 | 4375000.00 | 150000.00 | 5250000.00 | 4375000.00 | HITECH SWEET WATER TECH PVT LTD
4.00 | SH:II
5.00 | All inclusive/comprehensive maintenance contract of the RO + UV based 80 Ltr. Storage Water cooler cum purifier and Iron Remover (20" Ironil) as and where basis.
6.00 | (a) For 1st year after warranty period | 35.00 | Each | 0.00 | 10000.00 | 350000.00 | 10000.00 | 350000.00 | 350000.00 | HITECH SWEET WATER TECH PVT LTD, Swajal Water Pvt Ltd
7.00 | (b) For 2nd year after warranty period | 35.00 | Each | 0.00 | 10000.00 | 350000.00 | 10000.00 | 350000.00 | 350000.00 | HITECH SWEET WATER TECH PVT LTD, Swajal Water Pvt Ltd
8.00 | ( c) For 3rd year after warranty period | 35.00 | Each | 0.00 | 10000.00 | 350000.00 | 10000.00 | 350000.00 | 350000.00 | HITECH SWEET WATER TECH PVT LTD, Swajal Water Pvt Ltd
| Total in Figures |  |  |  |  | 5425000.00 |  | 6300000.00
Lowest Amount Quoted BY: HITECH SWEET WATER TECH PVT LTD(5425000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of old storage water cooler cum purifier with new RO UV based integrated water cooler Tender ID: 2020_AAI_53912_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HITECH SWEET WATER TECH PVT LTD | 5425000.00 | L1
| 2 | Swajal Water Pvt Ltd | 6300000.00 | L2