## BoQ1
Government eProcurement System Created By: UMESH KUMAR SINGH Created Date/Time: 14-Sep-2020 11:24 AM Tender Title: Annual Operation and up keeping of Water Supply and fire fighting pumps and comprehensive maintenance contract for fire alarm detection system. Tender ID: 2020_AAI_54111_1
Tender Inviting Authority: SM (E-E), AAI, Surat Airport, Surat
Name of Work:Annual R & M works at Surat Airport for the year 2020-21 & 2021-22 SH: Annual Operation & up keeping of Water Supply & fire fighting pumps and comprehensive maintenance contract for fire alarm detection system.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance of Water Supply and Fire fighting Systems inclusive of periodical checking/ testing, servicing, attending breakdown calls of all hydrant valves, hoze boxes, pipes, branch pipes, hose reels,hose pipes, sprinklers, NRVs, pipe lines, pressure switches, main pumps, jockey pumps, starter panels, air cushion tank, pressuregauges, sluice valves etc, monitoring, recording various parameters, preventive, breakdown maintenance by deploying minimum manpower per day as per SCC for carrying out the maintenance and operation work for all days (including sunday & holiday) as detailed in specifications, SCC under scope of work covered under this contract etc. complete as required. | 24.00 | Month |  | 50000.00 | 1200000.00 | 63777.00 | 1530648.00 | 60000.00 | 1440000.00 | 1200000.00 | CENTRE TAP ENGINEERING
2.00 | Providing Data entry computer operator (Highly-Skilled) for working in Finance and Account section (01 No) for computer related work as per the detailed specifications, terms & conditions covered under this contract on all days Excluding Sunday, Gazetted Holiday etc. as required. | 24.00 | Month |  | 20000.00 | 480000.00 | 25888.00 | 621312.00 | 24500.00 | 588000.00 | 480000.00 | CENTRE TAP ENGINEERING
3.00 | Annual comprehensive maintenance of different type of fire alarm and annunciation system having fire alarm & detection control panel, battery back up system, all type of detectors, multi sensor detectors, response indicators, manual call points, control modules, circuit isolators, multi criteria detectors, monitor modules, hooters including associated wiring work up to main fire control panel installed at Terminal building, ATC building, NAV aid installations and other locations as detailed in the special conditions of the contract etc. including the periodical checking/testing, programming, servicing, maintaining records, attending break down calls, repairing, supply & replacement of all defective components of fire alarm control panel like power supply card, loop card, CPU, software, mother board, cabinet, display card, batteries, battery charger, wiring, any other software / hardware etc. if required as per AAI & OEM recommendation etc. complete as required | 24.00 | Month |  | 25000.00 | 600000.00 | 4000.00 | 96000.00 | 6000.00 | 144000.00 | 96000.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 2280000.00 |  | 2247960.00 |  | 2172000.00
Lowest Amount Quoted BY: Manish Electricals(2172000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and up keeping of Water Supply and fire fighting pumps and comprehensive maintenance contract for fire alarm detection system. Tender ID: 2020_AAI_54111_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 2172000.00 | L1
| 2 | ABHISHEK ASSOCIATES | 2247960.00 | L2
| 3 | CENTRE TAP ENGINEERING | 2280000.00 | L3